Product Evaluation		Effective December 1, 2005

RV-29

The following product has been evaluated for compliance with the wind loads specified in the International Residential Code (IRC) and the International Building Code (IBC).  This product shall be subject to reevaluation 3 years after the effective date.

This product evaluation is not an endorsement of this product or a recommendation that this product be used.  The Texas Department of Insurance has not authorized the use of any information contained in the product evaluation for advertising, or other commercial or promotional purpose.

This product evaluation is intended for use by those individuals who are following the design wind load criteria in Chapter 3 of the IRC and Section 1609 of the IBC.  The design loads determined for the building or structure shall not exceed the design load rating specified for the products shown in the limitations section of this product evaluation.  This product evaluation does not relieve a Texas licensed engineer of his responsibilities as outlined in the Texas Insurance Code, the Texas Administrative Code and the Texas Engineering Practice Act.

Cobra Rigid Vent 3 (FullFlow®) Shingle Over Ridge Vent, Part Numbers SORVBL, FSORBL, SONNBL and FSNNBL,

Cobra Ridge Runner (FullFlow®) Gun-Nailable Shingle Over Ridge Vent Rolls, Part Numbers
GNRVBL, and FGNRBL,

(RidgePro™) Shingle Over Ridge Vent), Part Number FRPNNL

manufactured by

GAF Materials Corporation	formerly:

1361 Alps Road	Headrick Building Products

Wayne, NJ  07470	Cumming, GA

Telephone: (973) 628-4300 (ext. 4355)	(trade name shown in parenthesis)

will be acceptable for use for use in designated catastrophe zones along the Texas Gulf Coast when installed in accordance with the manufacturer’s installation instructions and this product evaluation.

| Trade Name | Description | Part No. | NFA (Net Free Area) | Filtered | Nails |
| --- | --- | --- | --- | --- | --- |
| Cobra Rigid Vent 3 | 4 FT Shingle Over Ridge Vent | SORVBL | 18 sq. in. per linear foot | NO | Thirty Maze 3” corrosion resistant ring shank nails included with vent |
| (FullFlow®) |  |  |  |  |  |
| (FullFlow®) | 4 FT Shingle Over Ridge Vent | FSORBL | 18 sq. in. per linear foot | YES | Thirty Maze 3” corrosion resistant ring shank nails included with vent |
| Cobra Ridge Runner | Gun-Nailable Shingle Over Ridge Vent 20’ Roll (non filtered) | GNRVBL | 12.5 sq. in. per linear foot | NO | Two coils of Maze 1¾” corrosion resistant smooth shank nails included with each 20’ roll |
| (FullFlow®) |  |  |  |  |  |
| Cobra Ridge Runner | Gun-Nailable Shingle Over Ridge Vent 20’ Roll (filtered) | FGNRBL | 12.5 sq. in. per linear foot | YES | Two coils of Maze 1¾” corrosion resistant smooth shank nails included with each 20’ roll |
| (FullFlow®) |  |  |  |  |  |
| (FullFlow®) | 4 FT Shingle Over Ridge Vent | SONNBL | 18 sq. in. per linear foot | NO | No nails included, require min. 11 gauge, 2½” long, ⅜” head dia. corrosion resistant roofing nails |
| (FullFlow®) | 4 FT Shingle Over Ridge Vent | FSNNBL | 18 sq. in. per linear foot | YES | No nails included, require min. 11 gauge, 2½” long, ⅜” head dia. corrosion resistant roofing nails |
| (RidgePro™) | 4 FT Shingle Over Ridge Vent | FRPNNL | 18 sq. in. per linear foot | YES | No nails included, require min. 11 gauge, 2½” long, ⅜” head dia. corrosion resistant roofing nails |

PRODUCT DESCRIPTION

Cobra Rigid Vent 3 (FullFlow®) Shingle Over Ridge Vents, Part No. SORVBL (unfiltered) and Part No. FSORBL (filtered), are under-the shingle ridge ventilators for the purpose of providing natural ventilation of enclosed attic spaces as specified in the International Residential Code (IRC) and the International Building Code (IBC).  The ridge vents are nominally 4 feet in length, and are 131116 inches wide by 78 inches thick.  The 4 ft long vent has a segmented exterior baffle to allow full air flow.  The openings in the vent provide 18 square inches of net free area (NFA) per linear foot of vent.  The ridge vent comes with an integral tear feature called EASYTear® which allows tool-free termination of the ridge vent to the desired final length required.  In addition, each ridge vent comes with thirty Maze 3” long x 18” dia. shank with 0.360” dia. head corrosion resistant rink shank roofing nails provided in pre-molded nail bosses.  The nails are used to secure the vent to the roof decking and to secure ridge cap shingles over the vent.  The filtered version of the vent uses a non-woven fibrous material that is heat bonded to the underside of the vent.  The manufacturer’s installation instructions will be supplied in the box of the vent which shall be available at all times on the jobsite during installation.

Cobra Ridge Runner (FullFlow®) Gun-Nailable Ridge Vent Rolls, Part No. GNRVBL (unfiltered) and Part No. FGNRBL (filtered), are under-the shingle ridge ventilators for the purpose of providing natural ventilation of enclosed attic spaces as specified in the International Residential Code (IRC) and the International Building Code (IBC).    The ridge vents are 1312 inches wide by 58 inches thick, and come in 20 foot roll lengths. The 20 ft long vent is low profile to allow it to be gun-nailable, yet still retains an exterior baffle to allow full air flow.  Structural ribs extending from the vent underside to the baffle at 1.5 inch intervals provide support along the entire length of the vent.  Seams are provided at 1 foot intervals for customizing to the desired length, which due to the unique double wall feature requires no end plugs.  Each ridge vent roll comes with two coils of Maze 134” long x 18” dia. shank with 38” dia. head corrosion resistant smooth shank roofing nails.  The nails are used to secure the vent to the roof decking and to secure ridge cap shingles over the vent.  The filtered version of the vent uses a non-woven fibrous material that is heat bonded to the underside of the vent.  The manufacturer’s installation instructions will be supplied in the box of the vent which shall be available at all times on the jobsite during installation.

(FullFlow®) Shingle Over Ridge Vents, Part No. SONNBL (unfiltered), Part No. FSNNBL (filtered) and (RidgePro™) Shingle Over Ridge Vent, Part No. FRPNNL (filtered) are under-the shingle ridge ventilators for the purpose of providing natural ventilation of enclosed attic spaces as specified in the International Residential Code (IRC) and the International Building Code (IBC).  The ridge vents are nominally 4 feet in length and are 131316 inches wide by 716 inches thick, and come in 4 foot lengths.  No nails are supplied with the vent.  The installer is required to provide minimum 212” long x 0.120” dia. shank with 38” dia. head corrosion resistant smooth shank roofing nails.  The nails provided by the installer are used to secure the vent to the roof decking and to secure ridge cap shingles over the vent.  The filtered version of the vent uses a non-woven fibrous material that is heat bonded to the underside of the vent.  The manufacturer’s installation instructions will be supplied in the box of the vent when purchased which shall be available at all times on the jobsite during installation.

LIMITATIONS

Cobra Rigid Vent 3 (FullFlow®) Shingle Over Ridge Vents, Part Numbers SORVBL and FSORBL

Design Wind Pressure:  -246 psf

Roof Deck: The roof deck shall consist of wood structural panels with a minimum thickness of 1532 inch.

For All Applications:  Cobra Rigid Vent 3 (FullFlow®) Shingle Over Ridge Vents, Part No. SORVBL and Part No. FSORBL, shall be installed on roofs with a minimum slope of 3:12, up to a maximum slope of

LIMITATIONS (cont.)

16:12.  The ridge vent provides 18 sq. in. of NFA per linear foot installed and must be installed with eave, cornice or soffit vents that supply equal or greater amounts of NFA per linear foot.  The maximum air slot

opening is 314” using ridgepole construction, and the minimum air slot opening is 134”.  In the event the 3” nails supplied with the vent do not provide at least 14” penetration beyond the underneath side of the roof sheathing, alternate nails must be provided by the installer for installation.

Cobra Ridge Runner (FullFlow®) Gun-Nailable Shingle Over Ridge Vent Rolls, Part Numbers GNRVBL and FGNRBL

Design Wind Pressure:  -216 psf

Roof Deck: The roof deck shall consist of wood structural panels with a minimum thickness of 1532inch.

For All Applications:  Cobra Ridge Runner (FullFlow®) Gun-Nailable Ridge Vent Rolls, Part No. GNRVBL and Part No. FGNRBL, shall be installed on roofs with a minimum slope of 3:12, up to a maximum slope of 16:12.  The ridge vent provides 12.5 sq. in. of NFA per linear foot installed and must be installed with eave, cornice or soffit events that supply equal or greater amounts of NFA per linear foot.  The maximum air slot opening is 3¼” using ridgepole construction, and the minimum air slot opening is 134”.  In the event the 134” long nails supplied with the vent do not provide at least 14” penetration beyond the underneath side of the roof sheathing, alternate nails must be provided by the installer for installation.

(FullFlow®) Shingle Over Ridge Vent, Part No. SONNBL and Part No. FSNNBL

(RidgePro™ ) Shingle Over Ridge Vent, Part No. FRPNNL

716” OSB Roof Deck -- Design Wind Pressure:  -90 psf

Roof Deck: The roof deck shall consist of OSB wood structural panels with a minimum thickness of 716".

38” Plywood Roof Deck -- Design Wind Pressure:  -114 psf

Roof Deck: The roof deck shall consist of plywood structural panels with a minimum thickness of 38".

For All Applications:  (FullFlow®) Shingle Over Ridge Vents, Part No. SONNBL, Part No. FSNNBL and (RidgePro™ ) Shingle Over Ridge Vent, Part No. FRPNNL, shall be installed on roofs with a minimum slope of 3:12, up to a maximum slope of 16:12.  The ridge vent provides 18 sq. in. of NFA per linear foot installed and must be installed with eave, cornice or soffit events that supply equal or greater amounts of NFA per linear foot.  The installer is required to provide nails that are both long enough to provide at least 14” penetration beyond the underneath side of the roof sheathing and provide adequate corrosion resistance.  The nails provided by the installer must be minimum 212” in length, have a 0.120” dia. smooth shank and have a 38” dia. head.

INSTALLATION INSTRUCTIONS

Cobra Rigid Vent 3 (FullFlow®) Shingle Over Ridge Vents, Part No. SORVBL and Part No. FSORBL

Fasteners: The ridge vent shall be attached to the deck using the supplied 3” long corrosion resistant ring shank roofing nails which have a 18 inch diameter shank with a 0.360 inch diameter head.  The ridge vent shall be nailed down using ten of the supplied 3” long Maze nails, one in each molded nail hole.  In the event the 3” long nails supplied with the vent do not provide at least 14” penetration beyond the underneath side of the roof sheathing, alternate nails must be provided by the installer for installation.

INSTALLATION INSTRUCTIONS (cont.)

For All Applications: The ridge vent shall be installed centered over the air slot to completely cover the air slot and extend a minimum of 6” beyond the end of the air slot opening.  The air slots should stop a minimum of 6” before the interior side of exterior end walls and a minimum of 12” before other ridge intersections; i.e. chimneys, hip joints, roofing places, etc.  The manufacturer supplied installation instructions are to be consulted on the guidelines set forth for air slot cutting.  If the 4 foot section of vent is not long enough to cover the entire air slot, additional 4 foot sections of vent should be added by overlapping the ridge vent using the built in overlapping feature.  When the end of the air slot is reached during installation, the tear feature of the vent is used to terminate the length of the ridge vent to the final end position desired.  The ridge cap shingles must be installed per the shingle manufacturers’ instructions with a minimum of two nails per shingle and a shingle to shingle spacing of 6” or less.

Cobra Ridge Runner (FullFlow®) Gun-Nailable Ridge Vent Rolls, Models GNRVBL and FGNRBL

Fasteners: The ridge vent shall be attached to the deck with minimum 134“ inch long galvanized roofing nails, with a 18 inch diameter smooth shank and 38 inch diameter head.  In the event the 134” long nails supplied with the vent do not provide at least 14” penetration beyond the underneath side of the roof sheathing, alternate nails must be provided by the installer for installation.  One nail shall be driven through the vent at each target location as indicated on the top of the vent.

For All Applications: The ridge vents shall be installed centered over the air slot to completely cover the air slot and extend a minimum of 6” beyond the end of the air slot opening.  The air slots should stop a minimum of 6” before the interior side of exterior end walls and a minimum of 12” before other ridge intersections; i.e. chimneys, hip joints, roofing places, etc.  The manufacturer supplied installation instructions are to be consulted on the guidelines set forth for air slot cutting.  If the 20 foot section of roll vent is not long enough to cover the entire air slot, additional 20ft sections of vent should be added by overlapping the ridge vent using the built in overlapping feature.  When the end of the air slot is reached during installation, the tear feature of the vent is used to terminate the length of the ridge vent to the nearest foot to cover the air slot completely and to extend past the air slot at least 6”.  The ridge cap shingles must be installed per the shingle manufacturers’ instructions with a minimum of two nails per shingle and a shingle to shingle spacing of 5” or less.

(FullFlow®) Shingle Over Ridge Vent, Part No. SONNBL and Part No. FSNNBL

(RidgePro™ ) Shingle Over Ridge Vent, Part No. FRPNNL

Fasteners: The ridge vent shall be attached to the deck using roofer supplied 212” minimum length corrosion resistant roofing nails which have a 0.120 inch diameter smooth shank and a 38 inch diameter

head.  In the event the 212” long nails supplied by the roofer do not provide at least 14” penetration beyond the underneath side of the roof sheathing, alternate nails must be provided by the installer for

installation.  The ridge vent shall be nailed down using ten of the roofer supplied 212” long corrosion resistant nails, one in each molded nail hole.

For All Applications: The ridge vent shall be installed centered over the air slot to completely cover the air slot and extend a minimum of 6” beyond the end of the air slot opening.  The air slots should stop a

minimum of 6” before the interior side of exterior end walls and a minimum of 12” before other ridge intersections; i.e. chimneys, hip joints, roofing places, etc.  The manufacturer supplied installation instructions are to be consulted on the guidelines set forth for air slot cutting.  If the 4 foot section of vent is not long enough to cover the entire air slot, additional 4 foot sections of vent should be added by overlapping the ridge vent using the built in overlapping feature.  When the end of the air slot is reached during installation, the ridge vent shall be cut to length to match the final end position desired.  The manufacturer supplied installation instructions are to be consulted on the guidelines set forth for cutting the ridge vent for custom fit.  The ridge cap shingles must be installed per the shingle manufacturers’ instructions with a minimum of two nails per shingle and a shingle to shingle spacing of 5” or less.

INSTALLATION INSTRUCTIONS (cont.)

Note:	The manufacturer’s installation instructions shall be available on the job site during installation.  All fasteners shall be corrosion resistant as specified in the International Residential Code (IRC) with Texas Revisions and the International Building Code (IBC) with Texas Revisions. The ridge vent must be covered with asphalt roof shingles that comply with the requirements of the IRC and IBC with Texas Revisions.  Installation of the ridge vent shall comply with the instructions set forth in the manufacturer’s instructions.