DEPARTMENT OF VETERANS AFFAIRS

DESIGN INSTRUCTIONS TO ARCHITECTS AND ENGINEERS

LOCATION:	VAMC,

PROJECT TITLE:

PROJECT NO.:

[ ]	SCHEMATICS	[ ]	DESIGN	[ ]	CONSTRUCTION

DEVELOPMENT		DOCUMENTS

_____________________________________________________________________

STRUCTURAL DESIGN MANUAL FOR SEISMIC RETROFIT PROJECTS (JULY 16, 2002)

FROM:			DATE:

Package Prepared:

Telephone Number:

STRUCTURAL DESIGN MANUAL
FOR SEISMIC RETROFIT PROJECTS

Table of Contents

1. CRITERIA UNIQUE TO VA	1

2. GENERAL	1

3. BASIS OF DESIGN	1

4. APPLICABLE STRUCTURAL MASTER SPECIFICATIONS INDEX	2

STRUCTURAL DESIGN MANUAL
FOR SEISMIC RETROFIT PROJECTS DEPARTMENT OF VETERANS AFFAIRS

July 16, 2002

1. CRITERIA UNIQUE TO VA

Existing buildings requiring seismic strengthening shall be designed in accordance with VA Handbook H-18-8, Seismic Design Requirements, Revised, June 2002.

2. GENERAL

2.1 Structural design shall comply with the latest editions of the following:

2.1.1 Reinforced Concrete Design - ACI 318, Building Code Requirements for Reinforced Concrete, American Concrete Institute.

2.1.2 Structural Steel Design - Specification for Structural Steel for Buildings, American Institute of Steel Construction, Inc.

2.1.3 International Building Code 2000 International Code Council, Inc.

2.1.4 Significant variations from the above in local building codes shall be brought to the attention of the Project Manager, for approved substitution prior to their use in the structural design.

2.2 Where applicable, verify the load-bearing capability of the existing structural elements to support the new design loads.

2.3 Where alterations are made to the structural elements in existing buildings, these elements individually and the buildings as units, must maintain adequate strength to safely resist both gravity and lateral loads.  Any resulting deficiencies must be reinforced accordingly.

2.4 Follow the Fire Protection Design Manual for fireproofing requirements of structural elements.

3. BASIS OF DESIGN

3.1 Prepare contract documents including specifications to reinforce the existing building to resist maximum considered earthquake and design spectral response acceleration obtained from maps prepared by U.S. Geological Survey.

3.2 The existing building shall be inspected for indications of any structural alterations, deteriorations, or significant differential settlement affecting the capacity of the building to resist superimposed vertical and lateral loads.

3.3 Explore methods of reinforcing the building to arrive at the most desirable solution considering both total construction cost and minimizing noise and disruption of the facility’s operation during construction. Correlate also to existing functional requirements with proposed structural changes desired.

3.4 Reinforce interior and exterior walls as necessary to resist in plane and out of plane forces.

3.5 An earlier //detailed/preliminary//seismic study of the building completed in August 31, 2001 is available with VA Office of Facilities Management, and will be used for guidance only.

4. APPLICABLE STRUCTURAL MASTER SPECIFICATIONS INDEX

SECTION	DATE		TITLE

01410	10-00/M	TESTING LABORATORY SERVICES

02050	11-00/M	DEMOLITION

02140	11-00/M	DEWATERING

02200	10-00/M	EARTHWORK

02202	11-00/M	FLOWABLE FILL

02360	05-02/M	FOUNDATION PILES

02362	05-02/M	AUGER-PLACED CONCRETE PILES

02370	05-02/M	FOUNDATION CAISSONS

03300	10-00/M	CAST-IN-PLACE CONCRETE

03360	05-02/M	SHOTCRETE

04200	10-00/M	REINFORCED UNIT MASONRY

05120	10-00/M	STRUCTURAL STEEL

05210	11-00/M	STEEL JOIST

05311	11-00/M	STEEL DECKING

05321	11-00/M	STEEL DECKING COMPOSITE

13081	06-01/M	SEISMIC RESTRAINT FOR NON-STRUCTURAL

COMPONENTS

Note: 	‘M’ indicates that the specification section includes metric units (a preferred measurement system).

- - - E N D - - -