CHAPTER 308:	VETERANS HEALTH ADMINISTRATION:  PROSTHETICS AND SENSORY AIDS SERVICE

- Purpose and Scope	308-2

- Definitions	308-2

- Operating Rationale and Basis of Criteria	308-3

- Program Data Required (Input Data Questions)	308-4

- Space Criteria		308-5

- Planning and Design Considerations	308-10

- Functional Relationships	308-11

- Functional Diagram	308-13

## PURPOSE AND SCOPE

This document provides Space Planning Criteria for Chapter 308: Prosthetic and Sensory Aids Service as it applies to all medical facilities at the Department of Veterans Affairs (VA).

## DEFINITIONS

  - Clinic Stop:  A clinic stop is one encounter of a patient with a healthcare provider.  Per these criteria, the clinic stop is the workload unit of measure for space planning.  One individual patient can have multiple Clinic Stops in a single visit or in one day.

  - Concept of Operations:  A user-developed guide to the functional operation of the VA healthcare facility.  It defines the function of the facility and the scope of medical services to be provided in the new or remodeled space.

  - Full-Time Equivalent (FTE):  A staffing parameter equal to the amount of time assigned to one full time employee. It may be composed of several part-time employees whose total time commitment equals that of a full-time employee.  One FTE equals a 40 hours per week.

  - Functional Area:  The grouping of rooms and spaces based on their function within a clinical service. Typical Functional Areas are Reception Areas, Patient Areas, Support Areas, Staff and Administrative Areas, and Residency Program.

  - Input Data Statements: A set of questions designed to elicit information about the healthcare project in order to create a Program for Design (PFD) based on the criteria parameters set forth in this document.  Input Data Statements could be Mission related, based in the project’s Concept of Operations; and Workload or Staffing related,  based on projections and data provided by the VHA or the VISN about the estimated model of operation for the facility. This information is processed through mathematical and logical operations in VA-SEPS.

  - Net-to-department gross factor (NTDG): This number, when multiplied by the programmed net square foot (NSF) area, determines the departmental gross square feet (DGSF).  The NTDG factor adopted for Prosthetic and Sensory Aids Service is 1.25.

  - Program for Design (PFD): A space program based on criteria set forth in this document and specific information about Concept of Operations, workload projections and staffing levels authorized.

  - Prosthetic and Sensory Aids Service:  A specialized program designed to provide prosthetic / orthotic services to the disabled beneficiary.  Prosthetic services are distinguished as functions related to the replacement of missing parts of the body.  Orthotic services are characterized as functions that support existing parts of the body.  These services may include the procurement and fabrication of artificial  limbs, aids for the blind, hearing aids, upper and lower extremity orthotic devices, wheelchairs, orthopedic shoes, plastic eyes, noses or major facial restorations, eyeglasses, automotive adaptive equipment, and major life support  systems such as environmental controls and home dialysis units.

  - Room Efficiency Factor:  A factor that provides flexibility in the utilization of a room to account for patient delays, scheduling conflicts, and equipment maintenance.  Common factors are in the 80 to 85% range.  A room with 80% room efficiency provides a buffer to assume that this room would be available 20% of the time beyond the planned operational practices of the room.  This factor may be adjusted based on the actual and/or anticipated operations and processes of the room / department.

  - SEPS (VA-SEPS): Acronym for Space and Equipment Planning System, a digital tool developed by the Department of Defense (DoD) and the Department of Veterans Affairs to generate a Program for Design (PFD) and an Equipment List for a VA healthcare project based on specific information entered in response to Input Data Statements.  VA-SEPS incorporates the propositions set forth in all VHA Space Planning Criteria Chapters. VA-SE has been designed to aid healthcare planners in creating a space plan based on a standardized set of criteria parameters.

  - Workload:  Workload is the anticipated number of procedures or suite stops that is processed through a department/service area.  The total workload applied to departmental operational assumptions will determine overall room requirements by modality.

## OPERATING RATIONALE AND BASIS OF CRITERIA

  - Workload Projections or planned services / modalities for a specific VA medical center, hospital or satellite outpatient clinic project are provided by the VA Central Office (VACO) / VISN CARES Capacity Projection Model.  The workload projections are generated by methodology based upon the expected veteran population in the respective market/service area.  Healthcare planners working on VA medical center, hospital or satellite outpatient clinic projects will utilize and apply the workload criteria set forth herein for identified services and modalities to determine room requirements for each facility.

  - Space planning criteria have been developed on the basis of an understanding of the activities involved in the functional areas of the Prosthetic and Sensory Aids Service and its relationship with other services of a medical facility.  These criteria are predicated on established and/or anticipated best practice standards, as adapted to provide environments supporting the highest quality heath care for Veterans.

  - These criteria are subject to modification relative to development in the equipment, medical practice, vendor requirements, and subsequent planning and design.  The selection of the size and type of Prosthetic and Sensory Aids Service equipment is determined by VACO and upon Veterans Health Administration (VHA) anticipated medical needs.

  - Room capacity per year should be based on:

Operating days per year x Hours of operation per day

= Number of

Minutes per clinic stop / 60 minutes                    annual clinic stops

    - The general planning model for VA facilities assumes 250 Operating Days per Year and 8 Hours of Operation per Day.  Room capacity will fluctuate as hours of operation are modified, i.e., additional capacity may be generated by extending the daily hours of operation within the same physical setting.

    - The Basic Room Efficiency Factor for Prosthetic and Sensory Aids Service is 80%.

Example: Assume Fitting / Exam Room for Prosthetic and Sensory Aids Service that averages 15 minutes per clinic stop:

250 operating days per year x 8 hours of operation per day

= 4,000 annual

30 minutes per clinic stop / 60 minutes                          clinic stops

A maximum capacity of 4,000 clinic stops per year, assuming 100% utilization.  However, 100% utilization is not realistic to achieve, thus, it is not realistic as a design standard.  Apply Room Efficiency Factor for an affiliated facility:

4,000 x 80% = 3,200 annual clinic stops.

TABLE 1: WORKLOAD PARAMETER CALCULATION

| PROSTHETIC AND SENSORY AIDS SERVCIE | AVERAGE LENGTH OF CLINIC STOP (minutes) | UTILIZATION RATE | MINIMUM WORKLOAD TO GENERATE ONE ROOM |
| --- | --- | --- | --- |
| Fitting / Exam Room, Soft Goods Fabrication | 30 | 80% | 3,200 |

- The number of annual clinic stops per room will be used as a criteria parameter to calculate the number of Fitting / Exam Rooms in the Space

## PROGRAM DATA REQUIRED (Input Data Questions)

  - Mission Input Data Statements

    - Is an Eye Fitting Studio authorized? (M)

    - Is a Facial / Body Fitting Studio authorized? (M)

    - Is a Restoration Clinic authorized? (M)

    - Is a Spinal Cord Injury / Disorders Center, at this location, authorized? (M)

    - Is Shoe Modification authorized? (M)

    - Is Computer Aided Design / Computer Aided Manufacturing authorized? (M)

    - Is a Prosthetic and Sensory Aid Service Residency Program authorized? (M)

      - Is a Residency Program Director FTE position authorized? (M)

      - Is a Library for the Residency Program authorized? (M)

      - Is a Conference / Classroom for the Residency Program authorized? (M)

      - Is an Exam Room for the Residency Program authorized? (M)

      - How many Student positions are authorized? (S)

      - How many Resident / Intern positions are authorized? (S)

  - Workload Input Data Statements

    - How many annual Soft Goods Fabrication clinic stops are projected? (W)

    - How many annual Limb Fabrications are projected? (W)

  - Staffing Input Data Statements

    - How many Orthotist FTE positions are authorized? (S)

    - How many Lab-assigned Technician FTE positions are authorized? (S)

    - How many Assistant Chief of Service FTE positions are authorized? (S)

    - How many Purchasing Agent FTE positions are authorized? (S)

    - How many Equipment Services (Wheelchair Repair) FTE positions are authorized? (S)

  - Miscellaneous Input Data Statements

    - How many FTEs will work on peak shift? (Misc)

    - How many FTE positions are not authorized to have office or cubicle space? (Misc)

## SPACE CRITERIA

###### Reception Areas

    - Waiting (WRC01)	100 NSF (9.3 NSM)

Minimum NSF; provide an additional 25 NSF per each projected Fitting / Exam Room, Eye Fitting Studio, and Facial Body Fitting Studio greater than one.

100 NSF provides for two standard seats, two wheelchair accessible seats and waiting space for one stretcher.  25 NSF additional allocates 25 NSF for one accessible seat per Exam Room greater than one.

    - Reception (RECP1)	100 NSF (9.3 NSM)

Minimum NSF; provide an additional 15 NSF per each projected Fitting / Exam Room greater than three; and, an additional 15 NSF per each projected Eye Fitting Studio and Facial Body Fitting Studio greater than one.

    - Patient Education Kiosk / Alcove (CLSC1)	30 NSF (2.8 NSM)

Provide one per Prosthetic and Sensory Aids Service.

    - Public Toilet (TLTU1)	50 NSF (4.7 NSM)

Provide one for male and one for female.

###### Patient Areas

    - Fitting / Exam Room,

Soft Goods Fabrication (EXRG3)	120 NSF (11.2 NSM)

Minimum one; provide an additional one for every increment of 3,200 projected annual Soft Goods Fabrication clinic stops. (See Table 1)

    - Fitting / Exam Room,

Custom Fabrication (EXRG3)	120 NSF (11.2 NSM)

Provide one per Prosthetic and Sensory Aids Service.

    - Dynamic Alignment Room (EXRG3)	150 NSF (14.00 NSM)

Provide one per Prosthetic and Sensory Aids Service.

    - Dressing Room (DR001)	35 NSF (3.3 NSM)

Provide one per Prosthetic and Sensory Aids Service.

    - Toilet, Patient (TLTU1)	50 NSF (4.7 NSM)

Provide one per Prosthetic and Sensory Aids Service.

    - Eye Fitting Studio (EYPL1)	100 NSF (9.3 NSM)

Provide one per Prosthetic and Sensory Aids Service if authorized in Concept of Operations.

This space is used to display, fit, match and color coordinate artificial eyes.  Patient privacy and natural north light are important design considerations.

    - Facial / Body Fitting Studio (APFR1)	200 NSF (18.6 NSM)

Provide one per Prosthetic and Sensory Aids Service if authorized in Concept of Operations.

This area includes display and is used to apply casts, fit, construct, and adjust artificial facial or body appliances that need color coordination with adjacent body tones.  A hydraulic chair is used for ambulatory patients and space is required to accommodate litter patients.  Patient privacy and natural north light are important design considerations.

    - Laboratory, Restoration (APFB1)	300 NSF (27.9 NSM)

Minimum NSF; provide an additional 50 NSF per each Lab-assigned Technician FTE position authorized greater than two and if authorized in Concept of Operations.

This laboratory is the technicians’ workspace requiring individual workstations and multiple bench and floor type power equipment pieces.  Fume hoods are required to exhaust toxic fumes. Access to natural north light is an important design consideration.

    - Team Evaluation / Multi-purpose Room (TROR1)	300 NSF (27.9 NSM)

Provide one per Prosthetic and Sensory Aids Service.

This area is used to view and evaluate patient handicaps.  A Regional Evaluation Team consists of eight individuals.  This room will also be used for patient examinations and fitting and educational functions when not being used by the Evaluation Team.

    - Cast Room (OPCR1)	160 NSF (14.9 NSM)

Provide one per Prosthetic and Sensory Aids Service.

###### Support Areas

    - Clean Supply Room (SRSE1)	80 NSF (7.5 NSM)

Provide one per Prosthetic and Sensory Aids Service.

    - Soiled Utility Room (USCL1)	80 NSF (7.5 NSM)

Provide one per Prosthetic and Sensory Aids Service.

    - Storage, Equipment (SRE01)	120 NSF (11.2 NSM)

Provide one per Prosthetic and Sensory Aids Service.

    - Laboratory, Prosthetic and Orthotic

Fume Room (APLA1)	200 NSF (18.6 NSM)

Provide one per Prosthetic and Sensory Aids Service.

This area includes: ovens, lamination area, and cast modification area.

    - Trash / Recycling Room

Prosthetic and Orthotic (UTC01)	50 NSF (4.7 NSM)

Provide one per Prosthetic and Sensory Aids Service.

This room should be located adjacent to the Prosthetic and Orthotic Laboratory, Fume Room

    - Laboratory, Prosthetic and Orthotic,

Dust Room (APMS1)	300 NSF ( 27.9 NSM)

Provide one per Prosthetic and Sensory Aids Service.

This area includes: grinders, polishers, saws, sanders, etc.

    - Laboratory, Prosthetic and Orthotic,

Work Station (APFB1)	100 NSF (37.2 NSM)

Provide one per Lab-assigned Technician FTE position authorized.

The Prosthetic and Orthotic Laboratory provides for full fabrication and fitting of prostheses and orthoses. This area includes a casting room, 2-3 casting fitting rooms, CAD/CAM room, general work area with benches and hand / power tools, machine room, cast modification room, lamination room, storage room, supervisory room, and administrative room.  A central dust collection and fume exhaust system and / or individual equipment exhaust systems should be provided.

    - Laboratory, Prosthetic and Orthotic,

Maintenance Support Room (BMC01)	150 NSF 14.0 NSM)

Provide one per Prosthetic and Sensory Aids Service.

This room includes: Air Compressor, Dust Collection Equipment, and Vacuum Machine.

    - Storage, Shoe Modification Materials (SRCS1)	100  NSF ( 9.3 NSM)

Provide one per Prosthetic and Sensory Aids Service if authorized in Concept of Operations.

    - Workspace, Wheelchair Repair (BMCW1)	200 NSF (18.6 NSM)

Provide one per Equipment Services (Wheelchair Repair) FTE position authorized.

    - Storage, Wheelchair Active (SRE01)	200 NSF (18.6 NSM)

Minimum NSF; provide an additional 200 NSF if SCI is authorized.

    - Storage, Dirty Wheelchair / DME Active (SRE01)	200 NSF (18.6 NSM)

Minimum NSF; provide an additional 200 NSF if SCI is authorized.

    - Storage, Wheelchair Parts (SRPS1)	200 NSF (18.6 NSM)

Minimum NSF; provide an additional 200 NSF if SCI is authorized.

    - Computer Aided Design /

Computer Aided Manufacturing (APLA1)	200 NSF (18.6 NSM)

Provide one per Prosthetic and Sensory Aids Service if authorized in Concept of Operations.

## Automated Fabrication of Mobility Aids is a CAD/CAM process that uses computerized equipment used to scan and measure residual limbs of patients with amputation.  Foam or plaster blanks are carved by computerized lathe to create check and permanent prosthetic sockets that are then fabricated and fitted to the patient.

    - Sewing Room (APSH1)	120 NSF (11.2 NSM)

Provide one per Prosthetic and Sensory Aids Service.

    - Storage, Stretcher / Wheelchair (SRLW1) 	40 NSF (3.8 NSM)

Provide one per Prosthetic and Sensory Aids Service.

    - Storage, Orthotics and Prosthetic

Parts / Materials Storage (SRPS1)	100 NSF (9.3 NSM)

Minimum NSF; provide an additional 100 NSF if the annual projected number of Limb Fabrications is greater than one hundred.

    - Prosthetic Appliance Mailing Area (MRRS1)	80 NSF (7.5 NSM)

Provide one per Prosthetic and Sensory Aids Service.

    - Housekeeping Aids Closet – HAC (JANC1)	40 NSF (3.8 NSM)

Provide one per Prosthetic and Sensory Aids Service.

###### Staff and Administrative Areas

    - Office, Chief of Service (OFC01)	150 NSF (14.0 NSM)

Provide one per Prosthetic and Sensory Aids Service.

    - Office, Assistant Chief of Service / Prosthetic

Representative Office (OFA01 / OFA02)	120 NSF (11.2 NSM)

### Provide one per Assistant Chief of Service FTE position authorized. Provide OFA01 if standard furniture is authorized; or, OFA02 if systems furniture is authorized.

    - Office, Secretary and Waiting (SEC01)	120 NSF (11.2 NSM)

### Provide one per Prosthetic and Sensory Aids Service.

    - Office, Purchasing Agents (OFA01 / OFA02 )	120 NSF (11.2 NSM)

### Minimum NSF; provide an additional 80 NSF per each Purchasing Agent FTE position authorized greater than one; provide OFA01 if standard furniture is authorized; or, OFA02 if systems furniture is authorized.

    - Office, Restoration Clinic (OFA01 / OFA02)	120 NSF (11.2 NSM)

Provide one if authorized in Concept of Operations; provide OFA01 if standard furniture is authorized; or, OFA02 if systems furniture is authorized.

    - Office, Orthotic Laboratory (OFA01 / OFA02)	120 NSF (11.2 NSM)

Provide one per Orthotist FTE position authorized; provide OFA01 if standard furniture is authorized; or, OFA02 if systems furniture is authorized.

    - Conference Room (CRR01)	300 NSF (29.9 NSM)

Provide one per Prosthetic and Sensory Aids Service.

### Staff Lockers, Lounge, and Toilets

The spaces below provide programming of Lounge, Lockers, and Toilets at department/service/chapter level.  Alternatively, sum all departments/services data for Lockers, Lounges and Toilets, and program space in Chapter 410-EMS Lockers, Lounges, Toilets and Showers.  Either/or – do not duplicate space. Provide locker space only for those FTEs without office or cubicle space.

    - Lounge, Staff (SL001)	80 NSF (7.5 NSM)

Minimum NSF; provide an additional 15 NSF per each FTE position authorized greater than five; maximum 210 NSF.

For less than five FTE combine Lounge facilities with adjacent department or sum in chapter 410.

    - Locker Room, Staff (LR001)	80 NSF (7.5 NSM)

Minimum NSF if number of FTE positions for whom office space is not authorized is between five and thirteen.  Provide an additional 6 NSF per FTE position authorized for whom office space is not authorized greater than thirteen.

Provide locker space only for those FTEs without assigned office or cubicle space.  For less than five FTE combine Locker Room facilities with adjacent department or sum in chapter 410.

    - Toilet, Staff (TLTU1)	50 NSF (4.7 NSM)

Minimum one; provide an additional staff toilet for each increment of five FTE positions authorized greater than thirteen.

###### Residency Program – Prosthetic and Sensory Aids Service

The following provides space programming at department/service/chapter level.  Otherwise, sum all departments/services/chapters data for Residency Program, and program space in Chapter 402 – Educational Facilities.  Either/or – do not duplicate space.

    - Office, Residency Program Director (OFA01 / OFA02)	120 NSF (11.2 NSM)

Provide one if a Residency Program Director FTE position is authorized; provide OFA01 if standard furniture is authorized; or, OFA02 if system furniture is authorized.

    - Cubicle, Resident / Intern (OFA03)	64 NSF (5.9 NSM)

Provide one per Prosthetic and Sensory Aids Service Resident / Intern positions authorized.

    - Library (CRR01)	300 NSF (27.9 NSM)

Provide one if authorized in Concept of Operations.

    - Conference / Classroom (CRR01)	300 NSF (27.9 NSM)

Provide one if authorized in Concept of Operations.

    - Exam Room (EXRG3)	120 NSF (11.2 NSM)

Provide one if authorized in Concept of Operations.

## PLANNING AND DESIGN CONSIDERATIONS

  - Net-to-department gross factor (NTDG) for Prosthetics and Sensory Aids Service is 1.25.  This number when multiplied by the programmed net square foot (NSF) area, determines the departmental gross square feet.

B.	For efficiency in programming and planning combine and co-locate waiting, reception, and restroom functions and spaces of related services.

###### C.	The Prosthetic and Sensory Aids Service should be located near the main entrance to the facility in order to reduce the travel distance to the service for disabled veterans.  Direct access to Ambulatory Care and Physical Medicine and Rehabilitation Services is desirable.

###### D.	Patients requiring Prosthetic and Orthotic devices require increased maneuvering space.  This should be taken into consideration when designing space within the service.

###### E.	Configure patient waiting areas to provide clustered seating in order to eliminate large waiting spaces, reduce noise and confusion, and improve the general patient environment.

###### F.	Patient confidentiality should be maintained when providing personal information to interview clerks and/or other staff.

- G.	A strong relationship between Prosthetics and Sensory Aids Service, Physical Medicine and Rehabilitation Service and the SCI Patient Care Unit should be maintained.  These services should be located within close proximity to each other.

###### H.	Locate staff areas to be convenient to staff but separate from patient areas.

## FUNCTIONAL RELATIONSHIPS

Relationship of Prosthetic and Sensory Aids Service to services listed below:

TABLE 2: FUNCTIONAL RELATIONSHIP MATRIX

| SERVICES | RELATIONSHIP | REASON |
| --- | --- | --- |
| Parking | 1 | H |
| Nursing Units – SCI (Long Term Care) | 2 | A, H, I |
| Physical Medicine and Rehabilitation | 2 | A, H, I |
| Ambulatory Care | 3 | G,I |
| Audiology and Speech Pathology | 3 | H, I |
| Domiciliary | 3 | H, I |
| Eye Clinic | 3 | G, H, I |
| Hospital Based Home Care | 3 | H, I |
| Nursing Units – Nursing Home Care | 3 | H, I |
| Pharmacy Service | 3 | H, I |
| Supply Service | 3 | B |
| Cardiology Laboratory | 4 | G |
| ENT Clinic | 4 | G |
| Nursing Units - MS&N | 4 | G |
| Nursing Units – SCI (Intensive Care and Sustaining) | 4 | G |
| Respiratory Care Program | 4 | G |
| Nursing Units – Intensive Care | X | L |
| Nursing Units – Mental Health and Behavioral | X | L |
| Surgical Service | X | L |

Legend:

Relationship

    - Adjacent

    - Close / Same Floor

    - Close / Different Floor Acceptable

    - Limited Traffic

- Separation Desirable

Reasons:

A.  Common use of resources

B.  Accessibility of supplies

C.  Urgency of contact

D.  Noise or vibration

E.  Presence of odors or fumes

F.  Contamination hazard

G.  Sequence of work

H.  Patient’s convenience

I.  Frequent contact

J.  Need for security

K.  Others (specify)

L.  Closeness inappropriate

## FUNCTIONAL DIAGRAM