## Alpha Summary
Table S4-1. Measured biweekly concentrations of gross alpha activity at LANL and in surrounding areas during 2007
| # samples | # samples > uncertainty |  | Maximum | Minimum | Mean | 95% Confidence Interval
|  | >2s | >3s | fCi/m3 | fCi/m3 | fCi/m3 | ± fCi/m3
Regional | 104 | 104 | 104 | 2.2784 | 0.23639 | 0.98402 | 0.079747
Pueblo | 72 | 72 | 72 | 2.1829 | 0.32131 | 1.0322 | 0.098366
Perimeter | 702 | 702 | 702 | 3.9339 | 0.20861 | 0.90749 | 0.027869
WasteSite | 208 | 208 | 208 | 3.3551 | 0.32496 | 0.94249 | 0.04621
Onsite | 132 | 132 | 132 | 2.2051 | 0.38443 | 0.86191 | 0.063934
D and D | 112 | 112 | 112 | 4.0511 | 0.17618 | 1.053 | 0.10086

## Regional
Table S4-1a. Measured biweekly concentrations of gross alpha activity in regional areas during 2007
Analyte | DataType | Units | 01 Espanola | 03 Santa Fe School for the Deaf | 55 Santa Fe West (Buckman Booster .4) | 56 El Rancho
Alpha | 12/18/2006 - 1/1/2007 | fCi/m3 | 1.8662 | 0.87063 | 1.1094 | 1.5092
Alpha | 1/1/2007 - 1/15/2007 | fCi/m3 | 1.5246 | 0.79641 | 1.0043 | 1.5996
Alpha | 1/15/2007 - 1/29/2007 | fCi/m3 | 2.1776 | 0.87601 | 1.7803 | 2.0983
Alpha | 1/29/2007 - 2/12/2007 | fCi/m3 | 1.3316 | 0.91408 | 1.0085 | 1.3605
Alpha | 2/12/2007 - 2/26/2007 | fCi/m3 | 0.71355 | 0.43501 | 0.52146 | 0.79524
Alpha | 2/26/2007 - 3/12/2007 | fCi/m3 | 0.57538 | 0.35751 | 0.54737 | 0.9326
Alpha | 3/12/2007 - 3/26/2007 | fCi/m3 | 0.83469 | 0.79827 | 0.85313 | 0.85471
Alpha | 3/26/2007 - 4/9/2007 | fCi/m3 | 0.75352 | 0.90236 | 0.61282 | 0.89776
Alpha | 4/9/2007 - 4/23/2007 | fCi/m3 | 0.67445 | 0.5758 | 0.5614 | 0.75546
Alpha | 4/23/2007 - 5/7/2007 | fCi/m3 | 0.80095 | 0.92394 | 0.62709 | 0.8554
Alpha | 5/7/2007 - 5/21/2007 | fCi/m3 | 1.0431 | 1.0583 | 0.8574 | 1.0245
Alpha | 5/21/2007 - 6/4/2007 | fCi/m3 | 0.8458 | 0.86815 | 0.99797 | 0.8228
Alpha | 6/4/2007 - 6/18/2007 | fCi/m3 | 0.92384 | 0.91137 | 0.59243 | 0.75384
Alpha | 6/18/2007 - 7/2/2007 | fCi/m3 | 0.81083 | 0.90603 | 0.66634 | 0.62172
Alpha | 7/2/2007 - 7/16/2007 | fCi/m3 | 0.91912 | 0.96568 | 0.93091 | 0.86121
Alpha | 7/16/2007 - 7/30/2007 | fCi/m3 | 0.51829 | 0.61062 | 0.51642 | 0.87391
Alpha | 7/30/2007 - 8/13/2007 | fCi/m3 | 0.62083 | 0.78883 | 0.52899 | 0.57081
Alpha | 8/13/2007 - 8/27/2007 | fCi/m3 | 0.89622 | 1.0417 | 0.73221 | 0.23639
Alpha | 8/27/2007 - 9/10/2007 | fCi/m3 | 0.84689 | 0.99043 | 0.62497 | 0.61031
Alpha | 9/10/2007 - 9/24/2007 | fCi/m3 | 0.80807 | 1.0095 | 1.1256 | 1.3453
Alpha | 9/24/2007 - 10/8/2007 | fCi/m3 | 0.69466 | 1.0754 | 0.47237 | 0.70293
Alpha | 10/8/2007 - 10/22/2007 | fCi/m3 | 1.211 | 0.64833 | 0.83585 | 0.93218
Alpha | 10/22/2007 - 11/5/2007 | fCi/m3 | 1.3067 | 1.5449 | 1.7501 | 1.6204
Alpha | 11/5/2007 - 11/19/2007 | fCi/m3 | 2.2784 | 1.202 | 1.7169 | 1.4454
Alpha | 11/19/2007 - 12/3/2007 | fCi/m3 | 1.9797 | 1.145 | 1.373 | 1.6427
Alpha | 12/3/2007 - 12/17/2007 | fCi/m3 | 1.5545 | 0.90458 | 1.0966 | 1.5398
Alpha | Minimum | fCi/m3 | 0.51829 | 0.35751 | 0.47237 | 0.23639
Alpha | Maximum | fCi/m3 | 2.2784 | 1.5449 | 1.7803 | 2.0983
Alpha | Total # samples |  | 26 | 26 | 26 | 26
Alpha | # Samples with Val>2sUncer |  | 26 | 26 | 26 | 26
Alpha | # Samples with Val>3sUncer |  | 26 | 26 | 26 | 26
Alpha | # Samples with Val>MDA |  | 26 | 26 | 26 | 26
Alpha | StDevOfAnnualMean | fCi/m3 | 0.50715 | 0.242 | 0.39105 | 0.43553
Alpha | Prop2SAnalticalUncer | fCi/m3 | 0.057438 | 0.049236 | 0.048865 | 0.05908
Alpha | Prop3SAnalticalUncer | fCi/m3 | 0.086157 | 0.073854 | 0.073298 | 0.08862
Alpha | AnnualMean | fCi/m3 | 1.0966 | 0.88926 | 0.90168 | 1.0486

## Pueblo
Table S4-1b. Measured biweekly concentrations of gross alpha activity in pueblo areas during 2007
Analyte | DataType | Units | 59 Jemez Pueblo - Visitor's Center | 70 San Ildefonso Pueblo Landfill | 84 Picuris Pueblo
Alpha | 12/18/2006 - 1/1/2007 | fCi/m3 | 0.86421 | 1.6678 | 1.102
Alpha | 1/1/2007 - 1/15/2007 | fCi/m3 | 1.8266 | 1.2433 | 0.822
Alpha | 1/15/2007 - 1/29/2007 | fCi/m3 | 2.1829 | 1.6813 | 2.0274
Alpha | 1/29/2007 - 2/12/2007 | fCi/m3 | 1.6473 | 0.95629 | 1.1402
Alpha | 2/12/2007 - 2/26/2007 | fCi/m3 |  | 0.5705 | 0.74789
Alpha | 2/26/2007 - 3/12/2007 | fCi/m3 | 1.208 | 0.744 | 1.1533
Alpha | 3/12/2007 - 3/26/2007 | fCi/m3 | 1.0298 | 0.77209 | 0.61268
Alpha | 3/26/2007 - 4/9/2007 | fCi/m3 | 0.9747 | 0.57403 | 0.88802
Alpha | 4/9/2007 - 4/23/2007 | fCi/m3 | 1.0714 | 0.62472 | 0.79276
Alpha | 4/23/2007 - 5/7/2007 | fCi/m3 | 1.1358 | 0.83797 | 0.87781
Alpha | 5/7/2007 - 5/21/2007 | fCi/m3 | 1.1305 | 1.1429 | 0.99871
Alpha | 5/21/2007 - 6/4/2007 | fCi/m3 | 0.83808 | 0.89753 | 0.81552
Alpha | 6/4/2007 - 6/18/2007 | fCi/m3 | 0.89037 | 0.58868 | 0.82327
Alpha | 6/18/2007 - 7/2/2007 | fCi/m3 | 0.89027 | 0.61114 | 0.67676
Alpha | 7/2/2007 - 7/16/2007 | fCi/m3 |  | 0.61101 | 0.81977
Alpha | 7/16/2007 - 7/30/2007 | fCi/m3 | 0.76588 | 0.32131 | 0.55952
Alpha | 7/30/2007 - 8/13/2007 | fCi/m3 | 1.2723 | 0.43205 | 0.56049
Alpha | 8/13/2007 - 8/27/2007 | fCi/m3 | 1.1501 |  | 0.52965
Alpha | 8/27/2007 - 9/10/2007 | fCi/m3 |  | 0.90884 | 0.61495
Alpha | 9/10/2007 - 9/24/2007 | fCi/m3 |  | 0.81425
Alpha | 9/24/2007 - 10/8/2007 | fCi/m3 | 1.8312 | 0.52177 | 0.66115
Alpha | 10/8/2007 - 10/22/2007 | fCi/m3 | 0.90415 | 0.88372 | 0.9404
Alpha | 10/22/2007 - 11/5/2007 | fCi/m3 | 1.5067 | 1.3293 | 1.6761
Alpha | 11/5/2007 - 11/19/2007 | fCi/m3 | 1.2896 | 1.2858 | 1.6276
Alpha | 11/19/2007 - 12/3/2007 | fCi/m3 | 1.8895 | 1.2816 | 1.8035
Alpha | 12/3/2007 - 12/17/2007 | fCi/m3 | 1.3574 | 0.66079 | 0.75317
Alpha | Minimum | fCi/m3 | 0.76588 | 0.32131 | 0.52965
Alpha | Maximum | fCi/m3 | 2.1829 | 1.6813 | 2.0274
Alpha | Total # samples |  | 22 | 25 | 25
Alpha | # Samples with Val>2sUncer |  | 22 | 25 | 25
Alpha | # Samples with Val>3sUncer |  | 22 | 25 | 25
Alpha | # Samples with Val>MDA |  | 22 | 25 | 25
Alpha | StDevOfAnnualMean | fCi/m3 | 0.39715 | 0.36561 | 0.40934
Alpha | Prop2SAnalticalUncer | fCi/m3 | 0.071072 | 0.049767 | 0.053251
Alpha | Prop3SAnalticalUncer | fCi/m3 | 0.10661 | 0.07465 | 0.079877
Alpha | AnnualMean | fCi/m3 | 1.2571 | 0.8785 | 0.96098

## Perimeter
Table S4-1c. Measured biweekly concentrations of gross alpha activity in perimeter areas during 2007
Analyte | DataType | Units | 06 48th Street (Twin Tanks Complex) | 08 McDonalds | 09 Los Alamos Airport | 10 Eastgate | 11 Well PM-1 (E_ Jemez Road) | 12 Royal Crest Trailer Court | 13 Rocket Park (formerly Pinon School) | 14 Pajarito Acres | 15 White Rock Fire Station | 16 White Rock Nazarene Church | 17 Bandelier Fire Lookout (near park entrance) | 18 Big Rock Loop | 26 TA-49 | 32 Los Alamos County Landfill | 39 TA-49-QA (adjacent to . 26) | 40 LA Airport Runway | 43 East Road Fire Station | 44 New Beginnnings Church | 46 HedgeRow East Rd_ | 60 LA Canyon | 61 LA Hospital | 62 Crossroads Bible Church (formerly Trinity Bible Church) | 63 Monte Rey South | 64 Hill Side 138 | 66 Los Alamos Inn - South | 67 TA-3 Research Park | 68 Los Alamos Airport Road | 90 Eastgate - Backup
Alpha | 12/18/2006 - 1/1/2007 | fCi/m3 | 0.73714 | 0.62265 | 0.8164 | 0.73511 | 0.80795 | 0.80795 | 1.0433 | 1.0565 | 1.2945 | 1.2125 | 0.78758 | 0.97899 | 0.39051 | 0.69299 | 0.63073 | 0.61317 | 0.20861 | 1.3793 | 0.77576 | 0.66331 | 0.41106 | 1.131 | 0.95152 |  | 0.90018 | 0.89626 | 1.0603 | 0.80598
Alpha | 1/1/2007 - 1/15/2007 | fCi/m3 | 0.65728 | 0.86737 | 0.91375 | 1.0322 | 1.0631 | 0.89254 | 0.92739 | 1.0446 | 0.9042 | 0.88675 | 1.0889 | 1.0857 | 0.69478 | 1.0156 | 0.78237 | 0.73858 | 0.96966 | 1.1148 | 0.94935 | 0.78005 | 0.62092 | 1.0639 | 1.0224 |  | 1.042 | 0.84988 | 1.014 | 0.74793
Alpha | 1/15/2007 - 1/29/2007 | fCi/m3 | 1.0843 | 1.2695 | 1.1752 | 1.4288 | 1.3923 | 1.2507 | 1.7445 | 1.5006 | 1.6226 | 1.2567 | 1.3209 | 1.1294 | 1.0117 | 1.3512 | 1.0843 | 0.98652 | 1.6273 | 1.221 | 1.0602 | 1.1316 | 1.1569 | 1.4044 | 1.3138 |  | 1.128 | 0.88363 | 1.8089 | 1.5053
Alpha | 1/29/2007 - 2/12/2007 | fCi/m3 | 0.87668 | 0.96453 | 0.96453 | 0.78649 | 0.85798 | 0.85798 | 0.90283 | 0.61711 | 0.90283 | 0.62492 | 0.76174 | 0.60397 | 0.78649 | 0.91722 | 0.92948 | 1.0963 | 0.9206 | 0.75434 | 0.87668 | 1.0237 | 0.52845 | 0.92529 | 0.63293 |  | 0.83776 | 0.72613 | 0.87668 | 1.093
Alpha | 2/12/2007 - 2/26/2007 | fCi/m3 | 0.61302 | 0.43328 | 0.56674 | 0.5722 | 0.48324 | 0.60897 | 0.61853 | 0.63459 | 0.75236 | 0.6989 | 0.58283 | 0.84404 | 0.93714 | 0.50901 | 0.6026 | 0.6989 | 0.69682 | 0.59479 | 0.50232 | 0.56826 | 0.43746 | 0.7696 | 0.55753 |  | 0.8235 | 0.48275 | 0.61079 | 0.52112
Alpha | 2/26/2007 - 3/12/2007 | fCi/m3 | 0.46603 | 0.86253 | 0.77442 | 0.64225 | 0.50705 | 0.51347 | 0.55084 | 0.55084 | 0.62593 | 0.69086 | 0.41924 | 0.56835 | 0.64038 | 0.81459 | 0.59321 | 0.88464 | 0.60577 | 0.73961 | 0.73961 | 0.73103 | 0.5558 | 0.75882 | 0.55781 |  | 0.51809 | 0.78117 | 0.90658 | 0.51009
Alpha | 3/12/2007 - 3/26/2007 | fCi/m3 | 0.62149 | 0.62149 | 0.57743 | 0.75365 | 0.72346 | 0.7143 | 0.49888 | 0.6964 | 0.72346 | 0.83469 | 0.574 | 0.80539 | 0.61779 | 0.81425 | 0.49888 | 0.84176 | 0.7096 | 0.80781 | 0.68057 | 0.83675 | 0.58474 | 0.67397 | 0.61226 | 0.7514 | 0.80539 | 0.8001 | 0.62149 | 0.79771
Alpha | 3/26/2007 - 4/9/2007 | fCi/m3 | 0.48817 | 0.93733 | 0.59321 | 0.66783 | 0.8624 | 0.77559 | 0.68878 | 0.77559 | 0.73219 | 0.8624 | 0.70119 |  | 0.71221 | 0.8614 | 0.65898 | 0.62292 | 0.69455 | 1.0682 | 0.93733 | 1.0562 |  | 0.9159 | 0.90581 | 1.0081 | 0.904 | 0.91979 | 0.96199 | 0.54712
Alpha | 4/9/2007 - 4/23/2007 | fCi/m3 | 0.68868 | 0.77575 | 0.77575 | 0.73222 | 0.70113 | 0.83409 | 0.70113 | 0.74545 | 0.74545 | 0.74545 | 0.73006 |  | 0.77805 | 0.69928 | 0.64706 | 0.73222 | 0.88494 | 0.87374 | 0.74148 | 0.73006 | 0.77575 | 0.75099 | 0.78977 | 0.7652 | 0.81928 | 0.78037 | 0.81928 | 0.77575
Alpha | 4/23/2007 - 5/7/2007 | fCi/m3 | 0.70474 | 0.92435 | 1.0561 | 0.57297 | 0.92435 | 0.79258 | 0.80262 | 0.88053 | 0.93605 | 0.79258 | 0.71852 |  | 0.83154 | 1.0836 | 0.70055 | 0.79258 | 0.61116 | 1.0328 | 0.61689 | 0.87781 | 1.0561 | 0.96828 | 0.91473 | 0.67776 | 1.2318 | 0.95375 | 0.66081 | 0.83651
Alpha | 5/7/2007 - 5/21/2007 | fCi/m3 | 1.2928 | 0.72347 | 0.59959 | 0.59209 | 0.85485 | 1.03 | 1.0738 | 0.73263 | 1.2648 | 0.81106 | 0.59564 |  | 0.80584 | 1.0188 | 0.90402 | 0.72347 | 0.70808 | 0.72347 | 0.88755 | 0.86875 | 1.0476 | 0.59209 | 0.98623 | 0.98623 | 0.72347 | 1.2092 | 0.76726 | 0.94243
Alpha | 5/21/2007 - 6/4/2007 | fCi/m3 | 1.007 | 0.80618 | 0.70866 | 0.86448 | 0.70915 | 0.87756 | 0.73521 | 0.83321 | 1.0236 | 0.83321 | 0.79661 |  | 0.90768 | 1.3525 | 0.86402 | 0.8353 | 0.68579 | 0.92743 | 0.83538 | 1.126 | 0.96277 | 0.89413 | 0.70017 | 0.95437 | 0.98746 | 1.3676 | 0.88291 | 0.7605
Alpha | 6/4/2007 - 6/18/2007 | fCi/m3 | 0.76937 | 0.73476 | 0.7715 | 0.8121 | 1.0321 | 0.85695 | 0.76937 | 0.81316 | 1.0452 | 0.5504 | 0.56398 |  | 0.81338 | 0.3715 | 0.93808 | 0.58524 | 0.93863 | 0.84736 | 0.83105 | 0.98242 | 0.73695 | 0.81228 | 0.69926 | 1.0075 | 1.0723 | 0.91562 | 0.79145 | 1.0301
Alpha | 6/18/2007 - 7/2/2007 | fCi/m3 | 0.52742 | 0.84728 | 0.7653 | 0.61677 | 0.69458 | 0.60231 | 0.77853 | 0.7389 | 0.60231 | 0.64637 | 0.5039 |  | 0.54905 | 0.95819 | 0.82697 | 0.77499 | 0.92925 | 0.91104 | 0.83538 | 0.7123 | 0.6185 | 0.84728 | 0.65026 | 0.73042 | 0.77716 | 0.66252 | 0.81423 | 0.89951
Alpha | 7/2/2007 - 7/16/2007 | fCi/m3 | 0.8283 | 0.78114 | 0.69348 | 0.89515 | 0.69018 | 0.94431 | 0.81293 | 0.76914 | 0.90051 | 0.85672 | 0.58709 |  | 0.51705 | 1.4317 | 0.86928 | 0.64586 | 0.78618 | 0.97604 | 0.78872 | 1.1515 | 0.64171 | 0.78618 | 0.69018 | 0.73634 | 0.90265 | 0.93522 | 0.88111 | 1.102
Alpha | 7/16/2007 - 7/30/2007 | fCi/m3 | 0.57897 | 0.65327 | 0.55395 | 0.58311 | 0.60339 | 0.56264 | 0.5994 | 0.42171 | 0.48481 | 0.55232 | 0.62907 |  | 0.51675 | 0.88209 | 0.56097 | 0.60518 | 0.64128 | 0.95891 | 0.56816 | 0.6603 | 0.41693 | 0.73783 | 0.55232 | 0.5265 | 0.60879 | 0.61402 | 0.81291 | 0.71163
Alpha | 7/30/2007 - 8/13/2007 | fCi/m3 | 0.45093 | 0.65105 | 0.60944 | 0.58796 | 0.57268 | 0.52863 | 0.66079 | 0.52863 | 0.70485 | 0.66079 | 0.57097 |  | 0.48169 | 0.9403 | 0.65686 | 0.52237 | 0.87064 | 0.70532 | 0.58042 | 0.5042 | 0.41148 | 0.82711 | 0.44052 | 0.68531 | 0.65929 | 0.67084 | 0.42824 | 0.50886
Alpha | 8/13/2007 - 8/27/2007 | fCi/m3 | 0.7459 | 1.0128 | 1.0258 | 0.78568 | 0.95052 | 1.1688 | 0.82991 | 0.64488 | 1.1688 | 0.93879 | 0.75072 |  | 0.92609 | 1.1516 | 0.71205 | 0.84556 | 0.82443 | 0.99345 | 0.90218 | 0.80972 | 0.76962 | 1.1758 | 0.88533 | 0.85655 | 0.98071 | 1.121 | 0.96029 | 1.1304
Alpha | 8/27/2007 - 9/10/2007 | fCi/m3 | 0.64313 | 0.56781 | 0.5313 | 0.48721 | 0.57913 | 0.70278 | 0.70278 | 0.70278 | 0.82643 | 0.46716 | 0.56695 |  | 0.43663 | 0.744 | 0.56695 | 0.51086 | 0.62996 | 0.91228 | 0.58076 | 0.68656 | 0.47417 | 0.78742 | 0.744 | 0.62784 | 0.59565 | 0.92352 | 0.59115 | 0.80761
Alpha | 9/10/2007 - 9/24/2007 | fCi/m3 | 1.4814 | 1.1541 | 0.77917 | 0.96661 | 0.95773 | 0.82867 | 1.0711 | 0.78166 | 0.92269 | 0.64474 | 0.69052 |  | 0.63836 | 1.5532 | 0.82308 | 0.69412 | 0.87289 | 1.4108 | 1.0603 | 1.0882 | 0.38341 | 1.1072 | 0.74873 | 0.63858 | 0.63858 | 1.7223 | 0.87289 | 0.87289
Alpha | 9/24/2007 - 10/8/2007 | fCi/m3 | 0.72611 | 0.61377 | 0.61377 | 0.68089 | 0.55582 | 0.56989 | 0.60656 | 0.68557 | 0.86932 | 0.65035 | 0.56277 |  | 0.83597 | 0.82552 | 0.78173 | 0.57354 | 0.53492 | 0.45203 | 0.61377 | 0.69414 | 1.02 | 1.037 | 0.64232 | 0.54169 | 0.72802 | 0.52711 | 0.6894 | 0.79532
Alpha | 10/8/2007 - 10/22/2007 | fCi/m3 | 0.68767 | 0.6619 | 0.5504 | 0.71706 | 0.7104 | 0.55772 | 0.7291 | 0.49008 | 1.0832 | 0.66508 | 0.73362 |  | 0.73725 | 0.84993 | 0.96396 | 0.75664 | 1.3408 | 1.3238 | 0.8082 | 0.91153 | 0.65352 | 0.923 | 0.61379 | 0.65144 | 0.7981 | 0.90613 | 1.0527 | 0.7637
Alpha | 10/22/2007 - 11/5/2007 | fCi/m3 | 1.2355 | 1.6937 | 2.0112 | 1.7177 | 1.4577 | 1.7642 | 1.578 | 1.2732 | 1.7191 | 1.5268 | 1.5735 |  | 1.4795 | 1.2364 | 1.5785 | 2.04 | 2.0894 | 1.9177 | 1.7177 | 1.9778 | 1.5467 | 1.6907 | 1.1554 | 1.8108 | 1.4776 | 1.999 | 2.1636 | 1.5521
Alpha | 11/5/2007 - 11/19/2007 | fCi/m3 | 1.4763 | 1.7503 | 1.774 | 1.7044 | 1.4226 | 1.4421 | 1.6783 | 1.3623 | 1.9779 | 2.1103 | 1.8765 |  | 1.9483 | 1.854 | 3.9339 | 1.8716 | 1.8569 | 2.1482 | 1.5279 | 1.9992 | 1.6239 | 1.9588 | 1.3223 | 1.5515 | 1.8905 | 1.6942 | 1.9753 | 2.5282
Alpha | 11/19/2007 - 12/3/2007 | fCi/m3 | 1.3175 | 1.3066 | 1.3371 | 1.2341 | 1.7667 | 1.6198 | 1.573 | 1.3866 | 1.6124 | 1.4885 | 1.4584 |  | 1.047 | 1.7065 | 1.1509 | 1.3742 | 1.5401 | 1.1855 | 2.5109 | 1.1333 | 1.6126 | 1.5779 | 1.5235 | 1.128 | 1.3342 | 1.5025 | 1.3249 | 1.8031
Alpha | 12/3/2007 - 12/17/2007 | fCi/m3 | 0.51533 | 0.743 | 0.96484 | 0.6714 | 0.95911 | 0.79388 | 1.0028 | 0.91545 | 1.2211 | 0.99186 | 0.72874 |  | 0.61529 | 1.1959 | 0.52718 | 0.98712 | 0.79728 | 1.2148 | 0.68161 | 0.83556 | 1.0916 | 1.0053 | 0.87179 | 1.1405 | 0.69197 | 0.85699 | 0.88492 | 0.85085
Alpha | Minimum | fCi/m3 | 0.45093 | 0.43328 | 0.5313 | 0.48721 | 0.48324 | 0.51347 | 0.49888 | 0.42171 | 0.48481 | 0.46716 | 0.41924 | 0.56835 | 0.39051 | 0.3715 | 0.49888 | 0.51086 | 0.20861 | 0.45203 | 0.50232 | 0.5042 | 0.38341 | 0.59209 | 0.44052 | 0.5265 | 0.51809 | 0.48275 | 0.42824 | 0.50886
Alpha | Maximum | fCi/m3 | 1.4814 | 1.7503 | 2.0112 | 1.7177 | 1.7667 | 1.7642 | 1.7445 | 1.5006 | 1.9779 | 2.1103 | 1.8765 | 1.1294 | 1.9483 | 1.854 | 3.9339 | 2.04 | 2.0894 | 2.1482 | 2.5109 | 1.9992 | 1.6239 | 1.9588 | 1.5235 | 1.8108 | 1.8905 | 1.999 | 2.1636 | 2.5282
Alpha | Total # samples |  | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 7 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 25 | 26 | 26 | 20 | 26 | 26 | 26 | 26
Alpha | # Samples with Val>2sUncer |  | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 7 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 25 | 26 | 26 | 20 | 26 | 26 | 26 | 26
Alpha | # Samples with Val>3sUncer |  | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 7 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 25 | 26 | 26 | 20 | 26 | 26 | 26 | 26
Alpha | # Samples with Val>MDA |  | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 7 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 25 | 26 | 26 | 20 | 26 | 26 | 26 | 26
Alpha | StDevOfAnnualMean | fCi/m3 | 0.31238 | 0.32263 | 0.36844 | 0.33219 | 0.32294 | 0.32849 | 0.3549 | 0.28315 | 0.37274 | 0.36786 | 0.361 | 0.22043 | 0.32868 | 0.35328 | 0.65852 | 0.37506 | 0.42956 | 0.37559 | 0.42626 | 0.35872 | 0.38007 | 0.32761 | 0.26859 | 0.3293 | 0.30495 | 0.38051 | 0.41634 | 0.44788
Alpha | Prop2SAnalticalUncer | fCi/m3 | 0.045604 | 0.047632 | 0.047728 | 0.046554 | 0.04784 | 0.047805 | 0.048803 | 0.045702 | 0.052541 | 0.048302 | 0.045847 | 0.099754 | 0.045139 | 0.055182 | 0.056252 | 0.048375 | 0.050774 | 0.054446 | 0.052591 | 0.050069 | 0.047609 | 0.052363 | 0.045982 | 0.055538 | 0.049034 | 0.051981 | 0.051573 | 0.05258
Alpha | Prop3SAnalticalUncer | fCi/m3 | 0.068406 | 0.071447 | 0.071591 | 0.069831 | 0.071761 | 0.071708 | 0.073204 | 0.068553 | 0.078811 | 0.072453 | 0.068771 | 0.14963 | 0.067709 | 0.082773 | 0.084379 | 0.072562 | 0.07616 | 0.081669 | 0.078887 | 0.075103 | 0.071413 | 0.078545 | 0.068973 | 0.083307 | 0.073551 | 0.077972 | 0.07736 | 0.07887
Alpha | AnnualMean | fCi/m3 | 0.8162 | 0.88384 | 0.8655 | 0.84002 | 0.87845 | 0.88071 | 0.91078 | 0.83008 | 1.0256 | 0.88463 | 0.80285 | 0.85941 | 0.79448 | 1.032 | 0.91487 | 0.85976 | 0.92214 | 1.0459 | 0.90808 | 0.94385 | 0.80555 | 1.0047 | 0.82633 | 0.88881 | 0.91833 | 0.98852 | 0.97054 | 0.96922 | 1.0459

## WasteSite
Table S4-1d. Measured biweekly concentrations of gross alpha activity in waste site areas during 2007
Analyte | DataType | Units | 27 TA-54 Area G (by QA) | 34 TA-54 Area G-1 (behind trailer) | 35 TA-54 Area G-2 (back fence) | 36 TA-54 Area G-3 (by office) | 45 TA-54 - Area G/ Southeast Perimeter | 47 TA-54 - Area G/ North Perimeter | 50 TA-54 - Area G - expansion | 51 TA-54 - Area G - expansion pit
Alpha | 12/18/2006 - 1/1/2007 | fCi/m3 | 0.94095 | 0.70716 | 0.7779 | 0.90018 | 0.73714 | 0.78498 | 0.7779 | 0.94095
Alpha | 1/1/2007 - 1/15/2007 | fCi/m3 | 0.83912 | 0.76964 | 0.75978 | 0.8836 | 1.0615 | 0.7847 | 0.72185 | 0.98502
Alpha | 1/15/2007 - 1/29/2007 | fCi/m3 | 1.4155 | 1.4033 | 1.5575 | 1.1607 | 1.7766 | 1.794 | 1.1827 | 1.5315
Alpha | 1/29/2007 - 2/12/2007 | fCi/m3 | 0.98926 | 0.94421 | 1.0524 | 0.98926 | 0.83035 | 1.0524 | 1.1402 | 0.8433
Alpha | 2/12/2007 - 2/26/2007 | fCi/m3 | 0.62273 | 0.74789 | 0.82612 | 0.79223 | 0.42761 | 0.73854 | 0.56337 | 0.78233
Alpha | 2/26/2007 - 3/12/2007 | fCi/m3 | 0.56115 | 0.73961 | 0.69499 | 0.82883 | 0.66727 | 0.51654 | 0.68631 | 1.0202
Alpha | 3/12/2007 - 3/26/2007 | fCi/m3 | 0.63363 | 0.72346 | 0.76838 | 0.79911 | 0.6964 | 0.75865 | 0.67529 | 0.72346
Alpha | 3/26/2007 - 4/9/2007 | fCi/m3 | 0.67183 | 0.86364 | 0.88639 | 0.93088 | 0.69909 | 0.84178 | 1.0605 | 1.1651
Alpha | 4/9/2007 - 4/23/2007 | fCi/m3 | 0.73222 | 0.82416 | 0.82171 | 0.81599 | 0.82416 | 0.69278 | 0.7894 | 1.0155
Alpha | 4/23/2007 - 5/7/2007 | fCi/m3 | 0.79258 | 0.71852 | 0.83651 | 0.93605 | 0.96253 | 0.83154 | 1.1265 | 0.95632
Alpha | 5/7/2007 - 5/21/2007 | fCi/m3 | 0.69034 | 0.76726 | 0.72563 | 0.82624 | 0.63588 | 0.32496 | 1.077 | 0.91273
Alpha | 5/21/2007 - 6/4/2007 | fCi/m3 | 0.95418 | 1.1201 | 0.8228 | 0.88617 | 1.2242 | 1.0645 | 1.0856 | 1.1112
Alpha | 6/4/2007 - 6/18/2007 | fCi/m3 | 1.2015 | 1.2511 | 0.873 | 0.74148 | 1.1035 | 1.1786 | 0.59163 | 0.85575
Alpha | 6/18/2007 - 7/2/2007 | fCi/m3 | 0.77853 | 0.82506 | 1.03 | 1.0244 | 0.99583 | 0.69249 | 1.0429 | 0.98243
Alpha | 7/2/2007 - 7/16/2007 | fCi/m3 | 0.80529 | 0.95911 | 0.9045 | 0.54175 | 1.0222 | 0.95074 | 0.81536 | 0.97141
Alpha | 7/16/2007 - 7/30/2007 | fCi/m3 | 0.64511 | 0.65133 | 0.74223 | 0.66165 | 0.5994 | 0.65133 | 0.56432 | 0.85278
Alpha | 7/30/2007 - 8/13/2007 | fCi/m3 | 0.692 | 0.65686 | 0.56928 | 0.96341 | 0.70065 | 0.56928 | 0.79822 | 0.70065
Alpha | 8/13/2007 - 8/27/2007 | fCi/m3 | 1.0409 | 1.1907 | 0.96542 | 1.0541 | 1.1159 | 0.91227 | 1.0227 | 1.1723
Alpha | 8/27/2007 - 9/10/2007 | fCi/m3 | 0.71607 | 0.53601 | 0.66306 | 0.62684 | 0.70501 | 0.62497 | 0.5897 | 0.79523
Alpha | 9/10/2007 - 9/24/2007 | fCi/m3 | 1.1223 | 1.0785 | 1.0347 | 0.94711 | 0.99091 | 1.0921 | 0.9591 | 0.83665
Alpha | 9/24/2007 - 10/8/2007 | fCi/m3 | 0.81362 | 0.72261 | 0.77263 | 0.86543 | 0.79245 | 0.81362 | 0.77263 | 0.73165
Alpha | 10/8/2007 - 10/22/2007 | fCi/m3 | 0.78895 | 0.83627 | 0.70312 | 0.83627 | 0.64701 | 0.78895 | 0.93089 | 0.72122
Alpha | 10/22/2007 - 11/5/2007 | fCi/m3 | 1.434 | 1.0663 | 1.3875 | 1.2347 | 1.0349 | 1.8769 | 1.5475 | 0.77842
Alpha | 11/5/2007 - 11/19/2007 | fCi/m3 | 1.8283 | 1.3751 | 1.5883 | 1.7547 | 1.5882 | 1.5883 | 2.0029 | 0.87394
Alpha | 11/19/2007 - 12/3/2007 | fCi/m3 | 1.3183 | 1.3751 | 1.4171 | 1.8125 | 1.5682 | 1.1966 | 1.443 | 3.3551
Alpha | 12/3/2007 - 12/17/2007 | fCi/m3 | 0.8131 | 0.75465 | 0.88763 | 0.84361 | 1.0831 | 1.0088 | 0.92092 | 0.73821
Alpha | Minimum | fCi/m3 | 0.56115 | 0.53601 | 0.56928 | 0.54175 | 0.42761 | 0.32496 | 0.56337 | 0.70065
Alpha | Maximum | fCi/m3 | 1.8283 | 1.4033 | 1.5883 | 1.8125 | 1.7766 | 1.8769 | 2.0029 | 3.3551
Alpha | Total # samples |  | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26
Alpha | # Samples with Val>2sUncer |  | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26
Alpha | # Samples with Val>3sUncer |  | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26
Alpha | # Samples with Val>MDA |  | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26
Alpha | StDevOfAnnualMean | fCi/m3 | 0.30647 | 0.24753 | 0.27195 | 0.28783 | 0.32618 | 0.36798 | 0.33301 | 0.5115
Alpha | Prop2SAnalticalUncer | fCi/m3 | 0.049095 | 0.048069 | 0.048857 | 0.05037 | 0.049965 | 0.049702 | 0.050667 | 0.057869
Alpha | Prop3SAnalticalUncer | fCi/m3 | 0.073643 | 0.072104 | 0.073286 | 0.075556 | 0.074948 | 0.074553 | 0.076 | 0.086803
Alpha | AnnualMean | fCi/m3 | 0.91698 | 0.90798 | 0.92572 | 0.94835 | 0.94192 | 0.92809 | 0.95725 | 1.0136

## OnSite
Table S4-1e. Measured biweekly concentrations of gross alpha activity in on site areas during 2007
Analyte | DataType | Units | 23 TA-5 (formerly TA-52, Beta Site) | 24 TA-16 Near S-Site Cafeteria | 30 Pajarito Booster 2 (P-2) | 49 Pajarito Road (TA-36) | 52 TA-50 Caustic Tank Vault | 53 TA-50, MDA-C
Alpha | 12/18/2006 - 1/1/2007 | fCi/m3 | 0.7598 | 0.5454 | 0.7464 | 0.96879 | 0.59286 | 0.79143
Alpha | 1/1/2007 - 1/15/2007 | fCi/m3 | 0.71481 | 0.77042 | 0.92438 | 0.75795 | 0.73075 | 0.77738
Alpha | 1/15/2007 - 1/29/2007 | fCi/m3 | 1.0506 | 1.098 | 0.9722 | 1.0941 |  | 0.9722
Alpha | 1/29/2007 - 2/12/2007 | fCi/m3 | 0.59553 | 0.74269 | 0.96248 | 0.7401 |  | 1.1931
Alpha | 2/12/2007 - 2/26/2007 | fCi/m3 | 0.6327 | 0.66691 | 0.48469 | 0.62646 |  | 0.69642
Alpha | 2/26/2007 - 3/12/2007 | fCi/m3 | 0.76422 | 0.68754 | 0.6548 | 0.38443 |  | 1.0553
Alpha | 3/12/2007 - 3/26/2007 | fCi/m3 | 0.79296 | 0.57571 | 0.66094 | 0.70537 |  | 0.77605
Alpha | 3/26/2007 - 4/9/2007 | fCi/m3 | 0.68878 | 0.66333 | 0.74145 | 0.82936 |  | 0.94921
Alpha | 4/9/2007 - 4/23/2007 | fCi/m3 | 0.78977 | 0.77575 | 0.74545 | 0.92273 |  | 0.67365
Alpha | 4/23/2007 - 5/7/2007 | fCi/m3 | 0.75814 | 0.71852 | 1.1 | 0.74866 |  | 0.84542
Alpha | 5/7/2007 - 5/21/2007 | fCi/m3 | 1.0431 | 0.71005 | 0.88815 | 1.1176 |  | 0.81106
Alpha | 5/21/2007 - 6/4/2007 | fCi/m3 | 1.0136 | 0.78653 | 1.0505 | 0.8228 |  | 0.83321
Alpha | 6/4/2007 - 6/18/2007 | fCi/m3 | 0.73476 | 0.93808 | 0.90344 | 0.94454 |  | 1.1476
Alpha | 6/18/2007 - 7/2/2007 | fCi/m3 | 0.94537 | 0.7034 | 0.85765 | 0.92778 |  | 0.77853
Alpha | 7/2/2007 - 7/16/2007 | fCi/m3 | 0.50638 | 0.94991 | 0.94431 | 0.9881 |  | 0.76914
Alpha | 7/16/2007 - 7/30/2007 | fCi/m3 | 0.59762 | 0.55395 | 0.68292 | 0.39681 |  | 0.64128
Alpha | 7/30/2007 - 8/13/2007 | fCi/m3 | 0.83452 | 0.56928 | 0.65882 | 0.41849 |  | 0.79059
Alpha | 8/13/2007 - 8/27/2007 | fCi/m3 | 0.8632 | 0.9778 | 1.0348 | 0.77587 |  | 0.96255
Alpha | 8/27/2007 - 9/10/2007 | fCi/m3 | 0.38953 | 0.55824 | 0.75671 | 0.40671 |  | 0.40797
Alpha | 9/10/2007 - 9/24/2007 | fCi/m3 | 1.3551 | 0.7789 | 0.9697 | 1.2827 |  | 0.63271
Alpha | 9/24/2007 - 10/8/2007 | fCi/m3 | 0.51897 | 0.73794 | 0.94509 | 0.82552 |  | 0.73794
Alpha | 10/8/2007 - 10/22/2007 | fCi/m3 | 0.80104 | 0.6298 | 0.92735 | 0.76554 |  | 0.61976
Alpha | 10/22/2007 - 11/5/2007 | fCi/m3 | 2.0437 | 1.8785 | 1.9146 | 1.8253 |  | 1.6437
Alpha | 11/5/2007 - 11/19/2007 | fCi/m3 | 1.6233 | 2.2024 | 1.9011 | 2.2051 |  | 1.9813
Alpha | 11/19/2007 - 12/3/2007 | fCi/m3 | 1.4323 | 1.6943 | 1.5202 | 1.101 |  | 1.4041
Alpha | 12/3/2007 - 12/17/2007 | fCi/m3 | 0.78446 | 0.65934 | 0.65347 | 0.78446 |  | 0.78446
Alpha | Minimum | fCi/m3 | 0.38953 | 0.5454 | 0.48469 | 0.38443 | 0.59286 | 0.40797
Alpha | Maximum | fCi/m3 | 2.0437 | 2.2024 | 1.9146 | 2.2051 | 0.73075 | 1.9813
Alpha | Total # samples |  | 26 | 26 | 26 | 26 | 2 | 26
Alpha | # Samples with Val>2sUncer |  | 26 | 26 | 26 | 26 | 2 | 26
Alpha | # Samples with Val>3sUncer |  | 26 | 26 | 26 | 26 | 2 | 26
Alpha | # Samples with Val>MDA |  | 26 | 26 | 26 | 26 | 2 | 26
Alpha | StDevOfAnnualMean | fCi/m3 | 0.3692 | 0.419 | 0.3471 | 0.40428 | 0.097507 | 0.33759
Alpha | Prop2SAnalticalUncer | fCi/m3 | 0.048293 | 0.048249 | 0.050145 | 0.048722 | 0.14934 | 0.049377
Alpha | Prop3SAnalticalUncer | fCi/m3 | 0.07244 | 0.072374 | 0.075218 | 0.073083 | 0.22401 | 0.074066
Alpha | AnnualMean | fCi/m3 | 0.88593 | 0.86818 | 0.94622 | 0.89871 | 0.66181 | 0.91062

## DandD
Table S4-1f. Measured biweekly concentrations of gross alpha activity in demolition areas during 2007
Analyte | DataType | Units | 20 TA-21 Area B | 42 A15 - West End | 71 DP - Fire Station | 72 DP - Ace | 73 DP - Monitor | 74 A15 - West Center | 75 A15 - East Center | 79 A15 - East End
Alpha | 12/18/2006 - 1/1/2007 | fCi/m3 | 0.65562 | 0.73714
Alpha | 1/1/2007 - 1/15/2007 | fCi/m3 | 0.56173 | 0.91104
Alpha | 1/15/2007 - 1/29/2007 | fCi/m3 | 1.1423 | 1.0468
Alpha | 1/29/2007 - 2/12/2007 | fCi/m3 | 0.91492 | 0.74491
Alpha | 2/12/2007 - 2/26/2007 | fCi/m3 | 0.74519 | 0.48944
Alpha | 2/26/2007 - 3/12/2007 | fCi/m3 | 0.51009 | 0.81847
Alpha | 3/12/2007 - 3/26/2007 | fCi/m3 | 0.75365 | 0.71858
Alpha | 3/26/2007 - 4/9/2007 | fCi/m3 | 0.65938 | 0.8814
Alpha | 4/9/2007 - 4/23/2007 | fCi/m3 | 0.86282 | 0.88494
Alpha | 4/23/2007 - 5/7/2007 | fCi/m3 | 1.144 | 0.50757
Alpha | 5/7/2007 - 5/21/2007 | fCi/m3 | 0.49828 | 0.37804
Alpha | 5/21/2007 - 6/4/2007 | fCi/m3 | 0.94214 | 0.17618
Alpha | 6/4/2007 - 6/18/2007 | fCi/m3 | 0.72724 | 1.0038
Alpha | 6/18/2007 - 7/2/2007 | fCi/m3 | 0.84873 | 0.91104
Alpha | 7/2/2007 - 7/16/2007 | fCi/m3 | 0.83879 | 1.0235
Alpha | 7/16/2007 - 7/30/2007 | fCi/m3 | 0.91024 | 0.73296
Alpha | 7/30/2007 - 8/13/2007 | fCi/m3 | 0.52743 | 0.82467 | 0.69651 | 0.57307 | 0.79547 | 0.37538 | 0.45833 | 0.61716
Alpha | 8/13/2007 - 8/27/2007 | fCi/m3 | 0.8426 | 1.0573 | 1.4079 | 1.1932 | 1.1925 | 0.79038 | 0.69198 | 1.1228
Alpha | 8/27/2007 - 9/10/2007 | fCi/m3 | 0.56216 | 0.65523 | 0.69605 | 0.75174 | 0.83354 | 0.68043 | 0.43161 | 0.61441
Alpha | 9/10/2007 - 9/24/2007 | fCi/m3 | 1.1031 | 1.1541 | 0.82603 | 1.0603 | 0.91975 | 0.54486 | 0.68544 | 0.70989
Alpha | 9/24/2007 - 10/8/2007 | fCi/m3 | 0.58468 | 0.56646 | 0.68089 | 1.991 | 0.92112 | 0.53492 | 0.86324 | 0.57505
Alpha | 10/8/2007 - 10/22/2007 | fCi/m3 | 0.82734 | 0.92722 | 1.0274 | 1.2262 | 0.94335 | 0.59989 | 1.1656 | 0.93586
Alpha | 10/22/2007 - 11/5/2007 | fCi/m3 | 1.2054 | 1.8404 | 1.6718 | 2.4891 | 1.4911 | 1.7407 | 1.6669 | 1.541
Alpha | 11/5/2007 - 11/19/2007 | fCi/m3 | 1.5609 | 4.0511 | 1.8539 | 1.6741 | 2.0191 | 1.2165 | 1.7243 | 1.953
Alpha | 11/19/2007 - 12/3/2007 | fCi/m3 | 2.5704 | 1.992 | 1.4596 | 1.6997 | 1.4113 | 1.0308 | 1.2969 | 1.679
Alpha | 12/3/2007 - 12/17/2007 | fCi/m3 | 1.0695 | 0.96773 | 1.0156 | 1.0966 | 1.1229 | 0.85443 | 0.4433 | 0.88809
Alpha | Minimum | fCi/m3 | 0.49828 | 0.17618 | 0.68089 | 0.57307 | 0.79547 | 0.37538 | 0.43161 | 0.57505
Alpha | Maximum | fCi/m3 | 2.5704 | 4.0511 | 1.8539 | 2.4891 | 2.0191 | 1.7407 | 1.7243 | 1.953
Alpha | Total # samples |  | 26 | 26 | 10 | 10 | 10 | 10 | 10 | 10
Alpha | # Samples with Val>2sUncer |  | 26 | 26 | 10 | 10 | 10 | 10 | 10 | 10
Alpha | # Samples with Val>3sUncer |  | 26 | 26 | 10 | 10 | 10 | 10 | 10 | 10
Alpha | # Samples with Val>MDA |  | 26 | 26 | 10 | 10 | 10 | 10 | 10 | 10
Alpha | StDevOfAnnualMean | fCi/m3 | 0.42422 | 0.72946 | 0.43427 | 0.58488 | 0.38213 | 0.40431 | 0.4934 | 0.49588
Alpha | Prop2SAnalticalUncer | fCi/m3 | 0.053163 | 0.060088 | 0.093317 | 0.10859 | 0.096058 | 0.076692 | 0.085443 | 0.091072
Alpha | Prop3SAnalticalUncer | fCi/m3 | 0.079744 | 0.090133 | 0.13998 | 0.16288 | 0.14409 | 0.11504 | 0.12816 | 0.13661
Alpha | AnnualMean | fCi/m3 | 0.90648 | 1.0001 | 1.1336 | 1.3755 | 1.165 | 0.83683 | 0.94275 | 1.0636