## Pu239 Summary
Table S4-6. Measured quarterly concentrations of Plutonium-239 activity at LANL and in surrounding areas during 2007
| # samples | # samples > uncertainty |  | Maximum | Minimum | Mean | 95% Confidence Interval
|  | >2s | >3s | fCi/m3 | fCi/m3 | fCi/m3 | ± fCi/m3
Regional | 16 | 4 | 1 | 1.8304 | -0.45141 | 0.63229 | 0.35339
Pueblo | 12 | 4 | 0 | 2.2734 | -1.2003 | 0.53639 | 0.62477
Perimeter | 108 | 26 | 10 | 48.3472 | -1.7781 | 2.1002 | 1.0143
WasteSite | 32 | 17 | 12 | 39.6251 | -0.80621 | 5.4986 | 3.8049
Onsite | 21 | 4 | 1 | 70.676 | -1.0391 | 3.3695 | 6.9746
D and D | 20 | 14 | 12 | 64.4134 | -1.2702 | 8.444 | 6.7454

## Regional
Table S4-6a. Measured quarterly concentrations of Plutonium-239 activity in regional areas during 2007
Analyte | DataType | Units | 01 Espanola | 03 Santa Fe School for the Deaf | 55 Santa Fe West (Buckman Booster .4) | 56 El Rancho
Pu-239 | 12/18/2006 - 3/26/2007 | aCi/m3 | -0.03914 | 0.49821 | 1.8304 | 0.92221
Pu-239 | 3/26/2007 - 6/18/2007 | aCi/m3 | 0.68092 | 1.1696 | -0.152 | 0.069995
Pu-239 | 6/18/2007 - 9/24/2007 | aCi/m3 | 1.0629 | 0.36484 | -0.45141 | 1.501
Pu-239 | 9/24/2007 - 12/17/2007 | aCi/m3 | 1.4118 | -0.17476 | 0.68929 | 0.73281
Pu-239 | Minimum | aCi/m3 | -0.03914 | -0.17476 | -0.45141 | 0.069995
Pu-239 | Maximum | aCi/m3 | 1.4118 | 1.1696 | 1.8304 | 1.501
Pu-239 | Total # samples |  | 4 | 4 | 4 | 4
Pu-239 | # Samples with Val>2sUncer |  | 1 | 0 | 1 | 2
Pu-239 | # Samples with Val>3sUncer |  | 0 | 0 | 1 | 0
Pu-239 | # Samples with Val>MDA |  | 2 | 1 | 1 | 2
Pu-239 | StDevOfAnnualMean | aCi/m3 | 0.62181 | 0.55283 | 1.0221 | 0.58982
Pu-239 | Prop2SAnalticalUncer | aCi/m3 | 1.1385 | 1.2108 | 1.0472 | 1.0885
Pu-239 | Prop3SAnalticalUncer | aCi/m3 | 1.7078 | 1.8162 | 1.5709 | 1.6327
Pu-239 | AnnualMean | aCi/m3 | 0.77911 | 0.46446 | 0.47906 | 0.80651

## Pueblo
Table S4-6b. Measured quarterly concentrations of Plutonium-239 activity in pueblo areas during 2007
Analyte | DataType | Units | 59 Jemez Pueblo - Visitor's Center | 70 San Ildefonso Pueblo Landfill | 84 Picuris Pueblo
Pu-239 | 12/18/2006 - 3/26/2007 | aCi/m3 | 0.24452 | -0.83819 | 1.277
Pu-239 | 3/26/2007 - 6/18/2007 | aCi/m3 | 1.2963 | -1.2003 | 0.60905
Pu-239 | 6/18/2007 - 9/24/2007 | aCi/m3 | 0.0072959 | -0.20935 | 1.012
Pu-239 | 9/24/2007 - 12/17/2007 | aCi/m3 | 0.62735 | 2.2734 | 1.3376
Pu-239 | Minimum | aCi/m3 | 0.0072959 | -1.2003 | 0.60905
Pu-239 | Maximum | aCi/m3 | 1.2963 | 2.2734 | 1.3376
Pu-239 | Total # samples |  | 4 | 4 | 4
Pu-239 | # Samples with Val>2sUncer |  | 1 | 1 | 2
Pu-239 | # Samples with Val>3sUncer |  | 0 | 0 | 0
Pu-239 | # Samples with Val>MDA |  | 2 | 1 | 2
Pu-239 | StDevOfAnnualMean | aCi/m3 | 0.56293 | 1.5658 | 0.33156
Pu-239 | Prop2SAnalticalUncer | aCi/m3 | 1.3726 | 1.0902 | 1.1755
Pu-239 | Prop3SAnalticalUncer | aCi/m3 | 2.059 | 1.6353 | 1.7633
Pu-239 | AnnualMean | aCi/m3 | 0.54387 | 0.006391 | 1.0589

## Perimeter
Table S4-6c. Measured quarterly concentrations of Plutonium-239 activity in perimeter areas during 2007
Analyte | DataType | Units | 06 48th Street (Twin Tanks Complex) | 08 McDonalds | 09 Los Alamos Airport | 10 Eastgate | 11 Well PM-1 (E_ Jemez Road) | 12 Royal Crest Trailer Court | 13 Rocket Park (formerly Pinon School) | 14 Pajarito Acres | 15 White Rock Fire Station | 16 White Rock Nazarene Church | 17 Bandelier Fire Lookout (near park entrance) | 26 TA-49 | 32 Los Alamos County Landfill | 39 TA-49-QA (adjacent to . 26) | 40 LA Airport Runway | 43 East Road Fire Station | 44 New Beginnnings Church | 46 HedgeRow East Rd_ | 60 LA Canyon | 61 LA Hospital | 62 Crossroads Bible Church (formerly Trinity Bible Church) | 63 Monte Rey South | 64 Hill Side 138 | 66 Los Alamos Inn - South | 67 TA-3 Research Park | 68 Los Alamos Airport Road | 90 Eastgate - Backup
Pu-239 | 12/18/2006 - 3/26/2007 | aCi/m3 | -0.28604 | -0.33592 | 0.95609 | 0.27921 | 0.44452 | 0.58238 | -0.32305 | 0.83572 | -0.36659 | 0.40806 | 0.31702 | 1.4388 | 3.0991 | -0.81294 | -0.36178 | 0.056308 | 0.1971 | 0.84793 | -0.059236 | -0.57998 | -0.63599 | 0.067426 | 5.8199 | 9.0782 | -0.82105 | 0.71012 | 10.4303
Pu-239 | 3/26/2007 - 6/18/2007 | aCi/m3 | 0.082704 | 0.24564 | -0.13857 | 0.35551 | 0.097377 | -0.41532 | 0.18503 | -0.10896 | 1.6779 | -0.03461 | 0.43237 | 0.37146 | -1.7781 | 0.64677 | 0.55347 | -0.74244 | -1.544 | 1.0952 | 2.226 | -0.13746 | 0.56405 | -0.13855 | 13.2268 | 48.3472 | 0.084268 | 0.63758 | -0.68894
Pu-239 | 6/18/2007 - 9/24/2007 | aCi/m3 | 0.95154 | 2.9682 | -0.1983 | 0.083048 | -0.19618 | 0.3063 | 0.34431 | 3.6913 | -0.4488 | 0.93458 | 1.4742 | -0.20901 | 1.1911 | 0.75647 | 0.28418 | -0.18345 | -1.0087 | 0.75783 | 0.81744 | 0.019438 | 0.93358 | -0.85456 | 13.7299 | 11.5602 | -0.46155 | -0.086318 | 2.8186
Pu-239 | 9/24/2007 - 12/17/2007 | aCi/m3 | -0.40848 | -0.41987 | 1.4227 | 0.10808 | 0.66365 | 0.60125 | 0.38652 | 0.10838 | 1.3117 | 0.074762 | 0.37401 | 0.85621 | 0.6676 | -0.16537 | 0.99538 | -0.16183 | 0.80715 | -0.17806 | 0.30969 | -0.86892 | 1.8987 | -0.16024 | 7.7827 | 6.7375 | -0.4402 | 0.39617 | 0.73123
Pu-239 | Minimum | aCi/m3 | -0.40848 | -0.41987 | -0.1983 | 0.083048 | -0.19618 | -0.41532 | -0.32305 | -0.10896 | -0.4488 | -0.03461 | 0.31702 | -0.20901 | -1.7781 | -0.81294 | -0.36178 | -0.74244 | -1.544 | -0.17806 | -0.059236 | -0.86892 | -0.63599 | -0.85456 | 5.8199 | 6.7375 | -0.82105 | -0.086318 | -0.68894
Pu-239 | Maximum | aCi/m3 | 0.95154 | 2.9682 | 1.4227 | 0.35551 | 0.66365 | 0.60125 | 0.38652 | 3.6913 | 1.6779 | 0.93458 | 1.4742 | 1.4388 | 3.0991 | 0.75647 | 0.99538 | 0.056308 | 0.80715 | 1.0952 | 2.226 | 0.019438 | 1.8987 | 0.067426 | 13.7299 | 48.3472 | 0.084268 | 0.71012 | 10.4303
Pu-239 | Total # samples |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Pu-239 | # Samples with Val>2sUncer |  | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 1 | 1 | 1 | 0 | 0 | 3 | 1 | 0 | 1 | 0 | 4 | 4 | 0 | 1 | 2
Pu-239 | # Samples with Val>3sUncer |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 4 | 0 | 0 | 2
Pu-239 | # Samples with Val>MDA |  | 2 | 0 | 2 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 3 | 0 | 1 | 1 | 2 | 1 | 2 | 3 | 2 | 0 | 1 | 0 | 3 | 4 | 0 | 0 | 2
Pu-239 | StDevOfAnnualMean | aCi/m3 | 0.6143 | 1.5968 | 0.80711 | 0.13218 | 0.37916 | 0.47549 | 0.32593 | 1.7536 | 1.1091 | 0.4354 | 0.55189 | 0.70121 | 2.0086 | 0.73793 | 0.56792 | 0.34072 | 1.0789 | 0.55775 | 1.0017 | 0.40696 | 1.0479 | 0.40203 | 3.9427 | 19.7095 | 0.37275 | 0.35977 | 4.9525
Pu-239 | Prop2SAnalticalUncer | aCi/m3 | 0.95611 | 1.3976 | 1.0128 | 1.0121 | 1.0588 | 0.9836 | 1.0322 | 1.4516 | 1.2627 | 0.99751 | 0.99018 | 1.1118 | 1.2359 | 0.97234 | 1.0256 | 0.98487 | 1.0169 | 1.0027 | 1.3028 | 1.0345 | 1.307 | 1.0646 | 4.6714 | 3.1566 | 1.0497 | 1.0481 | 1.3763
Pu-239 | Prop3SAnalticalUncer | aCi/m3 | 1.4342 | 2.0963 | 1.5192 | 1.5182 | 1.5882 | 1.4754 | 1.5482 | 2.1775 | 1.894 | 1.4963 | 1.4853 | 1.6677 | 1.8538 | 1.4585 | 1.5384 | 1.4773 | 1.5253 | 1.504 | 1.9542 | 1.5518 | 1.9605 | 1.5969 | 7.0071 | 4.735 | 1.5745 | 1.5721 | 2.0644
Pu-239 | AnnualMean | aCi/m3 | 0.084928 | 0.61452 | 0.51047 | 0.20646 | 0.25234 | 0.26865 | 0.1482 | 1.1316 | 0.54356 | 0.3457 | 0.6494 | 0.61436 | 0.79493 | 0.10623 | 0.36781 | -0.25785 | -0.38711 | 0.63074 | 0.82347 | -0.39173 | 0.69009 | -0.27148 | 10.1398 | 18.9308 | -0.40963 | 0.41439 | 3.3228 | 18.9308

## WasteSite
Table S4-6d. Measured quarterly concentrations of Plutonium-239 activity in waste site areas during 2007
Analyte | DataType | Units | 27 TA-54 Area G (by QA) | 34 TA-54 Area G-1 (behind trailer) | 35 TA-54 Area G-2 (back fence) | 36 TA-54 Area G-3 (by office) | 45 TA-54 - Area G/ Southeast Perimeter | 47 TA-54 - Area G/ North Perimeter | 50 TA-54 - Area G - expansion | 51 TA-54 - Area G - expan pit
Pu-239 | 12/18/2006 - 3/26/2007 | aCi/m3 | 0.84238 | 1.2331 | -0.80621 | 4.3056 | 0.60463 | -0.59362 | 0.72445 | 4.0893
Pu-239 | 3/26/2007 - 6/18/2007 | aCi/m3 | 5.4086 | 0.94406 | 0.37672 | 39.2322 | 3.2831 | 27.4554 | 3.7465 | 39.6251
Pu-239 | 6/18/2007 - 9/24/2007 | aCi/m3 | 1.3071 | 1.0662 | 0.61242 | 17.4577 | 0.055053 | -0.13485 | 0.77977 | 5.6323
Pu-239 | 9/24/2007 - 12/17/2007 | aCi/m3 | 2.7307 | 0.92862 | 0.31644 | 4.2598 | 0.65006 | 0.12073 | 0.40135 | 9.3012
Pu-239 | Minimum | aCi/m3 | 0.84238 | 0.92862 | -0.80621 | 4.2598 | 0.055053 | -0.59362 | 0.40135 | 4.0893
Pu-239 | Maximum | aCi/m3 | 5.4086 | 1.2331 | 0.61242 | 39.2322 | 3.2831 | 27.4554 | 3.7465 | 39.6251
Pu-239 | Total # samples |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Pu-239 | # Samples with Val>2sUncer |  | 3 | 2 | 0 | 4 | 2 | 1 | 1 | 4
Pu-239 | # Samples with Val>3sUncer |  | 1 | 0 | 0 | 4 | 1 | 1 | 1 | 4
Pu-239 | # Samples with Val>MDA |  | 2 | 1 | 0 | 4 | 3 | 1 | 1 | 4
Pu-239 | StDevOfAnnualMean | aCi/m3 | 2.0545 | 0.1409 | 0.6337 | 16.493 | 1.4487 | 13.8322 | 1.5646 | 16.7851
Pu-239 | Prop2SAnalticalUncer | aCi/m3 | 1.3664 | 1.095 | 0.95375 | 2.8326 | 1.0828 | 2.0871 | 1.2212 | 2.7604
Pu-239 | Prop3SAnalticalUncer | aCi/m3 | 2.0496 | 1.6426 | 1.4306 | 4.2488 | 1.6241 | 3.1306 | 1.8318 | 4.1406
Pu-239 | AnnualMean | aCi/m3 | 2.5722 | 1.043 | 0.12484 | 16.3138 | 1.1482 | 6.7119 | 1.413 | 14.662

## OnSite
Table S4-6e. Measured quarterly concentrations of Plutonium-239 activity in onsite areas during 2007
Analyte | DataType | Units | 23 TA-5 (formerly TA-52, Beta Site) | 24 TA-16 Near S-Site Cafeteria | 30 Pajarito Booster 2 (P-2) | 49 Pajarito Road (TA-36) | 52 TA-50 Caustic Tank Vault | 53 TA-50, MDA-C
Pu-239 | 12/18/2006 - 3/26/2007 | aCi/m3 | 0.97068 | -0.57017 | -1.0391 | 0.95647 | 1.1466 | 0.22636
Pu-239 | 3/26/2007 - 6/18/2007 | aCi/m3 | -0.6835 | 0.19812 | 70.676 | -0.12247 |  | -0.2007
Pu-239 | 6/18/2007 - 9/24/2007 | aCi/m3 | 0.10472 | 0.31018 | 0.55171 | 0.78 |  | 1.6902
Pu-239 | 9/24/2007 - 12/17/2007 | aCi/m3 | 1.2687 | 1.0485 | 0.79629 | -0.52493 |  | -0.156
Pu-239 | Minimum | aCi/m3 | -0.6835 | -0.57017 | -1.0391 | -0.52493 | 1.1466 | -0.2007
Pu-239 | Maximum | aCi/m3 | 1.2687 | 1.0485 | 70.676 | 0.95647 | 1.1466 | 1.6902
Pu-239 | Total # samples |  | 4 | 4 | 4 | 4 | 1 | 4
Pu-239 | # Samples with Val>2sUncer |  | 0 | 0 | 1 | 1 | 1 | 1
Pu-239 | # Samples with Val>3sUncer |  | 0 | 0 | 1 | 0 | 0 | 0
Pu-239 | # Samples with Val>MDA |  | 0 | 2 | 3 | 0 | 1 | 0
Pu-239 | StDevOfAnnualMean | aCi/m3 | 0.88328 | 0.66244 | 35.2959 | 0.71116 |  | 0.88777
Pu-239 | Prop2SAnalticalUncer | aCi/m3 | 1.0595 | 0.99785 | 3.7143 | 1.1262 | 6.6907 | 1.2754
Pu-239 | Prop3SAnalticalUncer | aCi/m3 | 1.5892 | 1.4968 | 5.5714 | 1.6893 | 10.0361 | 1.9132
Pu-239 | AnnualMean | aCi/m3 | 0.41515 | 0.24665 | 17.7462 | 0.27227 | 1.1466 | 0.38998

## DandD
Table S4-6f. Measured quarterly concentrations of Plutonium-239 activity in demolition areas during 2007
Analyte | DataType | Units | 20 TA-21 Area B | 42 A15 - West End | 71 DP - Fire Station | 72 DP - Ace | 73 DP - Monitor | 74 A15 - West Center | 75 A15 - East Center | 79 A15 - East End
Pu-239 | 12/18/2006 - 3/26/2007 | aCi/m3 | 1.4695 | -0.80465
Pu-239 | 3/26/2007 - 6/18/2007 | aCi/m3 | 17.1061 | 7.128
Pu-239 | 6/18/2007 - 9/24/2007 | aCi/m3 | 2.372 | 3.0744 | 1.7078 | -0.36052 | -0.84979 | -0.34887 | -1.2702 | 4.2739
Pu-239 | 9/24/2007 - 12/17/2007 | aCi/m3 | 16.1276 | 10.8741 | 64.4134 | 2.7549 | 5.6218 | 5.499 | 9.2934 | 15.6962
Pu-239 | Minimum | aCi/m3 | 1.4695 | -0.80465 | 1.7078 | -0.36052 | -0.84979 | -0.34887 | -1.2702 | 4.2739
Pu-239 | Maximum | aCi/m3 | 17.1061 | 10.8741 | 64.4134 | 2.7549 | 5.6218 | 5.499 | 9.2934 | 15.6962
Pu-239 | Total # samples |  | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2
Pu-239 | # Samples with Val>2sUncer |  | 4 | 3 | 1 | 1 | 1 | 1 | 1 | 2
Pu-239 | # Samples with Val>3sUncer |  | 2 | 3 | 1 | 1 | 1 | 1 | 1 | 2
Pu-239 | # Samples with Val>MDA |  | 4 | 3 | 1 | 1 | 1 | 1 | 1 | 2
Pu-239 | StDevOfAnnualMean | aCi/m3 | 8.5022 | 5.047 | 44.3396 | 2.2029 | 4.5761 | 4.1351 | 7.4696 | 8.0768
Pu-239 | Prop2SAnalticalUncer | aCi/m3 | 2.0932 | 1.657 | 7.1704 | 1.8962 | 2.244 | 2.4432 | 2.3813 | 3.1806
Pu-239 | Prop3SAnalticalUncer | aCi/m3 | 3.1398 | 2.4855 | 10.7557 | 2.8443 | 3.3661 | 3.6648 | 3.572 | 4.7709
Pu-239 | AnnualMean | aCi/m3 | 9.2688 | 5.068 | 33.0606 | 1.1972 | 2.386 | 2.5751 | 4.0116 | 9.9851