## Lab Qual Codes
Table S5-4. Laboratory Qualifier Codes.
Lab Qualifier Code | Lab Qualifier Code Desc
* | (Inorganic)- Duplicate analysis not within control limits. (Organic) - Spike recovery is equal to or outside the control criteria used.
** | (Inorganic) and (Organic) GEL- Laboratory Control Sample recovery outside of acceptance limit.
+ | (Inorganic) GEL- Correlation coefficient the Mehtod of Standard Addition (MSA) is less than 0.095. Paragon- no meaning (Organic) - Duplicate Analysis (relative percent difference) not within control limits.
B | (Inorganic) - reported value was obtained from a reading that was less than the Contract Required Detection Limit (CRDL) but greater than or equal to the Instrument Detection Limit (IDL). (Organic) - Analyte present in the blank and the sample.
B* | (Inorganic) - reported value was obtained from a reading that was less than the Contract Required Detection Limit (CRDL) but greater than or equal to the Instrument Detection Limit (IDL). (Inorganic)- Duplicate analysis not within control limits.
BE | Low surrogate recovery; analyzed twice
BEN | (Inorganic) - The value is between the instrument detection limit and the contract required detection limit., The qualifier that is used when the percent difference between the parent sample and its serial dilution?s concentrations exceeds 10%., Spiked sample recovery not within control limits.
BN | (Organic) - Analyte present in the blank and the sample. (Inorganic) - reported value was obtained from a reading that was less than the Contract Required Detection Limit (CRDL) but greater than or equal to the Instrument Detection Limit (IDL). (Organic) -Presumptive evidence of presence of material. (Inorganic) - Spiked sample recovery not within control limits.
D | (Organic) - Analytes analyzed at a secondary dilution.
E | (Inorganic) Paragon- Reported value is estimated because of the presence of interference. GEL- Percent difference between the parent sample and its serial dilution's concentration exceeds 10%. (Organic) - Analyte concentration exceeded the upper level of
E* | (Inorganic) Paragon- Reported value is estimated because of the presence of interference. GEL- Percent difference between the parent sample and its serial dilution concentration exceeds 10%. - Duplicate analysis not within control limits. (Organic) -
EB | (Organic)--Analyte concentration exceeded the upper level of calibration range of the instrument. Analyte present in the blank and the sample.
H | Holding time exceeded
HJ | (Inorganic) - This qualifier is used to indicate the holding time expired for a particular parameter., J
J | (Inorganic) -The associated numerical value is an estimated quantity. (Organic) - The associated numerical value is an estimated quantity.
J* | (Inorganic) -The associated numerical value is an estimated quantity. - Duplicate Analysis not within control limits.
J*+ | (Inorganic) -The associated numerical value is an estimated quantity. - Duplicate Analysis not within control limits. (Inorganic) GEL- Correlation coefficient the Mehtod of Standard Addition (MSA) is less than 0.095. Paragon- no meaning (Organic) - Duplicate Analysis (relative percent difference) not within control limits.
JB | (Inorganic)-The associated numeric value is an estimated quantity. The reported value was obtained from a reading that was less the Contract Required Detection Limit.
JD | (Organic) - Estimated value. Analytes analyzed at a secondary dilution.
JP | (Organic) - The associated numerical value is an estimated quantity. > 25% difference for detected concentrations between two columns.
N | (Inorganic) - Spiked sample recovery not within control limits. (Organic) -Presumptive evidence based on a mass spectral library search to make a tentative identification of the analyte.
N* | (Inorganic) - Spiked sample recovery not within control limits. Duplicate analysis not within control limits.
NJ | (Organic) -Analyte has been tentatively identified and the associated numerical value is estimated based upon 1:1 response factor to the nearest eluting internal standard
P | (Organic) - > 25% difference for detected concentrations between two columns
R | (Inorganic) -The data are not useable. (Organic) -The data are unusable (compound may or may not be present.) Resampling and reanalysis is necessary for verification.
U | (Inorganic) -The material was analyzed for, but was not detected above the level of the associated numeric value. The associated numerical value is either the sample quantitation limit or the sample detection limit. (Organic) -The material was analyzed
U* | (Inorganic) - Compound was analyzed for, but was not detected. Duplicate analysis not within control limits.
U*E | U*E ok
UEN | (Inorganic) - The value of the analyte was below the instrument detection limit., The qualifier that is used when the percent difference between the parent sample and its serial dilution?s concentrations exceeds 10%., Spiked sample recovery not within control limits.
UH | (Inorganic) - The value of the analyte was below the instrument detection limit., This qualifier is used to indicate the holding time expired for a particular parameter.
UJ | (Inorganic) - The material was analyzed for, but was not detected. The associated value is an estimate and may be inaccurate or imprecise. (Organic) -The material was analyzed for, but was not detected. Quantitation limit is an estimated quantity.
UN | (Inorganic) - Compound was analyzed for,but was not detected. - Spiked sample recovery not within control limits.
UN* | (Inorganic) - Compound was analyzed for,but was not detected. - Spiked sample recovery not within control limits. - Duplicate Analysis not within control limits.
X | Reported concentration is a false positive