## by station
Table S5-11. Organic Compounds Detected in Groundwater during 2003 (μg/L)
[20 empty] | EPA TAP MCL |  | EPA TAP SCRN LVLd |  | NM GW LIM
Hdr 1 Sort Order | Uli Sort Order | Hdr 1 | Zone | Location Name | Port Depth (ft) | Sample Date | Fld Prep Codea | Sample Type Codea | Anyl Suite Codeb | Analyte Description | Analyte | Fld Qc Type Codea | Dilution Factor | Symbol | Std Result | Std Uom | Lab Qual Codec | Valid Flag Codec | Valid Reason Codec | Scr Lvl | Ratio (Result/ Scr Lvl) | Scr Lvl | Ratio (Result/ Scr Lvl) | Scr Lvl | Ratio (Result/ Scr Lvl)
100 | 100 | Guaje Canyon (includes Barrancas and Rendija Canyons) | Water Supply | G-1A |  | 2003-11-24 | UF | CS | VOA | Butanone[2-] | 78-93-3 | FD | 1 |  | 0.35 | ug/L | J |  |  |  |  | 7064.52 | 0
100 | 100 | Guaje Canyon (includes Barrancas and Rendija Canyons) | Water Supply | G-1A |  | 2003-11-24 | UF | CS | VOA | Chloromethane | 74-87-3 | FD | 1 |  | 0.72 | ug/L |  | J | VWQ7 |  |  | 1.51 | 0.48
100 | 300 | Guaje Canyon (includes Barrancas and Rendija Canyons) | Water Supply | G-3A |  | 2003-11-24 | UF | CS | VOA | Chloromethane | 74-87-3 |  | 1 |  | 0.51 | ug/L |  | J | VWQ7 |  |  | 1.51 | 0.34
200 | 500 | Pueblo Canyon (includes Acid Canyon) | Alluvial | APCO-1 |  | 2003-08-08 | UF | CS | SVOA | Dimethyl Phthalate | 131-11-3 |  | 1 |  | 0.67 | ug/L | J |  |  |  |  | 365000 | 0
200 | 1400 | Pueblo Canyon (includes Acid Canyon) | Regional | Test Well 1 |  | 2003-07-30 | UF | CS | VOA | Tetrachloroethene | 127-18-4 | FTB | 1 |  | 1.1 | ug/L |  |  |  | 5 | 0.22 | 0.1 | 10.52 | 20 | 0.06
200 | 1500 | Pueblo Canyon (includes Acid Canyon) | Water Supply | O-1 |  | 2004-01-28 | UF | CS | DRO | Diesel Range Organics | DRO |  | 1 |  | 0.033 | mg/L | J
300 | 25 | Upper Los Alamos Canyon (includes DP Canyon) | Alluvial Spring | DP Spring |  | 2003-08-27 | UF | CS | VOA | Acetone | 67-64-1 |  | 1 |  | 5.5 | ug/L | [5 empty] | 32850 | 0
300 | 300 | Upper Los Alamos Canyon (includes DP Canyon) | Alluvial | LAO-1 |  | 2003-09-18 | UF | CS | VOA | Acetone | 67-64-1 |  | 1 |  | 11.2 | ug/L |  | J+ | VWQ5 |  |  | 32850 | 0
300 | 500 | Upper Los Alamos Canyon (includes DP Canyon) | Alluvial | LAO-2 |  | 2003-09-19 | UF | CS | VOA | Isopropyltoluene[4-] | 99-87-6 |  | 1 |  | 1.1 | ug/L
300 | 600 | Upper Los Alamos Canyon (includes DP Canyon) | Alluvial | LAO-3A |  | 2003-09-17 | UF | CS | VOA | Naphthalene | 91-20-3 | FTB | 1 |  | 0.28 | ug/L | J |  |  |  |  | 6.2 | 0.05 | 30 | 0.01
300 | 800 | Upper Los Alamos Canyon (includes DP Canyon) | Alluvial | LAO-4.5C |  | 2003-06-13 | UF | CS | VOA | Toluene | 108-88-3 | FTB | 1 |  | 0.46 | ug/L | J |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
300 | 850 | Upper Los Alamos Canyon (includes DP Canyon) | Alluvial | LAO-6 |  | 2003-06-18 | UF | CS | VOA | Toluene | 108-88-3 | FTB | 1 |  | 0.45 | ug/L | J |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
300 | 1300 | Upper Los Alamos Canyon (includes DP Canyon) | Regional | R-7 | 915.1 | 2003-12-18 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 8.6 | ug/L | [5 empty] | 32850 | 0
300 | 1300 | Upper Los Alamos Canyon (includes DP Canyon) | Regional | R-7 | 915.1 | 2003-12-18 | UF | CS | VOA | Butanone[2-] | 78-93-3 | EQB | 1 |  | 2.9 | ug/L | J |  |  |  |  | 7064.52 | 0
300 | 1500 | Upper Los Alamos Canyon (includes DP Canyon) | Regional | Test Well 3 |  | 2003-07-17 | UF | CS | SVOA | Di-n-butylphthalate | 84-74-2 |  | 1 |  | 1.4 | ug/L | J | J | SWQ5 |  |  | 3650 | 0
300 | 1800 | Upper Los Alamos Canyon (includes DP Canyon) | Water Supply | O-4 |  | 2003-12-17 | UF | CS | DRO | Diesel Range Organics | DRO |  | 1 |  | 0.13 | mg/L |  | J- | SWQ3
400 | 450 | Lower Los Alamos Canyon (San Ildefonso Pueblo) | Intermediate Spring | Basalt Spring |  | 2003-07-22 | UF | CS | SVOA | Bis(2-ethylhexyl)phthalate | 117-81-7 | PEB | 1 |  | 1.4 | ug/L | J |  |  | 6 | 0.23 | 4.8 | 0.29
400 | 450 | Lower Los Alamos Canyon (San Ildefonso Pueblo) | Intermediate Spring | Basalt Spring |  | 2003-07-22 | UF | RE | SVOA | Bis(2-ethylhexyl)phthalate | 117-81-7 |  | 1 |  | 2 | ug/L | J |  |  | 6 | 0.33 | 4.8 | 0.42
500 | 700 | Sandia Canyon | Water Supply | PM-1 |  | 2003-04-09 | UF | CS | DRO | Diesel Range Organics | DRO |  | 1 |  | 0.035 | mg/L | J | J | SWQ1
500 | 800 | Sandia Canyon | Water Supply | PM-3 |  | 2003-11-24 | UF | CS | VOA | Butanone[2-] | 78-93-3 | FB | 1 |  | 0.34 | ug/L | J |  |  |  |  | 7064.52 | 0
500 | 800 | Sandia Canyon | Water Supply | PM-3 |  | 2003-11-24 | UF | CS | VOA | Chloromethane | 74-87-3 | FB | 1 |  | 0.99 | ug/L |  | J | VWQ7 |  |  | 1.51 | 0.66
600 | 140 | Mortandad Canyon (includes Ten Site Canyon and Canada del Buey) | Alluvial | MCO-4B |  | 2003-06-30 | UF | CS | VOA | Toluene | 108-88-3 | FTB | 1 |  | 1 | ug/L |  |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
600 | 160 | Mortandad Canyon (includes Ten Site Canyon and Canada del Buey) | Alluvial | MCO-6 |  | 2003-04-05 | UF | CS | VOA | Acetone | 67-64-1 | FTB | 1 |  | 3.6 | ug/L | J |  |  |  |  | 32850 | 0
600 | 160 | Mortandad Canyon (includes Ten Site Canyon and Canada del Buey) | Alluvial | MCO-6 |  | 2003-04-05 | UF | CS | VOA | Ethylbenzene | 100-41-4 | FTB | 1 |  | 0.25 | ug/L | J |  |  | 700 | 0 | 1339.87 | 0 | 750 | 0
600 | 160 | Mortandad Canyon (includes Ten Site Canyon and Canada del Buey) | Alluvial | MCO-6 |  | 2003-04-05 | UF | CS | VOA | Methylene Chloride | 75-09-2 | FTB | 1 |  | 0.49 | ug/L | J |  |  |  |  | 4.28 | 0.11 | 100 | 0
600 | 160 | Mortandad Canyon (includes Ten Site Canyon and Canada del Buey) | Alluvial | MCO-6 |  | 2003-04-05 | UF | CS | VOA | Toluene | 108-88-3 | FTB | 1 |  | 0.26 | ug/L | J |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
700 | 2200 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-19 | 1190.7 | 2003-12-15 | UF | RE | HEXP | Nitrobenzene | 98-95-3 |  | 1 |  | 0.0162 | ug/L | J |  |  |  |  | 3.4 | 0
700 | 3000 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 907.1 | 2003-11-18 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 12.3 | ug/L | [5 empty] | 32850 | 0
700 | 3000 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 907.1 | 2003-11-18 | UF | CS | VOA | Acetone | 67-64-1 | FB | 1 |  | 9.8 | ug/L | [5 empty] | 32850 | 0
700 | 3000 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 907.1 | 2003-11-18 | UF | CS | VOA | Butanone[2-] | 78-93-3 | EQB | 1 |  | 6.4 | ug/L | [5 empty] | 7064.52 | 0
700 | 3000 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 907.1 | 2003-11-18 | UF | CS | VOA | Butanone[2-] | 78-93-3 | FB | 1 |  | 6.8 | ug/L | [5 empty] | 7064.52 | 0
700 | 3000 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 907.1 | 2003-11-18 | UF | CS | VOA | Hexanone[2-] | 591-78-6 | FB | 1 |  | 1.5 | ug/L | J
700 | 3000 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 907.1 | 2003-11-18 | UF | CS | VOA | Isopropylbenzene | 98-82-8 |  | 1 |  | 0.61 | ug/L | J |  |  |  |  | 658.2 | 0
700 | 3100 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 962.8 | 2003-11-19 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 7.1 | ug/L | [5 empty] | 32850 | 0
700 | 3200 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 1273.5 | 2003-11-20 | UF | CS | VOA | Naphthalene | 91-20-3 | EQB | 1 |  | 0.6 | ug/L | J |  |  |  |  | 6.2 | 0.1 | 30 | 0.02
700 | 3300 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 1378 | 2003-11-20 | UF | CS | HEXP | Nitrobenzene | 98-95-3 |  | 1 |  | 0.0196 | ug/L | J | NJ | HWQ5 |  |  | 3.4 | 0.01
700 | 3400 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 1448.2 | 2003-11-21 | UF | CS | VOA | Toluene | 108-88-3 |  | 1 |  | 0.58 | ug/L | J | J- | VWQ5 | 1000 | 0 | 723.42 | 0 | 750 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 |  | 50 |  | 1.97 | ug/L | J | J | H14b
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 |  | 50 |  | 1.97 | ug/L | J | J | H3a
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 |  | 50 |  | 1.97 | ug/L | J | J | HWQ10
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 | FD | 50 |  | 2.27 | ug/L | J | J+ | H14b
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 | FD | 50 |  | 2.27 | ug/L | J | J+ | HWQ10
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 |  | 50 |  | 9.1 | ug/L |  | J | H14b |  |  | 1825 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 |  | 50 |  | 9.1 | ug/L |  | J | H3a |  |  | 1825 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 |  | 50 |  | 9.1 | ug/L |  | J | HWQ10 |  |  | 1825 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 |  | 50 |  | 9.1 | ug/L |  | J | HWQ5 |  |  | 1825 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 | FD | 50 |  | 14 | ug/L |  | J+ | H14b |  |  | 1825 | 0.01
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 | FD | 50 |  | 14 | ug/L |  | J+ | HWQ10 |  |  | 1825 | 0.01
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 | FD | 50 |  | 14 | ug/L |  | J+ | HWQ5 |  |  | 1825 | 0.01
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 |  | 50 |  | 56.5 | ug/L |  | J | H14b |  |  | 0.61 | 92.44
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 |  | 50 |  | 56.5 | ug/L |  | J | H3a |  |  | 0.61 | 92.44
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 |  | 50 |  | 56.5 | ug/L |  | J | H6 |  |  | 0.61 | 92.44
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 |  | 50 |  | 56.5 | ug/L |  | J | HWQ10 |  |  | 0.61 | 92.44
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 | FD | 50 |  | 74.1 | ug/L |  | J+ | H14b |  |  | 0.61 | 121.24
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 | FD | 50 |  | 74.1 | ug/L |  | J+ | H6 |  |  | 0.61 | 121.24
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 | FD | 50 |  | 74.1 | ug/L |  | J+ | HWQ10 |  |  | 0.61 | 121.24
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Trinitrotoluene[2,4,6-] | 118-96-7 |  | 50 |  | 2.69 | ug/L | J | J- | H14b |  |  | 2.24 | 1.2
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Trinitrotoluene[2,4,6-] | 118-96-7 |  | 50 |  | 2.69 | ug/L | J | J- | H3a |  |  | 2.24 | 1.2
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Trinitrotoluene[2,4,6-] | 118-96-7 | FD | 50 |  | 3.25 | ug/L | J | J | H14b |  |  | 2.24 | 1.45
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 6.1 | ug/L |  | J- | VWQ9 |  |  | 32850 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | VOA | Butanone[2-] | 78-93-3 | EQB | 1 |  | 2.5 | ug/L | J |  |  |  |  | 7064.52 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | VOA | Tetrachloroethene | 127-18-4 |  | 1 |  | 1.1 | ug/L |  |  |  | 5 | 0.22 | 0.1 | 10.52 | 20 | 0.06
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | VOA | Tetrachloroethene | 127-18-4 | FD | 1 |  | 1.2 | ug/L |  |  |  | 5 | 0.24 | 0.1 | 11.48 | 20 | 0.06
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | VOA | Trichloroethene | 79-01-6 |  | 1 |  | 1.6 | ug/L |  |  |  | 5 | 0.32 | 0.03 | 57.11 | 100 | 0.02
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | VOA | Trichloroethene | 79-01-6 | FD | 1 |  | 1.5 | ug/L |  |  |  | 5 | 0.3 | 0.03 | 53.54 | 100 | 0.02
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.041 | ug/L | J | J | H3a |  |  | 1825 | 0
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.041 | ug/L | J | J | H6 |  |  | 1825 | 0
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.041 | ug/L | J | J | HWQ5 |  |  | 1825 | 0
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 0.0273 | ug/L | J | J | H3a |  |  | 0.61 | 0.04
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 0.0273 | ug/L | J | J | H6 |  |  | 0.61 | 0.04
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 0.0273 | ug/L | J | J | HWQ5 |  |  | 0.61 | 0.04
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 4.8 | ug/L | J |  |  |  |  | 32850 | 0
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | VOA | Tetrachloroethene | 127-18-4 |  | 1 |  | 0.4 | ug/L | J |  |  | 5 | 0.08 | 0.1 | 3.83 | 20 | 0.02
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | VOA | Trichloroethene | 79-01-6 |  | 1 |  | 0.4 | ug/L | J |  |  | 5 | 0.08 | 0.03 | 14.28 | 100 | 0
800 | 2375 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 1192.4 | 2003-12-10 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 12 | ug/L | [5 empty] | 32850 | 0
800 | 2375 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 1192.4 | 2003-12-10 | UF | CS | VOA | Butanone[2-] | 78-93-3 | EQB | 1 |  | 3.4 | ug/L | J |  |  |  |  | 7064.52 | 0
800 | 2375 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 1192.4 | 2003-12-10 | UF | CS | VOA | Tetrachloroethene | 127-18-4 |  | 1 |  | 0.92 | ug/L | J |  |  | 5 | 0.18 | 0.1 | 8.8 | 20 | 0.05
800 | 2375 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 1192.4 | 2003-12-10 | UF | CS | VOA | Trichloroethene | 79-01-6 |  | 1 |  | 0.89 | ug/L | J |  |  | 5 | 0.18 | 0.03 | 31.77 | 100 | 0.01
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.296 | ug/L |  | J+ | HWQ5 |  |  | 1825 | 0
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.296 | ug/L |  | J+ | HWQ9 |  |  | 1825 | 0
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 0.0879 | ug/L | J |  |  |  |  | 0.61 | 0.14
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 10.9 | ug/L |  | J- | VWQ9 |  |  | 32850 | 0
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | VOA | Ethylbenzene | 100-41-4 |  | 1 |  | 0.28 | ug/L | J |  |  | 700 | 0 | 1339.87 | 0 | 750 | 0
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | VOA | Styrene | 100-42-5 |  | 1 |  | 0.68 | ug/L | J |  |  | 100 | 0.01 | 1641.09 | 0
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | VOA | Toluene | 108-88-3 |  | 1 |  | 3.3 | ug/L |  |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | Amino-2,6-dinitrotoluene[4-] | 19406-51-0 |  | 1 |  | 0.232 | ug/L |  | J- | HWQ5
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 |  | 1 |  | 0.17 | ug/L
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.547 | ug/L |  | J+ | HWQ5 |  |  | 1825 | 0
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.547 | ug/L |  | J+ | HWQ9 |  |  | 1825 | 0
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 1.64 | ug/L | [5 empty] | 0.61 | 2.68
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | Trinitrobenzene[1,3,5-] | 99-35-4 |  | 1 |  | 0.026 | ug/L | J |  |  |  |  | 1095 | 0
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | Trinitrotoluene[2,4,6-] | 118-96-7 |  | 1 |  | 0.177 | ug/L |  | J- | HWQ9 |  |  | 2.24 | 0.08
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 5.6 | ug/L |  | J- | VWQ9 |  |  | 32850 | 0
800 | 2700 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1606 | 2003-12-08 | UF | CS | HEXP | Amino-2,6-dinitrotoluene[4-] | 19406-51-0 |  | 1 |  | 0.232 | ug/L
800 | 2700 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1606 | 2003-12-08 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 |  | 1 |  | 0.228 | ug/L
800 | 2700 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1606 | 2003-12-08 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 0.651 | ug/L | [5 empty] | 0.61 | 1.07
800 | 2700 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1606 | 2003-12-08 | UF | CS | HEXP | Trinitrobenzene[1,3,5-] | 99-35-4 |  | 1 |  | 0.0271 | ug/L | JP | J | HWQ5 |  |  | 1095 | 0
800 | 2700 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1606 | 2003-12-08 | UF | CS | HEXP | Trinitrotoluene[2,4,6-] | 118-96-7 |  | 1 |  | 0.225 | ug/L | [5 empty] | 2.24 | 0.1
800 | 2700 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1606 | 2003-12-08 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 5.6 | ug/L | [5 empty] | 32850 | 0
800 | 2800 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1796 | 2003-12-04 | UF | CS | HEXP | Amino-2,6-dinitrotoluene[4-] | 19406-51-0 |  | 1 |  | 0.36 | ug/L
800 | 2800 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1796 | 2003-12-04 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 |  | 1 |  | 0.27 | ug/L
800 | 2800 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1796 | 2003-12-04 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 0.73 | ug/L | [5 empty] | 0.61 | 1.19
800 | 2800 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1796 | 2003-12-04 | UF | CS | HEXP | Trinitrotoluene[2,4,6-] | 118-96-7 |  | 1 |  | 0.16 | ug/L | [5 empty] | 2.24 | 0.07
800 | 2800 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1796 | 2003-12-04 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 23.1 | ug/L |  | J- | VWQ9 |  |  | 32850 | 0
800 | 2800 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1796 | 2003-12-04 | UF | CS | VOA | Butanone[2-] | 78-93-3 | EQB | 1 |  | 8.3 | ug/L | [5 empty] | 7064.52 | 0
900 | 200 | Ancho Canyon | Regional | Test Well DT-5A |  | 2003-08-28 | UF | CS | VOA | Acetone | 67-64-1 |  | 1 |  | 9.3 | ug/L | [5 empty] | 32850 | 0
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | SVOA | Benzo(b)fluoranthene | 205-99-2 |  | 1 |  | 7.2 | ug/L | [5 empty] | 0.09 | 78.18
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | SVOA | Benzo(k)fluoranthene | 207-08-9 |  | 1 |  | 0.5 | ug/L | J |  |  |  |  | 0.92 | 0.54
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | SVOA | Benzoic Acid | 65-85-0 | FB | 1 |  | 16.4 | ug/L | J | J+ | SWQ9 |  |  | 146000 | 0
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | SVOA | Chlorophenol[2-] | 95-57-8 |  | 1 |  | 0.43 | ug/L | J |  |  |  |  | 30.42 | 0.01
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | SVOA | Naphthalene | 91-20-3 |  | 1 |  | 0.22 | ug/L | J |  |  |  |  | 6.2 | 0.04 | 30 | 0.01
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | VOA | Toluene | 108-88-3 | FB | 1 |  | 0.56 | ug/L | J |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | VOA | Toluene | 108-88-3 | FB | 1 |  | 0.62 | ug/L | J |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
1000 | 1200 | White Rock Canyon and Rio Grande | Regional Spring | Spring 8A |  | 2003-10-07 | UF | CS | SVOA | Dichlorobenzidine[3,3'-] | 91-94-1 |  | 1 |  | 9.6 | ug/L | J |  |  |  |  | 0.15 | 64.26
1000 | 1400 | White Rock Canyon and Rio Grande | Regional Spring | Spring 9 |  | 2003-10-08 | UF | CS | SVOA | Chloroaniline[4-] | 106-47-8 |  | 1 |  | 1.4 | ug/L | J |  |  |  |  | 146 | 0.01
1000 | 1400 | White Rock Canyon and Rio Grande | Regional Spring | Spring 9 |  | 2003-10-08 | UF | CS | VOA | Acetone | 67-64-1 |  | 1 |  | 8.2 | ug/L |  | J+ | VWQ11 |  |  | 32850 | 0
1000 | 1400 | White Rock Canyon and Rio Grande | Regional Spring | Spring 9 |  | 2003-10-08 | UF | CS | VOA | Acetone | 67-64-1 |  | 1 |  | 8.2 | ug/L |  | J+ | VWQ5 |  |  | 32850 | 0
1000 | 1400 | White Rock Canyon and Rio Grande | Regional Spring | Spring 9 |  | 2003-10-08 | UF | CS | VOA | Acetone | 67-64-1 |  | 1 |  | 8.2 | ug/L |  | J+ | VWQ9 |  |  | 32850 | 0
1000 | 2800 | White Rock Canyon and Rio Grande | Water Supply | J. Martinez House Well |  | 2003-07-21 | UF | CS | SVOA | Bis(2-ethylhexyl)phthalate | 117-81-7 | FD | 1 |  | 1.4 | ug/L | J |  |  | 6 | 0.23 | 4.8 | 0.29
1000 | 2800 | White Rock Canyon and Rio Grande | Water Supply | J. Martinez House Well |  | 2003-07-21 | UF | CS | VOA | Tetrachloroethene | 127-18-4 | FTB | 1 |  | 0.92 | ug/L | J |  |  | 5 | 0.18 | 0.1 | 8.8 | 20 | 0.05
1000 | 2900 | White Rock Canyon and Rio Grande | Water Supply | Black Mesa Well |  | 2003-07-21 | UF | CS | SVOA | Bis(2-ethylhexyl)phthalate | 117-81-7 |  | 1 |  | 1.5 | ug/L | J |  |  | 6 | 0.25 | 4.8 | 0.31
aCodes: EQB- equipment blank; FTB- trip blank; FD- field duplicate; FB- field blank; PEB- performance evaluation blank;
UF- unfiltered; F- filtered; CS- customer sample; RE- reanalysis; DUP- laboratory duplicate; TRP- laboratory triplicate; QUD- laboratory
quadruplicate; QNT- laboratory quintuplicate.
bPEST/PCB- pesticides and polychlorinated biphenyls; SVOA- semivolatile organics; VOA- volatile organics; HEXP- high explosives; DRO- diesel range organics
cCodes given in Tables S5-4, S5-5, and S5-6 in the Data Supplement.
dEPA Region VI values for 10-6 excess cancer risk and for non-cancer causing substances, Hazard Index=1. Note that we screen for
10-5 excess cancer risk or 10 times these values. http://www.epa.gov/earth1r6/6pd/rcra_c/pd-n/screen.htm.

## by analyte
Table S5-11. Organic Compounds Detected in Groundwater during 2003 (μg/L)
[20 empty] | EPA TAP MCL |  | EPA TAP SCRN LVLd |  | NM GW LIM
Hdr 1 Sort Order | Uli Sort Order | Hdr 1 | Zone | Location Name | Port Depth (ft) | Sample Date | Fld Prep Codea | Sample Type Codea | Anyl Suite Codeb | Analyte Description | Analyte | Fld Qc Type Codea | Dilution Factor | Symbol | Std Result | Std Uom | Lab Qual Codec | Valid Flag Codec | Valid Reason Codec | Scr Lvl | Ratio (Result/ Scr Lvl) | Scr Lvl | Ratio (Result/ Scr Lvl) | Scr Lvl | Ratio (Result/ Scr Lvl)
500 | 700 | Sandia Canyon | Water Supply | PM-1 |  | 2003-04-09 | UF | CS | DRO | Diesel Range Organics | DRO |  | 1 |  | 0.035 | mg/L | J | J | SWQ1
300 | 1800 | Upper Los Alamos Canyon (includes DP Canyon) | Water Supply | O-4 |  | 2003-12-17 | UF | CS | DRO | Diesel Range Organics | DRO |  | 1 |  | 0.13 | mg/L |  | J- | SWQ3
200 | 1500 | Pueblo Canyon (includes Acid Canyon) | Water Supply | O-1 |  | 2004-01-28 | UF | CS | DRO | Diesel Range Organics | DRO |  | 1 |  | 0.033 | mg/L | J
800 | 2800 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1796 | 2003-12-04 | UF | CS | HEXP | Amino-2,6-dinitrotoluene[4-] | 19406-51-0 |  | 1 |  | 0.36 | ug/L
800 | 2700 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1606 | 2003-12-08 | UF | CS | HEXP | Amino-2,6-dinitrotoluene[4-] | 19406-51-0 |  | 1 |  | 0.232 | ug/L
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | Amino-2,6-dinitrotoluene[4-] | 19406-51-0 |  | 1 |  | 0.232 | ug/L |  | J- | HWQ5
800 | 2800 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1796 | 2003-12-04 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 |  | 1 |  | 0.27 | ug/L
800 | 2700 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1606 | 2003-12-08 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 |  | 1 |  | 0.228 | ug/L
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 |  | 1 |  | 0.17 | ug/L
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 |  | 50 |  | 1.97 | ug/L | J | J | H14b
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 |  | 50 |  | 1.97 | ug/L | J | J | H3a
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 |  | 50 |  | 1.97 | ug/L | J | J | HWQ10
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 | FD | 50 |  | 2.27 | ug/L | J | J+ | H14b
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Amino-4,6-dinitrotoluene[2-] | 35572-78-2 | FD | 50 |  | 2.27 | ug/L | J | J+ | HWQ10
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.296 | ug/L |  | J+ | HWQ5 |  |  | 1825 | 0
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.296 | ug/L |  | J+ | HWQ9 |  |  | 1825 | 0
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.547 | ug/L |  | J+ | HWQ5 |  |  | 1825 | 0
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.547 | ug/L |  | J+ | HWQ9 |  |  | 1825 | 0
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.041 | ug/L | J | J | H3a |  |  | 1825 | 0
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.041 | ug/L | J | J | H6 |  |  | 1825 | 0
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | HEXP | HMX | 2691-41-0 |  | 1 |  | 0.041 | ug/L | J | J | HWQ5 |  |  | 1825 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 |  | 50 |  | 9.1 | ug/L |  | J | H14b |  |  | 1825 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 |  | 50 |  | 9.1 | ug/L |  | J | H3a |  |  | 1825 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 |  | 50 |  | 9.1 | ug/L |  | J | HWQ10 |  |  | 1825 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 |  | 50 |  | 9.1 | ug/L |  | J | HWQ5 |  |  | 1825 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 | FD | 50 |  | 14 | ug/L |  | J+ | H14b |  |  | 1825 | 0.01
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 | FD | 50 |  | 14 | ug/L |  | J+ | HWQ10 |  |  | 1825 | 0.01
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | HMX | 2691-41-0 | FD | 50 |  | 14 | ug/L |  | J+ | HWQ5 |  |  | 1825 | 0.01
700 | 3300 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 1378 | 2003-11-20 | UF | CS | HEXP | Nitrobenzene | 98-95-3 |  | 1 |  | 0.0196 | ug/L | J | NJ | HWQ5 |  |  | 3.4 | 0.01
700 | 2200 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-19 | 1190.7 | 2003-12-15 | UF | RE | HEXP | Nitrobenzene | 98-95-3 |  | 1 |  | 0.0162 | ug/L | J |  |  |  |  | 3.4 | 0
800 | 2800 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1796 | 2003-12-04 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 0.73 | ug/L | [5 empty] | 0.61 | 1.19
800 | 2700 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1606 | 2003-12-08 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 0.651 | ug/L | [5 empty] | 0.61 | 1.07
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 0.0879 | ug/L | J |  |  |  |  | 0.61 | 0.14
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 1.64 | ug/L | [5 empty] | 0.61 | 2.68
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 0.0273 | ug/L | J | J | H3a |  |  | 0.61 | 0.04
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 0.0273 | ug/L | J | J | H6 |  |  | 0.61 | 0.04
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | HEXP | RDX | 121-82-4 |  | 1 |  | 0.0273 | ug/L | J | J | HWQ5 |  |  | 0.61 | 0.04
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 |  | 50 |  | 56.5 | ug/L |  | J | H14b |  |  | 0.61 | 92.44
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 |  | 50 |  | 56.5 | ug/L |  | J | H3a |  |  | 0.61 | 92.44
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 |  | 50 |  | 56.5 | ug/L |  | J | H6 |  |  | 0.61 | 92.44
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 |  | 50 |  | 56.5 | ug/L |  | J | HWQ10 |  |  | 0.61 | 92.44
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 | FD | 50 |  | 74.1 | ug/L |  | J+ | H14b |  |  | 0.61 | 121.24
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 | FD | 50 |  | 74.1 | ug/L |  | J+ | H6 |  |  | 0.61 | 121.24
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | RDX | 121-82-4 | FD | 50 |  | 74.1 | ug/L |  | J+ | HWQ10 |  |  | 0.61 | 121.24
800 | 2700 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1606 | 2003-12-08 | UF | CS | HEXP | Trinitrobenzene[1,3,5-] | 99-35-4 |  | 1 |  | 0.0271 | ug/L | JP | J | HWQ5 |  |  | 1095 | 0
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | Trinitrobenzene[1,3,5-] | 99-35-4 |  | 1 |  | 0.026 | ug/L | J |  |  |  |  | 1095 | 0
800 | 2800 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1796 | 2003-12-04 | UF | CS | HEXP | Trinitrotoluene[2,4,6-] | 118-96-7 |  | 1 |  | 0.16 | ug/L | [5 empty] | 2.24 | 0.07
800 | 2700 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1606 | 2003-12-08 | UF | CS | HEXP | Trinitrotoluene[2,4,6-] | 118-96-7 |  | 1 |  | 0.225 | ug/L | [5 empty] | 2.24 | 0.1
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | HEXP | Trinitrotoluene[2,4,6-] | 118-96-7 |  | 1 |  | 0.177 | ug/L |  | J- | HWQ9 |  |  | 2.24 | 0.08
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Trinitrotoluene[2,4,6-] | 118-96-7 |  | 50 |  | 2.69 | ug/L | J | J- | H14b |  |  | 2.24 | 1.2
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Trinitrotoluene[2,4,6-] | 118-96-7 |  | 50 |  | 2.69 | ug/L | J | J- | H3a |  |  | 2.24 | 1.2
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | HEXP | Trinitrotoluene[2,4,6-] | 118-96-7 | FD | 50 |  | 3.25 | ug/L | J | J | H14b |  |  | 2.24 | 1.45
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | SVOA | Benzo(b)fluoranthene | 205-99-2 |  | 1 |  | 7.2 | ug/L | [5 empty] | 0.09 | 78.18
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | SVOA | Benzo(k)fluoranthene | 207-08-9 |  | 1 |  | 0.5 | ug/L | J |  |  |  |  | 0.92 | 0.54
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | SVOA | Benzoic Acid | 65-85-0 | FB | 1 |  | 16.4 | ug/L | J | J+ | SWQ9 |  |  | 146000 | 0
1000 | 2800 | White Rock Canyon and Rio Grande | Water Supply | J. Martinez House Well |  | 2003-07-21 | UF | CS | SVOA | Bis(2-ethylhexyl)phthalate | 117-81-7 | FD | 1 |  | 1.4 | ug/L | J |  |  | 6 | 0.23 | 4.8 | 0.29
1000 | 2900 | White Rock Canyon and Rio Grande | Water Supply | Black Mesa Well |  | 2003-07-21 | UF | CS | SVOA | Bis(2-ethylhexyl)phthalate | 117-81-7 |  | 1 |  | 1.5 | ug/L | J |  |  | 6 | 0.25 | 4.8 | 0.31
400 | 450 | Lower Los Alamos Canyon (San Ildefonso Pueblo) | Intermediate Spring | Basalt Spring |  | 2003-07-22 | UF | CS | SVOA | Bis(2-ethylhexyl)phthalate | 117-81-7 | PEB | 1 |  | 1.4 | ug/L | J |  |  | 6 | 0.23 | 4.8 | 0.29
400 | 450 | Lower Los Alamos Canyon (San Ildefonso Pueblo) | Intermediate Spring | Basalt Spring |  | 2003-07-22 | UF | RE | SVOA | Bis(2-ethylhexyl)phthalate | 117-81-7 |  | 1 |  | 2 | ug/L | J |  |  | 6 | 0.33 | 4.8 | 0.42
1000 | 1400 | White Rock Canyon and Rio Grande | Regional Spring | Spring 9 |  | 2003-10-08 | UF | CS | SVOA | Chloroaniline[4-] | 106-47-8 |  | 1 |  | 1.4 | ug/L | J |  |  |  |  | 146 | 0.01
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | SVOA | Chlorophenol[2-] | 95-57-8 |  | 1 |  | 0.43 | ug/L | J |  |  |  |  | 30.42 | 0.01
1000 | 1200 | White Rock Canyon and Rio Grande | Regional Spring | Spring 8A |  | 2003-10-07 | UF | CS | SVOA | Dichlorobenzidine[3,3'-] | 91-94-1 |  | 1 |  | 9.6 | ug/L | J |  |  |  |  | 0.15 | 64.26
200 | 500 | Pueblo Canyon (includes Acid Canyon) | Alluvial | APCO-1 |  | 2003-08-08 | UF | CS | SVOA | Dimethyl Phthalate | 131-11-3 |  | 1 |  | 0.67 | ug/L | J |  |  |  |  | 365000 | 0
300 | 1500 | Upper Los Alamos Canyon (includes DP Canyon) | Regional | Test Well 3 |  | 2003-07-17 | UF | CS | SVOA | Di-n-butylphthalate | 84-74-2 |  | 1 |  | 1.4 | ug/L | J | J | SWQ5 |  |  | 3650 | 0
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | SVOA | Naphthalene | 91-20-3 |  | 1 |  | 0.22 | ug/L | J |  |  |  |  | 6.2 | 0.04 | 30 | 0.01
600 | 160 | Mortandad Canyon (includes Ten Site Canyon and Canada del Buey) | Alluvial | MCO-6 |  | 2003-04-05 | UF | CS | VOA | Acetone | 67-64-1 | FTB | 1 |  | 3.6 | ug/L | J |  |  |  |  | 32850 | 0
300 | 25 | Upper Los Alamos Canyon (includes DP Canyon) | Alluvial Spring | DP Spring |  | 2003-08-27 | UF | CS | VOA | Acetone | 67-64-1 |  | 1 |  | 5.5 | ug/L | [5 empty] | 32850 | 0
900 | 200 | Ancho Canyon | Regional | Test Well DT-5A |  | 2003-08-28 | UF | CS | VOA | Acetone | 67-64-1 |  | 1 |  | 9.3 | ug/L | [5 empty] | 32850 | 0
300 | 300 | Upper Los Alamos Canyon (includes DP Canyon) | Alluvial | LAO-1 |  | 2003-09-18 | UF | CS | VOA | Acetone | 67-64-1 |  | 1 |  | 11.2 | ug/L |  | J+ | VWQ5 |  |  | 32850 | 0
1000 | 1400 | White Rock Canyon and Rio Grande | Regional Spring | Spring 9 |  | 2003-10-08 | UF | CS | VOA | Acetone | 67-64-1 |  | 1 |  | 8.2 | ug/L |  | J+ | VWQ11 |  |  | 32850 | 0
1000 | 1400 | White Rock Canyon and Rio Grande | Regional Spring | Spring 9 |  | 2003-10-08 | UF | CS | VOA | Acetone | 67-64-1 |  | 1 |  | 8.2 | ug/L |  | J+ | VWQ5 |  |  | 32850 | 0
1000 | 1400 | White Rock Canyon and Rio Grande | Regional Spring | Spring 9 |  | 2003-10-08 | UF | CS | VOA | Acetone | 67-64-1 |  | 1 |  | 8.2 | ug/L |  | J+ | VWQ9 |  |  | 32850 | 0
700 | 3000 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 907.1 | 2003-11-18 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 12.3 | ug/L | [5 empty] | 32850 | 0
700 | 3000 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 907.1 | 2003-11-18 | UF | CS | VOA | Acetone | 67-64-1 | FB | 1 |  | 9.8 | ug/L | [5 empty] | 32850 | 0
700 | 3100 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 962.8 | 2003-11-19 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 7.1 | ug/L | [5 empty] | 32850 | 0
800 | 2800 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1796 | 2003-12-04 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 23.1 | ug/L |  | J- | VWQ9 |  |  | 32850 | 0
800 | 2700 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1606 | 2003-12-08 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 5.6 | ug/L | [5 empty] | 32850 | 0
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 10.9 | ug/L |  | J- | VWQ9 |  |  | 32850 | 0
800 | 2600 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1406.3 | 2003-12-09 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 5.6 | ug/L |  | J- | VWQ9 |  |  | 32850 | 0
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 4.8 | ug/L | J |  |  |  |  | 32850 | 0
800 | 2375 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 1192.4 | 2003-12-10 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 12 | ug/L | [5 empty] | 32850 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 6.1 | ug/L |  | J- | VWQ9 |  |  | 32850 | 0
300 | 1300 | Upper Los Alamos Canyon (includes DP Canyon) | Regional | R-7 | 915.1 | 2003-12-18 | UF | CS | VOA | Acetone | 67-64-1 | EQB | 1 |  | 8.6 | ug/L | [5 empty] | 32850 | 0
700 | 3000 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 907.1 | 2003-11-18 | UF | CS | VOA | Butanone[2-] | 78-93-3 | EQB | 1 |  | 6.4 | ug/L | [5 empty] | 7064.52 | 0
700 | 3000 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 907.1 | 2003-11-18 | UF | CS | VOA | Butanone[2-] | 78-93-3 | FB | 1 |  | 6.8 | ug/L | [5 empty] | 7064.52 | 0
100 | 100 | Guaje Canyon (includes Barrancas and Rendija Canyons) | Water Supply | G-1A |  | 2003-11-24 | UF | CS | VOA | Butanone[2-] | 78-93-3 | FD | 1 |  | 0.35 | ug/L | J |  |  |  |  | 7064.52 | 0
500 | 800 | Sandia Canyon | Water Supply | PM-3 |  | 2003-11-24 | UF | CS | VOA | Butanone[2-] | 78-93-3 | FB | 1 |  | 0.34 | ug/L | J |  |  |  |  | 7064.52 | 0
800 | 2800 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1796 | 2003-12-04 | UF | CS | VOA | Butanone[2-] | 78-93-3 | EQB | 1 |  | 8.3 | ug/L | [5 empty] | 7064.52 | 0
800 | 2375 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 1192.4 | 2003-12-10 | UF | CS | VOA | Butanone[2-] | 78-93-3 | EQB | 1 |  | 3.4 | ug/L | J |  |  |  |  | 7064.52 | 0
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | VOA | Butanone[2-] | 78-93-3 | EQB | 1 |  | 2.5 | ug/L | J |  |  |  |  | 7064.52 | 0
300 | 1300 | Upper Los Alamos Canyon (includes DP Canyon) | Regional | R-7 | 915.1 | 2003-12-18 | UF | CS | VOA | Butanone[2-] | 78-93-3 | EQB | 1 |  | 2.9 | ug/L | J |  |  |  |  | 7064.52 | 0
100 | 100 | Guaje Canyon (includes Barrancas and Rendija Canyons) | Water Supply | G-1A |  | 2003-11-24 | UF | CS | VOA | Chloromethane | 74-87-3 | FD | 1 |  | 0.72 | ug/L |  | J | VWQ7 |  |  | 1.51 | 0.48
100 | 300 | Guaje Canyon (includes Barrancas and Rendija Canyons) | Water Supply | G-3A |  | 2003-11-24 | UF | CS | VOA | Chloromethane | 74-87-3 |  | 1 |  | 0.51 | ug/L |  | J | VWQ7 |  |  | 1.51 | 0.34
500 | 800 | Sandia Canyon | Water Supply | PM-3 |  | 2003-11-24 | UF | CS | VOA | Chloromethane | 74-87-3 | FB | 1 |  | 0.99 | ug/L |  | J | VWQ7 |  |  | 1.51 | 0.66
600 | 160 | Mortandad Canyon (includes Ten Site Canyon and Canada del Buey) | Alluvial | MCO-6 |  | 2003-04-05 | UF | CS | VOA | Ethylbenzene | 100-41-4 | FTB | 1 |  | 0.25 | ug/L | J |  |  | 700 | 0 | 1339.87 | 0 | 750 | 0
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | VOA | Ethylbenzene | 100-41-4 |  | 1 |  | 0.28 | ug/L | J |  |  | 700 | 0 | 1339.87 | 0 | 750 | 0
700 | 3000 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 907.1 | 2003-11-18 | UF | CS | VOA | Hexanone[2-] | 591-78-6 | FB | 1 |  | 1.5 | ug/L | J
700 | 3000 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 907.1 | 2003-11-18 | UF | CS | VOA | Isopropylbenzene | 98-82-8 |  | 1 |  | 0.61 | ug/L | J |  |  |  |  | 658.2 | 0
300 | 500 | Upper Los Alamos Canyon (includes DP Canyon) | Alluvial | LAO-2 |  | 2003-09-19 | UF | CS | VOA | Isopropyltoluene[4-] | 99-87-6 |  | 1 |  | 1.1 | ug/L
600 | 160 | Mortandad Canyon (includes Ten Site Canyon and Canada del Buey) | Alluvial | MCO-6 |  | 2003-04-05 | UF | CS | VOA | Methylene Chloride | 75-09-2 | FTB | 1 |  | 0.49 | ug/L | J |  |  |  |  | 4.28 | 0.11 | 100 | 0
300 | 600 | Upper Los Alamos Canyon (includes DP Canyon) | Alluvial | LAO-3A |  | 2003-09-17 | UF | CS | VOA | Naphthalene | 91-20-3 | FTB | 1 |  | 0.28 | ug/L | J |  |  |  |  | 6.2 | 0.05 | 30 | 0.01
700 | 3200 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 1273.5 | 2003-11-20 | UF | CS | VOA | Naphthalene | 91-20-3 | EQB | 1 |  | 0.6 | ug/L | J |  |  |  |  | 6.2 | 0.1 | 30 | 0.02
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | VOA | Styrene | 100-42-5 |  | 1 |  | 0.68 | ug/L | J |  |  | 100 | 0.01 | 1641.09 | 0
1000 | 2800 | White Rock Canyon and Rio Grande | Water Supply | J. Martinez House Well |  | 2003-07-21 | UF | CS | VOA | Tetrachloroethene | 127-18-4 | FTB | 1 |  | 0.92 | ug/L | J |  |  | 5 | 0.18 | 0.1 | 8.8 | 20 | 0.05
200 | 1400 | Pueblo Canyon (includes Acid Canyon) | Regional | Test Well 1 |  | 2003-07-30 | UF | CS | VOA | Tetrachloroethene | 127-18-4 | FTB | 1 |  | 1.1 | ug/L |  |  |  | 5 | 0.22 | 0.1 | 10.52 | 20 | 0.06
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | VOA | Tetrachloroethene | 127-18-4 |  | 1 |  | 0.4 | ug/L | J |  |  | 5 | 0.08 | 0.1 | 3.83 | 20 | 0.02
800 | 2375 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 1192.4 | 2003-12-10 | UF | CS | VOA | Tetrachloroethene | 127-18-4 |  | 1 |  | 0.92 | ug/L | J |  |  | 5 | 0.18 | 0.1 | 8.8 | 20 | 0.05
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | VOA | Tetrachloroethene | 127-18-4 |  | 1 |  | 1.1 | ug/L |  |  |  | 5 | 0.22 | 0.1 | 10.52 | 20 | 0.06
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | VOA | Tetrachloroethene | 127-18-4 | FD | 1 |  | 1.2 | ug/L |  |  |  | 5 | 0.24 | 0.1 | 11.48 | 20 | 0.06
600 | 160 | Mortandad Canyon (includes Ten Site Canyon and Canada del Buey) | Alluvial | MCO-6 |  | 2003-04-05 | UF | CS | VOA | Toluene | 108-88-3 | FTB | 1 |  | 0.26 | ug/L | J |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
300 | 800 | Upper Los Alamos Canyon (includes DP Canyon) | Alluvial | LAO-4.5C |  | 2003-06-13 | UF | CS | VOA | Toluene | 108-88-3 | FTB | 1 |  | 0.46 | ug/L | J |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
300 | 850 | Upper Los Alamos Canyon (includes DP Canyon) | Alluvial | LAO-6 |  | 2003-06-18 | UF | CS | VOA | Toluene | 108-88-3 | FTB | 1 |  | 0.45 | ug/L | J |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
600 | 140 | Mortandad Canyon (includes Ten Site Canyon and Canada del Buey) | Alluvial | MCO-4B |  | 2003-06-30 | UF | CS | VOA | Toluene | 108-88-3 | FTB | 1 |  | 1 | ug/L |  |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | VOA | Toluene | 108-88-3 | FB | 1 |  | 0.56 | ug/L | J |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
1000 | 300 | White Rock Canyon and Rio Grande | Regional Spring | Spring 4 |  | 2003-10-06 | UF | CS | VOA | Toluene | 108-88-3 | FB | 1 |  | 0.62 | ug/L | J |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
700 | 3400 | Pajarito Canyon (includes Twomile and Threemile Canyons) | Regional | R-22 | 1448.2 | 2003-11-21 | UF | CS | VOA | Toluene | 108-88-3 |  | 1 |  | 0.58 | ug/L | J | J- | VWQ5 | 1000 | 0 | 723.42 | 0 | 750 | 0
800 | 2500 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Regional | R-25 | 1303.4 | 2003-12-09 | UF | CS | VOA | Toluene | 108-88-3 |  | 1 |  | 3.3 | ug/L |  |  |  | 1000 | 0 | 723.42 | 0 | 750 | 0
800 | 2325 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 891.8 | 2003-12-10 | UF | CS | VOA | Trichloroethene | 79-01-6 |  | 1 |  | 0.4 | ug/L | J |  |  | 5 | 0.08 | 0.03 | 14.28 | 100 | 0
800 | 2375 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 1192.4 | 2003-12-10 | UF | CS | VOA | Trichloroethene | 79-01-6 |  | 1 |  | 0.89 | ug/L | J |  |  | 5 | 0.18 | 0.03 | 31.77 | 100 | 0.01
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | VOA | Trichloroethene | 79-01-6 |  | 1 |  | 1.6 | ug/L |  |  |  | 5 | 0.32 | 0.03 | 57.11 | 100 | 0.02
800 | 2200 | Water Canyon (includes Canyon del Valle, Potrillo, and Fence Canyons) | Intermediate | R-25 | 754.8 | 2003-12-11 | UF | CS | VOA | Trichloroethene | 79-01-6 | FD | 1 |  | 1.5 | ug/L |  |  |  | 5 | 0.3 | 0.03 | 53.54 | 100 | 0.02
aCodes: EQB- equipment blank; FTB- trip blank; FD- field duplicate; FB- field blank; PEB- performance evaluation blank;
UF- unfiltered; F- filtered; CS- customer sample; RE- reanalysis; DUP- laboratory duplicate; TRP- laboratory triplicate; QUD- laboratory
quadruplicate; QNT- laboratory quintuplicate.
bPEST/PCB- pesticides and polychlorinated biphenyls; SVOA- semivolatile organics; VOA- volatile organics; HEXP- high explosives; DRO- diesel range organics
cCodes given in Tables S5-4, S5-5, and S5-6 in the Data Supplement.
dEPA Region VI values for 10-6 excess cancer risk and for non-cancer causing substances, Hazard Index=1. Note that we screen for
10-5 excess cancer risk or 10 times these values. http://www.epa.gov/earth1r6/6pd/rcra_c/pd-n/screen.htm.