## Sheet1
Table S5-5. Laboratory Qualifier Codes
Code | Desc
* | * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
** | ** (Organic) and (Inorganic) - The result for this analyte in the Laboratory Control Sample analysis was outside acceptance criteria.
*E | * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative.
B | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit.
B* | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
B*E | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative.
BE | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative.
BE* | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
BEN | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
BEN* | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
BJ | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL).
BJP | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference.
BN | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
BN* | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
BNE | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative.
BP | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference.
BPX | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference. (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
BW | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (W) (Inorganic GFAA CLP) - The result for this analyte in the post-digestion spike sample was outside acceptance criterea.
D | (D) (Organic) - The result for this analyte was reported from a dilution.
DJ | (D) (Organic) - The result for this analyte was reported from a dilution. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL).
DP | (D) (Organic) - The result for this analyte was reported from a dilution. (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference.
DPX | (D) (Organic) - The result for this analyte was reported from a dilution. (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference. (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
E | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative.
E* | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
EJ | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL).
EJ* | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
EJN | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
EN | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
EN* | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
H | (H) (Organic/Inorganic) - The required extraction or analysis holding time for this result was exceeded.
HJ | (H) (Organic/Inorganic) - The required extraction or analysis holding time for this result was exceeded. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL).
HJ* | (H) (Organic/Inorganic) - The required extraction or analysis holding time for this result was exceeded. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
J | (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL).
J* | (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
JN | (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
JP | (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference.
JPX | (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference. (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
JX | (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
L | (L) (Inorganic) - The result for this analyte in the serial dilution sample indicates physical and chemical interferences are present.
LT | (LT) (Rad) - The result for this analyte is affected by spectral interferance.
N | (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
N* | (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
P | (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference.
PJ | (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL).
PX | (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference. (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
Q | (Q) The result for this analyte was reported at an elevated reporting limit.
SI | (SI) (Rad) - Gamma spectrocopy result should be regarded as an uncertain idenification due to spectral interferance.
SQ | (SQ) (Rad) - Gamma spectrocopy result should be regarded as an uncertain idenification due to spectral interferance.
TI | (TI) (Rad) - Gamma spectrocopy result should be regarded as an uncertain idenification due to spectral interferance.
U | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit.
U* | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
UE | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative.
UEN | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
UH | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (H) (Organic/Inorganic) - The required extraction or analysis holding time for this result was exceeded.
UH* | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (H) (Organic/Inorganic) - The required extraction or analysis holding time for this result was exceeded. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
UI | (UI) (Rad) - Gamma spectrocopy result should be regarded as an uncertain idenification.
UJ | (UJ) (Organic) Legacy CST lab code should not be used.
UN | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
UN* | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
UUI | (UUI) (Rad) - Gamma spectrocopy result should be regarded as an uncertain idenification and the lab assigned these gamma spectroscopy results as not detected.
UW | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (W) (Inorganic GFAA CLP) - The result for this analyte in the post-digestion spike sample was outside acceptance criterea.
UY2 | (UY2) (Rad) - Result should be regarded as an uncertain idenification due to spectral interferance.
W | (W) (Inorganic GFAA CLP) - The result for this analyte in the post-digestion spike sample was outside acceptance criterea.
X | (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
XB | (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected. (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit.