WEBCAST TRANSCRIPT

Transcript of “Smallpox Vaccination Laboratory Support”
Presented by Dr. Russell Regnery, 6 December 2002, on the satellite broadcast of “CDC Bioterrorism Update: Smallpox Preparedness”

(Associated graphics can be found at
www.bt.cdc.gov/agent/smallpox/training/webcast/dec2002/files/laboratory-module.ppt and www.bt.cdc.gov/agent/smallpox/training/webcast/dec2002/files/laboratory-module.pdf.)

Russell Regnery, PhD, Virologist, Poxvirus Section, Viral and Rickettsial Diseases, National Centers for Infectious Diseases, CDC.

(Slides 1 and 2 are title and objectives, respectively)

# REGNERY:

The intent of this Laboratory Support presentation is to provide background information for people who might be involved with smallpox preparedness and response. Of course, thorough clinical evaluation and patient history may be all that is required to conclude that a person has had or is having an adverse reaction to smallpox vaccination. However, persons involved with the vaccination program may be expected to have some degree of familiarity with the basis for laboratory testing, in the event of an adverse reaction, even though they themselves may not be responsible for making sure the testing is facilitated. This talk will try to help: provide some background on the specific tests currently in place within the state's Laboratory Response Network; what sort of specimens would be needed for testing; and how to prepare those specimens for transport to the LRN sites.

## Slide 3

You've already heard about the febrile vesicular rash algorithm and its application for enhancing rapid diagnosis of smallpox look-alike diseases. Many of the same principles apply to diagnosis of vaccine adverse reactions caused by vaccinia.

## Slide 4

The algorithm provides significant diagnostic benefits even in the absence of smallpox and encourages careful diagnosis of other rash illnesses such as vaccinia.

## Slide 5

The use of such an algorithm minimizes the number of cases that require intensive investigation and hopefully focuses attention where it is most needed and justified. This is an important consideration for laboratories, just as it is in the clinical setting. It allows for a more rapid, thorough response to highly suspect cases. And in the case of smallpox, of course, the diagnosis of smallpox would result in initiation of vaccination.

## Slide 6

As I mentioned the essential features of the febrile vesicular rash disease algorithm can be applied to the clinical diagnosis of possible vaccinia-associated adverse events especially since such events would be associated with histories of vaccination or contact with vaccinees. Many of the laboratory testing requirements for vaccinia infection are also very similar to those expected for variola or smallpox testing. Much of what I say today applies to both vaccinia and variola testing. Rapid implementation of methods for laboratory confirmation of vaccinia-associated adverse events, in such cases where the clinical picture may not be sufficient to provide a positive diagnosis, has become a high priority for the anticipated vaccination program. Such testing methods have been developed and validated and include real-time PCR analysis of poxvirus DNA. It is anticipated that as vaccination proceeds, additional methods of point-of-care diagnosis will become available as they are developed and approved for clinical use.

## Slide 7

As additional background, there are a large number of poxviruses currently recognized to exist in nature including poxviruses in both vertebrates and arthropods. Today we're only concerned with those that belong to the closely related orthopoxviruses, especially variola (the agent of smallpox) and vaccinia (the agent that's used for smallpox vaccination).

## Slide 8

Poxviruses are large viruses that replicate within the cytoplasm of cells and their genome is a molecule of double-stranded DNA. The presence of virus-specific DNA sequences provides an important target for diagnostic testing.

## Slide 9

There are several closely related forms of infectious orthopoxvirus particles, which are distinguished by how many membranes surround each virion. It is interesting that some orthopoxviruses have limited host ranges, such as variola, which only infects humans, whereas other closely related viruses may have wider ranges, such as vaccinia. The reasons for these host-range differences are not completely understood. Importantly these viruses are genetically and antigenically very similar and provide cross protection immunity from infection ;hence the basis for vaccination with vaccinia to prevent variola infections (i.e., smallpox).

## Slide 10

Among orthopoxviruses vaccinia and cowpox cause typically cause localized infections in human hosts with normal immune responses. Variola and monkeypox typically cause systemic diseases. Variola is the only orthopoxvirus for which man is recognized as the only naturally occurring host.

## Slide 11

There are a variety of laboratory methods that can be used to confirm an orthopoxvirus diagnosis. Many of these are currently limited to a few reference laboratories including several of the serologic assays that are listed at the bottom of this slide. However, highly sensitive methods for vaccinia DNA identification in the form of real-time PCR assays have been deployed to every state through the Laboratory Response Network. In addition, a number of states have the capacity to do electron microscopic analysis of orthopox specimens as well as histopathologic evaluation.

## Slide 12

The specific real-time PCR assay that is currently deployed for analysis of vaccinia adverse reactions detects the presence of the DNA polymerase gene of vaccinia virus, the so-called E9L gene. This assay will also detect cowpox virus and monkeypox viruses, two viruses that do not occur naturally in North America. From a North American diagnostic perspective then, this assay can be considered diagnostic for vaccinia infections.

## Slide 13

An almost identical assay will also detect the DNA of variola virus and therefore can be used for the diagnosis of smallpox. This is accomplished by simply changing specific fluorescent labeled probes. Both assays incorporate internal controls. A wide variety of similar assays, targeting a variety of poxvirus genes, are currently being evaluated and readied for deployment. This is very much an ongoing process.

## Slide 14

This is an example of experimental data from a real-time PCR test that incorporated calibrated amounts of DNA at increasing dilutions together with an unknown test sample containing orthopox DNA. Depending on the amount of original starting viral DNA, fluorescent signal develops at varying times over the duration of the experiment. Detection of virus DNA from a patient sample is indicated by the arrow.

## Slide 15

Once again, just to emphasize, if smallpox were to re-emerge in the human population, the E9L real-time PCR assay would be modified for variola use simply by changing to an alternate probe.

## Slide 16

This is an example of a negatively stained electron micrographic preparation of vaccinia virus. You can see the characteristic brick-shaped particle of the orthopoxvirus and the characteristic surface morphology (example seen on the left). The EM process for orthopoxvirus identification may be accomplished relatively quickly by a skilled observer and can be used to differentiate generic orthopoxviruses from other groups of viral agents. However, it may not be as sensitive as real-time PCR and cannot differentiate between variola and vaccinia.

## Slide 17

Cell culture isolation can be an important and very sensitive method for detection of vaccinia since it also amplifies the virus for further characterization. It should be noted that specimens with high suspicion for variola should not be subjected to culture in a pre-event setting due to concerns for biocontainment and laboratory safety.

## Slide 18

The best specimens for many of the orthopox laboratory tests are the “roofs” or crusts from the lesions, which contain large amounts of orthopoxvirus material. Vesicular fluids from the lesions are also convenient sources of diagnostic material. Vesicular fluids are another good starting materials for electron microscopy. Whichever tests are considered for diagnosis, multiple lesions should be sampled for both roof of lesions and vesicular fluids from the lesions since not all lesion specimens are equally suitable for virus detection. Collection of biopsies can be done with local anesthetic if histopathologic exam is considered. Histopathologic evaluation is especially important for successful diagnosis of several of the orthopox look-alike syndromes.

## Slide 19

This is a good example of one of several vaccinia lesions associated with the laboratory-acquired case of disseminated vaccinia in a previously unvaccinated laboratory worker.

## Slide 20

Collection procedures for vaccinia in the event of an adverse reaction to vaccination, or variola in the event of a terrorist release of smallpox virus, are essentially identical. Specifics for collection techniques can be found at the CDC website. Updates are expected in the future so check the website occasionally.

## Slide 21

Typical practices associated with collection of patient specimens are appropriate for collection of orthopoxvirus lesions as well. These include wearing personal protective equipment, including gloves and sanitizing the site prior to collection. If alcohol is used to prepare the lesion for collection it is important to allow the lesion to dry before it is collected.

## Slide 22

These are examples of lab materials useful for collection of orthopox specimens for laboratory testing including the plastic vials in which lesion crusts would be shipped to the LRN site for analysis.

## Slide 23

For collection of vesicles, it's suggested to use a scalpel or needle to unroof the vesicle. The skin or scab that constitutes the roof goes to the collection tube and is sent otherwise dry. One procedure suggests gently scraping the base of the vesicle with a blunt end of a scalpel or wooden applicator and trying to smear some of this on a microscope slide. An electron microscope grid, with ultra-thin plastic covering, can be gently touched down (shiny side or plastic film-side) against the lesion. This can be repeated perhaps three times per lesion (resulting in three EM grids).

## Slide 24

Touch preparations are made by repetitively touching a glass microscope slide to a lesion. The slide and/or EM grid are allowed to air dry for ten minutes. Store in slide in a slide holder and an EM grid in the appropriate box.

## Slide 25

This is an example of lifting a crust – in this case an mature scab from a vaccination site.

## Slide 26

This is the same scab being prepared to be put into a vial as sterilely as possible.

## Slide 27

This is a simulated orthopox lesion and the making of a touch-prep with a glass or plastic microscope slide. The same lesion is touched 3 times with the same slide.

Slide 28

These are electron microscope grids, forceps for handling the grids, and the box for the grids.

## Slide 29

Here's the electron microscopic grid is being used to touch down on the lesion.

## Slide 30

Close-up of the EM grids and the box.

## Slide 31

Biopsy specimens should either be split in two or taken in duplicate so that one specimen can be fixed in formaldehyde for histopathology, while the other is used for DNA detection or virus isolation. Serum, if necessary, can be collected as well.

## Slide 32

For vaccinia testing, standard shipping guidelines are appropriate. Standard diagnostic specimen shipping guidelines are available at the website listed on the slide here (www.bt.cdc.gov/labissues/packaginginfo.pdf). If serum is collected, it is highly desirable to separate the serum from the blood on site, however, if this is not possible, one can send refrigerated whole blood to the LRN laboratory.

## Slide 33

Formalin-fixed tissue must be shipped at room temperature, not frozen. Electron microscopic grids must be shipped at room temperature.

## Slide 34

All other virus-containing material must be stored and shipped frozen. However, if overnight transportation to the LRN lab can be arranged, freezing of fresh viral specimens is not necessarily required. Keep all virus-containing material out of direct sunlight.

## Slide 35

Suspect vaccinia samples should be sent to the closest state or regional LRN laboratory. Contact your state's public health laboratory director's office for specific address information. It might be prudent to obtain this local contact information prior to onset of large-scale vaccination programs.

## Slide 36

Specimens with high suspicion of smallpox diagnosis need to come directly to CDC and to selected LRN labs with smallpox surge potential. As part of the febrile vesicular rash disease algorithm, it is anticipated that state health departments would be in contact with CDC regarding such a specimen and its transport.

## Slide 37

What about the past? It’s encouraging to note that smallpox was eradicated as a naturally occurring disease in the absence of high-tech diagnostic tools. During the time when smallpox was epidemic, clinical diagnosis drove the immediate medical response, and presumably this would be expected to reoccur if smallpox were to re-emerge in the future. Diagnostic electron microscopy capability was more common in the past, and relatively low-tech gel diffusion serological assays were available.

## Slide 38

What about the future? Additional sensitive diagnostic tests are currently being developed and will be deployed. It is anticipated that in addition to a wide variety of PCR-based tests for detection of DNA, relatively simple tests will be developed that can be used at point of care. It is also worth considering that in the event of a validated outbreak of smallpox, expectations for smallpox diagnosis would change considerably. As previously mentioned, it is likely that there would be an increased emphasis on clinical patient evaluation and subsequent initiation of vaccination even in the absence of laboratory confirmation.

I hope this brief introduction to vaccinia and variola diagnostic testing has been useful to you. Of course there's much more information available at the CDC website.

END

For more information, visit www.cdc.gov/smallpox, or call the CDC public response hotline
at (888) 246-2675 (English), (888) 246-2857 (Español), or (866) 874-2646 (TTY)