## RESULTS
Table S2-1. NPDES outfall analytical results for 2007.xls
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | CHLORINE(AVG) |  | CHLORINE(MAX) |  | Aluminum (AVG) |  | Aluminum (MAX) |  | E. Coli (AVG) |  | E. Coli (MAX) |  | TEMP (AVG) |  | TEMP (MAX) | ARSENIC (AVG) WQP | ARSENIC (MAX) WQP | BORON (AVG) WQP | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP | ZINC (AVG) WQP | ZINC (MAX) WQP |  | ALUMINUM (AVG) WQP |  | ALUMINUM (MAX) WQP | SELENIUM (AVG) WQP | SELENIUM (MAX) WQP | RA226+228 (AVG) WQP | RA226+228 (MAX) WQP |  | MERCURY (AVG) WQP |  | MERCURY (MAX) WQP |  | TRITIUM (AVG) WQP |  | TRITIUM (MAX) WQP |  | TOTALS
001 | 3-22 | Power Plant 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | CFU/100mL |  | CFU/100mL |  | DEG C |  | DEG C | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | PCI/L | PCI/L |  | MG/L |  | MG/L |  | PCI/L |  | PCI/L
|  | Jan | 8.3 | 8.3 |  | 1 |  | 1 |  | 0 |  | 0 | [47 empty] | 3
|  | Feb | 7.5 | 7.5 |  | 1 |  | 1 |  | 0 |  | 0 | [47 empty] | 3
|  | Mar | 7.4 | 7.4 |  | 1 |  | 1 |  | 0 |  | 0 | [47 empty] | 3
|  | Apr | 7.8 | 7.8 |  | 2 |  | 2 |  | 0 |  | 0 | [47 empty] | 3
|  | May | 7.6 | 7.6 |  | 1 |  | 1 |  | 0 |  | 0 | [47 empty] | 3
|  | Jun | 7.5 | 7.5 |  | 2 |  | 2 |  | 0 |  | 0 | [47 empty] | 3
|  | 12/00 Permit closeout Jul | 7.6 | 7.6 |  | 1 |  | 1 |  | 0 |  | 0 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.07 | 0.07 |  | 0 |  | 0 | 0 | 0 | 1 | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 17
|  | 2007 Permit effective Aug | 7.5 | 7.9 |  | 1 |  | 1 |  |  |  | 0 |  | 0.021 |  | 0.021 |  | 8.5 |  | 10.8 |  | 29 |  | 30 | [35 empty] | 22
|  | Sep | 7.5 | 8 | < | 1 | < | 1 |  |  |  | 0 |  | 0.023 |  | 0.023 |  | 4 |  | 9 |  | 27 |  | 32 | [35 empty] | 18
|  | Oct | 7.4 | 8 |  | 1 |  | 1 |  |  |  | 0 |  | 0 |  | 0 |  | 7 |  | 11 |  | 20.2 |  | 21.8 | [35 empty] | 18
|  | Nov | 7.5 | 8 |  | 1 |  | 1 |  |  |  | 0 |  | 0 |  | 0 |  | 2 |  | 4 |  | 19.28 |  | 23.8 | [35 empty] | 22
|  | Dec | 7.5 | 7.8 |  | 2 |  | 2 |  |  |  | 0 |  | 0 |  | 0 |  | 2 |  | 3 |  | 10.65 |  | 12 | [35 empty] | 15
|  |  | 7.4 | 8.3 | < | 1.25 | < | 2 |  | 0 |  | 0 |  | 0.0088 |  | 0.0088 |  | 4.7 |  | 7.56 |  | 21.226 |  | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.07 | 0.07 |  | 0 |  | 0 | 0 | 0 | 1 | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 130
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | SULFITE (AVG) |  | SULFITE (MAX) |  | IRON (AVG) |  | IRON (MAX) |  | COPPER (AVG) |  | COPPER (MAX) | CHLORINE (AVG) | CHLORINE (MAX) | ARSENIC (AVG) WQP | ARSENIC (MAX) WQP | BORON (AVG) WQP | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP |  | ZINC (AVG) WQP |  | ZINC (MAX) WQP | ALUMINUM (AVG) WQP | ALUMINUM (MAX) WQP | SELENIUM (AVG) WQP | SELENIUM (MAX) WQP |  | RA226+228 (AVG) WQP |  | RA226+228 (MAX) WQP |  | MERCURY (AVG) WQP |  | MERCURY (MAX) WQP |  | TRITIUM (AVG) WQP | TRITIUM (MAX) WQP | TOTALS
129 | 21-357 | TA-21 Steam Plant 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L |  | PCI/L |  | PCI/L |  | MG/L |  | MG/L |  | PCI/L | PCI/L
Jan
Feb
|  | Mar | 8.2 | 8.2 |  | 11 |  | 11 |  | 5 |  | 5 |  | 2 |  | 2 |  | 1 |  | 1 | [41 empty] | 5
Apr
May
|  | Jun | 7.6 | 7.6 |  | 0 |  | 0 |  | 2 |  | 2 |  | 5 |  | 5 |  | 0 |  | 0 | [41 empty] | 5
|  | 12/00 permit qtr closeout Jul | 7.5 | 7.5 | < | 1 | < | 1 |  | 7 |  | 7 |  | 4 |  | 4 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 19
|  | 2007 Permit effective Aug | (NO DISCHARGE)
|  | Sep | 7.4 |  |  | 23 |  | 23 |  | 11 |  | 11 |  | 6 |  | 6 |  | 4 |  | 4 |  | 251 |  | 251 |  | 0 | [35 empty] | 7
|  | Oct | (NO DISCHARGE)
|  | Nov | (NO DISCHARGE)
|  | Dec | (NO DISCHARGE) | [58 empty] | 0
|  |  | 7.4 | 8.2 | < | 8.75 | < | 23 |  | 6.25 |  | 11 |  | 4.25 |  | 6 |  | 1.25 |  | 4 |  | 251 |  | 251 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 36
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | CHLORINE (AVG) |  | CHLORINE (MAX) |  | ARSENIC (AVG) WQP |  | ARSENIC (MAX) WQP |  | BORON (AVG) WQP |  | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP | ZINC (AVG) WQP | ZINC (MAX) WQP | ALUMINUM (AVG) WQP | ALUMINUM (MAX) WQP | SELENIUM (AVG) WQP | SELENIUM (MAX) WQP |  | RA226+228 (AVG) WQP |  | RA226+228 (MAX) WQP | MERCURY (AVG) WQP | MERCURY (MAX) WQP | TRITIUM (AVG) WQP | TRITIUM (MAX) WQP |  | TOTALS
03A021 | 3-29 | CMR Air Washers 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | UG/L |  | UG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L |  | PCI/L |  | PCI/L | MG/L | MG/L | PCI/L | PCI/L
Jan
Feb
(NO DISCHARGE) Mar
Apr
May
|  | Jun | 8.2 | 8.2 |  | 2 |  | 2 |  | 1 |  | 1 |  | 0 |  | 0 | [35 empty] | 4
|  | 12/00 permit qtr closeout Jul | 8.1 | 8.1 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1 | 0 | 0 | 144 | 144 |  | 18
|  | 2007 Permit effective Aug | 8.1 | 8.5 | [11 empty] | 0 | [35 empty] | 10
|  | Sep | 7.8 | 8.4 | < | 1 | < | 1 |  | 2 |  | 2 |  |  |  | 0 | [35 empty] | 10
|  | Oct | 8.3 | 8.5 | [11 empty] | 0 | [35 empty] | 8
|  | (NO DISCHARGE) Nov | [49 empty] | 0
|  | Dec |  |  | < | 1 | < | 1 |  | 1 |  | 1 | [28 empty] | 4 | 4 | [9 empty] | 3
|  |  | 7.8 | 8.5 | < | 1.25 | < | 2 |  | 1 |  | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 4 |  | 1 |  | 1 | 0 | 0 | 144 | 144 |  | 53
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | CHLORINE (AVG) |  | CHLORINE (MAX) |  | COPPER (AVG) |  | COPPER (MAX) |  | ARSENIC (AVG) WQP |  | ARSENIC (MAX) WQP | BORON (AVG) WQP | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP | ZINC (AVG) WQP | ZINC (MAX) WQP | ALUMINUM (AVG) WQP | ALUMINUM (MAX) WQP |  | SELENIUM (AVG) |  | SELENIUM (MAX) | RA226+228 (AVG) WQP | RA226+228 (MAX) WQP | MERCURY (AVG) WQP | MERCURY (MAX) WQP |  | TRITIUM (AVG) WQP |  | TRITIUM (MAX) WQP
03A022 | 3-2238 | Sigma Cooling Tower 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L |  | UG/L |  | UG/L | PCI/L | PCI/L | MG/L | MG/L |  | PCI/L |  | PCI/L |  | TOTALS
Jan
Feb
|  | Mar | 8 | 8 |  | 6 |  | 6 |  | 1 |  | 1 |  | 0 |  | 0 | [39 empty] | 4
Apr
May
|  | Jun | 8.4 | 8.4 | < | 1 | < | 1 |  | 3 |  | 3 |  | 0 |  | 0 | [39 empty] | 4
|  | 12/00 permit qtr closeout Jul | 8.6 | 8.6 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 | [5 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 1 | 1 | 0 | 0 |  | 149 |  | 149 |  | 18
|  | 2007 Permit effective Aug | 8.4 | 8.6 | [11 empty] | 0 |  | 0.74 |  | 0.74 | [35 empty] | 11
|  | Sep | 7.6 | 8.6 |  | 1 |  | 1 |  | 1 |  | 1 |  |  |  | 0 |  | 0.0013 |  | 0.0013 | [35 empty] | 11
|  | Oct | 7.7 | 8.7 | [11 empty] | 0 |  | 0 |  | 0 | [35 empty] | 11
|  | Nov | 8.5 | 8.8 | [11 empty] | 0 |  | 0 |  | 0 | [35 empty] | 9
|  | Dec | 8.5 | 8.8 | < | 1 | < | 1 |  | 1 |  | 1 |  |  |  | 0 |  | 0 |  | 0 | [22 empty] | < | 1 | < | 1 | [9 empty] | 12
|  |  | 7.6 | 8.8 | < | 2 | < | 6 |  | 1.2 |  | 3 |  | 0 |  | 0 |  | 0.14826 |  | 0.74 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.5 | < | 1 | 1 | 1 | 0 | 0 |  | 149 |  | 149 |  | 80
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | CHLORINE (AVG) |  | CHLORINE (MAX) |  | E. Coli (AVG) |  | E. Coli (MAX) |  | ARSENIC (AVG) WQP |  | ARSENIC (MAX) WQP | BORON (AVG) WQP | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP | ZINC (AVG) WQP | ZINC (MAX) WQP | ALUMINUM (AVG) WQP | ALUMINUM (MAX) WQP |  | SELENIUM (AVG) |  | SELENIUM (MAX) | RA226+228 (AVG) WQP | RA226+228 (MAX) WQP | MERCURY (AVG) WQP | MERCURY (MAX) WQP |  | TRITIUM (AVG) WQP |  | TRITIUM (MAX) WQP
03A027 | 3-2327 | Strategic Computing Complex Cooling Tower 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | CFU/100ml |  | CFU/100ml |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L |  | UG/L |  | UG/L | PCI/L | PCI/L | MG/L | MG/L |  | PCI/L |  | PCI/L |  | TOTALS
Jan
Feb
|  | Mar | 8.3 | 8.3 |  | 6 |  | 6 |  | 4 |  | 4 |  | 0 |  | 0 | [39 empty] | 4
Apr
May
|  | Jun | 8.6 | 8.6 |  | 2 |  | 2 |  | 3 |  | 3 |  | 0 |  | 0 | [39 empty] | 4
|  | 12/00 permit qtr closeout Jul | 8.2 | 8.2 |  | 1 |  | 1 |  | 3 |  | 3 |  | 0 |  | 0 | [5 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 1 | 1 | 0 | 0 |  | 47 |  | 47 |  | 18
|  | 2007 Permit effective Aug | 8.1 | 8.4 | [11 empty] | 0.15 |  | * |  | * | [35 empty] | 10
|  | Sep | 8 | 8.4 |  | 1 |  | 1 |  | 4 |  | 4 |  |  |  | 0 |  | * |  | * | [35 empty] | 10
|  | Oct | 7.8 | 8.4 | [11 empty] | 0 |  | * |  | * | [35 empty] | 8
|  | Nov | 8.3 | 8.5 | [11 empty] | 0 |  | * |  | * | [35 empty] | 10
|  | Dec | 8.4 | 8.8 |  | 2 |  | 2 |  | 4 |  | 4 |  |  |  | 0 |  | * |  | * | [12 empty] | 0 | 0 | [8 empty] | < | 1 | < | 1 | [9 empty] | 12
|  |  | 7.8 | 8.8 | < | 2.4 | < | 6 |  | 3.6 |  | 4 |  | 0 |  | 0.15 | [5 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.5 | < | 1 | 1 | 1 | 0 | 0 |  | 47 |  | 47 |  | 76
*EFFLUENT LIMITATIONS & MONITORING REQUIREMENTS APPLY TO E. COLI ONLY WHEN SWWS EFFLUENT DISCHARGE & 6 MONTHS FROM EFFECTIVE DATE OF PERMIT.
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | CHLORINE (AVG) |  | CHLORINE (MAX)
03A028 | 15-202 | PHERMEX Cooling Tower 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | UG/L |  | UG/L
Jan
Feb
(NO DISCHARGE) Mar
Apr
May
(NO DISCHARGE) Jun
|  | 12/00 permit qtr closeout Jul | (REMOVED FROM PERMIT)
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | COPPER (AVG) |  | COPPER (MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | ARSENIC (AVG) |  | ARSENIC (MAX) |  | CHLORINE (AVG) |  | CHLORINE (MAX) | ARSENIC (AVG) WQP | ARSENIC (MAX) WQP | BORON (AVG) WQP | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP | ZINC (AVG) WQP | ZINC (MAX) WQP |  | ALUMINUM (AVG) WQP |  | ALUMINUM (MAX) WQP | SELENIUM (AVG) | SELENIUM (MAX) | RA226+228 (AVG) WQP | RA226+228 (MAX) WQP |  | MERCURY (AVG) WQP |  | MERCURY (MAX) WQP |  | TRITIUM (AVG) WQP |  | TRITIUM (MAX) WQP
03A048 | 53-963/978 | LANSCE Cooling Tower | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L |  | MG/L |  | MG/L | UG/L | UG/L | PCI/L | PCI/L |  | MG/L |  | MG/L |  | PCI/L |  | PCI/L |  | TOTALS
Jan
Feb
|  | Mar | 8.5 | 8.5 |  | 1 |  | 1 |  | 0.002 |  | 0.002 |  | 0 |  | 0 | [5 empty] | 0 |  | 0 | [35 empty] | 5
Apr
May
|  | Jun | 8.8 | 8.8 | < | 1 | < | 1 |  | 0.001 |  | 0.001 |  | 0 |  | 0 | [5 empty] | 0.26 |  | 510 | [35 empty] | 6
|  | 12/00 permit qtr closeout Jul | 8.3 | 8.3 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 | [5 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011 | 0.011 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 1 | 1 |  | 0 |  | 0 |  | 78 |  | 78 |  | 18
|  | 2007 Permit effective Aug | 7.3 | 8.5 | < | 1 | < | 1 |  | 0.0014 |  | 0.0014 |  | 0 |  | 0 |  | 0.005 |  | 0.005 |  |  |  | 0 | [35 empty] | 12
|  | Sep | 7.6 | 8.8 | [5 empty] | 0.0024 |  | 0.0024 | [5 empty] | 0.004 |  | 0.004 |  |  |  | 0 | [35 empty] | 12
|  | Oct | 8.3 | 8.5 | [5 empty] | 0 |  | 0 | [5 empty] | 0 |  | 0 |  |  |  | 0 | [35 empty] | 12
|  | Nov | 8.5 | 8.7 | [5 empty] | 0 |  | 0 | [5 empty] | 0 |  | 0 |  |  |  | 0 | [35 empty] | 10
|  | Dec | 8.7 | 8.9 |  | 1 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | [22 empty] | 1 | 1 | [11 empty] | 12
|  |  | 7.3 | 8.9 |  | 1 |  | 1 |  | 0.00085 |  | 0.0024 |  | 0 |  | 0 |  | 0.0018 |  | 0.005 |  | 0.086667 |  | 510 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011 | 0.011 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0.5 | 1 | 1 | 1 |  | 0 |  | 0 |  | 78 |  | 78 |  | 87
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | CHLORINE (AVG) |  | CHLORINE (MAX) |  | ARSENIC (AVG) WQP |  | ARSENIC (MAX) WQP |  | BORON (AVG) WQP |  | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP | ZINC (AVG) WQP | ZINC (MAX) WQP | ALUMINUM (AVG) WQP | ALUMINUM (MAX) WQP | SELENIUM (AVG) | SELENIUM (MAX) |  | RA226+228 (AVG) WQP |  | RA226+228 (MAX) WQP | MERCURY (AVG) WQP | MERCURY (MAX) WQP | TRITIUM (AVG) WQP | TRITIUM (MAX) WQP
03A113 | 53-293/952 | LANSCE Cooling Tower 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | UG/L |  | UG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | UG/L | UG/L |  | PCI/L |  | PCI/L | MG/L | MG/L | PCI/L | PCI/L |  | TOTALS
Jan
Feb
|  | Mar | 7.2 | 7.2 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 | [35 empty] | 4
Apr
May
|  | Jun | 7.3 | 7.3 |  | 2 |  | 2 |  | 0 |  | 0 |  | 0 |  | 0 | [35 empty] | 4
|  | 12/00 Permit qtr closeout Jul | 8.3 | 8.3 |  | 4 |  | 4 |  | 1 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1 | 0 | 0 | 280 | 280 |  | 18
|  | 2007 Permit effective Aug | 7.9 | 8.3 | [11 empty] | 0 | [35 empty] | 10
|  | Sep | 8.2 | 8.3 |  | 6 |  | 6 |  | 1 |  | 1 |  |  |  | 0 | [35 empty] | 10
|  | Oct | 8.3 | 8.6 | [11 empty] | 0 | [35 empty] | 10
|  | Nov | 8 | 8.7 | [11 empty] | 0 | [35 empty] | 8
|  | Dec | 7.6 | 8.6 |  | 3 |  | 3 |  | 1 |  | 1 |  |  |  | 0 | [35 empty] | 10
|  |  | 7.2 | 8.7 | < | 3.2 | < | 6 |  | 0.6 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 1 | 0 | 0 | 280 | 280 |  | 74
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | CHLORINE (AVG) |  | CHLORINE (MAX) |  | CYANIDE (AVG) |  | CYANIDE (MAX) |  | COPPER (AVG) |  | COPPER (MAX) | ARSENIC (AVG) WQP | ARSENIC (MAX) WQP | BORON (AVG) WQP | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP | ZINC (AVG) WQP | ZINC (MAX) WQP |  | ALUMINUM (AVG) WQP |  | ALUMINUM (MAX) WQP | SELENIUM (AVG) | SELENIUM (MAX) | RA226+228 (AVG) WQP | RA226+228 (MAX) WQP |  | MERCURY (AVG) WQP |  | MERCURY (MAX) WQP |  | TRITIUM (AVG) WQP |  | TRITIUM (MAX) WQP
03A130 | 11-30 VF CT |  | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | UG/L |  | UG/L |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L |  | MG/L |  | MG/L | UG/L | UG/L | PCI/L | PCI/L |  | MG/L |  | MG/L |  | PCI/L |  | PCI/L |  | TOTALS
Jan
Feb
|  | Mar | 8.9 | 8.9 |  | 1 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 | [43 empty] | 4
Apr
May
|  | Jun | 8.6 | 8.6 |  | 2 |  | 2 |  | 0 |  | 0 |  | 0 |  | 0 | [43 empty] | 4
|  | 12/00 Permit qtr closeout Jul | 8.9 | 8.9 |  | 2 |  | 2 |  | 0 |  | 0 |  | 0 |  | 0 | [8 empty] | 0 | 0 | 0.1 | 0.1 | 0 | 0 | 0.04 | 0.04 | 0 | 0 | 0.05 | 0.05 | 0 | 0 | 0 | 0 | 0.2 | 0.2 |  | 0 |  | 0 | 0 | 0 | 1 | 1 |  | 0 |  | 0 |  | 25 |  | 25 |  | 18
|  | 2007 Permit effective Aug | NO DISCHARGE
|  | Sep | 8.7 | 8.7 |  | 2 |  | 2 |  | 0 |  | 0 |  |  |  | 0 |  | 0.002 |  | 0.002 |  | 0.0429 |  | 0.0429 | [35 empty] | 6
|  | Oct | 8.6 | 8.6 | [12 empty] | < | 1.5 | < | 1.5 |  | 0.025 |  | 0.025 | [35 empty] | 4
|  | Nov | NO DISCHARGE | [56 empty] | 0
|  | Dec | 8.7 | 8.8 |  | 3 |  | 3 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0.021 |  | 0.021 | [22 empty] | 1 | 1 | [11 empty] | 9
|  |  | 8.6 | 8.9 | < | 2 | < | 3 |  | 0 |  | 0 |  | 0 |  | 0 | [8 empty] | 0 | 0 | 0.1 | 0.1 | 0 | 0 | 0.04 | 0.04 | 0 | 0 | 0.05 | 0.05 | 0 | 0 | 0 | 0 | 0.2 | 0.2 |  | 0 |  | 0 | 0.5 | 1 | 1 | 1 |  | 0 |  | 0 |  | 25 |  | 25 |  | 45
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | CHLORINE (AVG) |  | CHLORINE (MAX)
03A158 | 21-209 | TA-21 CoolingTower 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | UG/L |  | UG/L |  | TOTALS
Jan
Feb
|  | (NO DISCHARGE) Mar | [15 empty] | 0
Apr
May
|  | Jun | 7.6 | 7.6 |  | 2 |  | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | 4
|  | 12/00 Permit qtr closeout Jul | (NO DISCHARGE)
|  | 2007 Permit effective Aug | (REMOVED FROM PERMIT)
|  |  | 7.6 | 7.6 | < | 2 | < | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | 4
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | CHLORINE (AVG) |  | CHLORINE (MAX) |  | COPPER (AVG) |  | COPPER (MAX) |  | ARSENIC (AVG) WQP |  | ARSENIC (MAX) WQP | BORON (AVG) WQP | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP | ZINC (AVG) WQP | ZINC (MAX) WQP | ALUMINUM (AVG) WQP | ALUMINUM (MAX) WQP |  | SELENIUM (AVG) |  | SELENIUM (MAX) | RA226+228 (AVG) WQP | RA226+228 (MAX) WQP | MERCURY (AVG) WQP | MERCURY (MAX) WQP |  | TRITIUM (AVG) WQP |  | TRITIUM (MAX) WQP |  | TOTALS
03A160 | 35-124 | National High Magnetic Field Laboratory Cooling Tower 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L |  | UG/L |  | UG/L | PCI/L | PCI/L | MG/L | MG/L |  | PCI/L |  | PCI/L
Jan
Feb
|  | Mar | 8.4 | 8.4 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 | [39 empty] | 4
Apr
May
|  | Jun | 8.6 | 8.6 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 | [39 empty] | 4
|  | 12/00 Permit qtr closeout Jul | 8.5 | 8.5 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 | [5 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0.012 | 0.012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 223 |  | 223 |  | 18
|  | 2007 Permit effective Aug | (NO DISCHARGE)
|  | Sep | 8.6 | 8.6 | < | 1 | < | 1 |  | 0 |  | 0 |  |  |  | 0 |  | 0.0038 |  | 0.0038 | [35 empty] | 7
|  | Oct | 8.7 | 8.9 | [11 empty] | 0 |  | 0 |  | 0 | [35 empty] | 5
|  | Nov | 8.6 | 8.6 | [11 empty] | 0 |  | 0 |  | 0 | [35 empty] | 3
|  | Dec | 8.6 | 8.6 |  | 1 |  | 1 |  | 0 | 0 |  |  |  |  | 0 |  | 0.063 |  | 0.063 | [35 empty] | 5
|  |  | 8.4 | 8.9 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 | [5 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0.012 | 0.012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 223 |  | 223 |  | 46
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | CHLORINE (AVG) |  | CHLORINE (MAX) |  | ARSENIC (AVG) WQP |  | ARSENIC (MAX) WQP |  | BORON (AVG) WQP |  | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP | ZINC (AVG) WQP | ZINC (MAX) WQP | ALUMINUM (AVG) WQP | ALUMINUM (MAX) WQP | SELENIUM (AVG) | SELENIUM (MAX) |  | RA226+228 (AVG) WQP |  | RA226+228 (MAX) WQP | MERCURY (AVG) WQP | MERCURY (MAX) WQP | TRITIUM (AVG) WQP | TRITIUM (MAX) WQP
03A181 | 55-6 | Plutonium Facility Cooling Tower 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | UG/L | UG/L |  | PCI/L |  | PCI/L | MG/L | MG/L | PCI/L | PCI/L |  | TOTALS
Jan
Feb
|  | Mar | 8.7 | 8.7 | < | 1 | < | 1 |  | 4 |  | 4 |  | 0 |  | 0 | [35 empty] | 4
Apr
May
|  | Jun | 8.4 | 8.4 | < | 1 | < | 1 |  | 3 |  | 3 |  | 0 |  | 0 | [35 empty] | 4
|  | 12/00 Permit qtr closeout Jul | 8.7 | 8.7 |  | 3 |  | 3 |  | 6 |  | 6 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.02 | 0.2 | 0.2 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 22 | 22 |  | 18
|  | 2007 Permit effective Aug | 8.5 | 8.6 | [11 empty] | 0 | [35 empty] | 10
|  | Sep | 8.5 | 8.6 |  | 1 |  | 1 |  | 7 |  | 7 |  |  |  | 0 | [35 empty] | 10
|  | Oct | 8.4 | 8.6 | [11 empty] | 0 | [35 empty] | 10
|  | Nov | 8.6 | 8.8 | [11 empty] | 0 | [35 empty] | 8
|  | Dec | 8.7 | 9 |  | 1 |  | 1 |  | 0 |  | 0 |  |  |  | 0 | [24 empty] | 0 | 0 | [9 empty] | 11
|  |  | 8.4 | 9 | < | 1.4 | < | 3 |  | 4 |  | 7 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.02 | 0.2 | 0.2 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 22 | 22 |  | 75
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | CHLORINE (AVG) |  | CHLORINE (MAX) |  | CYANIDE (AVG) |  | CYANIDE (MAX) |  | ARSENIC (AVG) WQP |  | ARSENIC (MAX) WQP | BORON (AVG) WQP | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP | ZINC (AVG) WQP | ZINC (MAX) WQP | ALUMINUM (AVG) WQP | ALUMINUM (MAX) WQP |  | SELENIUM (AVG) |  | SELENIUM (MAX) | RA226+228 (AVG) WQP | RA226+228 (MAX) WQP | MERCURY (AVG) WQP | MERCURY (MAX) WQP |  | TRITIUM (AVG) WQP |  | TRITIUM (MAX) WQP
03A185 | 15-312 | DARHT Cooling Tower 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | UG/L |  | UG/L |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L |  | UG/L |  | UG/L | PCI/L | PCI/L | MG/L | MG/L |  | PCI/L |  | PCI/L |  | TOTALS
Jan
Feb
|  | Mar | 8.5 | 8.5 | < | 1 | < | 1 |  | 5 |  | 5 |  | 0 |  | 0 | [39 empty] | 4
Apr
May
|  | Jun | 8.6 | 8.6 |  | 2 |  | 2 |  | 3 |  | 3 |  | 0 |  | 0 | [39 empty] | 4
|  | 12/00 Permit qtr closeout Jul | 8.6 | 8.6 |  | 1 |  | 1 |  | 3 |  | 3 |  | 0 |  | 0 | [5 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | < | 153 | < | 153 |  | 18
|  | 2007 Permit effective Aug | 8.5 | 8.7 | [11 empty] | 0 | < | 1.5 | < | 1.5 | [35 empty] | 11
|  | Sep | 8.4 | 8.6 |  | 2 |  | 2 |  | 3 |  | 3 |  |  |  | 0 |  | 2.9 |  | 2.9 | [35 empty] | 11
|  | Oct | 8.4 | 8.8 | [11 empty] | 0 |  | 1.9 |  | 1.9 | [35 empty] | 9
|  | Nov | 8.3 | 8.8 | [11 empty] | 0 | < | 1.5 | < | 1.5 | [35 empty] | 11
|  | Dec | 8.8 | 8.9 |  | 2 |  | 2 |  | 3 |  | 3 |  |  |  | 0 |  | 38.7 |  | 38.7 | [23 empty] | 0 |  | 0 | [9 empty] | 12
|  |  | 8.3 | 8.9 | < | 1.6 | < | 2 |  | 3.4 |  | 5 |  | 0 |  | 0 | [5 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 153 |  | 153 |  | 80
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | PHOSPHORUS(AVG) |  | PHOSPHORUS(MAX) |  | CHLORINE (AVG) |  | CHLORINE (MAX) |  | ARSENIC (AVG) WQP |  | ARSENIC (MAX) WQP |  | BORON (AVG) WQP |  | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP | ZINC (AVG) WQP | ZINC (MAX) WQP | ALUMINUM (AVG) WQP | ALUMINUM (MAX) WQP | SELENIUM (AVG) | SELENIUM (MAX) |  | RA226+228 (AVG) WQP |  | RA226+228 (MAX) WQP | MERCURY (AVG) WQP | MERCURY (MAX) WQP | TRITIUM (AVG) WQP | TRITIUM (MAX) WQP
03A199 | 3-1837 | Laboratory Data Communications Center 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | UG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | UG/L | UG/L |  | PCI/L |  | PCI/L | MG/L | MG/L | PCI/L | PCI/L |  | TOTALS
Jan
Feb
|  | Mar | 8.8 | 8.8 |  | 5 |  | 5 |  | 5 |  | 5 |  | 0 |  | 0 | [35 empty] | 4
Apr
May
|  | Jun | 8.8 | 8.8 |  | 21 |  | 21 |  | 4 |  | 4 |  | 0 |  | 0 | [35 empty] | 4
|  | 12/00 Permit qtr closeout Jul | 8.7 | 8.7 |  | 1 |  | 1 |  | 2 |  | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0.02 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  | 2 | 0 | 0 | 0 | 0 |  | 18
|  | 2007 Permit effective Aug | 8.2 | 8.6 | [11 empty] | 0.39 | [35 empty] | 10
|  | Sep | 8.3 | 8.7 |  | 8 |  | 8 |  | 3 |  | 3 |  |  |  | 0 | [35 empty] | 10
|  | Oct | 8.2 | 8.5 | [11 empty] | 0 | [35 empty] | 10
|  | Nov | 8.2 | 9 | [11 empty] | 0 | [35 empty] | 8
|  | Dec | 8.5 | 8.7 |  | 1 |  | 1 |  | 3 |  | 3 |  |  |  | 0 | [24 empty] | 1 | 1 | [9 empty] | 10
|  |  | 8.2 | 9 | < | 7.2 | < | 21 |  | 3.4 |  | 5 |  | 0 |  | 0.39 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0.02 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 1 |  | 2 |  | 2 | 0 | 0 | 0 | 0 |  | 74
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | COD(AVG) |  | COD(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | CADMIUM (AVG) |  | CADMIUM (MAX) |  | CHROMIUM (AVG) |  | CHROMIUM (MAX) |  | COPPER (AVG) |  | COPPER (MAX) | LEAD (AVG) | LEAD (MAX) | NICKEL (AVG) | NICKEL (MAX) | ZINC (AVG) | ZINC (MAX) | MERCURY (AVG) | MERCURY (MAX) | TTOS (AVG) | TTOS (MAX) | CHLORINE(MAX) | 48-hr (MIN) ACUTE TOXICITY | 48-hr (AVG) ACUTE TOXICITY | 48-hr (MIN) ACUTE TOXICITY | 48-hr (AVG) ACUTE TOXICITY | 48-hr (MIN) ACUTE TOXICITY | 48-hr (AVG) ACUTE TOXICITY | ARSENIC (AVG) WQP |  | ARSENIC (MAX) WQP |  | BORON (AVG) WQP | BORON (MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | VANADIUM (AVG) WQP |  | VANADIUM (MAX) WQP |  | ALUMINUM (AVG) WQP |  | ALUMINUM (MAX) WQP |  | SELENIUM (AVG) |  | SELENIUM (MAX) | RA226+228 (AVG) WQP | RA226+228 (MAX) WQP |  | PERCHLORATE (AVG) |  | PERCHLORATE (MAX) | TRITIUM (AVG) WQP | TRITIUM (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (MAX) WQP | CHROMIUM (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | NICKEL (AVG) WQP | NICKEL (MAX) WQP | MECURY (AVG) WQP | MERCURY (MAX) WQP
|  | TA-50 Radioactive Liquid Waste Treatment Facility 2007 | SU | SU |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | UG/L |  | UG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L | UG/L | UG/L | MG/L | MG/L | MG/L | MG/L | UG/L | UG/L | MG/L | MG/L | MG/L | PASS/FAIL | PASS/FAIL | % | % | % | % | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | MG/L | MG/L |  | MG/L |  | MG/L |  | MG/L |  | UG/L |  | UG/L | PCI/L | PCI/L |  | UG/L |  | UG/L | PCI/L | PCI/L | UG/L | UG/L | MG/L | MG/L | UG/L | UG/L | MG/L | MG/L | MG/L | MG/L | TOTALS
051 | 50-1 | Jan | 7.4 | 7.9 | < | 8 |  | 14 | < | 1 | < | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0.056 |  | 0.123 | 1 | 6 | 0.019 | 0.019 | 0 | 0 | 0 | 0 | 0 | 0 | [44 empty] | 47
|  | Feb | 7.1 | 8.1 |  | 8 |  | 11 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0.042 |  | 0.052 | 0 | 0 | 0.03 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0 | [44 empty] | 29
|  | Mar | 7.3 | 8.3 |  | 12 |  | 17 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0.017 |  | 0.025 | 0 | 0 | 0.008 | 0.008 | 0 | 0 | 0 | 0 | 0 | 0 | [44 empty] | 38
|  | Apr | 7.5 | 8.4 |  | 15 |  | 20 | < | 2 |  | 5 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0.024 |  | 0.046 | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [44 empty] | 29
|  | May | 7.1 | 7.9 | < | 12 |  | 21 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0.025 |  | 0.046 | 3 | 13 | 0 | 0 | 0.06 | 0.23 | 0 | 0 | 0 | 0 | [44 empty] | 38
|  | Jun | 7.2 | 7.5 | < | 6 |  | 10 | < | 1 | < | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0.022 |  | 0.033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [44 empty] | 29
|  | 12/00 Permit closeout Jul | 7.1 | 7.4 |  | 20 |  | 15 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0.042 |  | 0.064 | 0 | 0 | 0.007 | 0.007 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 |  | 0 |  | 0.1 | 0.1 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 2 | < | 0.004 | < | 0.004 | 0 | 0 | [10 empty] | 30
|  | 2007 Permit effective Aug | 6.3 | 6.5 |  | 20 |  | 20 | < | 0.57 | < | 0.57 | [9 empty] | 0.033 |  | 0.033 |  |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | [43 empty] | 9
|  | Sep | 6.5 | 7.3 |  | 18 |  | 18 |  | 4 |  | 4 | [9 empty] | 0.01 |  | 0.01 |  |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 1 | 1 | 56 | 56 | 0 | 0 | [37 empty] | 16
|  | Oct | 6.3 | 7 |  | 62 |  | 117 | < | 1 | < | 1 | [9 empty] | 0.0297 |  | 0.0297 |  |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 1 | 1 | N/A | N/A | 0 | 0 | [37 empty] | 20
|  | Nov | 7 | 7.4 | < | 4 | < | 4 |  | 1 |  | 1 | [9 empty] | 0.029 |  | 0.029 |  |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | [43 empty] | 11
|  | Dec | 6.6 | 7.7 |  | 12 |  | 12 |  | 1 |  | 1 | [9 empty] | 0.0326 |  | 0.0326 |  |  |  |  | 0 | 0 |  |  | 0.0116 | 0.0116 | 0 | [21 empty] | < | 1 | < | 1 | 1 | 1 |  | 4 | < | 4 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22
|  |  | 6.3 | 8.4 | < | 16.4167 | < | 117 | < | 1.2975 | < | 5 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0.030192 |  | 0.123 | 0.85714 | 13 | 0.0091429 | 0.03 | 0.005 | 0.23 | 0 | 0 | 0.00096667 | 0.0116 | [7 empty] | 0 |  | 0 |  | 0.1 | 0.1 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | < | 0.5 | < | 1 | 1.5 | 2 |  | 2.002 | < | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 318
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | RDX(AVG) |  | RDX(MAX) |  | TSS(AVG) |  | TSS(MAX) |  | O&G (AVG) |  | O&G (MAX) |  | TTO (AVG) |  | TTO (MAX) |  | TNT (AVG) |  | TNT (MAX) | COD (AVG) | COD (MAX) | PERCHLORATE (AVG) WQP | PERCHLORATE (MAX) WQP
055 | 16-1508 | High Explosives Wastewater Treatment Facility 2007 | SU | SU |  | UG/L |  | UG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | UG/L | UG/L | TOTALS
|  | Jan |  |  |  | no discharge |  | no discharge | [20 empty] | 0
|  | Feb |  |  |  | no discharge |  | no discharge | [20 empty] | 0
|  | Mar | 8 | 8 | < | 1 | < | 1 | < | 1 | < | 1 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 | 18 | 18 |  |  | 7
|  | Apr |  |  |  | no discharge |  | no discharge | [20 empty] | 0
|  | May |  |  |  | no discharge |  | no discharge | [20 empty] | 0
|  | Jun | 7.2 | 7.2 | < | 1 | < | 1 | < | 1 | < | 1 | < | 1 | < | 1 |  | 0 |  | 0 |  | 0 |  | 0 | 25 | 25 |  |  | 7
|  | 12/00 Permit q/m closeout Jul |  |  |  | no discharge |  | no discharge | [20 empty] | 0
|  | 2007 Permit effective Aug |  |  |  | no discharge |  | no discharge | [20 empty] | 0
|  | Sep |  |  |  | no discharge |  | no discharge | [20 empty] | 0
|  | Oct |  |  |  | no discharge |  | no discharge | [20 empty] | 0
|  | Nov |  |  |  | no discharge |  | no discharge | [20 empty] | 0
|  | Dec |  |  |  | no discharge |  | no discharge | [20 empty] | 0
|  |  | 7.2 | 8 |  | 1 |  | 1 | < | 1 | < | 1 |  | 1 |  | 1 |  | 0 |  | 0 | < | 0 | < | 0 |  |  |  |  | 14
Outfall Number | TA-bldg | Description | PH(MIN) | PH(MAX) |  | BOD (AVG) |  | BOD (MAX) |  | BOD (AVG) |  | BOD (MAX) |  | TSS (AVG) |  | TSS (MAX) |  | TSS (AVG) |  | TSS (MAX) |  | FECAL COL (AVG) |  | FECAL COL (MAX) | CHLORINE (AVG) | CHLORINE (MAX) | ARSENIC (AVG) WQP | ARSENIC (MAX) WQP | BORON (AVG) WQP | BORON (MAX) WQP | CADMIUM (AVG) WQP | CADMIUM (MAX) WQP | CHROMIUM (AVG) WQP | CHROMIUM(MAX) WQP | COBALT (AVG) WQP | COBALT (MAX) WQP | COPPER (AVG) WQP | COPPER (MAX) WQP | LEAD (AVG) WQP | LEAD (MAX) WQP | VANADIUM (AVG) WQP | VANADIUM (MAX) WQP |  | ZINC (AVG) WQP |  | ZINC (MAX) WQP | ALUMINUM (AVG) WQP | ALUMINUM (MAX) WQP | SELENIUM (AVG) | SELENIUM (MAX) |  | RA226+228 (AVG) WQP |  | RA226+228 (MAX) WQP |  | TRITIUM (AVG) WQP |  | TRITIUM (MAX) WQP
13S | 46-347 | Sanitary Wastewater Treatment Plant 2007 | SU | SU |  | LB/DY |  | LB/DY |  | MG/L |  | MG/L |  | LB/DY |  | LB/DY |  | MG/L |  | MG/L |  | #100ML |  | #100ML | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L | MG/L |  | MG/L |  | MG/L | MG/L | MG/L | UG/L | UG/L |  | PCI/L |  | PCI/L |  | PCI/L |  | PCI/L |  | TOTALS
|  | Jan | 7.2 | 7.4 |  | 5 |  | 6 | < | 2 | < | 2 |  | 7 |  | 7 |  | 2 |  | 2 |  | 1 |  | 1 | [35 empty] | 10
|  | Feb | 7.1 | 7.2 | < | 4 | < | 5 | < | 2 | < | 2 |  | 3 |  | 3 |  | 2 |  | 2 |  | 3 |  | 3 | [35 empty] | 10
|  | Mar | 7 | 7.1 |  | 4 |  | 4 | < | 2 | < | 2 |  | 3 |  | 3 |  | 2 |  | 2 |  | 3 |  | 3 | [35 empty] | 9
|  | Apr | 7 | 7.1 |  | 4 |  | 4 | < | 2 | < | 2 |  | 10 |  | 10 |  | 5 |  | 5 |  | 3 |  | 3 | [35 empty] | 9
|  | May | 7 | 7.1 |  | 4 |  | 4 | < | 2 | < | 2 |  | 4 |  | 4 |  | 2 |  | 2 |  | 30 |  | 30 | [35 empty] | 9
|  | Jun | 6.9 | 7.2 | < | 4 | < | 4 | < | 2 | < | 2 |  | 3 |  | 3 |  | 1 |  | 1 |  | 2 |  | 2 | [35 empty] | 9
|  | 12/00 Permit closeout Jul | 7 | 7.3 | < | 3 | < | 3 | < | 2 | < | 2 |  | 1 |  | 1 |  | 1 |  | 1 |  | 10 |  | 10 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | < | 153 | < | 153 |  | 25
|  | 2007 Permit effective Aug | 7 | 7.2 | < | 4 | < | 4 | < | 2 | < | 2 |  | 2 |  | 2 |  | 1 |  | 1 |  | * |  | * |  | * | [33 empty] | 9
|  | Sep | 7 | 7.3 | < | 3 | < | 3 | < | 2 | < | 2 |  | 2 |  | 2 |  | 1 |  | 1 |  | * |  | * |  | * | [33 empty] | 6
|  | Oct | 6.9 | 7.3 | < | 3 | < | 3 | < | 2 | < | 2 |  | 1 |  | 1 |  | 1 |  | 1 |  | * |  | * |  | * | [33 empty] | 7
|  | Nov | 7 | 7.3 | < | 4 | < | 4 | < | 2 | < | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | * |  | * |  | * | [33 empty] | 7
|  | Dec | 6.9 | 7.2 | < | 4 | < | 4 | < | 2 | < | 2 |  | 11 |  | 11 |  | 5 |  | 5 |  | * |  | * |  | * | [33 empty] | 6
|  |  | 6.9 | 7.4 | < | 3.8333 | < | 6 | < | 2 | < | 2 |  | 3.9167 |  | 11 |  | 1.9167 |  | 5 |  | 7 |  | 30 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 153 |  | 153 |  | 116
* TOTAL RESIDUAL CHLORINE AND E.COLI EFFLENT LIMITATIONS & MONITORING REQPIREMENTS ONLY APPLY WHEN DISCHARGE IS MADE TO CANADA DEL BUEY.
Note on C197: MST User:

## By Outfall
Table S2-1a. NPDES outfall discharge quantities for 2007.xls
Outfall Number | TA-bldg | Description | Number of analyses CY2006 | J | F | M | A | M | J | J | A | S | O | N | D | Yearly | TOTALS
001 | 3-22 | Power Plant | 69 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 33 | 69
02A129 | 21-357 | TA-21 Steam Plant | 34 | M: 5; J: 5; S: 5; D: 5 | 14 | 34
03A021 | 3-29 | CMR Air Washers | 26 | M: 0; J: 4; S: 4; D: 4 | 14 | 26
03A022 | 3-2238 | Sigma Cooling Tower | 40 | M: 4; J: 4; S: 4; D: 4 | 24 | 40
03A024* | 3-187 | Sigma Press Cooling Tower | 0 | M: 0; J: 0; S: 0; D: 0 | 0 | 0
03A027 | 3-2327 | Strategic Computing Complex Cooling Tower | 31 | M: 4; J: 4; S: 4; D: 4 | 15 | 31
03A028 | 15-202 | PHERMEX Cooling Tower | 0 | M: 0; J: 0; S: 0; D: 0 | 0 | 0
03A047* | 53-** | LANSCE Cooling Tower | 0 | M: 0; J: 0; S: 0; D: 0 | 0 | 0
03A048 | 53-963/978 | LANSCE Cooling Tower | 33 | M: 5; J: 5; S: 5; D: 5 | 13 | 33
03A049* | 53-** | LANSCE Cooling Tower | 0 | M: 0; J: 0; S: 0; D: 0 | 0 | 0
03A113 | 53-293/952 | LANSCE Cooling Tower | 30 | M: 4; J: 4; S: 4; D: 4 | 14 | 30
03A130 | 11-30 | TA-11 Cooling Tower | 55 | M: 4; J: 4; S: 4; D: 4 | 39 | 55
03A158 | 21-209 | TA-21 CoolingTower | 40 | M: 4; J: 4; S: 4; D: 4 | 24 | 40
03A160 | 35-124 | National High Magnetic Field Laboratory Cooling Tower | 31 | M: 5; J: 4; S: 4; D: 4 | 14 | 31
03A181 | 55-6 | Plutonium Facility Cooling Tower | 51 | M: 4; J: 4; S: 4; D: 4 | 35 | 51
03A185 | 15-312 | DARHT Cooling Tower | 30 | M: 4; J: 4; S: 4; D: 4 | 14 | 30
03A199 | 3-1837 | Laboratory Data Communications Center | 30 | M: 4; J: 4; S: 4; D: 4 | 14 | 30
051 | 50-1 | TA-50 Radioactive Liquid Waste Treatment Facility | 516 | 70 | 38 | 38 | 38 | 38 | 47 | 29 | 60 | 38 | 38 | 30 | 21 | 31 | 516
05A055 | 16-1508 | High Explosives Wastewater Treatment Facility | 31 | 0 | 0 | 0 | 0 | 1 | 6 | 0 | 1 | 7 | 0 | 0 | 0 | 16 | 31
05A097* | 11-52 | TA-11 Drop Pad/HE Testing | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13S | 46-347 | Sanitary Wastewater Treatment Plant | 138 | 10 | 9 | 9 | 9 | 11 | 9 | 9 | 10 | 9 | 9 | 10 | 9 | 25 | 138
|  |  | 1185 | [13 empty] | 1185
* requested deletion from permit
** structure removed
Outfall Number | TA-bldg | Description | Number of analyses CY2007
001 | 3-22 | Power Plant | 130
02A129 | 21-357 | TA-21 Steam Plant | 36
03A021 | 3-29 | CMR Air Washers | 53
03A022 | 3-2238 | Sigma Cooling Tower | 80
03A027 | 3-2327 | Strategic Computing Complex Cooling Tower | 76
03A048 | 53-963/978 | LANSCE Cooling Tower | 87
03A113 | 53-293/952 | LANSCE Cooling Tower | 74
03A130 | 11-30 | TA-11 Cooling Tower | 45
03A158 | 21-209 | TA-21 CoolingTower | 4
03A160 | 35-124 | National High Magnetic Field Laboratory Cooling Tower | 46
03A181 | 55-6 | Plutonium Facility Cooling Tower | 75
03A185 | 15-312 | DARHT Cooling Tower | 80
03A199 | 3-1837 | Laboratory Data Communications Center | 74
051 | 50-1 | TA-50 Radioactive Liquid Waste Treatment Facility | 318
05A055 | 16-1508 | High Explosives Wastewater Treatment Facility | 14
13S | 46-347 | Sanitary Wastewater Treatment Plant | 116
1308