## Sheet1
Table S5-5 Lab Qual Code
* | * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
** | ** (Organic) and (Inorganic) - The result for this analyte in the Laboratory Control Sample analysis was outside acceptance criteria.
*E | * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative.
B | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit.
B* | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
B*E | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative.
BE | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative.
BE* | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
BEN | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
BEN* | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
BJ | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL).
BJN | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (J) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC).
BJP | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference.
BJPX | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitation Limit (PQL). (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference. (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
BN | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
BN* | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
BNE | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative.
BP | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference.
BPX | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference. (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
BW | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit. (W) (Inorganic GFAA CLP) - The result for this analyte in the post-digestion spike sample was outside acceptance criterea.
BX | (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (X) Diode array didn't confirm
D | (D) (Organic) - The result for this analyte was reported from a dilution.
DJ | (D) (Organic) - The result for this analyte was reported from a dilution. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL).
DNA | did not analyze due to broken equipment.
DP | (D) (Organic) - The result for this analyte was reported from a dilution. (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference.
DPX | (D) (Organic) - The result for this analyte was reported from a dilution. (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference. (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
E | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative.
E* | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
EJ | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL).
EJ* | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
EJN | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
EN | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
EN* | (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
H | (H) (Organic/Inorganic) - The required extraction or analysis holding time for this result was exceeded.
H* | (H) (Organic/Inorganic) - The required extraction or analysis holding time for this result was exceeded. * (Organic) and (Inorganic) - The result for this analyte in the Laboratory Control Sample analysis was outside acceptance criteria.
HJ | (H) (Organic/Inorganic) - The required extraction or analysis holding time for this result was exceeded. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL).
HJ* | (H) (Organic/Inorganic) - The required extraction or analysis holding time for this result was exceeded. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
I | (I) (DIOXIN) The lab is reporting an interference for the associated congener. The reported concentration is an Estimated Maximum Possible Concentration (EMPC) due to the reported interference.
INS | (d15N) - The d15N of nitrate is a signature of the nitrate present in a sample. Therefore, nitrate has to be present to have a signature. A d15N value can not be given to a blank, since the blank does not have nitrate. This is different than most analytical methods where you would run a blank and use the designator: "non detect" or detected, but below detection limit.
J | (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL).
J* | (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
JN | (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
JN* | (J) (Organic/Inorganic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
JP | (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference.
JPX | (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference. (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
JX | (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL). (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
L | (L) (Inorganic) - The result for this analyte in the serial dilution sample indicates physical and chemical interferences are present.
LT | (LT) (Rad) - The result for this analyte is affected by spectral interferance.
N | (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
N* | (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
P | (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference.
PJ | (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference. (J) (Organic/General Inorganics) - The result for this analyte was greater than the Method Detection Limit (MDL) but less than the Practical Quantitaion Limit (PQL).
PX | (P) (Pesticides/PCBs) - The quantitative results for this analyte between the primary and secondary GC columns were greater than 25% difference. (P) (SW-846 EPA Method 8310 High Pressure Liquid Chromotography, HPLC results) - The quantitative results for this analyte between the primary and secondary HPLC columns or primary and secondary HPLC detectors were greater than 40% difference. (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
Q | (Q) The result for this analyte was reported at an elevated reporting limit.
R | (Inorganic) -The data are not useable. Organic -The data are unusable (compound may or may not be present.) Resampling and reanalysis is necessary for verification.
SI | (SI) (Rad) - Gamma spectrocopy result should be regarded as an uncertain idenification due to spectral interferance.
SQ | (SQ) (Rad) - Gamma spectrocopy result should be regarded as an uncertain idenification due to spectral interferance.
TI | (TI) (Rad) - Gamma spectrocopy result should be regarded as an uncertain idenification due to spectral interferance.
U | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit.
U* | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
UE | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative.
UE* | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
UEN | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (E) (Organic) - The result for this anlayte exceeded the upper range of the instrument initial calibration curve. (E) (Inorganic) (ICP-AES) - The result for this analyte in the serial dilution analysis was outside acceptance criteria. (E) (Inorganic) (GFAA) - The result for this analyte failed one or more CLP acceptance critera as explained in the case narrative. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
UH | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (H) (Organic/Inorganic) - The required extraction or analysis holding time for this result was exceeded.
UH* | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (H) (Organic/Inorganic) - The required extraction or analysis holding time for this result was exceeded. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
UI | (UI) (Rad) - Gamma spectrocopy result should be regarded as an uncertain idenification.
UJ | (UJ) (Organic) Legacy CST lab code should not be used.
UL | UL (all suites) Not detected legacy - This lab qual code is applied by WQ personnel for CST data and other legacy data that was reported as not detected using the less than symbol without the laboratory assigning a U lab code.
UN | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria.
UN* | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (N) (Organic) - The reported analyte is a tentitively idenififed compound (TIC). (N) (Inorganic) - The result for this anlayte in the matrix spike sample was outside acceptance criteria. * (Inorganic) - The result for this analyte in the Laboratory Replicate analysis was outside acceptance criteria.
UUI | (UUI) (Rad) - Gamma spectrocopy result should be regarded as an uncertain idenification and the lab assigned these gamma spectroscopy results as not detected.
UW | (U) (Organic/Inorganic) - The result for this analyte was not detected at the specified reporting limit. (W) (Inorganic GFAA CLP) - The result for this analyte in the post-digestion spike sample was outside acceptance criterea.
UY2 | (UY2) (Rad) - Result should be regarded as an uncertain idenification due to spectral interferance.
W | (W) (Inorganic GFAA CLP) - The result for this analyte in the post-digestion spike sample was outside acceptance criterea.
X | (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected.
XB | (X) (Organic/Inorganic) - The result for this analyte should be regarded as not detected. (B) (Organic) - This analyte was detected in the associated Laboratory Method Blank and the sample. (B) (Inorganic) - The result for this analyte was greater than the Instrument Detection Limit but less than the Contract Required Detection Limit.