SOUTH COAST AIR QUALITY MANAGEMENT DISTRICT

REQUEST FOR QUOTATION (RFQ) FOR Total Organic Carbon INSTRUMENT

### RFQ #Q2009-08

PURPOSE

The South Coast Air Quality Management District (AQMD) invites sealed quotes from qualified firms interested in providing Total Organic Carbon Instrument (TOC) for the analysis of volatile organic carbon (VOC) emissions in water from stationary sources by SCAQMD Method 25.3. In the preparation of this Request for Quotes (RFQ), the word “Proposer,” “Contractor,” “Vendor,” and “Consultant” are used interchangeably.

INDEX - The following are contained in this RFQ.

Section I	Background/Information/Schedule of Events

Section II	Participation in the Procurement Process

Section III	Response Submittal Requirements

Section IV	Qualification Evaluation and Selection Criteria

Section V	Request for Quotation

Attachment A	Terms and Conditions

Attachment B	Certifications and Representations

###### SECTION I:	BACKGROUND/INFORMATION/SCHEDULE OF EVENTS

The South Coast Air Quality Management District (AQMD) is a regional governmental agency responsible for meeting air quality health standards in Orange County and parts of Los Angeles, Riverside and San Bernardino counties.

The AQMD has the need to procure a Total Organic Carbon (TOC) instrument for the analysis of volatile organic carbon (VOC) emissions in water from stationary sources using SCAQMD Method 25.3.

AQMD CONTACT PERSONS:

Questions regarding the content or intent of this RFQ or on procedural matters should be addressed to:

| Administrative: | Technical: |
| --- | --- |
| Procurement Unit | Joan Niertit, Principal Air Quality Chemist |
| South Coast Air Quality Management District | South Coast Air Quality Management District |
| 21865 Copley Drive | 21865 Copley Drive |
| Diamond Bar, CA 91765 | Diamond Bar, CA 91765 |
| 909-396-3520 | 909-396-2174 |

SCHEDULE OF EVENTS

April 3, 2009	Release of RFQ

May 5, 2009	RFQ Closes, 2:00 P.M.

May 13, 2009		Quotation Evaluation

May 20, 2009		Issue Purchase Order

SECTION II:		PARTICIPATION IN THE PROCUREMENT PROCESS

A.	It is the policy of the AQMD to ensure that all businesses including minority business enterprises, women business enterprises, disabled veteran business enterprises, and small businesses have a fair and equitable opportunity to compete for and participate in AQMD contracts.

B.	Definitions:

The definition of minority or women business enterprise set forth below is included for purposes of determining compliance with the affirmative steps requirement described in Paragraph F below on procurements funded in whole or in part with U.S. EPA grant funds which involve the use of subcontractors.  The definition provided for disabled veteran business enterprise, local business, and small business enterprise, low-emission vehicle business and off-peak hours delivery business are provided for purposes of determining eligibility for point or cost considerations in the evaluation process.

1.	"Minority-or-women business enterprise" (MBE/WBE) as used in this policy means a business enterprise that meets all the following criteria:

a.	a business that is at least 51 percent owned by one or more minority persons or women, or in the case of any business whose stock is publicly held, at least 51 percent of the stock is owned by one or more minority persons or women.

b.	a business whose management and daily business operations are controlled by one or more minority persons or women.

c.	a business which is a sole proprietorship, corporation, or partnership with its primary headquarters office located in the United States, which is not a branch or subsidiary of a foreign corporation, foreign firm, or other foreign-based business.

2.	"Minority person" for purposes of this policy, means a Black American, Hispanic American, Native American (including American Indian, Eskimo, Aleut, and Native Hawaiian), Asian-Indian American (including a person whose origins are from India, Pakistan, and Bangladesh), Asian-Pacific American (including a person whose origins are from Japan, China, the Philippines, Vietnam, Korea, Samoa, Guam, the United States Trust Territories of the Pacific, Northern Marianas, Laos, Cambodia, and Taiwan).

3.	"Disabled veteran” as used in this policy is a United States military, naval, or air service veteran with at least 10 percent service-connected disability who is a resident of California.

4.	"Disabled veteran business enterprise" (DVBE) as used in this policy means a business enterprise that meets all of the following criteria:

a.	is a sole proprietorship or partnership of which is at least 51 percent owned by one or more disabled veterans or, in the case of a publicly owned business, at least 51 percent of its stock is owned by one or more disabled veterans; a subsidiary which is wholly owned by a parent corporation but only if at least 51 percent of the voting stock of the parent corporation is owned by one or more disabled veterans; or a joint venture in which at least 51 percent of the joint venture's management and control and earnings are held by one or more disabled veterans.

b.	the management and control of the daily business operations are by one or more disabled veterans.  The disabled veterans who exercise management and control are not required to be the same disabled veterans as the owners of the business.

- is a sole proprietorship, corporation, or partnership with its primary headquarters office located in the United States, which is not a branch or subsidiary of a foreign corporation, firm, or other foreign-based business.

5.	"Local business" as used in the Procurement Policy and Procedure means a company that has an on-going business within the boundaries of the South Coast AQMD at the time of bid or proposal submittal and performs 90% of the work related to the contract within the boundaries of the AQMD and satisfies the requirements of Paragraph H below.

- “Small business” as used in this policy means a business that meets the following criteria:

- 1)	an independently owned and operated business; 2) not dominant in its field of operation; 3) together with affiliates is either:

- A service, construction, or non-manufacturer with 100 or fewer employees, and average annual gross receipts of ten million dollars ($10,000,000) or less over the previous three years, or

- A manufacturer with 100 or fewer employees.

- Manufacturer means a business that is both of the following:

- Primarily engaged in the chemical or mechanical transformation of raw materials or processed substances into new products.

- Classified between Codes 2000 to 3999, inclusive, of the Standard Industrial Classification (SIC) Manual published by the United States Office of Management and Budget, 1987 edition.

7.	"Joint ventures" as defined in this policy pertaining to certification means that one party to the joint venture is a DVBE or small business and owns at least 51 percent of the joint venture.

8.	“Low-Emission Vehicle Business” as used in this policy means a company or contractor that uses low-emission vehicles in conducting deliveries to the AQMD.  Low-emission vehicles include vehicles powered by electric, compressed natural gas (CNG), liquefied natural gas (LNG), liquefied petroleum (LPG), ethanol, methanol, hydrogen and diesel retrofitted with particulate matter (PM) traps.

9.	“Off-Peak Hours Delivery Business” as used in this policy means a company or contractor that commits to conducting deliveries to the AQMD during off-peak traffic hours defined as between 10:00 a.m. and 3:00 p.m.

C.	Under Request for Quotations (RFQ), DVBEs, DVBE joint ventures, small businesses, and small business joint ventures shall be granted a preference in an amount equal to 5% of the lowest cost responsive bid.  Low-Emission Vehicle Businesses shall be granted a preference in an amount equal to 5% of the lowest cost responsive bid.  Off-Peak Hours Delivery Businesses shall be granted a preference in the amount equal to 2% of the lowest cost responsive bid.  Local businesses (if the procurement is not funded in whole or in part by U.S. EPA grant funds) shall be granted a preference in an amount equal to 2% of the lowest cost responsive bid.

D.	Under Request for Proposals (RFP), DVBEs, DVBE joint ventures, small businesses, and small business joint ventures shall be awarded ten (10) points in the evaluation process.  A non-DVBE or large business shall receive seven (7) points for subcontracting at least twenty-five (25%) of the total contract value to a DVBE or small business.  Low-Emission Vehicle Businesses shall be awarded five (5) points in the evaluation process.  On procurements which are not funded in whole or in part by U.S. EPA grant funds local businesses shall receive five (5) points.  Off-Peak Hours Delivery Businesses shall be awarded two (2) points in the evaluation process.

E.		AQMD will ensure that discrimination in the award and performance of contracts does not occur on the basis of race, color, sex, national origin, marital status, sexual preference, creed, ancestry, medical condition, or retaliation for having filed a discrimination complaint in the performance of AQMD contractual obligations.

F.		When contracts are funded in whole or in part by U.S. EPA grant funds and if subcontracts are to be let, the Contractor must comply with the following, evidencing a good faith effort to solicit minority and women owned enterprises.  Contractor shall submit a certification signed by an authorized official affirming compliance with the steps below at the time of proposal submission.  The AQMD reserves the right to request documentation demonstrating compliance with these steps prior to contract execution.

1.	Place qualified small and minority businesses and women’s business enterprises on solicitation lists;

2.	Ensure that small and minority businesses, and women’s business enterprises are solicited whenever they are potential sources including advertising at least ten days in advance of the bid in a variety of media directed to minority-and women-owned business audiences;

3.	Divide total requirements, when economically feasible, into smaller tasks or quantities to permit maximum participation by small and minority business, and women’s business enterprises;

4.	Establish delivery schedules, where requirements permit, which encourage participation by small and minority business, and women’s business enterprises; and

5.	Use the services and assistance of the Small Business Administration and the Minority Business Development Agency of the Department of Commerce.

G.	To the extent that any conflict exists between this policy and any requirements imposed by federal and state law relating to participation in a contract by a certified MBE, WBE, and/or DVBE as a condition of receipt of federal or state funds, the federal or state requirements shall prevail.

H.	When contracts are not funded in whole or in part by U.S. EPA grant funds, a local business preference will be awarded.  For such contracts that involve the purchase of commercial off-the-shelf products, local business preference will be given to suppliers or distributors of commercial off-the-shelf products who maintain an on-going business within the geographical boundaries of the AQMD.  However, if the subject matter of the RFP or RFQ calls for the fabrication or manufacture of custom products, only companies performing 90% of the manufacturing or fabrication effort within the geographical boundaries of the AQMD shall be entitled to the local business preference.

I.	In compliance with federal fair share requirements set forth in 40 CFR 35.6580, the AQMD shall establish a fair share goal annually for expenditures covered by its procurement policy.

DISPOSITION:  The AQMD reserves the right to reject any or all quotations.  All materials and documents submitted with the quote will become the property of the AQMD.

SECTION III:		RESPONSE SUBMITTAL REQUIREMENTS

QUOTES - All quotes must be submitted according to specifications set forth in this RFQ.

SIGNATURE- Quotes must be signed by an authorized representative of the vendor.

DUE DATE - Four (4) complete copies of the quotes must be submitted.  Quotes must be typewritten and submitted in a sealed envelope, plainly marked in the upper, left-hand corner with the name and address of the vendor with the words, “Request for Quotation #Q2009-08". It should be addressed to:

Procurement Unit

South Coast Air Quality Management District

21865 Copley Drive

Diamond Bar, CA  91765

Quotes are due no later than 2:00 p.m. on May 5, 2009.  Any corrections or resubmissions of the quote will not be sufficient reason to extend the deadline.

No late quotations will be accepted under any circumstances.

Grounds for rejection:  A quote may be rejected if:

1.	It is not prepared in the format described, or

2.	It is signed by an individual not authorized to represent the firm.

FORMAT - the content and format of the quote will adhere to the specifications listed below.  Failure to follow this format may result in quote disqualification.

1.	The name and address of the vendor must be typed on the title page of the RFQ.  An authorized signature is also required.

2.	Include completed documents contained in Certifications and Representations attachment.

3.	Submit four (4) complete copies of the RFQ response.

SECTION IV:		EVALUATION AND SELECTION CRITERIA

Award will be made to the vendor submitting the lowest cost quotation which is fully responsive to the specifications set forth in the RFQ.

For purposes of determining lowest cost, cost shall be determined based upon the following factors which comprise the AQMD’s Cost of Ownership:

- Base price of instrument including all specified options.

- Annual cost of spare parts after warranty expires based on vendor-supplied failure rates for instrument.  Vendor must supply documentation to support the failure rates quoted.

- Warranty on instrument for first year.

- Training costs.

Disabled Veteran Business Enterprises (DVBE’s), Small Businesses, Low-Emission Vehicle Businesses, Off-Peak Hours Delivery Businesses, and Local Businesses meeting the definitions contained in Section II of this RFQ shall be granted a preference in an amount equal to the percentage listed below of the lowest cost responsive quote.

Small Business or Small Business Joint Venture		5%

DVBE or DVBE Joint Venture				5%

Low-Emission Vehicle Business				5%

Local Business (Non-EPA Funded Projects only)		2%

Off-Peak Hours Delivery Business			2%

To receive additional points in the evaluation process for the categories of Small Business or Small Business Joint Venture, DVBE or DVBE Joint Venture or Local Business (for non-EPA funded projects), the bidder must submit a self-certification or certification from the State of California Office of Small Business Certification and Resources at the time of proposal submission certifying that the bidder meets the requirements set forth in Section III.  To receive points for the use of DVBE and/or Small Business subcontractors, at least 25 percent of the total contract value must be subcontracted to DVBEs and/or Small Businesses.  To receive points as a Low-Emission Vehicle Business, the bidder must demonstrate to the Executive Officer, or designee, that supplies and materials delivered to the AQMD are delivered in vehicles that operate on either clean-fuels or if powered by diesel fuel, that the vehicles have particulate traps installed.  To receive points as an Off-Peak Hours Delivery Business, the proposer must submit, at proposal submission, certification of its commitment to delivering supplies and materials to AQMD between the hours of 10:00 a.m. and 3:00 p.m. The cumulative points awarded for Small Business, DVBE, use of Small Business or DVBE Subcontractors, Local Business, Low-Emission Vehicle Business and Off-Peak Hour Delivery Business shall not exceed 15 points.

The Procurement Section will be responsible for monitoring compliance of suppliers awarded purchase orders based upon use of low-emission vehicles or off-peak traffic hour delivery commitments through the use of vendor logs which will identify the contractor awarded the incentive.  The purchase order shall incorporate terms which obligate the supplier to deliver materials in low-emission vehicles or deliver during off-peak traffic hours.  The Receiving department will monitor those qualified supplier deliveries to ensure compliance to the purchase order requirements.  Suppliers in non-compliance will be subject to a two percent of total purchase order value penalty.  The Procurement Manager will adjudicate any disputes regarding either low-emission vehicle or off-peak hour deliveries.

SECTION V:				RFQ/TITLE PAGE

REQUEST FOR QUOTATION (RFQ) FOR TOTAL ORGANIC CARBON INSTRUMENT

TO:		South Coast Air Quality Management District

21865 Copley Drive

Diamond Bar, CA  91765

Attention:  Procurement Manager

The undersigned, having carefully examined AQMD's specifications attached hereto, hereby proposed and agrees to the conditions stated in this quotation.  If this quote is accepted by the AQMD, the undersigned agrees to the conditions as stated.

Company Name

Company Address

Authorized by

(Print Name)

Authorized Signature

Title

Telephone No.___________________________________ Fax No.________________________

NOTE:  FOUR (4) COMPLETE COPIES OF RFQ RESPONSE MUST BE SUBMITTED.

REQUEST FOR QUOTATION #Q2009-08

SOUTH COAST AIR QUALITY MANAGEMENT DISTRICT

| DESCRIPTION | QTY | BRAND/MFG./MODEL | UNIT PRICE | EXTENDED |
| --- | --- | --- | --- | --- |
| Total Organic Carbon (TOC) Instrument--per attached specifications which are an integral part of this Request for Quotation. | 1 |  |  |  |
| Net unit price |  |  |  |  |
| Unit California Tax (or California Use Fee) |  |  |  |  |
| Unit shipping cost/Delivery (F.O.B. Destination) |  |  |  |  |
| Installation |  |  |  |  |
| Training Cost |  |  |  |  |
| Cost of warranty for first year. |  |  |  |  |
|  |  | Subtotal |  |  |
| TOC Autosampler price to be listed separately as part of this bid. | 1 |  |  |  |
| Net unit price |  |  |  |  |
| Unit California Tax |  |  |  |  |
| Unit shipping cost/Delivery (F.O.B. Destination |  |  |  |  |
| Installation |  |  |  |  |
| Training Cost |  |  |  |  |
| Cost of warranty for first year. |  |  |  |  |
|  |  | Total |  |  |
| Annual unit cost of spare parts after warranty expires: |  |

COMPLETE DELIVERY WILL BE MADE IN _____________ DAYS FROM RECEIPT OF ORDER.

CASH DISCOUNT ________% IN _________ DAYS.

QUOTATIONS ARE SUBJECT TO ACCEPTANCE AT ANY TIME WITHIN 90 CALENDAR DAYS AFTER

OPENING OF QUOTE, UNLESS OTHERWISE STIPULATED.

AQMD PAYMENT TERMS:  NET 30*

*Where acceptance testing is applicable, payment will be made within thirty (30) days after the completion of the acceptance test as stated in RFQ specifications.

FIRM NAME	_____________________________________________________

AUTHORIZED SIGNATURE	_____________________________________ DATE _______

REQUEST FOR QUOTATION (RFQ) FOR Total Organic Carbon Instrument

RFQ #Q2009-08

April 3, 2009

GENERAL

These specifications cover the requirements of the South Coast Air Quality Management District for Total Organic Carbon Instrument for the analysis of total organic carbon emissions in water from stationary sources using SCAQMD Method 25.3.

MANUFACTURER QUALIFICATIONS

The manufacturer of the instrument offered shall have been engaged for a period of three or more years in the fabrication of Total Organic Carbon Instruments  of the type being sought and shall supply evidence of his/her financial and technical capabilities. The vendor shall supply the names, addresses and phone numbers or point of contact of at least four users of the instrument being offered.

EQUIPMENT AND SERVICES TO BE FURNISHED BY THE VENDOR

The vendor shall provide with the instrument the following:

1.	All accessories and specialized tools required for operation and necessary servicing of the instrument for a period of one year after completion of acceptance testing.

2.	One operating manual, one service manual, one electronic schematic and flow diagram, and one software manual.

3.	One copy of a complete list of spare parts, including current prices.

5.	A list of vendor's standard rates for time and travel of his/her service personnel.

6.	The vendor shall provide delivery and training schedules within 30 days of contract approval.

Training

Vendor shall provide a one-day training to include operation, calibration, routine servicing, consumable parts replacement, repair, and software troubleshooting. Training must be itemized in the quoted price.

WARRANTY

1.	Specifications: The vendor shall provide a written warranty that, for a period of a least one year following its acceptance the instrument, including its components, will comply with the physical and performance specifications listed hereinafter. If there is a failure of any component or part in any instrument  during the warranty period (except normal consumables) the vendor shall agree to replace such component or part at no cost in time to arrive at the South Coast Air Quality Management District within 72 hours of notification of the vendor.

2.	Field Service: In the event a instrument  develops a malfunction which cannot be solved by the application of routine servicing procedures described in the operating and service manual or by replacement of a part supplied under the warranty, the vendor shall agree to place the instrument  into proper operating condition within seven days after the arrival of service personnel or to provide an operational, equivalent instrument  within the same seven-day period for use as a substitute until the original instrument  has been repaired. During the first year following acceptance by the AQMD, the vendor shall agree to make no charge for this service at any location within the jurisdiction of the AQMD and to provide this service in time to comply with the terms of the warranty concerning total operating hours per year.

3.	Spare Parts: The vendor shall agree to supply, on request, spare parts for the TOC instrument  for at least ten years following the date of acceptance by the AQMD. 

As part of the response to this RFQ, vendor shall provide an annual estimated cost of spare parts after expiration on the warranty period.

ACCEPTANCE TESTING

The instrument will be required to pass acceptance testing. Within ten days after the equipment installation and vendor checkout, the acceptance test shall be initiated. The acceptance test shall consist of checking the instrument for compliance with the requirements listed above and those listed under "PHYSICAL SPECIFICATIONS" and "PERFORMANCE SPECIFICATIONS".  The duration of the acceptance test shall be 30 days minimum and 60 days maximum.

If the instrument does not meet the specifications listed, the instrument will be rejected and the vendor will have one opportunity to repair or replace the instrument to cure all defects. The instrument will be returned to the vendor freight collect.  If the instrument  fails, except for external causes, within a 30-day period, the vendor shall be given the opportunity to make any necessary corrections or replacements, including the entire instrument, if necessary, after which another 30-day test shall be initiated.  If, by the end of 70 days after the beginning of the first 30-day test, the instrument  has not met all specifications, including a 30-day period of continuous operation (with allowance for shut-downs due to external causes) followed by compliance with the performance specifications and the acceptance tests, the instrument  shall be rejected and the order canceled.

PAYMENT:

Payment will be made within thirty (30) days after the completion of the acceptance test.

SHIPMENT:

The instrument  ordered, assembled and complete with all accessories, specialized tools, manuals, calibration reports and parts lists, shall be shipped, transportation prepaid, to:

South Coast Air Quality Management District

21865 Copley Drive

Diamond Bar, Ca. 91765-4182

Science and Technology Advancement

Attn.:   Joan Niertit

Principal Air Quality Chemist

Laboratory Services Branch

Monitoring & Analysis Division

SPECIFICATIONS

The instrument will be expected to meet the specifications listed below. Minor deviations to the specifications may be acceptable if the AQMD determines that the performance of the instrument  meets the AQMD’s overall requirements. Any deviations from these specifications must be listed in detail by the vendor in the space provided or on a separate page.

| Specifications for a Total Organic Carbon Instrument |
| --- |
| FUNCTIONAL REQUIREMENTS: | Exceptions or Alternatives (a) |
| PURPOSE The Total Organic Carbon Instrument will be used to determine low VOC emissions in water from stationary sources using SCAQMD Method 25.3. www.epa.gov/ttn/emc/ctm/ctm-035.pdf Principle of Operation When a sample is injected into a combustion zone, carbon is oxidized to create carbon dioxide. This carbon dioxide plus any carbonate carbon dissolved in the sample is measured by non-dispersive infrared detector (NDIR) or equivalent and is reported as total carbon (TC). In addition, the sample is acidified and evolved carbonate (inorganic) carbon is measured separately by NDIR or equivalent and reported as inorganic carbon (IC). IC is subtracted from TC concentration to determine TOC. Because analytes of interest include purgeable organics such as light alcohols, alcohols, ketones and aromatics it is not acceptable to measure total organic carbon (TOC) following a sample purge. |  |

| Specifications for a Total Organic Carbon Instrument |
| --- |
| Physical and Performance Specifications | Exceptions or Alternatives (a) |
| PHYSICAL SPECIFICATIONS: The system shall include a TOC Instrument, autosampler, and software. The cost of the autosampler shall be listed separately as part of this bid. The instrument shall be a previously unused current production instrument. The instrument shall be a benchtop model for analysis of individual samples. The instrument shall operate on 110 V AC. The instrument shall meet all performance specifications when operated in the temperature range of 15 - 35 deg. C. The instrument shall be capable of operating as a stand-alone instrument, with a PC used for data acquisition only, or under full PC control. As a standalone Instrument, the front panel shall display all internally-recorded data in a context-sensitive format, and include all controls necessary to troubleshoot and operate the Instrument and autosampler, and to create reports. Display shall include but not be limited to temperatures, flows, solenoid states, duration times, methods, sequences; injection volumes; range; offsets; vial and injection identifiers; on-screen strip chart; response; calibration curves, correlation coefficients; calibration residual errors; COV; time stamps; instrument identifier; and analyst name. (Please list all display-available controls and data.) When using a PC for data acquisition, the instrument shall export all internally recorded data to a PC. All information available from the instrument display shall be available for export. (Please list PC-exportable data if different from instrument-display.) Exported data fields shall be user-selectable for customized reports. |  |

| Specifications for a Total Organic Carbon Instrument |
| --- |
| Physical and Performance Specifications | Exceptions or Alternatives (a) |
| PHYSICAL SPECIFICATIONS (cont’d) Instrument and autosampler shall be able to be operated under full PC control using vendor-supplied software without loss of function or data. (Please list all PC-available controls and data if different from display.) The system must comply with electronic records control 21 CFR part 11. Instrument-resident firmware shall be upgradeable Instrument shall store several methods (Please list operator-selectable parameters and number of methods capable of being stored.) The instrument shall have a data reprocessing function. An inbuilt printer is preferred. Sample volumes for this application are very limited. Therefore, the instrument shall be able to complete an analysis at the specified accuracy and precision using a maximum of 2 mL of sample, including all rinses and at least three determinations each of IC and TC. Sample injection volume shall be adjustable from 50 uL to 2 mL. The system shall have an internal dilution capability with a dilution factor of 2 to 50. This will allow the generation of five-point calibration curves from a single high-concentration standard, and the analysis of out-of-range samples The instrument shall have selectable baseline adjustment The instrument shall have automatic internal acidification for IC detection. The instrument shall have automatic cleanup and shutdown |  |

| Specifications for a Total Organic Carbon Instrument |
| --- |
| Physical and Performance Specifications | Exceptions or Alternatives (a) |
| The autosampler shall be fully integrateable in the system, with parameters set by the TOC or PC The autosampler shall be able to perform random-access sampling. The autosampler shall accommodate closed vials as small as approximately 5 mL and hold at least eight vials. The autosampler shall provide pure-water rinse of both external and internal surfaces to prevent sample carryover. Sample carryover must be less than the instrument detection limit. The capability to chill samples while in the autosampler tray is preferred. PERFORMANCE SPECIFICATIONS: Instrument range, precision, accuracy and combustion efficiency shall meet or exceed Method 25.3 requirements. The lower detectable TOC limit shall be equal to or less than 5 ppb. The upper limit shall be 1000 ppm or higher. The system blank shall be less than 100 ppb using commercially available water. The instrument shall maintain a linearity, accuracy and stability of +- 2% calibration through the analytical range of 50 ppb to 500 ppm. The COV shall be less than 3% throughout the analytical range using triplicate injections. The sample sizes are very small, therefore the instrument shall complete an entire analysis using 2 mL of sample or less, including all rinse volumes and at least three determinations each of TC and IC. |  |

| Specifications for a Total Organic Carbon Instrument |
| --- |
| Physical and Performance Specifications | Exceptions or Alternatives (a) |
| PERFORMANCE SPECIFCATIONS (CONT’D) The calibration curve shall have a selectable force through zero function. The oxidation system shall be a high-temperature combustion and provide complete - high molecular weight compound oxidation - small particle oxidation - refractory compound oxidation - halide elimination - water vapor elimination Detector shall be equivalent to a solid-state non-dispersive infra-red (SSNDIR) detector. The detector shall be thermally stable. |  |

ATTACHMENT  A

TERMS AND CONDITIONS

TERMS AND CONDITIONS

1.  Cash Discount   Cash discount period will be computed either from the date of delivery and acceptance of the goods ordered or the date of receipt of correct and proper invoices, prepared in accordance with the terms of the purchase order, whichever is later.

2.  Sales or Use Taxes   Unless otherwise definitely specified, the prices quoted herein do not include sales or use

taxes.

3.  Transportation Charges   No charges for transportation, unloading, containers, packing, etc., will be allowed unless specified in vendor’s quotation.

4.  Infringement Indemnity   Vendor shall defend at its expense any suit against the District based on a claim that any item furnished under this agreement  or the normal sale thereof infringes any United States  Letters Patent  or copyright and shall pay costs and damages finally awarded in any such  suit provided Vendor is notified in writing of the suit and given authority, information, and assistance at Vendor’s expense for defense of same if the use of said item is enjoined as a result of such suit.  Vendor at no expense to District shall obtain for District the right to use and sell said item or shall substitute an equivalent item acceptable to District and extend this patent indemnity thereto.

5.  Force Majeure   Neither District nor Vendor shall be liable or deemed to be in default for any delay or failure in performance under this agreement or interruption of services resulting, directly or indirectly, from acts of God, civil or military authority, acts of public enemy, war, strikes, labor disputes, shortages of suitable parts, materials, labor or transportation, or any similar cause beyond the reasonable control of District or Vendor.

6.  Non-Discrimination   In the performance of this agreement , Vendor shall not discriminate in recruiting, hiring, promotion, demotion, or termination practices on the basis of race, religious creed, color, national origin, ancestry, sex, age, or physical or mental disability and shall comply with the provisions of the California Fair Employment & Housing Act (Government Code Section 12900 et. seq.), the Federal Civil Rights Act of 1964 (P.L. 88-352) and all amendments thereto, Executive Order no. 11246 (30 Federal Register 12319), and all administrative rules and regulations issued pursuant to said Acts and Order.  Vendor shall likewise require each subcontractor to comply with this paragraph and shall include in each subcontract language similar to this paragraph.

7. Federal, State, and Local Laws   Vendor warrants that in the performance of this agreement  it shall comply with all applicable Federal, State and local laws and ordinances and all lawful orders, rules and regulations hereunder.

8.  Assignments and Subcontractors   Neither this agreement or any interest herein nor claim hereunder may be assigned by Vendor voluntarily or by operation of  law, nor may all or substantially all of this agreement be further subcontracted by Vendor without the prior written consent of District .  Consent by District shall not be deemed to relieve Vendor of its obligations to comply with the requirements hereof.

9.  Indemnification    Vendor agrees to hold harmless, indemnify, and defend District, its officers, employees, agents, representatives, and successors-in-interest against any and all loss, damage, cost, or expenses which District, its officers, employees, agents, representatives, and successors-in-interest may incur or be required to pay by reason of any injury or property damage caused or incurred by Vendor, its employees, contractors, or agents in the performance of this agreement.

10.  Termination    In the event Vendor fails to comply with any term or condition of this agreement, or fails to provide the supplies or services in the manner agreed upon by the parties, this failure shall constitute a breach of the agreement.  District at its sole discretion shall either notify the Vendor that it must cure this breach within fifteen (15) days of notice of breach or provide written notification of its intention to terminate this agreement.   District reserves the right to terminate this agreement for its convenience and will reimburse Vendor for actual costs incurred in performance of this agreement through the effective date of termination.   Upon receipt of notice of termination, Vendor shall immediately take action not to incur any further obligations, cost, or expenses except as may be reasonably necessary to termination activities.  All finished or unfinished materials procured or produced by Vendor hereunder shall, at the option of District, become District property upon the date of such termination.

11.  Changes  By written notice, District may, from time to time, order work suspension or make changes in quantities, drawings, specifications, place of delivery or delivery schedules, methods of shipment and packaging and/or property and services to be furnished by District.  If a change causes an increase or decrease in the price of this agreement or in the time required for its performance, Vendor shall promptly notify District and assert its claim for adjustment within thirty (30) days after the change is ordered and an equitable adjustment shall be made to the agreement.  However, nothing in this clause shall excuse Vendor from proceedings immediately with the agreement as changed.

12.  Title and Risk of Loss  Unless otherwise provided in this agreement, Vendor shall have title to and bear the risk of any loss of or damage to items purchased hereunder until they are delivered in conformity with this agreement at the F.O. B. point specified herein.   Upon such delivery, title shall pass from Vendor to District and Vendor’s responsibility for loss or damage shall cease, except for loss or damage resulting from Vendor’s negligence.  Passing of title upon such delivery shall not constitute acceptance of the item by the District.

13.  Inspection and Acceptance   All items are subject to final inspection and acceptance by District at destination notwithstanding any payment or prior inspection at Vendor’s facilities.  Final inspection will be made within a reasonable time after receipt of items hereunder.

14.  Payment  Unless otherwise provided in this agreement, terms are net 30 days.

ATTACHMENT B

CERTIFICATIONS AND REPRESENTATIONS

South Coast

Air Quality Management District

21865 Copley Drive, Diamond Bar, CA 91765-4178

(909) 396-2000 • www.aqmd.gov

Business Information Request

Dear SCAQMD Contractor/Supplier:

The South Coast Air Quality Management District (SCAQMD) is committed to ensuring that our contractor/supplier records are current and accurate.  If your firm is selected for award of a purchase order or contract, it is imperative that the information requested herein be supplied in a timely manner to facilitate payment of invoices.  In order to process your payments, we need the enclosed information regarding your account.  Please review and complete the information identified on the following pages, complete the enclosed W-9 form, remember to sign both documents for our files, and return them as soon as possible to the address below:

Attention:  Accounts Payable, Accounting Department

South Coast Air Quality Management District

21865 Copley Drive

Diamond Bar, CA 91765-4178

If you do not return this information, we will not be able to establish you as a vendor.  This will delay any payments and would still necessitate your submittal of the enclosed information to our Accounting department before payment could be initiated.  Completion of this document and enclosed forms would ensure that your payments are processed timely and accurately.

If you have any questions or need assistance in completing this information, please contact Accounting at (909) 396-3777.  We appreciate your cooperation in completing this necessary information.

Sincerely,

Patrick H. Pearce

Chief Financial Officer

DH:LV:CW:tm

Enclosures:	Business Information Request

Disadvantaged Business Certification

W-9

Federal Contract Debarment Certification

REV 3/07

South Coast

Air Quality Management District

21865 Copley Drive, Diamond Bar, CA 91765-4178

(909) 396-2000 • www.aqmd.gov

| BUSINESS INFORMATION REQUEST |
| --- |
| Business Name |  |
| Division of: |  |
| Subsidiary of: |  |
| Website Address |  |
| Type of Business |  |
| REMITTING ADDRESS INFORMATION |
| Address |  |
| City/Town |  |
| State/Province |  | Zip |  |
| Phone | ( ) - Ext | Fax | ( ) - |
| Contact |  | Title |  |
| E-mail Address |  |
| Payment Name if Different |  |

All invoices must reference the corresponding Purchase Order Number(s)/Contract Number(s) if applicable and mailed to:

Attention:  Accounts Payable, Accounting Department

South Coast Air Quality Management District

21865 Copley Drive

Diamond Bar, CA  91765-4178

DISADVANTAGED BUSINESS CERTIFICATION

Federal guidance for utilization of disadvantaged business enterprises allows a vendor to be deemed a small business enterprise (SBE), minority business enterprise (MBE) or women business enterprise (WBE) if it meets the criteria below.

- is certified by the Small Business Administration or

- is certified by a state or federal agency or

- is an independent MBE(s) or WBE(s) business concern which is at least 51 percent owned and controlled by minority group member(s) who are citizens of the United States.

Following state guidance, a vendor may be deemed a disabled veteran business enterprise (DVBE) if it meets the following:

- is an independent business concern which is at least 51 percent owned and controlled by disabled veteran(s), and the home office is located in the U.S.

Statements of certification:

As a prime contractor to the SCAQMD,	     	 (name of business) will engage in good faith efforts to achieve the fair share in accordance with 40 CFR Section 31.36(e), and will follow the six affirmative steps listed below for contracts or purchase orders funded in whole or in part by federal grants and contracts.

- Place qualified SBEs, MBEs, and WBEs on solicitation lists.

- Assure that SBEs, MBEs, and WBEs are solicited whenever possible.

- When economically feasible, divide total requirements into small tasks or quantities to permit greater participation by SBEs, MBEs, and WBEs.

- Establish delivery schedules, if possible, to encourage participation by SBEs, MBEs, and WBEs.

- Use services of Small Business Administration, Minority Business Development Agency of the Department of Commerce, and/or any agency authorized as a clearinghouse for SBEs, MBEs, and WBEs.

- If subcontracts are to be let, take the above affirmative steps.

###### Self-Certification Verification:

Check all that apply:

Small business enterprise		Women-owned business enterprise

Local business		Disabled veteran-owned business enterprise

Minority-owned business enterprise

Percent of ownership:  	     	 	%

Name of Qualifying Owner(s):

I, the undersigned, hereby declare that to the best of my knowledge the above information is accurate.  Upon penalty of perjury, I certify information submitted is factual.

## NAME	TITLE

## TELEPHONE NUMBER	DATE

Definitions

Disabled Veteran-Owned Business Enterprise means a business that meets all of the following criteria:

- is a sole proprietorship or partnership of which is at least 51 percent owned by one or more disabled veterans, or in the case of any business whose stock is publicly held, at least 51 percent of the stock is owned by one or more disabled veterans; a subsidiary which is wholly owned by a parent corporation but only if at least 51 percent of the voting stock of the parent corporation is owned by one or more disabled veterans; or a joint venture in which at least 51 percent of the joint venture’s management and control and earnings are held by one or more disabled veterans.

- the management and control of the daily business operations are by one or more disabled veterans.  The disabled veterans who exercise management and control are not required to be the same disabled veterans as the owners of the business.

- is a sole proprietorship, corporation, partnership, or joint venture with its primary headquarters office located in the United States and which is not a branch or subsidiary of a foreign corporation, firm, or other foreign-based business.

Joint Venture means that one party to the joint venture is a MBE/WBE/DVBE and owns at least 51 percent of the joint venture.  In the case of a joint venture formed for a single project this means that MBE/WBE/DVBE will receive at least 51 percent of the project dollars.

Local Business means a business that meets all of the following criteria:

- has an ongoing business within the boundary of the SCAQMD at the time of bid application.

- performs 90 percent of the work within SCAQMD’s jurisdiction.

Minority-Owned Business Enterprise means a business that meets all of the following criteria:

- is at least 51 percent owned by one or more minority persons or in the case of any business whose stock is publicly held, at least 51 percent of the stock is owned by one or more minority persons.

- is a business whose management and daily business operations are controlled or owned by one or more minority person.

- is a business which is a sole proprietorship, corporation, partnership, joint venture, an association, or a cooperative with its primary headquarters office located in the United States, which is not a branch or subsidiary of a foreign corporation, foreign firm, or other foreign business.

“Minority” person means a Black American, Hispanic American, Native American (including American Indian, Eskimo, Aleut, and Native Hawaiian), Asian-Indian American (including a person whose origins are from India, Pakistan, or Bangladesh), Asian-Pacific American (including a person whose origins are from Japan, China, the Philippines, Vietnam, Korea, Samoa, Guam, the United States Trust Territories of the Pacific, Northern Marianas, Laos, Cambodia, or Taiwan).

Small Business Enterprise means a business that meets the following criteria:

- 1) an independently owned and operated business; 2) not dominant in its field of operation; 3) together with affiliates is either:

- A service, construction, or non-manufacturer with 100 or fewer employees, and average annual gross receipts of ten million dollars ($10,000,000) or less over the previous three years, or

- A manufacturer with 100 or fewer employees.

- Manufacturer means a business that is both of the following:

- Primarily engaged in the chemical or mechanical transformation of raw materials or processed substances into new products.

- Classified between Codes 2000 to 3999, inclusive, of the Standard Industrial Classification (SIC) Manual published by the United States Office of Management and Budget, 1987 edition.

Women-Owned Business Enterprise means a business that meets all of the following criteria:

- is at least 51 percent owned by one or more women or in the case of any business whose stock is publicly held, at least 51 percent of the stock is owned by one or more women.

- is a business whose management and daily business operations are controlled or owned by one or more women.

- is a business which is a sole proprietorship, corporation, partnership, or a joint venture, with its primary headquarters office located in the United States, which is not a branch or subsidiary of a foreign corporation, foreign firm, or other foreign business.

United State Environmental Protection Agency

Washington, DC 20460

Certification Regarding

Debarment, Suspension, and Other Responsibility Matters

The prospective participant certifies to the best of its knowledge and belief that it and the principals:

- Are not presently debarred, suspended, proposed for debarment, declared ineligible, or voluntarily excluded from covered transactions by any Federal department or agency;

- Have not within a three year period preceding this proposal been convicted of or had a civil judgment rendered against them or commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (Federal, State, or local) transaction or contract under a public transaction: violation of Federal or State antitrust statute or commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, or receiving stolen property:

- Are not presently indicted for or otherwise criminally or civilly charged by a government entity (Federal, State, or local) with commission of any of the offenses enumerated in paragraph (1)(b) of this certification; and

- Have not within a three-year period preceding this application/proposal had one or more public transactions (Federal, State, or local) terminated for cause or default.

I understand that a false statement on this certification may be grounds for rejection of this proposal or termination of the award. In addition, under 18 USC Sec. 1001, a false statement may result in a fine of up to $10,000 or imprisonment for up to 5 years, or both.

________________________________________________________________________

Typed Name & Title of Authorized Representative

________________________________________________________________________

Signature of Authorized Representative                                  Date

(  I am unable to certify to the above statements.  My explanation is attached.

EPA Form 5700-49 (11-88)

CAMPAIGN CONTRIBUTIONS DISCLOSURE

California law prohibits a party, or an agent, from making campaign contributions to AQMD Governing Board Members or members/alternates of the Mobile Source Pollution Reduction Committee (MSRC) of $250 or more while their contract or permit is pending before the AQMD; and further prohibits a campaign contribution from being made for three (3) months following the date of the final decision by the Governing Board or the MSRC on a donor’s contract or permit.  Gov’t Code §84308(d).  For purposes of reaching the $250 limit, the campaign contributions of the bidder or contractor plus contributions by its parents, affiliates, and related companies of the contractor or bidder are added together.  2 C.C.R. §18438.5.

In addition, Board Members or members/alternates of the MSRC must abstain from voting on a contract or permit if they have received a campaign contribution from a party or participant to the proceeding, or agent, totaling $250 or more in the 12-month period prior to the consideration of the item by the Governing Board or the MSRC.  Gov’t Code §84308(c).  When abstaining, the Board Member or members/alternates of the MSRC must announce the source of the campaign contribution on the record.  Id.  The requirement to abstain is triggered by campaign contributions of $250 or more in total contributions of the bidder or contractor, plus any of its parent, subsidiary, or affiliated companies.  2 C.C.R. §18438.5.

In accordance with California law, bidders and contracting parties are required to disclose, at the time the application is filed, information relating to any campaign contributions made to Board Members or members/alternates of the MSRC, including: the name of the party making the contribution (which includes any parent, subsidiary or otherwise related business entity, as defined below), the amount of the contribution, and the date the contribution was made.  2 C.C.R. §18438.8(b).

The list of current AQMD Governing Board Members can be found at the AQMD website (www.aqmd.gov).  The list of current MSRC members/alternates can be found at the MSRC website (http://www.cleantransportationfunding.org).

SECTION I.  Please complete Section I.

Contractor:	RFP #:		Q2009-08

List any parent, subsidiaries, or otherwise affiliated business entities of Contractor:  (See definition below).

SECTION II

Has contractor and/or parent, subsidiary, or affiliated company, or agent thereof, made a campaign contribution(s) totaling $250 or more in the aggregate to a current member of the South Coast Air Quality Management Governing Board or members/alternates of the MSRC in the 12 months preceding the date of execution of this disclosure?

Yes	  No	If YES, complete Section II below and then sign and date the form.
		If NO, sign and date below.  Include this form with your submittal.

Campaign Contributions Disclosure, continued:

Name of Contributor

Governing Board Member or MSRC Member/Alternate	Amount of Contribution		Date of Contribution

Name of Contributor

Governing Board Member or MSRC Member/Alternate	Amount of Contribution		Date of Contribution

Name of Contributor

Governing Board Member or MSRC Member/Alternate	Amount of Contribution		Date of Contribution

Name of Contributor

Governing Board Member or MSRC Member/Alternate	Amount of Contribution		Date of Contribution

Name of Contributor

Governing Board Member or MSRC Member/alternate	Amount of Contribution		Date of Contribution

I declare the foregoing disclosures to be true and correct.

By:

Title:

Date:

DEFINITIONS

Parent, Subsidiary, or Otherwise Related Business Entity.

(1)	Parent subsidiary. A parent subsidiary relationship exists when one corporation directly or indirectly owns shares possessing more than 50 percent of the voting power of another corporation.

(2)	Otherwise related business entity. Business entities, including corporations, partnerships, joint ventures and any other organizations and enterprises operated for profit, which do not have a parent subsidiary relationship are otherwise related if any one of the following three tests is met:

(A)	One business entity has a controlling ownership interest in the other business entity.

(B)	There is shared management and control between the entities. In determining whether there is shared management and control, consideration should be given to the following factors:

- The same person or substantially the same person owns and manages the two entities;

- There are common or commingled funds or assets;

- The business entities share the use of the same offices or employees, or otherwise share activities, resources or personnel on a regular basis;

- There is otherwise a regular and close working relationship between the entities; or

(C)	A controlling owner (50% or greater interest as a shareholder or as a general partner) in one entity also is a controlling owner in the other entity.

2 Cal. Code of Regs., §18703.1(d).