## Table4_7B_AO_Causes
Electric Power Annual 2010
Released: March 2012
Next Update: November 2012
Table 4.7.C. U.S. Transformer Automatic Outage Counts by Cause Code and by NERC Region, 2010
| Eastern Interconnection (FRCC, MRO, NPCC, RFC,SERC, SPP) | TRE | WECC | Contigious U.S. | Eastern Interconnection (FRCC, MRO, NPCC, RFC,SERC, SPP) | TRE | WECC | Contigious U.S.
Momentary Outage Causes
Weather, excluding lightning | 0 | 0 | 1 | 1 | 0 | - | 5 | 3.4483
Lightning | 2 | 0 | 13 | 15 | 22.2222 | - | 65 | 51.7241
Environmental | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Contamination | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Foreign Interference | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Fire | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Vandalism, Terrorism, or Malicious Acts | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Failed AC Substation Equipment | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Failed AC/DC Terminal Equipment | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Failed Protection System Equipment | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Failed AC Circuit Equipment | 2 | 0 | 1 | 3 | 22.2222 | - | 5 | 10.3448
Failed DC Circuit Equipment | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Vegetation | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Power System Condition | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Human Error | 0 | 0 | 2 | 2 | 0 | - | 10 | 6.8966
Unknown | 1 | 0 | 3 | 4 | 11.1111 | - | 15 | 13.7931
Other | 4 | 0 | 0 | 4 | 44.4444 | - | 0 | 13.7931
TOTAL | 9 | 0 | 20 | 29 | 100 | 0 | 100 | 100
Sustained Outage Causes
Weather, excluding lightning | 1 | 0 | 2 | 3 | 0.68027 | - | 3.6364 | 1.4851
Lightning | 18 | 0 | 4 | 22 | 12.2449 | - | 7.2727 | 10.8911
Environmental | 0 | 0 | 2 | 2 | 0 | - | 3.6364 | 0.9901
Contamination | 7 | 0 | 0 | 7 | 4.7619 | - | 0 | 3.4653
Foreign Interference | 21 | 0 | 0 | 21 | 14.2857 | - | 0 | 10.396
Fire | 0 | 0 | 24 | 24 | 0 | - | 43.6364 | 11.8812
Vandalism, Terrorism, or Malicious Acts | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Failed AC Substation Equipment | 28 | 0 | 3 | 31 | 19.0476 | - | 5.4545 | 15.3465
Failed AC/DC Terminal Equipment | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Failed Protection System Equipment | 7 | 0 | 4 | 11 | 4.7619 | - | 7.2727 | 5.4455
Failed AC Circuit Equipment | 9 | 0 | 2 | 11 | 6.1224 | - | 3.6364 | 5.4455
Failed DC Circuit Equipment | 0 | 0 | 0 | 0 | 0 | - | 0 | 0
Vegetation | 0 | 0 | 2 | 2 | 0 | - | 3.6364 | 0.9901
Power System Condition | 2 | 0 | 0 | 2 | 1.3605 | - | 0 | 0.9901
Human Error | 11 | 0 | 6 | 17 | 7.483 | - | 10.9091 | 8.4158
Unknown | 40 | 0 | 6 | 46 | 27.2109 | - | 10.9091 | 22.7723
Other | 3 | 0 | 0 | 3 | 2.0408 | - | 0 | 1.4851
TOTAL | 147 | 0 | 55 | 202 | 100 | 0 | 100 | 100
Notes:
• Detailed information on the Transmission Availability Data System outage causes is available at:
http://www.nerc.com/docs/pc/tadswg/Appendix%207%2020101202a%20clean.pdf
Source: U.S. Energy Information Administration, Form EIA-411, "Coordinated Bulk Power Supply Program Report."