## 949
Table with row headers in column A and column headers in rows 4 through 6. Leading dots indicate sub-parts.
Table 949. Electric Power Industry -- Capability, Peak Load, and Capacity Margin
[326,900 represents 326,900,000 kilowatts. Excludes Alaska and Hawaii. Capability represents the maximum kilowatt output with all power sources available and with hydraulic equipment under actual water conditions, allowing for maintenance, emergency outages, and system operating requirements. Capacity margin is the difference between capability and peak load. Minus sign (-) indicates decrease]
Year | Capability at the time of- |  |  |  | Noncoincident peak load |  | Capacity margin
| Summer peak load (1,000 kilowatts) |  | Winter peak load (1,000 kilowatts) |  |  |  | Summer |  | Winter
| Amount | Change from prior year | Amount | Change from prior year | Summer (1,000 kilowatts) | Winter (1,000 kilowatts) | Amount (1,000 kilowatts) | Percent of capability | Amount (1,000 kilowatts) | Percent of capability
1970 | 326900 | 26600 | 339050 | 27600 | 274650 | 248550 | 52250 | 16 | 90500 | 26.7
1971 | 353250 | 26350 | 366700 | 27650 | 292100 | 261650 | 61150 | 17.3 | 105050 | 28.6
1972 | 381700 | 28450 | 394050 | 27350 | 319150 | 290950 | 62550 | 16.4 | 103100 | 26.2
1973 \1 | 415500 | 33800 | 433150 | 39100 | 343900 | 295150 | 71600 | 17.2 | 138000 | 31.9
1974 | 444400 | 28900 | 467400 | 34250 | 349250 | 302500 | 95150 | 21.4 | 164900 | 35.3
1975 | 479300 | 34900 | 492450 | 25050 | 356800 | 331100 | 122500 | 25.6 | 161350 | 32.8
1976 | 498750 | 19450 | 511000 | 18550 | 370900 | 349850 | 127850 | 25.6 | 161150 | 31.5
1977 | 516000 | 17250 | 537600 | 26600 | 396350 | 360200 | 119650 | 23.2 | 177400 | 33
1978 | 545700 | 29700 | 561550 | 23950 | 408050 | 383100 | 137650 | 25.2 | 178450 | 31.8
1979 \2 | 544506 | -1194 | 554525 | -7025 | 398424 | 368876 | 146082 | 26.8 | 185649 | 33.5
1980 | 558237 | 13731 | 572195 | 17670 | 427058 | 384567 | 131179 | 23.5 | 187628 | 32.8
1981 | 572219 | 13982 | 586569 | 14374 | 429349 | 397800 | 142870 | 25 | 188769 | 32.2
1982 | 586142 | 13923 | 598066 | 11497 | 415618 | 373985 | 170524 | 29.1 | 224081 | 37.5
1983 | 596449 | 10307 | 612453 | 14387 | 447526 | 410779 | 148923 | 25 | 201674 | 32.9
1984 | 604240 | 7791 | 622125 | 9672 | 451150 | 436374 | 153090 | 25.3 | 185751 | 29.9
1985 | 621597 | 17357 | 636475 | 14350 | 460503 | 423660 | 161094 | 25.9 | 212815 | 33.4
1986 | 633291 | 11694 | 646721 | 10246 | 476320 | 422857 | 156971 | 24.8 | 223864 | 34.6
1987 | 648118 | 14827 | 662977 | 16256 | 496185 | 448277 | 151933 | 23.4 | 214700 | 32.4
1988 | 661580 | 13462 | 676940 | 13963 | 529460 | 466533 | 132120 | 20 | 210407 | 31.1
1989 | 673316 | 11736 | 685249 | 8309 | 524110 | 496378 | 149206 | 22.1599 | 188871 | 27.6
1990 | 685091 | 11775 | 696757 | 11508 | 546331 | 484231 | 138760 | 20.2542 | 212526 | 30.5
1991 | 690915 | 5824 | 703212 | 6455 | 551418 | 485761 | 139497 | 20.1902 | 217451 | 30.9225
1992 | 695436 | 4521 | 707752 | 4540 | 548707 | 492983 | 146729 | 21.0989 | 214769 | 30.3452
1993 | 694250 | -1186 | 711957 | 4205 | 575356 | 521733 | 118894 | 17.1255 | 190224 | 26.7185
1994 | 702985 | 8735 | 715090 | 3133 | 585320 | 518253 | 117665 | 16.7379 | 196837 | 27.5262
1995 | 714222 | 11237 | 727679 | 12589 | 620249 | 544684 | 93973 | 13.1574 | 182995 | 25.1478
1996 | 730376 | 16154 | 737637 | 9958 | 616790 | 554081 | 113586 | 15.5517 | 183556 | 24.8843
1997 | 737855 | 7479 | 736666 | -971 | 637677 | 529874 | 100178 | 13.5769 | 206792 | 28.0713
1998 | 744670 | 6815 | 735090 | -1576 | 660293 | 567558 | 84377 | 11.3308 | 167532 | 22.7907
1999 | 765744 | 21074 | 748271 | 13181 | 682122 | 570915 | 83622 | 10.9204 | 177356 | 23.7021
2000 | 808054 | 42310 | 767505 | 19234 | 678413 | 588426 | 129641 | 16.0436 | 179079 | 23.3326
2001 | 788990 | -19064 | 806598 | 39093 | 687812 | 576312 | 101178 | 12.8237 | 230286 | 28.5503
2002 | 833380 | 44390 | 850984 | 44386 | 714565 | 604986 | 118815 | 14.257 | 245998 | 28.9075
2003 | 856131 | 22751 | 882120 | 31136 | 709375 | 593874 | 146756 | 17.1418 | 288246 | 32.6765
2004 | 875870 | 19739 | 864849 | -17271 | 704459 | 618701 | 171411 | 19.5704 | 246148 | 28.4614
2005 | 882125 | 6255 | 878110 | 13261 | 758876 | 626365 | 123249 | 13.9718 | 251745 | 28.669
2006 | 891226 | 9101 | 899551 | 21441 | 789475 | 640981 | 101751 | 11.417 | 258570 | 28.7443
2007 | 914397 | 23171 | 913650 | 14099 | 782227 | 637905 | 132170 | 14.4543 | 275745 | 30.1806
2008 | 909504 | -4893 | 927781 | 14131 | 752470 | 643557 | 157034 | 17.2659 | 284224 | 30.6348
2009 | 916449 | 6945 | 920002 | -7779 | 725958 | 668818 | 190491 | 20.7858 | 251184 | 27.3025
2010 \3 | 934894 | 18445 | 948326 | 28324 | 772089 | 639073 | 162805 | 17.4143 | 309253 | 32.6104
FOOTNOTES:
\1 Prior to 1973, data was for the month of December.
\2 Beginning 1979, data are not entirely comparable with prior years due to change in data source.
\3 Preliminary.
Source: Edison Electric Institute, Washington, DC, Statistical Yearbook of the Electric Power Industry, annual.
For more information:
http://www.eei.org/
Internet release date: 9/30/2011