U.S. Department
of Transportation	Northwest Mountain Region

Memorandum

Airports Division

Federal Aviation	1601 Lind Avenue S.W., Suite 315

Administration 	Renton, WA  98055-4056

| Subject: | ACTION: Northwest Mountain Region Revision to AC 150/5370-10F, Standards for Specifying Construction of Airports, Notice F-1 |  | Date: | December 7, 2011 |
| --- | --- | --- | --- | --- |
| From: | Civil Engineer, Safety and Standards Branch, ANM-622 |  | Reply to Attn. of: |  |
| To: | Manager, DEN-ADO, HLN-ADO, SEA-ADO |  |  |  |

Attached is the regional modification Notice F-1.  All previous notices are now canceled.  This revision (Notice F-1) should be incorporated into AC 150/5370-10F, dated September 30, 2011, for all new projects under design in the Northwest Mountain Region.  This change will be in effect until the next revision.  An electronic copy may be located on our web page:

http://www.faa.gov/airports/northwest_mountain/engineering/construction_resources/media/notice_f_1.doc

Any recommended future changes may be sent to Paul Johnson, Safety and Standards Branch.

Paul Johnson, P.E.

Attachment

Northwest Mountain Regional Revision

to AC 150/5370-10F, Standards for

Specifying Construction of Airports

INDEX

AC 150/5370-10A & all changes - Canceled

Notice 16 – November 2004 – Canceled

AC 150/ 5370-10B, April 2005 - Canceled

Notice B-1 - October 2005 – Canceled

Notice B-2  - June 2006 - Cancelled

Notice B-3  - January 2007 – Canceled

Notice C-1 – February 2008 – Canceled

Notice C-2 – June 19, 2008- Canceled

Notice D-1 – September 2009 – Canceled

Notice E-1 – January  2009 – Canceled

Notice E-2 – April 8, 2011 – Canceled

AC 150/5370-10E, September 2009 – Canceled

Notice F-1, December  2011

Mountain Regional Revision to

AC 150/5370-10F, Standards for Specifying Construction of Airports

Table of Contents

50-06  Construction Layout and Stakes.	3

120  Nuclear Gages	4

P-101 Surface Preparation	4

P-152  Excavation and Embankment	5

P-153 Controlled Low-strength Material (CLSM)	5

P-154  Subbase Course	5

P-208  Aggregate Base Course	6

P-209  Crushed Aggregate Base Course	7

P-219   Recycled Concrete Aggregate Base Course	8

P-301  Soil Cement Base Course	8

P-304  Cement-Treated Base Course	8

P-401  Plant Mix Bituminous Pavements	9

P-403  Plant Mix Bituminous Pavements	19

P-501 Portland Cement Concrete Pavement	28

P-602 Bituminous PRIME	40

P-604 Compression Joint Seals for Concrete Pavements	40

P-610 Structural Portland Cement Concrete	41

Plans and Specifications for L-853  Reflectors:	41

L-108 Underground Power Cable for Airports	42

AC 110/5320-6E details	42

Northwest Mountain Region Revision

to AC 150/5370-10F, Standards for

Specifying Construction of Airports, Notice F-1

This revision shall be incorporated into all new projects in the Northwest Mountain Region that do not have specifications developed.  The latest notice number used should be noted in the design report or with submission of the specifications to the FAA Airport District Office.  This will be in effect until it is revised by a specific change to a specification section in AC 150/5370-10F or until the next Notice is issued.

This notice includes all regional specification changes and cancels previous notices.  Revisions to paragraphs in the previous notice and additions will be highlighted by a vertical bar in the left margin.  A vertical bar without text indicated that wording has been deleted from the last Notice.  Text shown in red are general notes to the engineer or revisions to the engineering notes in the specifications.

The specification changes are normally a result of problem areas or recurring "modification to construction standards".  Designers that have additional changes should make the request to the ADO Project Manager.

The following revisions are to be made to the standard and not included separately as a supplemental portion of the contract.

NOTICE REGARDING CONSTRUCTION SAFETY AND PHASING PLANS

Plans and specifications for construction projects to be funded under AIP and PFC's are to include a Construction Safety and Phasing Plan (CSPP) to address specific impacts of construction activities on airport operations.  The plan may be incorporated into the plans and specifications; however an electronic copy must be submitted to the Airport District Office for coordination with other FAA lines of business. The plan should address all criteria identified in AC 150/5370-2.

# 50-06  Construction Layout and Stakes.

At the engineer’s option, replace the 3rd paragraph to read as follows: "The contractor must give copies of survey notes to the Engineer for each area of construction and for each placement of material as specified.  This will allow the Engineer to make periodic checks for conformance with plan grades, alignments and grade tolerances required by the applicable material specifications.  All surveys must be provided to the Engineer prior to commencing work items that will cover or disturb the survey staking as set by the Contractor's surveyor. Surveys and survey notes must be on local coordinate system shown on the plans, based on plan stations and offsets and plan vertical control.

In the case of error, on the part of the Contractor their surveyor, employees or subcontractors, resulting in established grades, alignment or grade tolerances that do not concur with those specified or shown on the plans, the Contractor is solely responsible for correction, removal, replacement and all associated costs at no additional cost to the Sponsor."

Include the following requirements for the contractor’s survey at the end of the section for projects that include runways, taxiways or any that have critical grade requirements:

Establishment of Survey Control for Construction

1.   Utilization of a State Licensed Land Surveyor is required.

- Horizontal closure accuracy of at least 1:40,000 is required.

- Vertical loop closure of at least 0.03 foot per mile is required.  [NAVD-88 Vertical Datum] [ ______ Vertical Datum] must be utilized where available.  It is strongly recommended that a digital level be utilized in obtaining vertical loop closure.

- The construction survey must use the same primary control as used for the Design Survey.

- Prior to performing the initial survey, prepare a methodology statement, complete with survey equipment to be utilized and with information as to the accuracy of the equipment.  The methodology statement is to be submitted to the project manager for review and approval.

- Secondary control monuments shall have a minimum foundation depth of [6] [_] feet.   Elevations shall be set on secondary control using the NGS style 3D monument set for project primary control.  Utility locates are required prior to installing secondary control monuments.

- Contractor must verify his internal secondary control monuments a minimum of once per month by looping back into primary control.

# 120-01  Nuclear Gages

Delete "gauge" after the second paragraph.

# 120-02 Delete entire paragraph, PWL concepts have not been established for  specifications of embankments or base courses at this time.

# P-101 Surface Preparation

Paragraph 101-1.1,  Add the following to the note to the Engineer: Millings from Porous Friction Courses (PFC) should not be recycled into asphalt mat or base courses. The PFC is gap graded and also may have excessive fines.  (Refer to P-154 note for use of other millings.)

Paragraph 101-3.1 a.;  Add the following to the end of the paragraph: ”Concrete slabs that are damaged by under breaking shall be removed at the expense of the contractor.“

# P-152  Excavation and Embankment

Paragraph 152-2.6;  Add the following to the seventh paragraph; “All testing shall be done by a laboratory hired by the contractor.  The results shall be furnished daily to the Engineer for determination of acceptance.”

Paragraph 152-2.6;  Change the sixth paragraph to read:  “On all areas outside of the pavement areas, no compaction will be required on the top 4 inches (100 mm). The lower layers shall be compacted to 95% of the maximum density from ASTM D 698 for non-cohesive soils and 90% for cohesive soil.”

Paragraph 152-2.6; seventh paragraph;  Include ASTM D 6938 and refer to Section 120.

P-152 Method of Measurement;  Add following in note to Engineer,  Subgrade preparation may be measured by square yards at engineers option.

P-152 Basis of Payment;  The Engineer can include “subgrade preparation” as pay item.

# P-153 Controlled Low-strength Material (CLSM)

Paragraph 153-3.1; The minimum cement and fly ash content can be removed from this paragraph and the proportioning based on compressive strength requirements of sub paragraph a.

Paragraph 153-3.1, a.; Change strength limits to from “100-200” to “100-300”.

# P-154  Subbase Course

Note to Engineer:  Recycled asphalt has been used in place of P-154 material.  This is acceptable provided it is approved by the Airport District Office and no more than 50% is blended with new P-154 material.  Excessive amounts, under heavy loads and heat, can settle.  Although it can be compacted to a modified proctor it will bridge between coated particles and resist compactive effort.  Recycled P-402 should not be used under any aircraft pavements since it is gap-graded, unless the virgin aggregate gradation is adjusted to meet the combined blend gradation.

Paragraph 154-3.7;  Add the following to the second paragraph; “All testing shall be done by a laboratory hired by the contractor.  Density test results shall be furnished daily to the Engineer for acceptance determination.”

P-208  Aggregate Base Course

Note to Engineer:   Recycled asphalt has been used in place of P-208 material.  This is acceptable provided it is approved by the Airport District Office and no more than 50% is blended with new P-208 material. Even though it can be compacted to a modified proctor, it bridges between coated particles and resists compactive effort.  With time, under heavy loads and heat, it will deform.  Recycled P-402 should not be in base course since it is gap-graded.

Paragraph 208-1.1, 208-2.3, 208-4.1, 208-5.1, and throughout this specification section; Delete “uncrushed”.

Paragraph 208 2.1;  Delete paragraph 2.1.

Paragraph 208 2.2;  Change paragraph  2.2 to 2.1.

Paragraph 208 2.3;  Change paragraph 2.3 to 2.2.

Add in last paragraph “Tests for aggregates to check gradation shall be conducted by the Contractor at least two per lot.  The lot will be consistent with acceptance sampling for density.  The samples shall be taken from the in-place, compacted material.  Sampling shall be in accordance with ASTM D 75, and testing shall be in accordance with ASTM C 136 and ASTM C 117.“

Paragraph 208 2.2, (208-2.3 prior to renumbering) third paragraph, last sentence;  Delete: “unless all materials are produced from crushed stone”.

Paragraph 208 2.4;  Change paragraph 2.4 to 2.3.

Paragraph 208-3.3b; Delete subparagraph  “b. Travel Plant”, if designer only wants to include a Plant Mix.  References in subparagraph c & 208-3.4 a. to mixing in place should also be removed.

Paragraph 208-3.6;  Add the following to the first paragraph; “All testing shall be done by a laboratory hired by the contractor.  Testing results shall be furnished daily to the Engineer for acceptance determination.”

Paragraph 208-3.7; Add the following to the end of the paragraph:  “The grade shall be measured on a 50 foot grid and be within +0” /-1/2 inch.”

# P-209  Crushed Aggregate Base Course

Table 1;  Engineer has the option to specify a finer (locally available) gradation as a leveling course.  The material must have the same quality requirements as the P-209, including equivalent fractured faces, LA wear, well graded, and non-frost susceptible, etc.

Paragraph 209-3.3; After the first sentence add: "The mechanical spreader shall be capable of distributing the aggregate without segregation"

Paragraph 209-3.5;  Add the following to the first paragraph; “All testing shall be done by a laboratory hired by the contractor.  Testing results shall be furnished daily to the Engineer for acceptance determination.”

Paragraph 209-3.5:  change the last paragraph to read: “If a nuclear gage is used for density determination, two random tests shall be made and averaged to represent each sublot.”

Paragraph 209-3.6; Add the following to the end of the first paragraph:  “The grade shall be measured on a 25 foot grid and be within +0 /-1/2 inch. Testing results shall be furnished daily to the Engineer for acceptance determination.”

Paragraph 209-3.8; This paragraph can be rewritten to permit the thickness acceptance determined by survey before and after placement.  The survey intervals should be selected based on the size of the project and specified.

# P-219   Recycled Concrete Aggregate Base Course

P-219-2.1, Note to Engineer;  Delete the provision to use ASR PCC in any airfield pavement section.  There is too little research and experience, and too much variability in the material and conditions to assume the risk at this time.

Change sulfate content from “1%” to “0.5%”

P-219-4.8;  Add the following to the end of the first paragraph:  “All testing shall be conducted by a laboratory hired by the contractor.  Test results shall be furnished daily to the Engineer for acceptance determination.”

P-219-4.8, 3rd paragraph;  Add the following to the start of the last sentence.  “If the re-test does not indicate gradations within the limits of Table1”

P-219-4.8, 6th paragraph; ASTM D 3017 is specified to be used for moisture content.  Nuclear gauges are not accurate in mixtures that contain Portland cement.   The nuclear gage reads Hydrogen molecules and variations in the amount of cement will be read as variations of water content.

Replace with "Moisture content shall be determined using ASTM D 4643"

P-219-4.9, 1st paragraph:: Add the following to the end of the paragraph:  “The grade shall be measured on a maximum 25-foot grid (longitudinal and transverse) and be within +0 and – ½ inches.  Thickness results shall be furnished daily to the Engineer for acceptance determination.”

# P-301  Soil Cement Base Course

Paragraph 301-3.1, 1st paragraph, Add "Tests shall be required for each approved soil which will be included in the treated layer."

# P-304  Cement-Treated Base Course

Paragraph 304-6.1.1;  Add Note to Engineer: “ASTM D 6938 may give incorrect moisture readings since the cement variations will  cause variations in moisture contents.  Moisture content should be measured using"ASTM D 4643"

# P-401  Plant Mix Bituminous Pavements

Note to Engineer:  The use of fabrics are not recommended for reflective crack control. If used a cost comparison should be done to compare the cost of installing the fabric vs. the cost of an additional inch of asphalt. Fabrics must never be placed directly on a milled surface. Fabrics should not be used with an overlay of less than 3-inches.

Fog seals on new pavement, immediately after paving, are not recommended.

For projects less than 3000 tons, the entire P-401 or P-403 specification should be rewritten or State specification used provided that equivalent quality and density is required and the specification is approved by the FAA (ADO)

Paragraph 401-2.1a & b.; For surface courses on airports with jet aircraft change “ 10 percent and 13 percent” to “8 percent and 10 percent”, respectively.

After last sentence in first paragraph add “Clay lumps and friable particles shall not exceed 0.3 percent by weight when tested in accordance with ASTM C-142.”

Paragraph 401-2.1b.:  Note to Engineer:  Change “45” to “40” for the sand equivalent value.

Remove all of paragraph 2.3, except for the last paragraph and replace with the following in P-401:

401-2.3  BITUMINOUS MATERIAL.  The bituminous material shall conform to the requirements of AASHTO M320 performance graded binder designation PG[      ].  A certificate of compliance from the manufacturer must be included with the mix design submittal.

Note to Engineer -- Performance Graded (PG) asphalt should be locally available and specified.  A high reliability (98 percent) on both the high and low temperature categories should be used.  Theses cements provide benefits for airfield pavements by minimizing low temperature cracking.  It is recommended that the designer consult with the state DOT for the binder used for greater than 10M ESALs highways.  Using this grade the high temperature should be bumped up one grade for greater than 60K gross aircraft weight.  The upper grade should be bumped by 2 for greater than 100K gross weight aircraft.  The following table can be used if no DOT information is available.  Notify the FAA District Office if these grades are not consistent with those specified or available in the state.

State				PG Binders  for Aircraft Gross Loading

60K and Under			Over 60 K

Colorado –Western		58-34				64-34

Colorado – Eastern		58-34				64-28

Idaho – Northern			58-34				64-34

Idaho – Southern			64-34				64-34

Montana – Western		58-34				*64-34

Montana – Eastern		  	*64-34				*64-34

Oregon – Western			64-22				70-22

Oregon – Eastern			64-28				70-28

Utah					64-28				70-28

Washington – Western		64-22				64-22

Washington – S. Eastern		64-28				70-28

Washington – N. Eastern		58-34				64-34

Wyoming – Western		58-34				64-34

Wyoming – Eastern		64-34				64-34

*Binder may not be available in the state

Note:  For some binders a synthetic additive may have to be added to meet the high temperature specification.    When the temperature values added together exceed 90, the asphalt will probably contain a modifier. In this case include the Elastic Recovery Testing requirements from the paragraph shown below:

"The binder (RTFO) aged residue shall be tested in accordance with AASHTO T 301 for Elastic Recovery tested at 25 degrees C.  The recovery shall be 50% minimum"

Paragraph 401-3.2, 1st paragraph;  Change to read:

“401-3.2  JOB MIX FORMULA.  No bituminous mixture for payment shall be produced until a job mix formula has been approved in writing by the Engineer.  The bituminous mixture shall be designed using procedures contained in Chapter 5, MARSHALL METHOD OF MIX DESIGN, of the Asphalt Institute's Manual Series No. 2 (MS-2), Mix Design Methods for Asphalt Concrete, sixth edition, except ASTM D 6926 and ASTM  D 6927 shall be used.  The manual hammer in ASTM D 6926 shall be used for the mix design procedure.”

Paragraph 401-3.2 Job Mix Formula;  Change subparagraph h. to:

“h. Temperature-viscosity relationship of the PG asphalt cement binder showing acceptable range of mixing and compaction temperatures.”

Paragraph 401-3.2 Job Mix Formula.  Replace Table 2 with the following:

| TABLE 2. MINIMUM PERCENT VOIDS IN MINERAL AGGREGATE |  |  |
| --- | --- | --- |
| Maximum Particle Size |  | Minimum Voids in Mineral Aggregate, percent |
| in. | mm | Percent |
| 1/2 3/4 1 1-1/4 | 12.5 19.0 25.0 31.75 | 15.0 14.0 13.0 12.0 |

Paragraph 401-3.2 (next to last paragraph before Table 3) Change to the following wording:  "The limits still will apply if they fall outside the master grading band in Table 3 except for the top three sieve sizes for each aggregate gradation product starting at the 100% passing band."

Note for Table 3. Aggregate-Bituminous Pavements.  The region has had a long history of success with coarser gradations that reduce the percentage of fine materials.  The following gradations should be substituted for those in the note to the engineer:

AGGREGATE-BITUMINOUS PAVEMENTS

Sieve	Percentage by Weight Passing Sieves

Size		1" max	3/4" max	1/2" max

1-1/4 in. (31.75 mm) 		100	 ---	  ---	---

1 in. (24.0 mm)		100	  ---	---

3/4 in. (19.0 mm)		76-95	100	 ---

1/2 in. (12.5 mm)		60-86	78-95	100

3/8 in. (9.5 mm)		52-77	64-88	79-99

No. 4 (4.75 mm)		35-60	44-68	58-78

No. 8 (2.36 mm)		24-46	30-53	39-59

No. 16 (1.18 mm)		17-37	20-40	26-46

No. 30 (0.600 mm)		11-27	14-30	19-35

No. 50 (0.300 mm)	  	7-19	  8-21	12-24

No. 100 (0.150 mm)		6-16	  6-14	  7-17

No. 200 (0.075 mm)		3-6	   3-6	  3-6

Asphalt percent:

Stone or gravel		4.5-7.0	5.0-7.5	 5.5-8.0

Slag		6.0-9.0	6.5-9.5	7.0-10.5

The maximum size aggregate selected should not be more than one-half of the course thickness.

P-401-3.2  Add to the Note to Engineer:

The 1” band is not recommended for surface courses, especially in areas that have handwork.  The Engineer may include a requirement that the aggregates are handled and furnished to the plant in two or more size groups.

Paragraph 401-3.2:  Change the flow range from “ 10-14” to “10-16” for aircraft over 60,000 pounds.  The 10-14 limits are difficult to attain using the PG graded binders.  Also include a footnote that upper flow limit requirements do not apply for any mix with a polymer-modified binder (where the difference between the upper and lower temperature number is 90 degrees or greater).

Paragraph 401-3.4 Test Section. (first paragraph)  Change the third sentence: "A cold joint is defined as a construction joint where the first mat surface temperature is less than 185 degrees F.”

Paragraph 401-3.4 Test Section. (fourth paragraph).  Change to read:

“If the initial test section should prove to be unacceptable, the necessary adjustments to the job mix formula, plant operation, placing procedures, and/or rolling procedures shall be made.  The initial first test section shall be removed at the Contractor’s expense and a second test section shall then be placed.  If the second test section does not meet specification requirements, the section shall be removed at the Contractor's expense.  Additional test sections, as required, shall be constructed and evaluated for conformance to the specifications.  Any additional sections that are not acceptable shall be removed at the Contractor's expense.  Full production shall not begin until an acceptable section has been constructed and accepted in writing by the Engineer.  Once an acceptable test section has been placed, payment for the test section that meets specification requirements shall be made in accordance with paragraph 401-8.1.”

Paragraph 401-3.4 Test Section.  (second note to the Engineer);  Add the following:  “For large projects, the test section size may be increased to 300 tons.  The smaller test sections may not be as representative of the plant  production and paving operation.”

Paragraph 401-4.2 a. (2)   Testing Facilities.  Add the note to the Engineer:

These paragraphs should be modified as necessary concerning the contract requirements to provide a laboratory and equipment.  The designer should only require an area, but not equipment.  It is preferred to not have the contractor provide any facilities for acceptance testing.

Delete the requirement for ASTM D 3666.  The Contractor’s QC laboratory does not have to meet ASTM D 3666, unless it is used for the mix design.  If the equipment is left in the specification, for QC only, the equipment list should be modified for the ignition oven used for the asphalt content rather than the extraction method.

Paragraph 401-4.3 a.  Include the following requirement for major paving projects:

401-4.3 a. Material Transfer Machines:  Material transfer machines shall be used for placing [each]  [the surface] course for where the paving lane exceeds [   ] feet.  The transfer machine shall have sufficient capability to handle enough bituminous material to allow the paver to obtain a uniform spreading operation.  The transfer machine shall remix the material.

Note to Engineer: The  paragraph above should be included for long paving lanes such as a runway or parallel taxiway.  It can help provide continuous paver movement and uniform mix temperatures and consistent mat density.  It can be useful when long hauling distances or cooler weather temperatures are anticipated. The engineer should evaluate the wheel loading of these machines on pavements designed for light aircraft to verify the machines do not overstress the existing pavement.

Paragraph 401-4.12.   change first sentence in third paragraph to read:

“Longitudinal and transverse joints which are irregular, damaged, uncompacted, or otherwise defective or whose surface temperature has cooled to less than 1850 F shall be cut back (3 to 6-inches) to expose a clean, sound surface for the full depth of the course.”

Paragraph 401-4.12.   Delete note.

Paragraph 401-4.12:  Add the last paragraph: “Any laitance produced from cutting joints shall be removed by vacuuming and washing.  The joint shall be clean and dry prior to applying the P-603 Tack Coat.”

Add Note to Engineer P-401-4.13.

For lighter weight pavements, that are to be grooved, the designer should consider the use of a higher stability mix using a 75 blow Marshall and the corresponding percentage of fractured face aggregates.

Grooving, or other anti-hydroplaning surfaces, is required for runways used by commercial service aircraft and also encouraged for jet or turbo jet aircraft.  All 139 Certified runways must be grooved.  Contact the FAA (ADO) prior to including grooving requirements for other aircraft pavements.

Contracts that contain grooving of asphalt pavements shall have additional requirements included in this specification and the grooving specification for protection of the pavements.  The requirement should include removal and replacement of all pavements damaged by the grooving equipment and/or the associated water tenders.  The damaged commonly experienced is surface deformation from the equipment or water tender tires (or equipment casters).

It maybe advisable to groove later in the fall provided that provisions for final marking have been resolved such that any delays resulting in an increase in final marking costs are paid for by the contractor, including remobilization costs.

No grooving will be permitted during freezing or predicted freezing weather conditions.  Nighttime grooving may also be effective for cooler pavement temperatures, or lighter weight equipment.

Add after last paragraph:

“401-5.1  ACCEPTANCE SAMPLING AND TESTING.  Unless otherwise specified, all acceptance sampling and testing necessary to determine conformance with the requirements specified in this section will be performed by the Engineer at no cost to the Contractor except that coring [and profilograph testing] as required in this section shall be completed and paid for by the Contractor.  Testing organizations performing these tests [except profilograph] will meet the requirements of ASTM D 3666.  Field or permanent laboratories performing the testing at the project or plant site will be considered to meet ASTM D 3666 provided all testing personnel, laboratory equipment and laboratory supervision are from an ASTM D 3666 accredited branch.”

Paragraph 401-5.1.a ;  Change the bullets to the following: “

- one day or shift’s production not to exceed 2,000 tons (1 814 000 kg), or

- a half day or shift’s production where a day's production is expected to consist of between 2,000 and 4,000 tons (1 814 000 and 3 628 000 kg) so no lot exceeds 2000 tons (1 814 000 kg), or

- similar subdivisions for tonnages over 4,000 tons (3 628 000 kg) so no lot exceeds 2000 tons (1 814 000 kg).”

Paragraph 401-5.1.a.(1) & (2) Add the following after the second sentence: "Samples will be taken in accordance with ASTM D 979."

Paragraph 401-5.1.a.(1);  Add the following at the end of the first paragraph:

“The manual hammer in ASTM D 6926 shall be used.  Mechanical hammers may be used if they are calibrated to the same manual hammer density by varying the number of blows and for each specific mix. “

Paragraph 401-5.1.a.(2), Add last paragraph:  “Voids in Mineral Aggregate (VMA) will be calculated one time for each sublot.  The bulk specific gravity for the aggregate can be used unless more current test data is available.  The results will be used for quality control.”

P-401-5.1 b (3):  Add the following to the end of the paragraph;  “Laitance produced by the coring operation shall be removed immediately.”

Paragraph 401-5.2.b(5);  Note to Engineer:  The first 2 paragraphs in the note are not to be included in the contract, but rather the note to the Engineer.  Change the first paragraph in the note to the following:

“The Engineer shall specify the lot size.  A minimum of 2,000 square yards (1 650 square meters) is recommended.   The lot for the surface smoothness only applies to the surface course.  Calculations for payment may have to be separated where the entire lot is not surface course.”

Paragraph 401-5.2.b(5) Note: (a) Sixth paragraph;    Delete the following sentence:  ”If there is a section of 250 feet or less, the profilogram for the section shall be included in the evaluation of the previous section.“

Paragraph 401-5.2, Table 5;  Change the upper limit for flow from “16” to “18” for aircraft over 60,000 pounds.  Also include a footnote that upper flow limit requirements do not apply for any mix with a polymer-modified binder (where the difference between the upper and lower temperature number is 90 degrees or greater).

Paragraph 401-5.2 b.(6); Add the following to beginning of the  first paragraph: "Grade shall be evaluated on the first day of placement and then every 5 days or less so adjustments can be made to paving operations if measurements do not meet specification requirements.  The contractor must submit the survey data to the engineer by the following day after measurements have been taken. The engineer must compare the surveyed grades with the grades shown on the contract drawings and document the analysis."

Grade requirements may be modified with approval of the FAA Airport District office for pavements at non-primary airports rated less than 60,000 pounds to the following:

Max deviation (inches)	Max % before removal

Runway and hi-speed exit taxiways -  	1/2				20

Taxiways, aprons, and taxilanes		3/4				25

Paragraph 401-6.2. Testing Laboratory; Delete the requirement for the contractor to provide equipment for acceptance testing [401-4.2 a.(2)].  The facility (building space) could be provided by the contractor at the designer’s option.

Paragraph 401-6.3 a. & b.;  Change the two paragraphs to the following:

“a.  Asphalt Content.  A minimum of two asphalt content tests shall be performed per lot in accordance with ASTM D6307.  The asphalt content for the lot will be determined by averaging the test results.

Paragraph 401-6.5;  Change the first three paragraphs on the control chart to the following:

“401-6.5  CONTROL CHARTS.  The Contractor shall maintain linear control charts both for individual measurements and range (i.e., difference between highest and lowest measurements) for aggregate gradation, asphalt content, and Voids in Mineral Aggregates (VMA).  The VMA for each sublot will be calculated by the acceptance laboratory and monitored by the QC laboratory.

a.  Individual Measurements.  Control charts for individual measurements shall be established to maintain process control within tolerance for aggregate gradation, asphalt content, and VMA.  The control charts shall use the job mix formula target values as indicators of central tendency for the following test parameters with associated Action and Suspension Limits:

| CONTROL CHART LIMITS FOR INDIVIDUAL MEASUREMENTS |  |  |
| --- | --- | --- |
| Sieve | Action Limit | Suspension Limit |
| ¾ inch (19.0 mm) | 0% | 0% |
| ½ inch (12.5 mm) | +/-6% | +/-9% |
| ⅜ inch (9.5 mm) | +/-6% | +/-9% |
| No. 4 (4.75 mm) | +/-6% | +/-9% |
| No. 16 (1.18 mm) | +/-5% | +/-7.5% |
| No. 50 (0.30 mm) | +/-3% | +/-4.5% |
| No. 200 (0.075 mm) | +/-2% | +/-3% |
| Asphalt Content VMA | +/-0.45% -1.00% | +/-0.70% -1.50% |

Paragraph 401-6.5  Note to the designer:

Change “1 inch or 1-½ inch”  to “1 inch or greater or 1-1/4 inch”.

Change “¾ inch	6%	11%”  to “3/4 inch	6%	9%”.

Paragraph 401-6.5  Add a Note to Engineer:

If the sieve sizes are modified in Table 3, the designer should modify these tables to be consistent with the modification.

Paragraphs 401-7.1 and 8.1;  These paragraphs can be modified to pay separate for bituminous material per ton.  The measurement for bituminous material should be determined using the asphalt contents from the ignition oven method as specified.  The pay adjustments would be also applied to the bituminous material.

Note: The payment adjustments and bonuses also apply to leveling courses, even though the density adjustment may not be applicable.  If Profilograph price adjustments are specified, the adjustments are only made to the surface course mix and binder

Paragraph 401-8.1 b (notes for Profilograph);  Change the following paragraphs:

“c.  Basis of Adjusted Payment for Smoothness.  Price adjustment for pavement smoothness will be made in accordance with Table 7.  The adjustment will apply to the total tonnage of asphalt concrete and binder material within the surface course in a lot of pavement and shall be applied with the following equations:

(Tons of asphalt concrete in the surface course lot) x (lot pay factor) x (unit price per ton) x (smoothness pay factor) = payment for lot”

For contracts that pay for binder separate include the following:

“Tons of asphalt binder in the surface course lot) x (lot pay factor) x (unit price per ton of binder) x (smoothness pay factor) = binder payment for lot”

.

Testing Requirements;  Include the following:

ASTM D 6307	Standard Test Method for Asphalt Content of Hot Mix Asphalt by Ignition Method

Remove:

ASTM D 2172

ASTM D 4125

# P-403  Plant Mix Bituminous Pavements

Note to Engineer:  Permeable base course has been used in this region but are no longer permitted.  They have the potential to strip and we prefer not to risk using them at this time.

The use of fabrics are not recommended for reflective crack control. If used, a cost comparison should be done to compare the cost of installing the fabric vs. the cost of an additional inch of asphalt. Fabrics must never be placed directly on a milled surface. Fabrics should not be used with an overlay of less than 3-inches.

Fog seals on new pavement, immediately after paving, are not recommended.

For projects less than 3000 tons (FOR ALL PROJECTS), the entire P-403 specification can be rewritten provided that equivalent quality and density is required and the specification is approved by the FAA (ADO)

Paragraph 403-2.1a.;After last sentence add “Clay lumps and friable particles shall not exceed 0.3 percent by weight when tested in accordance with ASTM C-142.”

Paragraph 403-2.1b.:  After last sentence in first paragraph add “Clay lumps and friable particles shall not exceed 0.3 percent by weight when tested in accordance with ASTM C-142.”

Remove all of paragraph 2.3, except for the last paragraph and replace with the following:

[403-2.3  BITUMINOUS MATERIAL.  The bituminous material shall conform to the requirements of AASHTO MP320 performance graded binder designation PG[      ].  A certificate of compliance from the manufacturer must be included with the mix design submittal.]

Note to Engineer -- Performance Graded (PG) asphalt should be locally available and specified.  A high reliability (98 percent) on both the high and low temperature categories should be used.  Theses cements provide benefits for airfield pavements by minimizing low temperature cracking.  It is recommended that the designer consult with the state DOT for the binder used for greater than 10M ESALs highways.  Using this grade the high temperature should be bumped up one grade for greater than 60K gross aircraft weight.  The upper grade should be bumped by 2 for greater than 100K gross weight aircraft.  The following table can be used if no DOT information is available.  Notify the FAA District Office if these grades are not consistent with those specified or available in the state.

State				PG Binders  for Aircraft Gross Loading

60K and Under			Over 60 K

Colorado –Western		58-34				64-34

Colorado – Eastern		58-34				64-28

Idaho – Northern			58-34				64-34

Idaho – Southern			64-34				64-34

Montana – Western		58-34				*64-34

Montana – Eastern			*64-34				*64-34

Oregon – Western			64-22				70-22

Oregon – Eastern			64-28				70-28

Utah					64-28				70-28

Washington – Western		64-22				64-22

Washington – S. Eastern           64-28	                                  70-28

Washington – N. Eastern		58-34				64-34

Wyoming – Western		58-34				64-34

Wyoming – Eastern		64-34				64-34

* Binder may not be available in state.

Note:  For some binders a synthetic additive may have to be added to meet the high temperature specification.    When the temperature values added together exceed 90, the asphalt will probably contain a modifier. In this case include the Elastic Recovery Testing requirements from the paragraph shown below:

"The binder (RTFO) aged residue shall be tested in accordance with AASHTO T 301 for Elastic Recovery tested at 25 degrees C.  The recovery shall be 50% minimum"

Paragraph 403-3.2;  Change the first paragraph to read:

“403-3.2  JOB MIX FORMULA.  No bituminous mixture for payment shall be produced until a job mix formula has been approved in writing by the Engineer.  The bituminous mixture shall be designed using procedures contained in Chapter 5, MARSHALL METHOD OF MIX DESIGN, of the Asphalt Institute's Manual Series No. 2 (MS-2), Mix Design Methods for Asphalt Concrete, sixth edition, and shall meet the requirements of Tables 1, 2 and 3.  The procedures in MS-2 shall be modified to use ASTM D 6926 and ASTM  D 6927.  The manual hammer in ASTM D 6926 shall be used for the mix design procedure.”

Paragraph 403-3.2 Job Mix Formula; Change subparagraph h, to: “h. Temperature-viscosity relationship of the PG asphalt cement binder showing acceptable range of mixing and compaction temperatures.”

Paragraph 403-3.2 Job Mix Formula.  Replace Table 2 with the following:

| TABLE 2. MINIMUM PERCENT VOIDS IN MINERAL AGGREGATE |  |  |
| --- | --- | --- |
| Maximum Particle Size |  | Minimum Voids in Mineral Aggregate, percent |
| in. | mm | Percent |
| 1/2 3/4 1 1-1/4 | 12.5 19.0 25.0 31.75 | 15.0 14.0 13.0 12.0 |

Paragraph 403-3.2 (next to last paragraph before Table 3) Change to the following wording:  "The limits still will apply if they fall outside the master grading band in Table 3 except for the top three sieve sizes for each aggregate gradation product starting at the 100% passing band."

Note for Table 3. Aggregate-Bituminous Pavements.  The region has had a long history of success with coarser gradations that reduce the percentage of fine materials.  The following gradations should be substituted for those in the note to the engineer:

AGGREGATE-BITUMINOUS PAVEMENTS

Sieve	Percentage by Weight Passing Sieves

Size		1" max	3/4" max	1/2" max

1-1/4 in. (30.0 mm)  		100	 ---	  ---	---

1 in. (24.0 mm)		100	  ---	---

3/4 in. (19.0 mm)		76-95	100	 ---

1/2 in. (12.5 mm)		60-86	78-95	100

3/8 in. (9.5 mm)		52-77	64-88	79-99

No. 4 (4.75 mm)		35-60	44-68	58-78

No. 8 (2.36 mm)		24-46	30-53	39-59

No. 16 (1.18 mm)		17-37	20-40	26-46

No. 30 (0.600 mm)		11-27	14-30	19-35

No. 50 (9.300 mm)	  	7-19	  8-21	12-24

No. 100 (0.150 mm)		6-16	  6-14	  7-17

No. 200 (0.075 mm)		3-6	   3-6	  3-6

Asphalt percent:

Stone or gravel		4.5-7.0	5.0-7.5	 5.5-8.0

Slag		6.0-9.0	6.5-9.5	7.0-10.5

The maximum size aggregate selected should not be more than one-half of the course thickness.

The Engineer may include a requirement that the aggregates are handled and furnished to the plant in two or more size groups.

P-403-3.2  Add to the note to Engineer:

The 1” band is not recommended for surface courses, especially in areas that have handwork.  The use of this band should be discussed with the ADO.

The Engineer may include a requirement that the aggregates are handled and furnished to the plant in two or more size groups.

Paragraph 403-3.4 Test Section. (first paragraph)  Change the  third sentence: "A cold joint is an exposed construction joint where the first mat surface temperature is less than 185 degrees F.”

Note to Engineer: The 185 degree requirement may be reduced to 165 degrees only for the asphalt stabilized base as defined in the pavement design.

Paragraph 403-3.4 Test Section.

Revise 3rd paragraph as follows:

”The test section shall be considered acceptable if the average mat density of the test section cores is greater than or equal to 96 percent and the average joint density of the test section cores is greater than or equal to 94 percent.

“If the initial test section should prove to be unacceptable, the necessary adjustments to the job mix formula, plant operation, placing procedures, and/or rolling procedures shall be made.  The initial first test section shall be removed at the Contractor’s expense and a second test section shall then be placed.  If the second test section does not meet specification requirements, the section shall be removed at the Contractor's expense.  Additional test sections, as required, shall be constructed and evaluated for conformance to the specifications.  Any additional sections that are not acceptable shall be removed at the Contractor's expense.  Full production shall not begin until an acceptable section has been constructed and accepted in writing by the Engineer.  Once an acceptable test section has been placed, payment for the test section that meets specification requirements shall be made in accordance with paragraph 403-8.1.”

Paragraph 403-4.2 a. (2)   Testing Facilities.  Add the note to the Engineer:

These paragraphs should be modified as necessary concerning the contract requirements to provide a laboratory and equipment.  The designer should only require an area, but not equipment.  It is preferred to not have the contractor provide any facilities for acceptance testing.

Delete the requirement for ASTM D 3666.  The Contractor’s QC laboratory does not have to meet ASTM D 3666, unless it is used for the mix design.  If the equipment is left in the specification, for QC only, the equipment list should be modified for the ignition oven used for the asphalt content rather than the extraction method.

Paragraph 403-4.3 a.  Include the following requirement for major paving projects:

403-4.3 a. Material Transfer Machines:  Material transfer machines shall be used for placing [each]  [the surface] course for where the paving lane exceeds [   ] feet.  The transfer machine shall have sufficient capability to handle enough bituminous material to allow the paver to obtain a uniform spreading operation.  The transfer machine shall remix the material.  [Transfer machines shall have the capability of discharging bituminous material from the side in order to maintain a fresh tack coat.]

This paragraph should be included for only long paving lanes such as a runway or parallel taxiway.  It can help provide continuous paver movement and uniform mix temperatures.  It can be useful when long hauling distances or cooler weather temperatures are anticipated.  The engineer should evaluate the wheel loading of these machines on pavements designed for light aircraft to verify the machines do not overstress the existing pavement.

Paragraph 403-4.12.   Change first sentence in third paragraph to read:

“Longitudinal and transverse joints which are irregular, damaged, uncompacted, or otherwise defective or whose surface temperature has cooled to less than 1850 F shall be cut back (3 to 6-inches) to expose a clean, sound surface for the full depth of the course.”

Note to Engineer: The 185 degree requirement may be reduced to 165 degrees only for the asphalt stabilized  base as defined in the pavement design.

P-403-4.13.

Add note to Engineer:  For lighter weight pavements, that are to be grooved, the designer should consider the use of a higher stability mix using a 75 blow Marshall and the corresponding percentage of fractured face aggregates.

is requiredfor runways used by commercial service aircraft and also encouraged for jet or turbo jet aircraft.  All 139 Certified runways must be grooved.

Contracts that contain grooving of asphalt pavements shall have additional requirements included in this specification and the grooving specification for protection of the pavements.  The requirement should include removal and replacement of all pavements damaged by the grooving equipment and/or the associated water tenders.  The damaged commonly experienced is surface deformation from the equipment or water tender tires (or equipment casters).

It maybe advisable to groove later in the fall provided that provisions for final marking have been resolved such that any delays resulting in an increase in final marking costs are paid for by the contractor, including remobilization costs.

No grooving will be permitted during freezing or predicted freezing weather conditions.  Nighttime grooving may also be effective for cooler pavement temperatures, or lighter weight equipment.

403-5.1  ACCEPTANCE SAMPLING AND TESTING. Replace paragraph with following: "Unless otherwise specified, all acceptance sampling and testing necessary to determine conformance with the requirements specified in this section will be performed by the Engineer at no cost to the Contractor except that coring [and profilograph testing] as required in this section shall be completed and paid for by the Contractor.  Testing organizations performing these tests [except profilograph] will meet the requirements of ASTM D 3666.  Field laboratories at the project or plant site will be considered to meet ASTM D 3666 provided all testing personnel, laboratory equipment and laboratory supervision are from an ASTM D 3666 accredited branch.”

Paragraph 403-5.1.a ;  Change the bullets to the following: “

- one day or shift’s production not to exceed 2,000 tons (1 814 000 kg), or

- a half day or shift’s production where a day's production is expected to consist of between 2,000 and 4,000 tons (1 814 000 and 3 628 000 kg) so no lot exceeds 2000 tons (1 814 000 kg), or

- similar subdivisions for tonnages over 4,000 tons (3 628 000 kg) so no lot exceeds 2000 tons (1 814 000 kg).”

Paragraph 403-5.1.a.(3) & (4): Add the following after the second sentence: "Samples will be taken in accordance with ASTM D 979."

Paragraph 403-5.1.a (2):  Change last sentence to "Cores shall be taken centered on the joint.  The minimum core diameter for joint density determination shall be 5 inches.

Paragraph 403-5.1.a.(4). (a);  Add the following to the end of the paragraph:

“The manual hammer in ASTM D 6926 shall be used.  Mechanical hammers may be used if they are calibrated to the same manual hammer density by varying the number of blows and for each specific mix.”

Paragraph 403-5.1.a(4); Add the following: “Paragraph 403-5.1.a.(4) (d): “Voids in Mineral Aggregate (VMA) will be calculated one time for each sublot.  The bulk specific gravity for the aggregate will be used unless more current test data is available.  The results will be used for quality control.”

Paragraph P-403-5.2b(5)

Add the following to beginning of the  first paragraph "Grade shall be evaluated on the first day of placement and then every 5 days or less so adjustments can be made to paving operations if measurements do not meet specification requirements.  The contractor must submit the survey data to the engineer by the following day after measurements have been taken. The engineer must compare the surveyed grades with the grades shown on the contract drawings and document the analysis."

Grade requirements may be modified with approval of the FAA Airport District office for pavements at non-primary airports rated less than 60,000 pounds to the following:

Max deviation (inches)	Max % before removal

Runway and hi-speed exit taxiways -  	1/2				20

Taxiways, aprons, and taxilanes		3/4				25

Paragraph 403-6.2. Testing Laboratory; Delete the requirement for the contractor to provide equipment for acceptance testing [403-4.2 a.(2)].  The facility (building space) could be provided by the contractor at the designer’s option.

Paragraph 403-6.3;  Change paragraphs "a" and "b" to following and add paragraph for air void determinations:

- Asphalt Content.  A minimum of two asphalt content tests shall be performed per lot in accordance with ASTM D6307.  The asphalt content for the lot will be determined by averaging the test results.

- Gradation.  Aggregate gradations shall be determined a minimum of twice per lot from mechanical analysis of extracted aggregate in accordance with ASTM D 5444 and ASTM C 136 (Dry Sieve).

- Air Voids.  A minimum of two air voids tests shall be performed per lot in accordance to ASTM D 3203. Action limits shall be between 2.8% and 4.2%.  Suspension limits shall be between 2.0% and 5.0%.

Paragraph 403-6.5

Add a note to the Engineer:

If the sieve sizes are modified in Table 3, the designer should modify these tables to be consistent with the modification.

Paragraph 403-6.5,; Change the first paragraph and table to the following:

“403-6.5  CONTROL CHARTS.  The Contractor shall maintain linear control charts both for individual measurements and range (i.e., difference between highest and lowest measurements) for aggregate gradation, asphalt content, and VMA.  The VMA for each sublot will be calculate by the acceptance laboratory and monitored by the QC laboratory.”

| CONTROL CHART LIMITS FOR INDIVIDUAL MEASUREMENTS |  |  |
| --- | --- | --- |
| Sieve | Action Limit | Suspension Limit |
| ¾ inch (19.0 mm) | 0% | 0% |
| ½ inch (12.5 mm) | +/-6% | +/-9% |
| ⅜ inch (9.5 mm) | +/-6% | +/-9% |
| No. 4 (4.75 mm) | +/-6% | +/-9% |
| No. 16 (1.18 mm) | +/-5% | +/-7.5% |
| No. 50 (0.30 mm) | +/-3% | +/-4.5% |
| No. 200 (0.075 mm) | +/-2% | +/-3% |
| Asphalt Content Voids in Mineral Aggregate (VMA) | +/-0.45% -1.00% | +/-0.70% -1.5% |

Paragraphs 403-7.1 and 8.1; Note to Engineer: These paragraphs can be modified to pay separate for bituminous material per ton.  The measurement for bituminous material should be determined using the asphalt contents from the ignition oven method as specified.  The pay adjustments would be also applied to the bituminous material.

Testing Requirements;  Include the following:

ASTM D 6307	Standard Test Method for Asphalt Content of Hot Mix Asphalt by Ignition Method

P-501 Portland Cement Concrete Pavement

Paragraph 501-1.1;  Replace this paragraph with the following:

"501-1.1 GENERAL  The work  set forth in this section  consists of the Contractor’s preparation and submittal of an appropriate concrete mix design, including the contractor’s options with respect thereto, discussion of appropriate equipment for use by the Contractor and the placement of pavement composed of portland cement concrete, with reinforcement and without reinforcement constructed on a prepared underlying surface in accordance with these specifications and shall conform to the lines, grades, thickness, and typical cross sections shown on the plans.

It is the intention of this Section P-501 that all concrete placed shall be in accordance with good construction practices and meet or exceed all standards for quality and durability of airfield pavements of the highest quality.

Section headings used in this Section P-501 or any other part of this Contract are for convenience only and shall not be used in the interpretation of this Section P-501 or any other section or subsection of this Contract so as to indicate that phrases or clauses describing standards, tests, equipment, workmanship, material descriptions, characteristics or results to be achieved are confined to the Section heading under which they appear.  Any requirement appearing in one location shall be as binding as if appearing in all.  It is the intention of this contract that the work will result in an end concrete product which is dense, homogeneous, without segregation, and which is of the highest quality to meet or exceed all standards of quality in the industry and of the government, with a durability of at least 20 years. "

P-501-2.1 Note to Engineer

Reactive aggregates are encountered in the Northwest Mountain Region, and these requirements should be strictly enforced.   Testing using ASTM C 1260 and ASTM C 1567 should be based on maximum expansion of 0.10 percent at 28 days in a sodium hydroxide soak solution as specified below:

Replace paragraph 501-2.1 a. with the following:

"a. Reactivity:  Fine and Coarse aggregates to be used in all concrete shall be evaluated and tested by the Contractor for alkali-aggregate reactivity in accordance with ASTM C 1260.  The laboratory conducting the tests shall be accredited under ASTM C 1077.  Fine and coarse aggregates shall be evaluated separately in accordance to ASTM C 1260.  In addition each aggregate source shall be evaluated separately.  Test results that have a measured expansion of less than 0.10 percent at 28 days meet the requirements of these specifications.  Should any of the test data indicate an expansion of greater than 0.10 percent, the aggregates shall be rejected or additional testing, by the Contractor utilizing ASTM C 1567 shall be performed.

ASTM C 1567 shall be used to include one of the three options (or approved combinations of the options) below for each individual fine and course aggregates.   The test requires at least one comparator reading every 3 or 4 days and a comparator reading at 28 days after the zero reading.  The report shall include a graph of percent length change data at each reading from the time of the zero reading to the end of the 28-day period.

(1).  Proportioning of Mortar.  Utilize the contractor’s proposed low alkali Portland cement and Class "F" flyash in combination for the test proportioning. The laboratory shall use 1 part of cementitious materials

(the contractor’s proposed percentage of Portland cement plus flyash) to 2.25 parts of graded aggregate.  Use a water-cementitious materials ratio equal to 0.47 by mass.  The cementitious material combination shall be determined that will meet all the requirements of these specifications and that which will lower the expansion to less 0.10 percent at 28 days for each individual aggregate. Class "F" flyash shall be used at a minimum rate of 20 percent of the total cementitious material by mass.

(2). Proportioning of Mortar.  Utilize the contractor’s proposed low alkali Portland cement and ground granulated blast furnace (GGBF) slag cement in combination for the test proportioning.  The laboratory shall use 1 part of cementitious materials (the contractor’s proposed percentage of Portland cement plus GGBF slag) to 2.25 parts of graded aggregate.  Use a water-cementitious materials ratio equal to 0.47 by mass.  The cementitious material quantity shall be that which will meet all the requirements of these specifications and that which will lower the expansion to less than 0.10 percent at 28 days for each individual aggregate.

(3). Proportioning of Mortar.  Utilize a high alkali Portland cement (0.9% total alkali +/- 0.1%) and a lithium nitrate admixture. The lithium nitrate admixture may be used in combination with either Class "F" flyash, Class N pozzolan, or ground granulated blast furnace (GGBF) slag, at a dosage rate as recommended by the supplier.

If Lithium Nitrate is being evaluated,

with or without the supplemental cementitious materials, the testing shall be in accordance with COE CRD-C 662.

References:

U.S. ARMY CORPS OF ENGINEERS (USACE)

COE CRD-C 662 (2009) Determining the Potential

Alkali-Silica Reactivity of Combinations

of Cementitious Materials, Lithium Nitrate

Admixture and Aggregate (Accelerated

Mortar-Bar Method)

Paragraph 501-2.1b; Include the following at the end of the paragraph and prior to the table:

The amount of deleterious material in the fine aggregate shall not exceed the following limits by mass:

Material Percentage by Mass

__________ ___________________

Clay lumps and friable particles ASTM C 142 			1.0

Material finer than 0.075 mm (No. 200 sieve) ASTM C 117 	3.0

Lightweight particles ASTM C 123 using a medium 		0.5

with a density of 2.0 Mg/cubic meter (Sp. Gr. of 2.0))

Total of all above 							3.0

Paragraph 501-2.1c, 2nd paragraph:  Include Class “5S” for the deleterious materials.  This class will limit the potential for Popouts.

Where the elimination of popouts is critical the following table can be used for cold climates instead of the coarse aggregate requirements for deleterious provided in ASTM C 33.  Prior to specifying this table aggregate investigations should be made to evaluate source availability.

LIMITS OF DELETERIOUS MATERIALS IN COARSE AGGREGATE

FOR AIRFIELD PAVEMENTS

Maximum Percentage by Mass

____________ _______________________________________

Clay lumps and friable 			0.2

particles (ASTM C 142)

Shale (a) (ASTM C 295) 			0.1

Material finer than 0.075 mm 		0.5

(No. 200 sieve) (b) (ASTM C 117)

Lightweight particles (c) 			0.2

(ASTM C 123)

Clay ironstone (d) 				0.1

(ASTM C 295)

Chert and cherty stone (less than 	0.1

2.40 Mg/cubic meter density SSD

(2.40 Sp. Gr.)) (e)

(ASTM C 123 followed by ASTM C 295)

Claystone, mudstone, and 			0.1

siltstone (f) (ASTM C 295)

Shaly and argillaceous 			0.2

limestone (g) (ASTM C 295)

Other soft particles 				1.0

COE CRD-C 130

Total of all deleterious 			1.0

substances exclusive of material

finer than 0.075 mm (No. 200 sieve)

a. Shale is defined as a fine-grained, thinly laminated or fissile sedimentary rock. It is commonly composed of clay or silt or both. It has been indurated by compaction or by cementation, but not so much as to have become slate.

b. Limit for material finer than 0.075 mm (No. 200 sieve) will be increased to 1.5 percent for crushed aggregates if the fine material consists of crusher dust that is essentially free from clay or shale.

c. The separation medium shall have a density of 2.0 Mg/cubic meter (Sp. Gr. of 2.0). This limit does not apply to coarse aggregate manufactured from blast-furnace slag unless contamination is evident.

d. Clay ironstone is defined as an impure variety of iron carbonate, iron oxide, hydrous iron oxide, or combinations thereof, commonly mixed with clay, silt, or sand. It commonly occurs as dull, earthy particles, homogeneous concretionary masses, or hard-shell particles with soft interiors. Other names commonly used for clay ironstone are "chocolate bars" and limonite concretions.

e. Chert is defined as a rock composed of quartz, chalcedony or opal, or any mixture of these forms of silica. It is variable in color. The texture is so fine that the individual mineral grains are too small to be distinguished by the unaided eye. Its hardness is such that it scratches glass but is not scratched by a knife blade. It may contain impurities such as clay, carbonates, iron oxides, and other minerals. Cherty stone is defined as any type of rock (generally limestone) that contains chert as lenses and nodules, or irregular masses partially or completely replacing the original stone.

f. Claystone, mudstone, or siltstone, is defined as a massive fine-grained sedimentary rock that consists predominantly of indurated clay or silt without laminations or fissility. It may be indurated either by compaction or by cementation.

g. Shaly limestone is defined as limestone in which shale occurs as one or more thin beds or laminae. These laminae may be regular or very irregular and may be spaced from a few inches down to minute fractions of an inch. Argillaceous limestone is defined as a limestone in which clay minerals occur disseminated in the stone in the amount of 10 to 50 percent by weight of the rock; when these make up from 50 to 90 percent, the rock is known as calcareous (or dolomitic) shale (or claystone, mudstone, or

siltstone).

Paragraph 501-2.5;  Change “Item P-605”  to “[Item P-604] [Item P-605]”.

Insert 501.-3.0  MIX DESIGN

The mix design for all Portland Cement Concrete to be placed under this Section P-501 shall be prepared and tested by a qualified laboratory and shall be certified by the stamp or seal of the responsible professional retained by the Contractor who is in charge of and responsible for the mix design.  Certification shall constitute a warranty that the materials selected and the proportions proposed by the Contractor are in full compliance with this Section P-501 and when properly placed with good workmanship and appropriate construction means, methods and techniques as specifically contemplated by the Contractor under this AIP Contract will result in a concrete meeting or exceeding  the requirement of the specifications and of the finished product after taking into account all of the conditions associated with such compliance, including the requirement, if any, for grooving of the pavement surface in order to obtain a skid-free surface.

The inclusion of specific aggregates, cement, additive or other allowed materials within this section shall not require the use of any specific material.  The selection of materials and proportions is for the Contractor and its certifying professional to determine in order to achieve the requirements set forth herein, including but not limited to the requirements of Section P-501-5.2.

No work shall be placed until the mix design has been submitted to the Engineer for review and the engineer has reviewed and taken appropriate action with respect thereto.  The Engineer’s review shall be for the limited purpose of checking whether the materials selected by the Contractor and certifying professional are permitted or allowed in this section and shall not relieve the Contractor and certifying professional of the responsibility to select and proportion the materials chosen so as to achieve the intent of this Section P-501, which is to require the placement of a completed pavement that in all respects meets the highest standards and requirements for rigid concrete pavements of the highest quality. The Engineer’s review shall not indicate acceptance or approval of the material proportions or of the specific interactions of such materials as proportioned or of the Contractor’s selected means, methods, techniques, sequences or procedures, all of which remain the responsibility of the Contractor.  Approval by the Engineer of specific materials as complying with this Section shall not indicate a representation that the materials and proportions selected will result in an acceptable completed pavement.  The responsibility for such assurance remains that of the Contractor and its certifying professional.

Certification by the Contractor’s mix design professional shall be a specific warranty that such professional in determining the materials and proportions has considered the appropriateness thereof for use with the specific equipment and means and methods intended for use by the Contractor.

Paragraph 501-3.1; Add the following to the note (end of second paragraph) to the Engineer:  “The flexural design strength specified shall not exceed 650 psi unless it is approved by the FAA Airport District Office.  Approval will be based on evidence that local materials can be utilized to consistently produce above the lower design strength limit.”

Paragraph 501-3.2 b, Note to Engineer:  Delete 1st sentence “Due to …. 10-20%”.

Paragraph 501-3.4;  In the first line after "develop" add "and certify"

Add Paragraph 501-4.0 General " The selection of equipment and the means, methods, techniques and sequences necessary to achieve finished pavement meeting or exceeding the requirements of this Section P-501 shall be the responsibility of the Contractor.  The Contractor may propose any combination of equipment and means and methods which in the opinion of the Contractor will be enable it to achieve the required results whether such equipment, means and methods are listed in this Section or not.  Equipment referenced in this section is included based on the experience of the Engineer on similar projects and is not an indication that use of such equipment on the work required under this AIP Contract is required or will result in an acceptable finished product.  Approval of the Contractor’s selected equipment shall not indicate an approval of the Contractor’s means, methods, techniques or sequences, which remain the responsibility of the Contractor, and does not constitute or indicate a review of the operating condition of the equipment or the skill, training or capabilities of the Contractor’s  operators or work force."

Paragraph 501-4.1 Equipment;  Change paragraph to read " Equipment necessary for handling materials and performing all parts of the work shall be approved by the engineer as to design, capacity, and mechanical condition.  However, operation of the equipment as well as training and supervision of the persons operating the equipment remain at all times with the Contractor. The equipment shall be at the jobsite sufficiently ahead of the start of paving operations to be examined thoroughly and approved."

Paragraph 501-4.1c,Change paragraph to read;  "The standard method of constructing concrete pavements and a standard for acceptance shall be with an approved slip-form paving equipment designed and skillfully operated so as  to spread, consolidate, screed, and float-finish the freshly placed concrete in one complete pass of the machine such that the end result is  a dense and homogeneous pavement which is achieved with a minimum of hand finishing. The paver-finisher shall be a heavy duty, self-propelled machine designed specifically for paving and finishing high quality concrete pavements. It shall weigh at least 2200 lbs. per foot of paving lane width and powered by an engine having at least 6.0 horsepower per foot of lane width. On projects requiring less than 500 square yards of cement concrete pavement or requiring individual placement areas of less than 500 square yards, or irregular areas at locations inaccessible to slip-form paving equipment, cement concrete pavement may be placed with approved placement and finishing equipment utilizing stationary side forms. Hand screeding and float finishing may only be utilized on small irregular areas as allowed by the Engineer."

Paragraph 501-4.5; Add the following to the end of the first paragraph: “Aggregates from different sources shall be stockpiled, weighed and batched separately at the concrete batch plant.”

Paragraph 501-4.8; After the second sentence add " Regardless of the manner of placing the concrete, the finished concrete product must be dense and homogeneous, without segregation and conforming to the standards set forth in this Contract."

Paragraph 501-4.8 a.;  Change the 2nd sentence in the second paragraph to “The space from the outer edge of the pavement to longitudinal unit shall not exceed 9 inches for slipform and at the end of the dowels for the fill-in lanes.”

Paragraph 501-4.10. f.;  Delete the following sentence:  “If free-sliding plastic-coated or epoxy-coated steel dowels are used, a lubrication bond breaker shall be used except when approved pullout tests indicate it is not necessary.“

Paragraph 501-4.10 g:  Add the following at the end of the second paragraph:  “Grout disks may be necessary to retain the grout in the hole until it hardens.  Any dowels with voids in the grout shall be cut off and a new dowel installed next to it.”

In the last sentence of the third paragraph change sentence to read " Dowel bars shall not be installed less than 6 inches from a transverse joint and shall not interfere with dowels in the transverse direction"

Paragraph 501-4.10 h:  Add the following after the fourth sentence: " Early-entry saws may be used, subject to demonstration and approval of the Engineer.  No change to the sawcut depth shall be permitted, however the total cut depth can be accomplished on a two-step process but within 24 hours of placement. "

Replace Paragraph titled "Skid-Resistant Surface Saw-Cut Grooving" with the following Paragraph;

501-4.13 SKID RESISTANT SURFACES.  "A skid resistant surface shall be provided by construction of saw cut grooves, per Item P-621.  Submission of the mix design as required by this Section P-501 shall constitute a warranty by the Contractor and certifying professional that the mix design, including the hardness and other characteristics of the selected aggregate,  as well as other mix design characteristics  including the adequacy of the paste to aggregate bond, are appropriate for the Contractor’s proposed grooving operations, including but not limited to the means, methods, techniques and sequences to be used in grooving.  It shall be the specific obligation of the Contractor to determine the time from placement to grooving that will in combination with proper materials and placement result in a completed, grooved surface that remains firm and in-tact without tearing, raveling, dislodgment or loss of aggregate on the surface of the grooved panels."

P-501-4.14 a;  At the end of the first paragraph add; “The use of flyash or set-retarding admixtures may delay the occurrence of bleed water.  Curing shall be applied after the bleed water is gone from the surface.”

Paragraph 501-4.17;  Add the following to the end of the paragraph;  “Damaged pavements shall be removed and replaced at the contractor’s expense. Slabs shall be removed to the full depth, width, and length of the slab.  The Engineer may evaluate the damage to determine if diamond grinding can correct the surface and provide the required smoothness, grade, and thickness required by the contract.

All embedments in the pavement surface shall be made by diamond coring or sawing in a manner that will not chip or spall the surface.”

Paragraph 501-4.19a. General;  Replace this paragraph to read as follows:

"New pavement slabs that are broken or contain cracks or are otherwise defective or unacceptable shall be removed and replaced or repaired, as specified hereinafter at no cost to the owner.  Spalls along joints shall be repaired as specified.  Removal of partial slabs is not permitted.  Removal and replacement shall be full depth, shall be full width of the slab and the limit of removal shall be normal to the paving lane and to each original joint.  The Engineer will determine whether cracks extend full depth of the pavement and may require cores to be drilled on the crack to determine depth of cracking.  Such cores shall be 4-inch (100 mm) diameter, shall be drilled by the Contractor and shall be filled by the Contractor with a well consolidated concrete mixture bonded to the walls of the hole with epoxy resin, using approved procedures.  Drilling of cores and refilling holes shall be at no expense to the owner.  All epoxy resin used in this work shall conform to ASTM C 881, Type V.   Repair of cracks as described in this section shall not be allowed if in the opinion of the Engineer the overall condition of the pavement indicates that such repair is unlikely to achieve an acceptable and durable finished pavement.  No repair of cracks shall be allowed in any panel that demonstrates segregated aggregate with a significant absence of coarse aggregate in the upper on-eight (1/8th) inch of the pavement surface. "

Paragraph 501-4.19f;  After the last sentence in the paragraph, add the following "Repair of spalls as described in this section shall not be allowed if in the opinion of the Engineer the overall condition of the pavement indicates that such repair is unlikely to achieve an acceptable and durable finished pavement.  No repair of spalls shall be allowed in any panel that demonstrates segregated aggregate with a significant absence of coarse aggregate in the upper on-eight (1/8th) inch of the pavement surface."

Paragraph 501-5.1 Acceptance Sampling and Testing;  Replace the first paragraph with following: "Acceptance testing and sampling as provided in this section is for the purposes of determining the Contractor’s right to periodic payments for completed work on an interim basis.  Acceptance hereunder does not indicate final acceptance and is without prejudice to the right of the Engineer and Sponsor to revoke any previously extended acceptance for any reason set forth herein, including the overall failure of the completed pavement to present a competent and durable pavement placed and resulting in a finished pavement meeting in all respects and regards the highest standards applicable to durable rigid concrete pavements for use in airfield and runway applications.  Contractor acknowledges that concrete meeting these material acceptance criteria may not otherwise be acceptable due to conditions such as lack of consolidation, lack of homogeneous quality, lack of density, lack of durability or otherwise and the acceptance criteria in this section are not exclusive as to the final acceptance or quality of the concrete.

All acceptance sampling and testing necessary to determine conformance with the requirements specified in this section with the exception of coring for thickness determination, will be performed by the Engineer.  Concrete shall be accepted for strength and thickness on a lot basis.

Paragraph 501-5.2a;  Add the following paragraph above the second paragraph that references acceptance for flexural strength and thickness: "All pavement in its in-place completed condition shall in addition to the foregoing represent concrete pavement of the highest quality and shall be dense and homogenous and of a uniform consistency throughout with non-segregated, evenly distributed aggregate throughout all sections of the pavement.   A top surface which is deficient in an even and uniform distribution of coarse aggregate to a depth greater than 1/8th inch shall not be acceptable and shall cause rejection of any panel in which such condition occurs."

Paragraph 501-5.2 e. (3);  Add the following to the end of the 2nd paragraph and include in the note for the profilograph option, 2nd paragraph:  “The surface of the ground pavement shall have a texture consisting of grooves between 0.090 and 0.130 inches wide.  The peaks and ridges shall be approximately 1/32 inch higher than the bottom of the grooves.  The pavement shall be left in a clean condition.  The removal of all of the slurry resulting form the grinding operation shall be continuous.  The grinding operation should be controlled so the residue from the operation does not flow across other lanes of pavement.

Records shall be maintained showing all smoothness measurements.”

Paragraph 501-5.2 (f);  Change to read " If  there is a section of 250 feet or less that has not been independently placed, the profilogram for that section shall be included in the evaluation of the previous section.  If there is an individual section of 50 to 250 feet in length, a profilogram shall be made for that section and the pay adjustment factors for short sections of pragraph 8.1c shall apply."

Paragraph 501-5.2 e. (4) Add the following to beginning of the first paragraph: "Grade shall be evaluated on the first day of placement and then every 5 days or less so adjustments can be made to paving operations if measurements do not meet specification requirements.  The contractor must submit the survey data to the engineer by the following day after measurements have been taken. The engineer must compare the surveyed grades with the grades shown on the contract drawings and document the analysis."

Vertical Deviation; Add the following at the end of the paragraph:  “Vertical survey shall be conducted on the high point of each joint intersection and compared to the plan elevations to determine the vertical deviation.  The finished grade of each lot will be determined by running levels at all joint intersections to determine the elevation of the completed pavement.  The Contractor shall pay the cost of surveying and shall be performed by a licensed surveyor.  The documentation, stamped and signed by a licensed surveyor, shall be provided by the Contractor to the Engineer.  When more than 15 percent of all the measurements within a lot are outside the specified tolerance, or if any one shot within the lot deviates ¾ inch or more from planned grade, the Contractor shall remove and replace the deficient slabs to the full width , length and depth of the slab.  Patching shall not be permitted.  Isolated high points may be ground off provided that the course thickness is not greater than ¼ inch deficient in the design thickness.”

Paragraph 501-5.2 e (3) and (4) Records shall be maintained that show all smoothness and grade measurements.  Contracts can be modified to require the contractor to submit the measurements.

- Add "Paragraph 501-5.2 g Final Acceptance and Payment. Final acceptance and payment shall be determined based on a combination of the foregoing factors and such other tests and criteria as shall be necessary to determine before final acceptance and payment that the in-place concrete pavement meets all requirements set forth in this section and the Contract as a whole and represents concrete pavement of the highest quality as required herein.  Such additional testing may include but is not limited to petrographic examination conducted  pursuant to ASTM C 856.  Any one or any combination of the following factors in addition to the acceptance criteria set forth herein shall be sufficient cause for precluding final acceptance and rescission of prior interim acceptance:

1.  Concrete which evidences aggregate loss with any risk of foreign object debris  (FOD) shall be considered unacceptable.  The tolerance for FOD generation shall be considered zero.

2.  Concrete which is not of a uniform consistency and/or presents segregation or does not demonstrate even distribution of coarse and fine aggregate particles shall be considered unacceptable.

3.  Concrete which is cracked, spalled, raveled or torn shall be considered unacceptable unless it is in the sole judgment of the engineer repairable as set forth herein. "

Paragraphs P-501-6.2 a (2) and 501-6.2 b (2): Include the following at the end of the paragraphs;  “If an electronic moisture meter is used , a control chart shall be produced indicating moisture readings and calibration reports entered for the project records.”

Paragraph 501-6.3 b:  Change the table to the following:

| CONTROL CHART LIMITS |  |  |  |
| --- | --- | --- | --- |
| Control Parameter | Individual Measurements |  | Range Suspension Limit |
|  | Action Limit | Suspension Limit | (between 2 consecutive tests) |
| Slip Form: |  |  |  |
| Slump | 0 to 1.5 inch (0-38mm) | 0 to 2.0 inch (0-50mm) | 1.5 inch (38 mm) |
| Air Content | +/- 1.2% | +/- 1.8% | +/- 2.5% |
| Side Form |  |  |  |
| Slump | 0.5 to 2.0 inch (13-50mm) | 0 to 3.0 inch (0-75mm) | 1.5 inch (38mm) |
| Air Content | +/- 1.2% | +/- 1.8% | +/- 2.5% |

The individual measurement control charts shall use the mix design target values as indicators of central tendency for the air content.

# P-501-7.1;  Delete last sentence "Saw-cut grooving shall be measured by the number of square yards ..." This is covered under P-621, Saw Cut Grooves.

Paragraph 501-8.1 Payment; Revise the first sentence to read " Payment for concrete pavement accepted on an interim basis shall be made at the contract unit price per (square yard) (cubic yard) of either plain or reinforced pavement as specified adjusted in accordance with paragraph 501-8.1a subject to the limitation that:

Such payment is on an interim basis and is subject to reversal in the event final acceptance is not achieved.

P-602 Bituminous Prime Coat

Note:  Prime coats provide protection of pavements from weather and traffic and provide bonding to the aggregate base.  In some instances they can be eliminated from an airfield pavement section with approval from the Airport District Office.  The elimination can be considered for aircraft under 12,500 pounds or under asphalt stabilized base courses.

Table 1:  Include MC grade cutbacks as an option to the designer.

Paragraph 602-3.4; Replace the second paragraph with the following:  “The contractor shall furnish the vendor’s certified test reports for each lot of bituminous material.  The engineer may use the local state DOT agency supplier certification program for approval instead of the test reports.  Any of the certifications shall not be interpreted as a basis of final acceptance.  Samples may be taken and tested for verification by the engineer when material is delivered to the site.”

# P-603 Bituminous Tack Coat

Paragraph 603-3.4; Replace the second paragraph with the following:  “The contractor shall furnish the vendor’s certified test reports for each lot of bituminous material.  The engineer may use the local state DOT agency supplier certification program for approval instead of the test reports.  Any of the certifications shall not be interpreted as a basis of final acceptance.  Samples may be taken and tested for verification by the engineer when material is delivered to the site.”

# P-604 Compression Joint Seals for Concrete Pavements

Paragraph 604-4.5;  Add a note to provide that for grooved pavements, the seal be installed below the maximum groove depth.

Paragraph 604-5.1 b (2);  Change to the following:  “(2)  Conformance to stretching and compression limitations shall be determined by the engineer.  After installation, the distance between the marks shall be measured by the contractor on the pavement.  If the stretching or compression exceeds the specified limit, the seal shall be removed and replaced with new joint seal at no additional cost to the owner.  The seal shall be removed up to the last correct measurement.  The seal shall be inspected by the contractor a minimum of two times per shift for elongation requirements.  Measurements shall also be made as directed to determine conformance with depth and width installation requirements.  All preformed seal that is not in conformance with specification requirements shall be removed and replaced with new joint seal at no additional cost to the owner. “

# P-610 Structural Portland Cement Concrete

Paragraph 610-2.1; For small and non-critical quantities of concrete, this paragraph can be revised to use state criteria or past performance for the ASR criteria.

# Plans and Specifications for L-853  Reflectors:

Note:  The Engineer should use the generic specifications for reflectors (as well as other equipment) from the FAA approved equipment list.  Contract specifications and Plan Drawings should not be written for a specific manufacture or sole-source.

# P-620 Runway and Taxiway Painting

Paragraph P-620-3.7 Note to Engineer "Change "Glass beads are not required for temporary markings"  to "Glass beads are required for temporary markings".

# L-108 Underground Power Cable for Airports

Paragraph L-108-2.2, second paragraph:  Change: “J-C-30” to “A-A-5944”.  Make the same correction to the Materials Listing at the end of this specification.

T-901 Seeding

AC 150/5320-6E Page 40, Figure 3-9 Plan View

The plan view diagram has the longitudinal joint and transverse joint shown incorrect.   Change the “Longitudinal Joint Type C or E”  to “Transverse Joint Type C” and “Transverse Joint Type C or E” to “Longitudinal Construction Joint Type E”  Change the “10 inch minimum”  to “6 inch minimum” as the distance from the dowel to the  Longitudinal Construction Joint.

AC 150/5320-6E Page 39, Type A-1 Reinforced Joint

Delete this joint option Type A-1 and use Type A Thickened Edge Isolation Joint

END