Name: ________________________				Date of training: ___/___/___

Please circle the correct answer.

- What are the hazards associated with focused inspections?

- Falls

- Electrocutions

- Struck by

- Caught in

- All of the above

- Universal precautions means:

a.		Treating all blood and body fluids as though they were infectious.

b.		That all workers who are exposed to bloodborne pathogens follow the same set of work   procedures.

c.		Using gloves and masks whenever you deal with blood or body fluids.

d.		Careful hand washing along with the use of gloves and masks

- The fall protection standard covers anyone who works:

a.	Six feet above the ground

- Near wall or floor openings

- Six feet above the ground or above dangerous equipment

- All of the above

- Toe boards must be a minimum:

- 3 1/2" high and not over 1/4" inch gap above the work surface

- 3 1/2" high and not over .1/2" above the work surface

- 3" high and not over 1/4" above the work surface

- No minimum requirement

- A cover used for fall protection must:

a. 	Withstand 2 times the weight of workers, equipment & materials

- Be secured from movement and labeled

- Both a and b above

- Must have an attendant

- A personal fall arrest system must be inspected:

a.	Once during each work shift

- A minimum of once each day

- Before each use and if subject to impact

- Before storage

- Covers must be:

- Color-coded or marked with the word "'hole" or "'cover"

- Clearly marked with the word "hole" or" cover"

- Painted yellow and marked with the word "hole" or "cover"

- Painted red and marked with the word "hole or cover".

- In case of a fire, you should use a portable fire extinguisher only if:

- You know how to use it

- The fire department has been called, and you have been trained to do so.

- The fire department has been called, the building is being evacuated, the fire is small and can be contained

- You know how to use it, the alarm has been sounded and you have a clear exit if you need to leave.

- Flammable liquids should be stored and used in areas that are:

- Adequately ventilated, and free of trash and combustibles.

- Free of trash and combustibles.

- Adequately ventilated, free of trash and combustibles and not used for other storage purposes.

- Adequately ventilated

- Egress is best described as:

a.	An identified exit of escape.

b.	A function of the fire protection requirements of a building.

c.	The way to, through, and away from an exit.

d.	The emergency discharge from a building.

- When working near overhead power lines stay at least:

- five feet from the lines

- ten feet from the lines

- 15 feet from the lines

- 20 feet from the lines

- Why is personal protective equipment the last resort, in hazard abatement?

a.	The equipment is variable in its effectiveness.

b.	Workers may not use the equipment properly.

c.	Elimination of the hazard is always preferred.

d.	All of the above.

- Electrical Safety-related work practices are intended for:

- Electricians, electrical/electronic engineers and technicians

- Machine operators and line supervisors

- Painters, welders and mechanics

- All of the above

- If a piece of equipment appears to be de-energized but is not locked or tagged you would:

- Apply a lock and tag and notify the supervisor

- Test to see if it is energized

- Assume the equipment is energized or live and treat it as such

- The term lockout is best defined as:

- Blocking the flow of energy from a power source to a piece of equipment

- Shutting down a piece of equipment for service or maintenance work

- Applying a lock to a piece of equipment to show that it should not be used

- Applying a tag to a piece of equipment to show that it should not be used

- A lockout procedure is used whenever:

- The servicing or repair work to be done places an employee in danger

- An equipment guard must be removed for servicing

- A power source can be locked out for servicing

- All Of the above

- If you come across a piece of equipment that is turned off, but not locked out, you would:

- Ask someone working in the area, if it could be turned back on

- Notify someone who is authorized to perform lockout

- Never restart equipment

- b and c

- Duties of the competent person include:

- Soil analysis

- Assigning employee duties

- Designing protective systems

- All of the above

- The daily inspection of the excavation site done by the competent person includes:

- Checking for evidence of a situation that could result in a cave-in

- Checking for hazardous atmospheres

- Checking protective support systems

- All of the above

- Fall protections systems are required on welded frame scaffolds at ____ feet.

- 6

- 10

- 12

- 16

- All materials in a protective helmet must be:

- These is no requirements for the materials

- Water resistant and slow burning

- Water resistant and impact resistant

- Lightweight, water resistant and impact resistant

- Guardrails must withstand a top rail side pressure of _____ lbs.

- 200

- 300

- 400

- 540

- A confined space is defined as:

- is large enough and so configured that a person's body can enter and perform work.

- has limited or restricted means for entry or exit.

- Is not designed for continuous occupancy.

- All of the above.

- To enter into a confined space a person must:

- Be authorized per their company’s confined space program.

- Trained and competent.

- Ensure air quality and aware of any apparent hazards.

- All of the above.