# DIVISION 600 INCIDENTAL CONSTRUCTION

## Section 601. — MINOR CONCRETE STRUCTURES

Description

601.01  This work consists of constructing minor concrete structures.

Material

601.02  Conform to the following Subsections:

Air-entraining admixtures	711.02

Chemical admixtures	711.03

Coarse aggregate	703.02

Concrete coloring agents	711.05

Curing material	711.01

Fine aggregate	703.01

Fly ash	725.04

Hydraulic cement	701.01

Joint fillers	712.01

Precast concrete curbing	725.06

Precast concrete units	725.11

Reinforcing steel	709.01

Structural steel	717.01

Water	725.01

601.03  Concrete Composition.  Conform to Table 601-1.  Before batching concrete, submit the proposed concrete proportions for approval on Form FHWA 1606 Minor Concrete Mix Design Trial Batch Summary or other approved form.  As a minimum, submit the following:

(a) Type and source(s) of all material proposed for use.

(b) Material certification for all material proposed for use.

(c) Saturated surface dry mass of the fine and coarse aggregate per cubic yard of concrete.

(d) Gradation of fine and coarse aggregate.

(e) Mass of mixing water per cubic yard of concrete.

(f) Mass of cement per cubic yard of concrete.  Fly ash, ground iron blast-furnace slag, or silica fume may be substituted for cement according to Subsection 552.03(g).

(g) Entrained air content of plastic concrete in percent by volume.

(h) Maximum slump of plastic concrete in inches.

(i) When colored concrete is required, submit preliminary samples of the colored concrete.  Prepare a 3-foot by 3-foot by 4-inch panel for each acceptable mix that is to be colored.  Finish and cure the panels in the same manner as the concrete will be finished and cured on the project.

Table 601-1

Composition of Minor Structure Concrete

| Property | Specification |
| --- | --- |
| Cement content | 611 pounds per cubic yard minimum |
| Water/cement ratio | 0.49 maximum |
| Slump | 5 inches maximum |
| Air content | 4 % minimum |
| Size of coarse aggregate | AASHTO M 43 with 100% passing the 1½-inch sieve |
| 28-day compressive strength | 3,000 pounds per square inch minimum |

Construction Requirements

601.04  General.  Excavate and backfill according to Section 209.  When concrete is cracked, spalling, or scaling, remove concrete to the nearest joint.

Design and construct forms that are free of bulge and warp and allow for removal without injuring the concrete.  When concrete contains a retarding admixture, fly ash, or other pozzolan replacement for cement, design the forms for a lateral pressure equal to that exerted by a fluid weighing 150 pounds per cubic foot.

Use wood, metal, or other suitable material for forms.  Keep forms clean and coat with a form release agent or form oil before placing concrete.

Place and fasten reinforcing steel according to Subsection 554.08.

601.05  Placing Concrete.  Conform to Subsection 552.10.  Moisten the forms and foundation immediately before placing concrete.  Discharge concrete within the time limit shown in Table 552-4.

Place concrete to avoid segregation of material.  Consolidate with vibrators according to Subsection 552.11(d).  Do not use aluminum pipe for transporting or placing concrete.  The intervals between deliveries of batches for a single pour on a structure shall not exceed 30 minutes.

Do not apply water to plastic concrete surfaces during finishing operations.

601.06  Curing Concrete.  Cure concrete a minimum of 7 days.  If high early strength cement is used, cure concrete a minimum of 3 days.  Cure according to Subsection 552.15.  Finish exposed concrete surfaces according to Subsection 552.16(a) or (b), as applicable.

601.07  Acceptance.  See Table 601-2 for sampling and testing requirements.

Material for minor concrete structures including reinforcing steel, and structural steel for minor structures will be evaluated under Subsections 106.02 and 106.03.

The concrete mixture's slump, air content, compressive strength, unit mass, and temperature will be evaluated under Subsections 106.02 and 106.04.

Excavation and backfill will be evaluated under Section 209.

Construction of minor concrete structures will be evaluated under Subsections 106.02 and 106.04.

Measurement

601.08  Measure the Section 601 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure concrete by the cubic yard in the structure.

Payment

601.09  The accepted quantities will be paid at the contract price per unit of measurement for the Section 601 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

The concrete lump sum item will be prorated based on the progress of the work under this Section.

| Table 601-2 Sampling and Testing Requirements | Reporting Time | Upon completing tests | “ | “ | “ | “ |
| --- | --- | --- | --- | --- | --- | --- |
|  | Split Sample | — | — | — | — | — |
|  | Point of Sampling | Point of discharge | “ | “ | “ | Discharge stream at point of placing |
|  | Sampling Frequency | 1 set per 30 yd3 but not less than 1 per day | “ | “ | “ | “ |
|  | Test Methods Specifications | AASHTO T 121 | AASHTO T 152 or T 196 | AASHTO T 119 | Field measured | AASHTO T 23 & T 22 |
|  | Category | — | — | — | — | — |
|  | Characteristic | Unit mass | Air content | Slump | Temperature | Compressive strength |
|  | Type of Acceptance (Subsection) | Measured and tested for conformance (106.04) |  |  |  |  |
|  | Material or Product | Concrete |  |  |  |  |

## Section 602. — CULVERTS AND DRAINS

Description

602.01  This work consists of constructing culverts, drains, and precast concrete box culverts.

Material

602.02  Conform to the following Section and Subsections:

Aluminum-alloy corrugated pipe	707.03

Aluminum-alloy spiral rib pipe	707.12

Asphalt-coated pipe	707.04

Asphalt mastic	702.07

Concrete-lined corrugated steel pipe 	707.13

Fiber-bonded asphalt coated steel pipe	707.09

Invert-paved corrugated steel pipe	707.14

Joint fillers, sealants, and preformed joint seals	712.01

Joint mortar	712.02

Metallic-coated corrugated steel pipe	707.02

Metallic-coated spiral rib pipe	707.11

Non-reinforced concrete pipe	706.01

Plastic pipe 	706.08

Polymer-coated steel pipe	707.08

Precast reinforced concrete box sections	706.07

Reinforced arch-shaped concrete pipe	706.04

Reinforced concrete pipe	706.02

Reinforced D-load concrete pipe	706.06

Reinforced elliptically-shaped concrete pipe	706.05

Slotted drain pipe	707.10

Lean concrete backfill	614

Watertight gaskets	712.03

Construction Requirements

602.03  General.  Furnish culvert pipe with a wall thickness not less than that shown on the plans or determined from the fill-height tables included in the plans.  Use the same material and coating on all contiguous pipe sections and special sections such as elbows and branch connections.  For culvert extensions, furnish the same material as the existing culvert.

The plans show the size, approximate location, and length of culverts.  Determine final location, skew, length, elevations, and grade according to Subsection 152.03(g).  Do not order culvert material until the CO has accepted the final structure size, length, and alignment.

Excavate and backfill according to Section 209.

602.04  Laying Concrete Pipe and Precast Concrete Box Culverts.  Start at the lower end and lay the bell or groove end upgrade.  Fully join all sections.  Place circular pipe with elliptical reinforcement with the minor axis of the reinforcement in a vertical position.  Construct the joints by one of the following methods:

(a) Mortared joints.  Clean the lower portion of the receiving end of the pipe.  Plaster the inside with sufficient joint mortar to bring the inner surfaces of the abutting pipe sections flush and even.  Fit the sections as close as the construction of the culvert permits.  Fill and seal joints with mortar inside and out.  Clean excess mortar from the inside of the joint.

Cure mortar outside of joints by covering with polyethylene sheeting or spraying with a curing compound.  Backfill while mortar is plastic or, if mortar sets before backfilling, wait at least 24 hours before backfilling.

(b) Gasket joints.  Protect the joint ends from mud, silt, gravel, or other unwanted material.  Lay the pipe sections with gaskets attached.  Remove, clean, relubricate, and reseat gaskets disturbed or contaminated.

Align the pipe sections.  Force the joints home using the pipe manufacturer’s recommended procedure.  Do not drive or ram by hand or machinery.  Block the last section of each day's run to prevent creep.

602.05  Laying Metal Pipe.  Lay pipe with outside laps of circumferential joints upgrade and longitudinal laps positioned other than in the invert.  Place elongated pipes with major axis within 5 degrees of vertical.

Join pipe sections together with soil tight bell and spigot joints or coupling bands according to AASHTO M 36 or M 196.  Limit the use of bell and spigot joints to slopes of 10 percent or less.  Limit the use of coupling bands with projections (dimples) to attaching prefabricated flared end sections.

When aluminum alloys come in contact with other metals, coat the contacting surfaces with asphalt mastic or a preapproved impregnated caulking compound.

602.06  Laying Plastic Pipe.  Lay plastic pipe according to the pipe manufacturer's recommendation.

Provide soil-tight and spigot joints for plastic pipe culverts.

If plastic end sections are used, reinforce and stiffen them such that inward buckling during construction is less than 3/8 inch with a 100 pounds of force.

602.07  Laying Slotted Drain Pipe.  Join the sections together with coupling bands.  Cover the slots with roofing paper or other approved covering during backfilling and paving to keep material out of the pipe.  Backfill with a lean concrete backfill.

602.08  Acceptance.  Material for culverts, drains, and precast concrete box culverts furnished will be evaluated under Subsections 106.02 and 106.03.

Installation of culverts, drains and precast concrete box culverts will be evaluated under Subsections 106.02 and 106.04.

Excavation and backfill will be evaluated under Section 209.

Measurement

602.09  Measure the Section 602 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure pipe and box culverts by the linear foot along the invert.

Measure end sections, elbows, and branch connections by the each.  If there is no pay item for elbows or branch connections, measure them as additional pipe length along the invert.

Payment

602.10  The accepted quantities will be paid at the contract price per unit of measurement for the Section 602 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 603. — STRUCTURAL PLATE STRUCTURES

Description

603.01  This work consists of constructing structural plate pipes, arches, pipe arches, boxes, and underpasses.

Material

603.02  Conform to the following Subsections:

Aluminum-alloy structural plate structures	707.06

Asphalt-coated structural plate structures	707.07

Steel structural plate structures	707.05

Construction Requirements

603.03  General.  Excavate and backfill according to Section 209.

603.04  Erecting.  Furnish steel, aluminum alloy, asphalt coated steel, or asphalt-coated aluminum alloy structural plate structures.

Provide a copy of manufacturer's assembly instructions before assembly.  The instructions shall show the position of each plate and assembly order.

Assemble the structural plates according to the manufacturer's instructions.  Exercise care in the use of drift pins and pry bars to prevent damage to the structural plate and its coating.  The plates shall have a proper fit-up.

Where aluminum alloys come in contact with other types of metal, coat the contacting surfaces according to Subsection 602.05.

Torque steel bolts on steel plates to a minimum of 100 foot·pounds and a maximum of 300 foot·pounds.

Torque steel bolts and aluminum bolts on 0.1-inch thick aluminum plates to a minimum of 90 foot·pounds and a maximum of 115 foot·pounds.

Torque steel bolts and aluminum bolts on 0.1-inch thick and heavier aluminum plates to a minimum of 90 foot·pounds and a maximum of 115 foot·pounds.

For long-span structures:

(a) Tighten the longitudinal seams when the plates are assembled unless the plates are held in shape by cables, struts, or backfill.  Properly align plates circumferentially to avoid permanent distortion from the design shape.  Before backfilling, do not exceed 2 percent variation from the design shape.

(b) Do not distort the shape of the structure by operating equipment over or near it.

(c) Provide suitable survey control on the structure to check structure movement.

(d) Check and control the deflection movements of the structure during the entire backfilling operation.  Do not exceed the manufacturer's recommended limits.

(e) Provide a manufacturer's representative to monitor the erecting and backfilling of the structure.

603.05  Acceptance.  Material for structural plate structures will be evaluated under Subsections 106.02 and 106.03.

Installation of structural plate structures will be evaluated under Subsections 106.02 and 106.04.

Excavation and backfill will be evaluated under Section 209.

Measurement

603.06  Measure the Section 603 items listed in the bid schedule according to Subsection 109.02.

Payment

603.07  The accepted quantities will be paid at the contract price per unit of measurement for the Section 603 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 604. — MANHOLES, INLETS, AND CATCH BASINS

Description

604.01  This work consists of constructing or adjusting manholes, inlets, catch basins, junction boxes, and spring boxes.

Material

604.02  Conform to the following Section and Subsections:

Concrete	601

Concrete brick	725.08

Concrete masonry blocks	725.09

Corrugated metal units	725.13

Frames, grates, covers, and ladder rungs	725.12

Grout	725.22

Joint fillers, sealants, and preformed joint seals	712.01

Joint mortar	712.02

Precast concrete units	725.11(a)

Reinforcing steel	709.01

Watertight gaskets	712.03

Construction Requirements

604.03  General.  Excavate and backfill according to Section 209.

604.04  Concrete Construction.  Construct concrete manholes, inlets, and catch basins according to Section 601.  Concrete units may be cast-in-place or precast.  Finish the surface according to Subsection 552.16(a) or (b) as applicable.

Where a pipe enters through an existing concrete wall, cut the concrete and steel reinforcement in a manner that does not loosen the reinforcement in the wall.  Cut the steel reinforcement flush with the opening wall face.  Grout all joints and openings cut in the wall.

Finish the channel flow line in manholes, inlets, and catch basins accurately to match the pipe flow line.

Assemble precast concrete manhole sections with flexible watertight gaskets or mastic joint fillers in the tongue and groove joints.  If gaskets are used, handle the precast units carefully after the gasket has been attached to avoid damaging the gasket or contaminating the joint.  Attain the proper alignment before the joints are forced home.  Maintain partial support during the insertion of the tongue or spigot to minimize the unequal lateral pressure on the gasket and to maintain concentricity until the gasket is properly positioned.  If mastic is used, apply mastic joint filler according to the manufacturer's recommendations.

Set metal frames in a full joint mortar bed.

Grout or use a preformed joint seal to make all joints and openings watertight.  Finish mortar joints with a bead on the outside and a smooth finish on the inside.

Space ladder rungs uniformly on 12-inch centers and align vertically.  Grout ladder rungs into precast concrete walls.

604.05  Masonry Block Construction.  Construct concrete footings according to Section 601.  Construct block masonry plumb.  Stagger vertical joints and set block with the cells vertical.  Dampen block to reduce the rate of absorption.  Butter bearing members and vertical joints full of mortar.  Bond block with mortar on all sides.  Construct joints straight, level, plumb, flush, and 1/4 to 1/2 inch thick.  Backfill the structure after the masonry block has cured according to Subsection 552.15 for 7 days.

604.06  Metal Construction.  Fabricate metal drop inlets from the same material as adjoining metal pipes.

604.07  Grade Adjustment of Existing Structures.  Adjust metal frames and grates to grade before placing the surface course.

Remove and clean the frames, covers, and grates.  Trim the walls down to solid material.  Reconstruct the walls with the same material as existing and reset the cleaned frames at the required elevation.

When the existing casting and supporting walls are in good condition, an approved device may be used to adjust the manhole casting cover to the correct grade without reconstructing the walls or resetting the frame.

When catch basins and inlets are adjusted to grade and abut existing concrete construction, separate the castings from the adjacent concrete with a preformed expansion joint no less than 1/2 inch thick.

Clean each structure of all accumulated silt, debris, or foreign matter.

When an existing structure is abandoned, seal all pipes entering the structure with a tight fitting plug of concrete not less than 6 inches thick or water tight masonry not less than 8 inches thick.  Fracture the base of concrete structure to prevent entrapment of water.  Obliterate the top of the structure to an elevation at least 3 feet below finished grade and backfill according to Section 209.

604.08  Acceptance.  Precast concrete units (including manholes, inlets, catch basins, junction boxes, and spring boxes) furnished will be evaluated under Subsections 106.02 and 106.03.

Material (except concrete) for cast-in-place concrete units (including manholes, inlets, catch basins, junction boxes, and spring boxes) will be evaluated under Subsections 106.02 and 106.03.  Construction of cast-in-place concrete units will be evaluated under Subsections 106.02 and 106.04.

Concrete for cast-in-place units will be evaluated under Section 601.

Excavation and backfill will be evaluated under Section 209.

Installation and adjustment of concrete units (including manholes, inlets, catch basins, junction boxes, and spring boxes) will be evaluated under Subsections 106.02 and 106.04.

Measurement

604.09  Measure the Section 604 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure manholes from finished grade to the flow line surface of the manhole.

Measure metal frames and grates and removing and resetting metal frames and grates unless included as part of the original inlet, manhole, or catch basin construction.

Payment

604.10  The accepted quantities will be paid at the contract price per unit of measurement for the Section 604 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 605. — UNDERDRAINS, SHEET DRAINS, AND PAVEMENT EDGE DRAINS

Description

605.01  This work consists of furnishing and installing underdrains, sheet drains, and pavement edge drains.

Material

605.02  Conform to the following Subsections:

Aluminum-alloy corrugated pipe	707.03

Asphalt-coated pipe	707.04

Geocomposite drains	714.02

Geotextile type I	714.01

Granular backfill	703.03

Metallic coated corrugated steel pipe	707.02

Perforated concrete pipe	706.03

Plastic pipe	706.08

Sand	703.15

Structural backfill	704.04

Construction Requirements

605.03  General.  Use the same material and coating on all contiguous drain sections, extensions, elbows, branch connections, and other special sections.

Drain material, size, and approximate location are shown on the plans.  Determine the final location and length in the field.

Do not install drain material until the CO has accepted the final location and length.

Excavate and backfill according to Section 209.

If geotextile or geocomposite is used, smooth the trench surfaces by removing all projections that may damage the geotextile or geocomposite.  Replace geotextile or geocomposite damaged during installation.  Make repairs to geocomposites according to the manufacturer's recommendations.

Do not permit soil or other foreign material to enter the drain systems.  Plug the upgrade end of installations.

Furnish nonperforated pipe for outlet pipe.  Install outlet pipe according to Section 602.  Immediately place and secure a screen made of 17 gage diameter galvanized wire having approximately 1/2 by 1/2-inch mesh openings over the outlet ends of all exposed pipes and weep holes.

605.04  Placing Underdrain.  Join pipe sections securely with coupling fittings or bands.  Join polyvinyl chloride (PVC) and acrylonitrile-butadiene-styrene (ABS) pipe using either a flexible elastomeric seal or solvent cement.  Join polyethylene pipe with snap-on, screw-on, or wrap around coupling bands as recommended by the manufacturer.

Backfill and compact all trenches within the limits of the roadbed according to Section 209 except use granular backfill material.  Trenches for geocomposite underdrains within the limits of the roadbed may also be backfilled with clean sand and compacted.

When underdrain is placed in ditch lines, prevent infiltration of surface water by placing material conforming to AASHTO M 145, A-4, A-5, A-6, or A-7 in the top 12 inches of the trench.

(a) Standard underdrain.  When geotextile is required, place the long dimension of the geotextile parallel to the centerline of the trench.  Position the geotextile, without stretching, in contact with the trench surface.  Overlap the joints a minimum of 24 inches with the upstream geotextile placed over the downstream geotextile.

Place collector pipe with the perforations facing downward.

Place granular backfill to a height of 12 inches above the top of the collector pipe and compact.  Do not displace the collector pipe.  Place and compact the remainder of the granular backfill material according to Section 209.

Fold the geotextile over the top of the granular backfill with a minimum overlap of 12 inches.

(b) Geocomposite underdrain.  Extend the geotextile from the bottom of the drainage core around the collector pipe.

Construct splices and install outlet fittings according to the manufacturer's recommendations.  Prevent infiltration of soil into the geocomposite core.

Place the assembled geocomposite in the trench with the face of the geocomposite against the inflow side of the trench.  If the trench wall is irregular, smooth the trench wall or place a layer of granular backfill between the geocomposite and the trench wall.  Temporarily support the drain against the trench wall while backfilling.

When the trench is less than 18 inches wide, backfill the trench using clean sand.  Backfilling and compacting in layers is not required.  Compact the sand by vibrating, tamping with a mechanical tamper, or flooding with water.

When the trench is 18 inches wide or more, place granular backfill or clean sand to a height of 12 inches above the top of the collector pipe and compact.  Place and compact the remainder of the granular backfill material or clean sand according to Section 209.

605.05  Placing Geocomposite Sheet Drain.  Do not place sheet drain against a mortar course less than 4 days old.

When a geocomposite is used in conjunction with a waterproof membrane, install drainage panels compatible with the membrane using methods recommended by the membrane manufacturer.  Assemble and place the geocomposite drain against the surface to be backfilled according to the manufacturer's recommendations.

Splice geocomposite drains so the flow across the edges is continuous.  Overlap the geotextile a minimum of 3 inches in the direction of water flow.  For vertical splices, overlap the geotextile in the direction backfill proceeds.

Connect the drainage core to the collector pipe or weep holes so the flow is continuous through the system.  Extend the geotextile from the bottom of the drainage core around the collector pipe.

Backfill with structural backfill and compact according to Subsections 208.10 and 208.11.

605.06  Placing Geocomposite Pavement Edge Drain.  Assemble the geocomposite pavement edge drain and outlet material according to the manufacturer's recommendations and place it in the trench.  If the trench wall is irregular, smooth the trench wall or place a layer of clean sand between the geocomposite and the trench wall.  Temporarily support the drain against the trench wall while backfilling.

When the trench is less than 18 inches wide, backfill the trench using clean sand.  Backfilling and compacting in layers is not required.  Compact the sand by vibrating, tamping with a mechanical tamper, or flooding with water.

When the trench is 18 inches wide or more, place and compact granular backfill or clean sand according to Section 209.

605.07  Acceptance.  See Table 605-1 for sampling and testing requirements.

Material (except granular backfill) for underdrains, sheet drains, and edge drains will be evaluated under Subsections 106.02 and 106.03.

Granular backfill will be evaluated under Subsections 106.02 and 106.04.

Excavation and backfill will be evaluated under Sections 208 and 209.

Geotextile will be evaluated under Section 207.

Outlet pipes will be evaluated under Section 602.

Installation of underdrains, sheet drains, and edge drains will be evaluated under Subsections 106.02 and 106.04.

Measurement

605.08  Measure the Section 605 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

When measurement is for a system, do not measure geotextiles, collector pipes, backfill, and outlet pipes that are part of the system.

Measure granular backfill and sand by the cubic yard in place.

Payment

605.09  The accepted quantities will be paid at the contract price per unit of measurement for the Section 605 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

| Table 605-1 Sampling and Testing Requirements | Reporting Time | 4 hours |
| --- | --- | --- |
|  | Split Sample | Yes |
|  | Point of Sampling | Production output or stockpile |
|  | Sampling Frequency | 1 per 600 yd3 |
|  | Test Methods Specifications | AASHTO T 27 & T 11 |
|  | Category | — |
|  | Characteristic | Gradation |
|  | Type of Acceptance (Subsection) | Measured and tested for conformance (106.04) |
|  | Material or Product | Granular backfill |

## Section 606. — CORRUGATED METAL SPILLWAYS

Description

606.01  This work consists of furnishing and installing corrugated metal spillways.

Material

606.02  Conform to the following Section:

Culverts and drains	602

Construction Requirements

606.03  Placing Corrugated Metal Spillways.  Spillway, inlet, outlet, and connector dimensions and proportions may vary to permit the use of manufacturer's standard jigs and templates.

Install spillway inlet assemblies as shown on the plans and consolidate the earth backfill by tamping.

Lay spillway outlet pipe according to Section 602.  Anchor the spillway as shown on the plans.

606.04  Acceptance.  Pipes, anchor assemblies, hardware, and other material furnished to fabricate metal spillways will be evaluated under Subsections 106.02 and 106.03.

Excavation and backfill will be evaluated under Section 209.

Construction of spillways will be evaluated under Subsections 106.02 and 106.04.

Measurement

606.05  Measure the Section 606 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure downdrain and outlet pipes under Section 602.

Payment

606.06  The accepted quantities will be paid at the contract price per unit of measurement for the Section 606 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 607. — CLEANING, RECONDITIONING, AND REPAIRING EXISTING DRAINAGE STRUCTURES

Description

607.01  This work consists of cleaning, reconditioning, and repairing existing culverts and appurtenant structures.

Construction Requirements

607.02  General.  Dispose of material according to Subsection 203.05.

607.03  Removing and Cleaning Culverts.  Carefully remove the culvert and clean all foreign material from within the barrel and at the jointed ends.

607.04  Cleaning Culverts in Place.  Remove and dispose of all foreign material within the barrel and appurtenances of the culvert by any method that does not damage the culvert.

All or part of a culvert designated to be cleaned in place may be removed, cleaned, and relayed according to Section 602.

607.05  Relaying or Stockpiling Salvaged Pipe.  Relay removed and cleaned pipe according to Section 602.  Furnish all jointing material and replace damaged pipe according to Section 602.

Place salvaged pipe at a designated stockpile location.  Dispose of pipe that is damaged.

607.06  Reconditioning Drainage Structures.  Remove all debris from structures designated to be reconditioned.  Repair all leaks and structural damage and replace missing or broken metalwork according to Section 602.

607.07  Acceptance.  Cleaning, reconditioning, and repairing existing drainage structures will be evaluated under Subsection 106.02.

Relaying culverts will be evaluated under Section 602.

Measurement

607.08  Measure the Section 607 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure removing, cleaning, and stockpiling culvert in the stockpile.

Payment

607.09  The accepted quantities will be paid at the contract price per unit of measurement for the Section 607 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 608. —  PAVED WATERWAYS

Description

608.01  This work consists of constructing paved ditches, gutters, spillways, and similar waterways not contiguous to the traveled way.

Paved waterways are designated as follows:

Type 1	— Grouted rubble

Type 2	— Mortared rubble

Type 3	— Concrete and rubble

Type 4	— Concrete

Type 5	— Asphalt

Type 6	— Placed riprap

Material

608.02  Conform to the following Sections and Subsections:

Asphalt mixtures	404

Bed course	704.09

Concrete	601

Granular backfill	703.03(b)

Grout	725.22(e)

Mortar	712.05

Reinforcing steel	709.01

Riprap rock	705.02

Rubble	620

Construction Requirements

608.03  General.  Excavate and backfill according to Section 209.  Place and compact bed course material.  Compact the bed course with at least three passes of a lightweight mechanical tamper, roller, or vibratory system.  Form the bed parallel to the finished surface of the waterway.

608.04  Grouted Rubble Paved Waterway (Type 1).  Embed pavement stones on the bed in a broken pattern with no continuous joint across the waterway or parallel to the flow line.  Make the joints 1 to 2 inches wide.  Place the stones with the flat faces up and the longest dimension at right angles to the centerline of the waterway.

Ram each stone until it is firm and reasonably true to the surface in grade, alignment, and cross-section.  Remove and relay stone having an irregular or uneven surface.

Fill the joints with granular backfill to within 4 inches of the surface.  Pour and broom grout into the joints until the grout is 1/2 inch below the surface.  Clean the excess grout from the surface.

608.05  Mortared Rubble Paved Waterway (Type 2).  Embed each pavement stone with its flat face up and its longest dimension parallel to the gutter line.  Place stones alternately so that there is not a continuous joint across the waterway or parallel to the flow line.  Limit joint widths from 1 inch minimum to 2 inches maximum.

Ram the stone until it is firm and reasonably true to the surface in grade, alignment, and cross-section.

Apply mortar to the exposed stone sides in such quantities that when the adjacent stone is placed and rammed into position, the mortar is within 1/2 inch of the surface but not protruding above the surface.  Clean the excess mortar from the surface.

608.06  Concrete and Rubble Paved Waterway (Type 3).  Place the concrete foundation, reinforcing steel, and pavement stone in a progressive operation.  Secure the reinforcing steel within the middle third of the depth of the concrete foundation.  Clean and wet the pavement stone to near saturation.

Embed the stone in the concrete foundation before it hardens.  Place stones alternately so there is not a continuous joint across the waterway or parallel to the flow line.  Limit joint widths from 1 inch minimum to 2 inches maximum.  Fill the joints between stones with mortar to 1 inch below the top of the stone.

608.07  Concrete Paved Waterway (Type 4).  Perform the work according to Section 601.

608.08  Asphalt Paved Waterway (Type 5).  Perform the work according to Section 404.  Before overlaying existing asphalt paved waterway, clean and seal the cracks according to Section 414.

608.09  Placed Riprap Waterway (Type 6).  Use class I riprap.  Perform the work according to Subsections 251.03 and 251.04.

608.10  Acceptance.  See Table 608-1 for sampling and testing requirements.

Material for mortar will be evaluated under Subsections 106.02 and 106.03.  Mortar will be evaluated under Subsection 106.04.

Bed course and granular backfill will be evaluated under Subsections 106.02 and 106.04.

Construction of paved waterways will be evaluated under Subsections 106.02 and 106.04.

Excavation and backfill will be evaluated under Section 209.

Riprap will be evaluated under Section 251.

Asphalt mixture will be evaluated under Section 404.

Concrete will be evaluated under Section 601.

Rubble will be evaluated under Section 620.

Measurement

608.11  Measure the Section 608 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure the square yard width horizontally to include the total width.  Measure the length parallel to the flow line.

Payment

608.12  The accepted quantities will be paid at the contract price per unit of measurement for the Section 608 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

| Table 608-1 Sampling and Testing Requirements | Reporting Time | 24 hours | “ | 24 hours | 24 hours | (1) Sample consists of 2 test specimens. | (2) The compressive strength will be the average of two test specimens. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Split Sample | Yes, when requested | “ | Yes, when requested | Yes, when requested |  |  |
|  | Point of Sampling | Production output or stockpile | “ | Production output or stockpile | Job site |  |  |
|  | Sampling Frequency | 1 per 600 yd3 | “ | 1 per 600 yd3 | 1 per installation (1) |  |  |
|  | Test Methods Specifications | AASHTO T 27 & T 11 | AASHTO T 89 | AASHTO T 27 & T 11 | AASHTO T 23 & T 22 |  |  |
|  | Category | — | — | — | — |  |  |
|  | Characteristic | Gradation | Liquid limit | Gradation | Making test specimens Compressive strength (2) |  |  |
|  | Type of Acceptance (Subsection) | Measured and tested for conformance (106.04) | “ | Measured and tested for conformance (106.04) | Measured and tested for conformance (106.04) |  |  |
|  | Material or Product | Bed course |  | Granular backfill | Mortar |  |  |

## Section 609. — CURB AND GUTTER

Description

609.01  This work consists of constructing or resetting of curb, combination curb and gutter, or wheelstops.

Stone curb is designated as type I or II according to Subsection 705.06.

Material

609.02  Conform to the following Sections and Subsections:

Asphalt mixtures	404

Bed course	704.09

Concrete	601

Joint filler	712.01

Mortar	712.05

Precast concrete curbing and wheelstops	725.06

Reinforcing steel	709.01

Stone curbing	705.06

Construction Requirements

609.03  General.  Excavate and backfill according to Section 209.  Place and compact the bed course material.  Compact the bed course with at least three passes of a lightweight mechanical tamper, roller, or vibratory system.

609.04  Stone and Precast Concrete Curb.  Clean the curb material thoroughly and wet it just before setting.  Set the curb in bed course so the face and top lines are to line and grade.  Make the joints 1/2 to 1 inch wide and fill the joints with mortar.

Complete the first 25 feet of curb to demonstrate the ability to build a curb meeting these requirements.  Do not continue construction until the 25-foot test section is approved.

Where a concrete pavement is constructed contiguous to the curb, construct the joints in the curb directly in line with the pavement expansion joints.

Make the curb joint 3/4 inch wide and fill it with expansion joint filler of the same nominal thickness as the pavement joint.  Fill all voids between the joint filler and the curb with mortar.

609.05  Concrete Curb or Curb and Gutter.  Perform work according to Section 601.  The curb or curb and gutter may be cast-in-place or slip-formed.

(a) Cast-in-place.  Use forms that extend for the full depth of the concrete.  Use curved forms for curb with a radius of 300 feet or less.

(1) Contraction joints.  Construct curb in sections of uniform 10-foot lengths.  Construct contraction joints 1/8 inch wide.  Use metal divider plates.  When the curb is constructed adjacent to or on concrete pavement, match the contraction joints in the pavement.

(2) Expansion joints.  Form expansion joints at intervals of 60 feet using a 3/4-inch thick preformed expansion joint filler.  Where the curb is constructed adjacent to or on rigid pavement, match the expansion joints in the pavement.

Finish the concrete smooth and even with a wood float.  Broom finish parallel to the curb line according to Subsection 552.14(c)(2).  When an exposed aggregate finish is required, finish according to Subsection 552.14(c)(4).  Leave forms in place for 24 hours or until the concrete has set sufficiently so the forms can be removed without harming the curb.

(b) Slip-formed.  Use a self-propelled automatic curb machine or a paver with curb attachments.  Use a machine that is heavy enough to obtain consolidation without the machine riding above the foundation.

Adjust the concrete aggregate gradation, if necessary, to produce a curb or curb and gutter that has well-defined web marks of water on the surface.  Remove and replace sections with craters larger than 3/16 inch or other sections determined to be damaged or defective.  Repairing surface craters and other defective sections by plastering is not permitted.

After the concrete has hardened sufficiently to permit sawing without damage, saw contraction joints according to (a)(1) above.  Construct expansion joints according to (a)(2) above.

609.06  Asphalt Concrete Curb.  Where curb is constructed on a pavement, place a tack coat according to Section 412 on the area under the curb.

Construct asphalt concrete curb according to Section 404.  Use a self-propelled automatic curb machine or a paver with curb attachments that is heavy enough to compact a curb without riding above the foundation.  Make the curb uniform in texture, shape, and density.  Curb may be constructed by other means only in short sections or sections with short radii.

609.07  Resetting Stone or Precast Concrete Curb.  Carefully remove, clean, and store the curb.  Cut or fit the curb as necessary for installation.  Replace all lost, damaged, or destroyed curb.  Reset the curb according to Subsection 609.04.

609.08  Wheelstops.  Pin the wheelstops in place with two 3.5-foot sections of No. 6 reinforcing steel or 3/4-inch steel rods.  Reset wheelstops in the same manner.

609.09  Acceptance.  See Table 609-1 for sampling and testing requirements.

Material for mortar will be evaluated under Subsections 106.02 and 106.03.  Mortar will be evaluated under Subsection 106.04.

Precast units (curb and wheel stops) will be evaluated under Subsections 106.02 and 106.03.

Bed course material will be evaluated under Subsections 106.02 and 106.04.

Stone for stone curbing will be evaluated under Subsections 106.02 and 106.04.

Construction of curb and gutter, and wheelstops will be evaluated under Subsections 106.02 and 106.04.

Excavation and backfill will be evaluated under Section 209.

Asphalt mixture will be evaluated under Section 404.

Concrete will be evaluated under Section 601.

Measurement

609.10  Measure the Section 609 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Make no deduction in length for drainage structures installed in the curb section or for driveway and handicap access ramp openings where the gutter is continuous across the opening.

Measure bed course material by the cubic yard in place.

Payment

609.11  The accepted quantities will be paid at the contract price per unit of measurement for the Section 609 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

| Table 609-1 Sampling and Testing Requirements | Reporting Time | 4 hours | “ | — | (1) Sample consists of two test specimens. | (2) The compressive strength will be the average of two test specimens. |
| --- | --- | --- | --- | --- | --- | --- |
|  | Split Sample | Yes | “ | — |  |  |
|  | Point of Sampling | Production output or stockpile | “ | Job site |  |  |
|  | Sampling Frequency | 1 per 600 yd3 | “ | 1 per installation (1) |  |  |
|  | Test Methods Specifications | AASHTO T 27 & T 11 | AASHTO T 89 | AASHTO T 23 & T 22 |  |  |
|  | Category | — | — | — |  |  |
|  | Characteristic | Gradation | Liquid limit | Making test specimens Compressive strength (2) |  |  |
|  | Type of Acceptance (Subsection) | Measured and tested for conformance (106.04) | “ | Measured and tested for conformance (106.04) |  |  |
|  | Material or Product | Bed course |  | Mortar |  |  |

## Section 610. — HORIZONTAL DRAINS

Description

610.01  This work consists of constructing horizontal drains including collector systems when specified.

Material

610.02  Conform to the following Subsections:

Metallic-coated corrugated steel pipe	707.02

Polyethylene (PE) pipe	725.16

Polyvinyl chloride (PVC) pipe	725.15

Steel pipe	717.06

Construction Requirements

610.03  General.  Furnish pipe and fittings of one material shown in Subsection 610.02.  Furnish slotted pipe with 2 rows of slots cut circumferentially in the pipe on 2 of the third points that are 120 degrees apart.  Make the width of the slots 0.02 inches with the total slot opening equal to 2.3 square inches per linear foot of pipe.

Excavate and backfill according to Section 209.

610.04  Drilling Holes.  The locations for installing horizontal drains as shown on the plans are approximate.  The exact locations will be determined in the field.

Drill holes with rotary equipment capable of drilling 3 to 6-inch diameter holes through soil and rock.  Determine the elevation at the upper end of the completed horizontal drain hole by inserting tubes or pipes and measuring liquid levels, or by other satisfactory means.  Dispose of drilling water in a manner that does not contaminate surface watercourses.

610.05  Installing Horizontal Drain.  Tightly plug the entrance end of the slotted pipe with a rounded or pointed extension that does not extend more than 6 inches beyond the end of the pipe.  Insert the pipe inside the drill rod with the slots up.  Retract the drill rod so the drilled hole is fully cased with the slotted pipe.  Connect additional pipe as necessary to form a continuous tube.

Use unslotted pipe for the last 10 to 20 feet of the outlet end.  Seal the space between the drilled hole and the unslotted pipe for at least 10 feet at the outlet end with an approved impermeable material.  Do not seal the space between the drilled hole and the slotted pipe.

610.06  Installing Outlet Drains and Collector Systems.  Attach outlet drain pipe to the ends of all horizontal drains by means of a tee or street ell.  Install a collector system of the type, kind, and size detailed in the contract.

610.07  Acceptance.  Material furnished for horizontal drains will be evaluated under Subsections 106.02 and 106.03.

Construction of horizontal drains will be evaluated under Subsections 106.02 and 106.04.

Measurement

610.08  Measure the Section 610 items listed in the bid schedule according to Subsection 109.02.

Payment

610.09  The accepted quantities will be paid at the contract price per unit of measurement for the Section 610 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 611. — WATER SYSTEMS

Description

611.01  This work consists of constructing or reconstructing water systems.

Material

611.02  Conform to the following Section and Subsections:

Bedding material	704.02

Cast iron soil pipe and fittings	725.17

Concrete	601

Polyvinyl chloride (PVC) pipe and fittings	725.15

Seamless copper water tube and fittings	725.18

Steel pipe and fittings	717.06

Construction Requirements

611.03  General.  Furnish material and workmanship conforming to the standards of APWA, the AWWA, National Building Code, and local plumbing and safety codes.

At the preconstruction conference, submit a certified cost breakdown of the individual items involved in the lump sum item for use in making progress payments and price adjustments.

Obtain permits, arrange for inspections, and pay all fees necessary to obtain water service.

Excavate and backfill according to Section 209.  Bed the pipe according to Subsection 209.09(b).

611.04  Laying Waterline.  Where it is necessary to cross a waterline over a sewer line, construct the waterline a minimum vertical distance of 18 inches above the sewer line.

Inspect each joint or fixture and clean the interior of the pipe before placing in the trench.  Do not allow dirt, water, rodents, or other contaminants to enter the pipe during installation.  Center and push each joint completely together, and fasten the joint according to the manufacturer's recommendations.

Brace major fixtures or fixtures that could blow off the line under pressure with a cast-in-place concrete wedge block.  Cast the block between the fixture and the undisturbed vertical trench wall with a minimum bearing surface of 2 square feet against the vertical wall.  Do not pressure test lines until concrete has established its required strength.

611.05  Testing and Disinfecting Lines.  Test all joints under pressure before backfilling.  Repair all leaks.

Disinfect all lines that are to carry water for human consumption.  Fill the lines with a water solution containing a residual chlorine level of at least 50 parts per million for at least 24 hours.  Drain and flush the line after the disinfecting period.  Do not dispose of disinfectant water in live streams.

611.06  Backfilling.  Backfill according to Subsection 209.10 except hand-place the backfill to 12 inches over the top of the pipe.  Remove all rocks and hard lumps from the hand-placed layer.

During backfilling, place a plastic locator strip approximately 12 inches above the pipe.  If nonmetallic waterline is installed, use a locator strip containing metal that allows detection with a metal detector.  Hold hydrants, valve boxes, and other vertical fixtures vertical with the tops adjusted to the required elevation.

611.07  Acceptance.  Material for water systems will be evaluated under Subsections 106.02 and 106.03.

Installation of water systems will be evaluated under Subsections 106.02 and 106.04.

Excavation and backfill will be evaluated under Section 209.

Measurement

611.08  Measure the Section 611 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure waterlines and encasement pipes with no deduction for the length through tees, bends, valves, or other fixtures.

Payment

611.09  The accepted quantities will be paid at the contract price per unit of measurement for the Section 611 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

Payment for lump sum items will be prorated based on the total work completed.

## Section 612. — SANITARY SEWER SYSTEMS

Description

612.01  This work consists of constructing sanitary sewer systems.

Material

612.02  Conform to the following Section and Subsections.

Bedding material	704.02

Cast iron soil pipe	725.17

Concrete	601

Plastic Pipe	706.08

Precast concrete units	725.11(e)

Watertight gaskets	712.03

Construction Requirements

612.03  General.  Furnish either cast iron or plastic sanitary sewer lines.  Furnish material and workmanship conforming to the standards of the AWWA, National Building Code, and local plumbing and safety codes.  At the preconstruction conference, submit a certified cost breakdown of items involved in the lump sum item for use in making progress payments and price adjustments.

Obtain permits, arrange for inspections, and pay all fees necessary to obtain sewerage service.

Excavate and backfill according to Section 209.  Bed the pipe according to Subsection 209.09(b).

612.04  Laying Sewer Lines.  Separate waterlines and sewer lines according to Subsection 611.04.

Inspect each joint and clean the pipe and bell before placing in the trench.  Lay the sewer line from the lower end with the spigot ends pointing in the direction of flow.  Fully support each length between joints and check for line and grade before placing the next length.

Where premolded watertight gaskets are used, check the gasket for proper positioning and shove sewer pipe into proper position.  When poured joints are used, position the pipe and fill the joint completely with joint sealer.  Allow the sealer to cool completely before removing the runner.

612.05  Backfilling.  Backfill according to Subsection 611.06.  After backfilling, flush the lines with water to ensure that they are unobstructed.

612.06  Acceptance.  Material for sanitary sewer systems will be evaluated under Subsections 106.02 and 106.03.

Installation of sanitary sewer systems will be evaluated under Subsections 106.02 and 106.04.

Excavation and backfill will be evaluated under Section 209.

Measurement

612.07  Measure the Section 612 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure sewer lines with no deduction for length through valves, ells, tees, valve boxes, reducers, manholes, or other fixtures.  Where two different sizes enter or exit a manhole, measure each size to the center of the manhole.

Payment

612.08  The accepted quantities will be paid at the contract price per unit of measurement for the Section 612 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

Payment for lump sum items will be prorated based on the total work completed.

## Section 613. — SIMULATED STONE MASONRY SURFACE

Description

613.01 This work consists of using concrete, color/stain, and grout to simulate the texture and color of native stone masonry in the stone pattern shown on the plans.  It consists of the following:

(a) Designing and furnishing textured form liners.

(b) Installing form liners.

(c) Applying a surface finish (color/stain application) that duplicates the unique coloring and mottled appearance of stone masonry.

(d) Preparing a simulated stone masonry test wall and demonstrating the surface finish before beginning production work.

Material

613.02  Conform to the following Subsections:

Form liner	725.27

Joint filler	712.01(b)

Penetrating stain	708.05

Grout	725.22(e)

Construction Requirements

613.03  Form Liner Fabrication.  Take an impression of the stone shape, texture, and mortar joints from a designated location.  Design form liners from the impressions according to the stone pattern shown on the plans.  Submit detailed drawings of the form liner for approval according to Subsection 104.03.

613.04  Form Liner Installation.  Attach the form liners to the form.  Attach adjacent form liners to each other with less than a 1/8-inch seam.  Do not repeat the form liner pattern between expansion joints or within 20-foot intervals, whichever is greater.

Form expansion joints at the intervals shown on the plans.  Blend the butt joints into the pattern and the final concrete surface.

Coordinate the forms with wall ties.  Place form tie holes in the high point of rustication or in the mortar joint.

Clean off build-up before reusing form liners.  Visually inspect each liner for blemishes and tears.  Repair the liner before installation.

613.05  Top Surface.  Emboss the plastic concrete in the exposed top surface by stamping, tooling, troweling, hand shaping, or a combination thereof, to simulate the stone masonry texture and mortared joints.  Match the side pattern of the formed mortared joints.  Immediately after the free surface water evaporates and the finish embossing is complete, cure the concrete for 7 days according to Subsection 552.15(b).  Do not use liquid membrane curing compounds.

613.06  Form Liner Removal.  Within 24 hours after placing concrete, remove or break free the form liners without causing concrete surface deterioration or weakness in the substratum.  Remove all form tie material to a depth of at least 1 inch below the concrete face without spalling and damaging the concrete.

Cure the concrete for 7 days according to Subsection 552.15(b).  Do not use liquid membrane curing compounds.

613.07  Preparation of Concrete Surface.  Finish all exposed formed concrete surfaces according to Subsection 552.16(a).  Finish so that vertical seams, horizontal seams, and butt joint marks are not visible.  Minimize grinding and chipping to avoid exposing aggregate.

Provide a completed surface free of blemishes, discolorations, surface voids, and conspicuous form marks.  Make the finished texture and patterns continuous without visual disruption.

613.08  Color/Stain Application.  Age concrete, including patches, a minimum of 30 days.  Clean the surface of all latency, dirt, dust, grease, and any foreign material by approved methods.

Remove efflorescence with a pressure water wash.  Use a fan nozzle held perpendicular to the surface at a distance between 2 and 3 feet.  Use a minimum 3,000 pounds per square inch pressure at a rate of 3 to 4 gallons per minute.  Do not sand blast surfaces that receive color/stain.

Correct all surface irregularities created by the surface cleaning.

Maintain the concrete temperature between 40 and 85 ºF when applying color/stain and for 48 hours after applying color/stain.

Color/stain all exposed concrete surfaces.  Use a color/stain application suitable to obtain the appearance of the native stone masonry.  Use a minimum of 3 colors/stains.

When required at boundaries between two color tones or between surfaces receiving color at different times, take care and provide protection to avoid over-spray and color overlap.

Apply grout of a natural cement color to each form joint.  Use sufficient grout so the over-spray of the color/stain is not visible.  Give the form pattern grout joint the appearance of mortared joints in completed masonry.

Recoat all areas inconsistent with the approved test wall.

Treat expansion joints with caulk/grout to blend with the appearance of the adjacent stone or mortar joint.

613.09  Test Wall.  Before production work on the simulated stone masonry, construct a 3-foot high, by 2-foot wide, by 10-foot-long test wall according to Section 552 and these specifications.

Cast the test wall on site, using the same forming methods, procedures, form liner, texture configuration, expansion joint, concrete mixture, and color/stain application proposed for the production work.  Demonstrate the quality and consistency of joint treatment, end treatment, top embossing methods, back treatment, and color/stain application on the test wall.  If a test wall is unacceptable, construct a new test wall.

Begin production structural concrete work only after the test wall is approved.  Begin production color/stain application only after the color/stain application on the test wall is approved.  Dispose of the test wall after use.

613.10  Acceptance.  Material for simulated stone masonry surface treatment will be evaluated under Subsections 106.02 and 106.03.

Installation of form liners will be evaluated under Subsections 106.02 and 106.04.

Application of color/stain to all exposed concrete surfaces will be evaluated under Subsection 106.02.

Construction of the simulated stone masonry test wall will be evaluated under Subsection 106.02.

Measurement

613.11  Measure the Section 613 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Do not measure form liners.

Payment

613.12  The accepted quantities will be paid at the contract price per unit of measurement for the Section 613 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 614. — LEAN CONCRETE BACKFILL

Description

614.01  This work consists of constructing lean concrete backfill.

Material

614.02  Conform to the following Subsections:

Aggregate	703.16

Hydraulic cement	701.01

Water	725.01(a)

Construction Requirements

614.03  Composition of Mix.  Design a well-graded, flowable, self-leveling, mix conforming to Table 614-1.  Verify the mix design with trial batches prepared from the same sources proposed for the mix.  Submit the following for approval at least 21 days before production:

(a) Type and source(s) of aggregates;

(b) Type and source of cement;

(c) Mix proportions;

(d) Type of cement and fly ash (if used in the mix);

(e) Commercial certifications for cement, fly ash, admixtures, and aggregate;

(f) Target values for water/cement ratio and slump; and

(g) Compressive strength at 7 and 28 days.

Table 614-1

Composition of Lean Concrete Backfill

| Property | Specification |
| --- | --- |
| Cement content | 50 pounds per cubic yard min. |
| Slump | 6 – 8 inches |
| Aggregate particle size | 1 inch max. |
| Aggregate passing No. 200 sieve | 10 % max. |
| 7-day compressive strength | 220 pounds per square inch max. |

614.04  General.  Perform the work described under Section 209.

Do not place lean concrete backfill in contact with aluminum or aluminum-coated structures.

Do not use lean concrete backfill above the top of subgrade.

614.05  Mixing and Placing Lean Concrete Backfill.  Mix lean concrete backfill by pugmill, rotary drum, or other approved mixer to obtain a uniform mix.

Place lean concrete backfill in a uniform manner that prevents voids in, or segregation of, the backfill.

When backfilling around culverts and other structures, place lean concrete backfill in a manner that does not float or shift the structure.  Bring the backfill up evenly on all sides of the structure.

When placing lean concrete backfill at or below an atmospheric temperature of 35 ºF, perform the work under Subsection 552.10(a).

Wait at least 4 hours before backfilling over lean concrete backfill.

614.06  Acceptance.  Material for lean concrete backfill will be evaluated under Subsections 106.02 and 106.03.

Lean concrete backfilling will be evaluated under Subsection 106.02.

Measurement

614.07  Measure the Section 614 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure lean concrete backfill by the cubic yard in the hauling vehicle.

Payment

614.08  The accepted quantities will be paid at the contract price per unit of measurement for the Section 614 pay item listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 615. — SIDEWALKS, DRIVE PADS,

## AND PAVED MEDIANS

Description

615.01  This work consists of constructing sidewalks, drive pads, and paved medians.

Sidewalks, drive pads, and paved medians are designated as concrete, asphalt, concrete brick, or clay brick.

Material

615.02  Conform to the following Sections and Subsections:

Asphalt mixtures	404

Bed course	704.09

Clay or shale brick	725.07

Concrete	601

Concrete brick	725.08

Curing material	711.01

Masonry and mortar cement	701.02

Sealants, fillers, seals, and sleeves	712.01

Reinforcing steel	709.01

Construction Requirements

615.03  General.  Excavate and backfill according to Section 209.  Place bed course material in layers not exceeding 4 inches in compacted thickness.  Compact each layer with at least three passes of a lightweight mechanical tamper, roller, or vibratory system.

615.04  Concrete Sidewalks, Drive Pads, and Medians.  Perform the work according to Section 601.  Use forms that extend for the full depth of the concrete.

(a) Joints.  Construct joints perpendicular to the outside slab edges and other joints.  Match the joints in adjacent curb or pavements.  Tool and remove all free mortar and concrete from joints.

(1) Expansion joints.  Construct at intervals not exceeding 20 feet.  Use 3/4-inch thick preformed expansion joint filler for the full depth of the joints.  When joints are to be sealed, use multi-component joint sealant.

(2) Contraction joints.  Construct at intervals not exceeding 10 feet.  Form the joint with a jointing tool or saw the joints to a depth of 1/4 to 1/3 of the thickness of the concrete and about 1/8 inch wide.

(3) Construction joints.  Form construction joints around all appurtenances such as manholes, utility poles, buildings, and bridges.  Use 1/2-inch, thick preformed expansion joint filler for the full depth of the joints.

When joints are to be sealed, use multi-component joint sealant.

(b) Finishes.  Provide a sidewalk finish unless otherwise required.  Edge outside edges of slab and all joints with a 1/4-inch radius edging tool.

(1) Sidewalk finish.  See Subsection 552.14(c)(2).

(2) Exposed aggregate finish.  See Subsection 552.14(c)(4).

Cure the concrete for at least 72 hours according to Subsection 552.15(b) or (c).  Protect the work from pedestrian traffic for 72 hours and from vehicular traffic for 7 days.

615.05  Asphalt Concrete Sidewalks, Drive Pads, and Medians.  Perform the work according to Section 404.

615.06  Brick Sidewalks, Drive Pads, and Medians.  Lay brick in successive courses on a prepared surface.  Lay each course of brick to grade.  Relay any course that deviates from a straight line by more than 2 inches in 30 feet.

Sweep and inspect the brick surface before the bed sets.  Remove each imperfect brick and replace.

Chock the joints flush with a dry mixture of 4 parts sand and 1 part cement by mass and carefully water the surface to saturate the joint filler.

615.07  Acceptance.  See Table 615-1 for sampling and testing requirements.

Clay or shale brick, concrete brick, curing material, joint fillers, and reinforcing steel will be evaluated under Subsections 106.02 and 106.03.

Bed course material will be evaluated under Subsections 106.02 and 106.04.

Construction of sidewalks, drive pads, and medians will be evaluated under Subsections 106.02 and 106.04.

Excavation and backfill will be evaluated under Section 209.

Asphalt mixture will be evaluated under Section 404.

Concrete will be evaluated under Section 601.

Measurement

615.08  Measure the Section 615 items listed in the bid schedule according to Subsection 109.02.

Payment

615.09  The accepted quantities will be paid at the contract price per unit of measurement for the Section 615 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

| Table 615-1 Sampling and Testing Requirements | Reporting Time | — | — |
| --- | --- | --- | --- |
|  | Split Sample | Yes, when requested | “ |
|  | Point of Sampling | Production output or stockpile | “ |
|  | Sampling Frequency | 1 per 600 yd3 | “ |
|  | Test Methods Specifications | AASHTO T 27 & T 11 | AASHTO T 89 |
|  | Category | — | — |
|  | Characteristic | Gradation | Liquid limit |
|  | Type of Acceptance (Subsection) | Measured and tested for conformance (106.04) |  |
|  | Material or Product | Bed course (704.09) |  |

## Section 616. — SLOPE PAVING

Description

616.01  This work consists of constructing concrete, brick, masonry block, rubble, or cellular concrete block slope paving.

Material

616.02  Conform to the following Sections and Subsections:

Bed course	704.09

Cellular concrete blocks	725.10

Concrete	601

Concrete brick	725.08

Concrete masonry blocks	725.09

Geotextile type IV	714.01

Grout	725.22(c)

Mortar	712.05

Precast concrete units	725.11(f)

Rubble	620

Topsoil	713.01(a) or (b)

Welded steel wire fabric	709.01(h)

Construction Requirements

616.03  General.  Excavate and backfill according to Section 209.  Place and compact bed course material with at least three passes of a lightweight mechanical tamper, roller, or vibratory system.

616.04  Geotextile.  When required by the contract, place geotextile according to Subsection 207.05.  Bury the ends of the geotextile for anchorage.  Pin the strips at 5-foot intervals to hold the geotextile lap in place until slope paving is placed.  Replace or repair all geotextile that is torn or punctured.

616.05  Concrete Slope Paving.  Construct toe walls.  Place welded wire fabric at the center of slab.  Run the welded steel wire fabric continuously through the joints.  Lap adjacent runs of fabric by at least 6 inches.

Perform concrete work according to Section 601.  Place slabs starting at the bottom of the slope.  Construct horizontal joints parallel to the bottom of the slope and the vertical joints perpendicular to the horizontal joints.  Construct cold joints without filler.

Finish the surface with a sidewalk finish according to Subsection 552.14(c)(2).  Edge the outside edges of the slab and all joints with a 1/4-inch radius edging tool.

616.06  Brick, Masonry Block, or Rubble Slope Paving.  Place bricks, masonry blocks, or rubble starting at the bottom of the slope.  Place them on the foundation bed with flat faces up and the longest dimension parallel to the bottom of the slope.

Ram each brick, masonry block, or stone into place.  Apply mortar on the exposed side in such quantities that when the adjacent brick, masonry block, or stone is placed and rammed into position, the mortar is within 1/2 inch of the surface and not protruding above the top.  Make the brick and masonry block joints 1/2 inch wide or less and rubble joints 1 inch or less.  Clean all mortar stain from the surface.

616.07  Cellular Concrete Block Slope Paving.  Place the blocks starting in a trench or against a suitable anchorage at the bottom of the slope.  Lay each block perpendicular to the slope and bed firmly against adjoining blocks.  Grout to fill misaligned joints or breaks at slope changes.  Do not grout individual blocks to each other.

Spread topsoil loosely over the cellular block slope paving, partially filling the cell openings.  When required by the contract, establish turf according to Section 625.

616.08  Acceptance.  See Table 616-1 for sampling and testing requirements.

Cellular concrete blocks, concrete brick, concrete masonry blocks, material for mortar, and welded steel wire fabric will be evaluated under Subsections 106.02 and 106.03.

Mortar will be evaluated under Subsections 106.02 and 106.04.

Bed course material will be evaluated under Subsections 106.02 and 106.04.

Slope paving construction will be evaluated under Subsections 106.02 and 106.04.

Geotextile will be evaluated under Section 207.

Excavation and backfill will be evaluated under Section 209.

Concrete will be evaluated under Section 601.

Rubble will be evaluated under Section 620.

Topsoil will be evaluated under Section 624.

Turf will be evaluated under Section 625.

Measurement

616.09  Measure the Section 616 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure topsoil under Section 624.

Measure turf establishment under Section 625.

Payment

616.10  The accepted quantities will be paid at the contract price per unit of measurement for the Section 616 pay item listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

| Table 616-1 Sampling and Testing Requirements | Reporting Time | — | — | — |
| --- | --- | --- | --- | --- |
|  | Split Sample | Yes, when requested | “ | — |
|  | Point of Sampling | Production output or stockpile | “ | Job site |
|  | Sampling Frequency | 1 per 600 yd3 | “ | 1 per installation |
|  | Test Methods Specifications | AASHTO T 27 & T 11 | AASHTO T 89 | AASHTO T 23 & T 22 |
|  | Category | — | — | — |
|  | Characteristic | Gradation | Liquid limit | Making test specimens Compressive strength |
|  | Type of Acceptance (Subsection) | Measured and tested for conformance (106.04) |  | Measured and tested for conformance (106.04) |
|  | Material or Product | Bed course (704.09) |  | Mortar (712.05) |

## Section 617. — GUARDRAIL

Description

617.01  This work consists of constructing guardrail systems and modifying, removing, resetting, and raising existing guardrail systems.

(a) Guardrail systems are designated as follows:

G1	— 	Cable guardrail

G2	— 	W-beam (weak post)

G3	— 	Box beam

G4	— 	Blocked-out W beam standard barrier

G9	— 	Blocked-out thrie beam standard barrier

MB4	— 	Blocked-out W beam median barrier

SBTA	— 	Steel-backed timber guardrail/timber posts and block-out

SBTB	— 	Steel-backed timber guardrail/timber posts and no block-out

CRT	— 	W-beam guardrail and no blockout

SBLG	— 	Steel-backed log rail

(b) Steel guardrail types are designated as follows:

I	— 	Zinc-coated, 1.80 ounces per square foot

II	— 	Zinc-coated, 3.60 ounces per square foot

III	— 	Painted rails

IV	— 	Corrosion resistant steel

(c) Steel guardrail classes are designated as follows:

A	— 	Metal thickness — 0.105 inches

B	— 	Metal thickness — 0.135 inches

(d) Terminal section types are designated as follows:

G4-CRT	— 	Cable releasing terminal

G4-BAT	— 	Back slope anchor terminal

SBT-FAT-30	— 	Flared anchor terminal, 30 feet long

SBT-FAT-20	— 	Flared anchor terminal, 20 feet long

SBT-BAT	— 	Back slope anchor terminal

Flared	— 	Straight or parabolic flared W beam terminal

Tangent	— 	Tangent W beam terminal

Material

617.02  Conform to the following Section and Subsections:

Box beam rail	710.07

Concrete	601

Corrosion resistant steel rail	710.06(b)

Galvanized steel rail	710.06(a)

Guardrail hardware	710.10

Guardrail posts	710.09

Precast concrete anchors	725.11

Reflector tabs	710.10

Retroreflective sheeting, type III	718.01

Steel-backed timber rail	710.08

Welding	555.03

Wire rope or wire cable	709.02

Wood preservative treatment	716.03

Construction Requirements

617.03  Posts.  Treat field cuts for wood posts with two coats of preservative applied with a brush or sprayer.  Do not place field cuts in contact with the ground.

Where the pavement surface is within 3 feet of the guardrail face, install posts before placing the pavement surface.

Punch or drill pilot holes no more than 1/2 inch larger than the post dimensions.  Drive the posts into the pilot holes and set the posts plumb.  Backfill and compact around the posts with acceptable material.

Where it is not possible to maintain a 24-inch minimum distance between the back of the guardrail post and the top of a 1V:2H or steeper slope, increase the standard post length by 12 inches.  Where an impenetrable object is encountered, use a short post with a concrete anchor, decrease the post spacing, or nest two rail elements as approved by the CO.  Do not change the post lengths and spacings in terminal sections.

617.04  Rail Elements.  Install the rail elements after the pavement adjacent to the guardrail is complete.  Do not modify specified hole diameters or slot dimensions.

(a) Steel rail.  Shop bend all curved guardrail with a radius of 150 feet or less.

Erect rail elements in a smooth continuous line with the laps in the direction of traffic flow.  Use bolts that extend at least 1/4 inch but not more than 1 inch beyond the nuts.  Tighten all bolts.

Paint all scrapes on galvanized surfaces that are through to the base metal with 2 coats of zinc-oxide paint.

(b) Steel-backed timber rail.  Equally space bolts along the front face of the timber rail to match the holes in the steel backing.  Align timber guardrail along the top and front of the timber rail.

Field cut timber rails to produce a close fit at joints.  Treat field cuts with 2 coats of chromated copper arsenate.

When required, field drill holes in the steel backing on curved sections to correspond to the field cut wood rails at the joints.  Do not use a torch to cut holes.

(c) Log rail.  Construct log rail according to the plans.

617.05  Terminal Sections.  Construct terminal sections at the locations shown.  Terminal sections consist of posts, railing, hardware, and anchorage assembly necessary to construct the type of terminal section specified.

Where concrete anchors are installed, construct either cast-in-place or precast units.  Do not connect the guardrail to cast-in-place anchors until the concrete has cured 7 days.  Install end anchor cables tightly without slack.

When flared or tangent terminals are required, submit drawings from the manufacturer for the terminals according to Subsection 104.03.

When required by the contract, construct earth berms according to Section 204.

617.06  Connection to Structure.  Construct connection to structure and, where required by the contract, reinforced concrete transition according to the plans.

617.07  Removing and Resetting Guardrail.  Remove and store the existing guardrail, posts, and appurtenances.  Remove and dispose of posts that are set in concrete.  Replace all guardrail, posts, and hardware damaged during removal, storage, or resetting.  Backfill all holes resulting from the removal of guardrail posts and anchors with granular material according to Section 209.

617.08  Raising Guardrail.  Remove the existing guardrail and appurtenances.  Replace and reset posts as needed.  Replace all guardrail, posts, and hardware damaged during the removal and raising.

617.09  Acceptance.  Material for guardrail will be evaluated under Subsections 106.02 and 106.03.

Construction of guardrail will be evaluated under Subsections 106.02 and 106.04.

Earth berm construction will be evaluated under Section 204.

Structural excavation will be evaluated under Section 209.

Welding will be evaluated under Section 555.

Concrete will be evaluated under Section 601.

Measurement

617.10  Measure the Section 617 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure guardrail, excluding terminal sections.  Measure transition sections from G9 rail to G4 rail as G9 rail.

Measure removing and resetting guardrail and raising guardrail including reset terminal sections.

Measure replacement posts (except replacement posts for posts damaged by construction operations) used in the removing, resetting, or raising guardrail.

Measure earth berms under Section 204.

Payment

617.11  The accepted quantities will be paid at the contract price per unit of measurement for the Section 617 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 618. — CONCRETE BARRIERS AND PRECAST GUARDWALLS

Description

618.01  This work consists of constructing and resetting concrete barrier and precast concrete guardwall systems.

Material

618.02  Conform to the following Section and Subsections:

Concrete class A(AE)	552

Guardrail hardware	710.10

Hydraulic cement	701.01

Precast concrete barrier	725.11(b)

Preformed joint filler	712.01(b)

Reinforcing steel	709.01

Construction Requirements

618.03  General.  Excavate and backfill according to Section 209.  Construct barriers and guardwalls that meet crash test requirements of NCHRP Report 350, Recommended Procedures for Safety Performance and Evaluation of the Highway Features.

618.04  Concrete Barriers.  Concrete barriers may be cast-in-place, slip-formed, or precast according to Section 552.  Finish the sides and top according to Subsection 552.16(a).

(a) Cast-in-place.  Hand form or saw contraction joints 1/4 inch wide and 2 inches deep at 20-foot intervals.  Saw as soon as possible after the concrete has set sufficiently to preclude raveling during sawing, but before shrinkage cracking occurs.  Decrease the depth of the saw cut at the edge adjacent to the pavement to prevent pavement damage.

Place 3/4-inch preformed joint filler in all construction joints.  Cut the joint filler to fit the cross-sectional area at structures and barrier construction joints.  Tool construction joint edges.  Seal joints according to Subsection 501.11.

(b) Slip-formed.  Do not touch the barrier extruded concrete surface as it leaves the slip-form machine except to immediately remove offsets and fins by light troweling.

Make adjustments in the operation to correct any condition causing surface blemishes larger than 1/2 inch.  Do not use water on the completed barrier to correct imperfections.

(c) Precast.  Precast barriers in section lengths.  Prepare the barrier foundation so it does not vary over 1/4 inch when a 10-foot straightedge is laid along the centerline of the barrier.  Align the joints and connect adjacent sections.

Use cast-in-place barrier where transitions, split barriers, or gaps shorter than 10 feet require it.  At each joint between precast and cast-in-place barrier, provide hardware in the cast-in-place section to tie its end to the abutting precast section.

618.05  Precast Concrete Guardwall.

(a) Fabrication.  A full-size sample of the guardwall will be provided at a specified location.  Fabricate the guardwall to match the sample's shape, color, and texture.  The guardwall shall also conform to the following:

(1) Fabricate in a precast concrete production facility certified by the National Precast Concrete Association and according to the Association's Manual of Quality Control.

(2) Formulate the facing mixes, backing mixes, and structural concrete backup to produce concrete mix designs of similar aggregate-cement ratios to minimize differences in shrinkage factors and coefficients of thermal expansion and contraction.  Formulate using hydraulic cement, limestone, quartz, mica, and silicious stones in such proportions as to match the sample.

(3) Use epoxy coated reinforcing steel at locations where the reinforcing steel is less than 2 inches from the exposed surface.

(4) Cast the segments straight and true to a line in strong permanent composite molds of steel, plastic resins, concrete, or rubber.

(5) Cast the facing mixes a minimum of 1 inch thick.  Ensure a good bond between facing and backup mixes.

(6) Provide 4 lifting inserts in unexposed areas.  Provide removable caps for the lifting inserts to allow for future segment replacement.

(b) Test section.  Demonstrate the ability to match the sample by fabricating a 10-foot, full-scale guardwall test section and delivering it to the location of the sample for comparison.  If the test section is not in reasonably close conformity to the sample, fabricate another test section according to (a) above.  Test sections that do not match the sample may not be used in the wall installation.

(c) Installation.  After the test section is approved, produce the guardwall sections to match the approved test section.  Prevent damage to the segments during fabrication, handling, delivery, and installation.  Repair or replace all damaged sections.  Prepare the foundation and place the sections.  Use backer rods and joint sealant in the section joints to match the false joints.

At 100-foot intervals and at low points in the guardwall, dig outlet ditches and fill them with 6 inches of aggregate conforming to AASHTO M 43, number 57.

618.06  Terminal Sections.  Where barrier is being constructed next to roadway lanes open to traffic, connect an approved temporary terminal section to the barrier at the end of each day.

Construct permanent graded berms according to Section 204.

618.07  Resetting Barrier.  Reset barrier and terminal sections according to Subsections 618.03 and 618.06.  Store barrier sections in an approved location when resetting cannot immediately follow removal.

618.08  Acceptance.  Material for concrete barrier and precast guardwall (except concrete and reinforcing steel) will be evaluated under Subsections 106.02 and 106.03.

Construction of concrete barriers and precast concrete guardwalls will be evaluated under Subsections 106.02 and 106.04.

Concrete barrier and precast concrete guardwall appearance will be evaluated under Subsection 106.02.

Precast concrete guardwall test sections will be evaluated under Subsection 106.02.

Concrete will be evaluated under Section 552.

Reinforcing steel will be evaluated under Section 554.

Measurement

618.09  Measure the Section 618 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure concrete barrier and precast concrete guardwall excluding terminal sections.

Measure reset barrier in the relocated position including terminal sections.

Measure earth berms under Section 204.

Payment

618.10  The accepted quantities will be paid at the contract price per unit of measurement for the Section 618 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 619. — FENCES, GATES, AND CATTLE GUARDS

Description

619.01  This work consists of constructing fences, gates, cattle guards, and bollard posts and removing and resetting fence.

Material

619.02  Conform to the following Section and Subsections:

Barbed wire	710.01

Chain link fence	710.03

Concrete	601

Fence gates	710.05

Fence posts and bollards	710.04

Cement grout	725.22(e)

Precast concrete units	725.11

Reinforcing steel	709.01

Temporary plastic fence	710.11

Woven wire	710.02

Construction Requirements

619.03  Fences and Gates.

(a) General.  Clear along the fence line.  Remove and dispose of trees, brush, logs, upturned stumps, roots of downed trees, rubbish, and debris according to Subsection 201.06.  Clear a 10-foot width for chain link fence and a 3-foot width for wire fence.

Grubbing is not required except where short and abrupt changes in the ground contour require removal of stumps to properly grade the fence line.  Remove or close cut stumps within the clearing limits.

Perform clearing and leveling with minimum disturbance to the terrain outside the fence line.

Schedule the fence installation, provide temporary fence, or other adequate means to prevent livestock from entering the project right-of-way, easements, or adjoining properties.

At bridges, cattle underpasses, and culverts, connect new fence to structure to permit free passage of livestock under or through the structure.

(b) Chain link fence and gates.

(1) Posts.  Space posts at not more than 10-foot intervals.  Measure the post spacing interval horizontally.  Set posts vertically.

Set posts in concrete according to Section 601.

Where solid rock is encountered without overburden, drill line post holes at least 14 inches deep and drill end, corner, gate, and pull posts at least 20 inches deep in the solid rock.  Make the hole width or diameter at least 1 inch greater than the post width or diameter.  Cut the post to the required length before installation or drill the hole deep enough to set the post at the required height.  Set and plumb the post and fill the hole with grout.  Thoroughly work the grout into the hole to eliminate voids.  Crown the grout to drain water away from the post.

Where solid rock is covered with soil or loose rock overburden, set posts to the plan depth or to the minimum depth into the solid rock as specified above, whichever is less.  When solid rock is encountered before the plan depth, grout the portion of the post in solid rock and backfill the post hole from the solid rock to the top of the ground with concrete.

Provide end, gate, corner, and pull posts with adjacent brace posts as shown on the plans.  A change in the fence alignment of 20 degrees or more is considered a corner.

(2) Top rail.  Install top rails through the ornamental tops of the line posts, forming a continuous brace from end-to-end of each stretch of fence.  Join lengths of top rail with sleeve-type couplings.  Securely fasten top rails to terminal posts by pressed steel fittings or other appropriate means.

(3) Tension wire.  Attach tension wire to end, gate, corner, or pull posts by bands and clamps.  Either thread the top tension wire through the line post loop caps or hold in open slots in a manner to limit vertical movement.  Tie or attach the bottom tension wire to the bottom of the line posts by ties or clamps in a manner that prevents vertical movement.  Apply sufficient tension to avoid excess sag between posts.  On the top tension wire, provide one turnbuckle or ratchet take-up in each run of fence.

(4) Fence fabric.  For fences placed on the right-of-way, place fence fabric on the post face away from the highway.  On curved alignment, place the fence fabric on the post face on the outside of the curve.   For residential fences and fences off the right-of-way, place fence fabric on the post face designated by the CO.

Place the fabric approximately 1 inch above the ground and on a straight line between posts.  Excavate high points of the ground to maintain grade. Do not fill in depressions without prior approval.

Stretch the fabric taut and securely fasten the fabric to the posts.  Do not stretch using a motor vehicle.  Use stretcher bars and fabric bands to fasten to end, gate, corner, and pull posts or weave the fabric into the fastening loops of roll-formed posts.

Fasten fabric to line posts using wire ties, metal bands, or other approved method.  Fasten the top and bottom edge of the fabric with tie wires or hog rings to the top rail or tension wires, as applicable.

Join rolls of fabric by weaving a single strand into the ends of the rolls to form a continuous mesh.

(5) Gates.  Fasten fabric to the end bars of the gate frame by stretcher bars and fabric bands.  Fasten fabric to the top and bottom bars of the gate frame by tie wires similar to the method specified for fence fabric or by other approved standard methods.

Thoroughly clean welded connections on gate frames where the smelter coating has been burned with a wire brush.  Remove traces of the welding flux and loose or cracked smelter.  Paint the cleaned areas with two coats of zinc-oxide paint.

Provide a concrete footing for the drop-bar locking device on double metal gates.  Make a hole to receive the locking bar to the depth specified by the manufacturer of the locking device.

Hinge each single gate to prevent removal of the gate without tools.  Set the gate in an approximately horizontal plane.  Set the gate so it swings freely inward and outward and fastens securely in its latch holder, or in the case of double gates, in its latch holder and gate stops.  Set double gates on their respective hinge pintles to provide a common horizontal plane in which each single gate swings. Set gates to swing open at least 90 degrees in each direction.

(c) Wire fences and gates.

(1) Posts.  Excavate holes for posts, footings, and anchors as shown. Space posts at intervals shown for the type of fence being installed.  Measure post spacing interval parallel to the existing ground slope.  Set posts in a vertical position.  Backfill post holes in 6-inch lifts.  Tamp and compact each lift.

Wood posts may be driven in place if the method of driving does not damage the post.  Metal posts may be driven.  Set metal corner, gate, end, and pull posts in concrete.

Where solid rock is encountered without overburden, drill line post holes at least 14 inches deep and end, corner, gate, and pull posts at least 20 inches deep in the solid rock.  Make the hole width or diameter at least 1 inch greater than the post width or diameter.  Cut the post to the required length before installation or drill the hole deep enough to set the post at the required height.  Set and plumb the post and fill the hole with grout.  Thoroughly work the grout into the hole to eliminate voids.  Crown the grout to drain water away from the post.  Metal posts set in this manner do not require anchor plates and concrete footings.

Where solid rock is covered with soil or loose rock overburden, set posts to the plan depth or to the minimum depth into the solid rock as specified above, whichever is less.  When the depth of overburden is greater than 12 inches, use an anchor plate on steel line posts and backfill steel end, corner, gate, and pull posts with concrete from the solid rock to top of the ground.  When the depth of overburden is 12 inches or less, anchor plates and concrete backfill are not required.  Grout the portion of the post in solid rock.

Install corner posts at changes in alignment of 30 degrees or more. Where new fence joins an existing fence, set end or corner posts, as necessary, and attach in a manner satisfactory to the CO.

(2) Braces.  Limit fence runs to no more than 650 feet between adjacent corner braces, gate braces, end braces, or line braces.  Install line braces at uniform intervals so the distance between any two braces is 650 feet or less.  Construct braces before placing the fence fabric and wires on posts.

(a) Metal braces.  Provide corner posts and pull posts with two braces, one each direction from the post in the main fence line.  Provide end posts and gate posts with one brace in the line of the fence.  Attach metal braces to the metal end, corner, pull, and gate posts and set in concrete as shown.

(b) Wood braces.  Tap the posts to receive the braces.  Anchor the brace to the post with three 16d nails or a 3/8 by 4-inch dowel.  Install brace wires as shown and twist together until the entire assembly is taut and firm.  Lightly notch the posts to position the brace wire.  Drive three staples at each notch to secure wire.

(3) Barbed wire and woven wire.  Place barbed wire and woven wire on the side of the post facing away from the highway.  On curved alignment, place the barbed wire and the woven wire on the post face on the outside of the curve.  Tightly stretch and fasten barbed wire and woven wire to the posts.

Apply tension according to the manufacturer's recommendations using a mechanical stretcher or other device designed for such use.  Evenly distribute the pull over the longitudinal wires in the woven wire so not more than 50 percent of the original depth of the tension curves is removed.  Do not use a motor vehicle to stretch the wire.

Splicing of barbed wire and woven wire between posts is permitted provided not more than two splices, spaced a minimum of 50 feet apart, occur in any one run of fence.  Use wrap or telephone type splices for the longitudinal woven wire and barbed wire with each end wrapped around the other wire for not less than six complete turns.

(4) Fastening barbed wire and woven wire.  Terminate the woven wire and barbed wire at each end, corner, gate, and pull post.  Wrap each line of barbed wire and each longitudinal wire of the woven wire around the post and then itself with at least four turns.  Where wood posts are used, staple the wires tightly to the posts.

At line posts, fasten the woven wire to the post at top and bottom and at intermediate points not exceeding 12 inches apart.  Fasten each strand of barbed wire to each line post.  Use wire ties or clamps to fasten the wires to metal posts.  Securely splice tie wires to the fence on both sides of the post so there are two loops behind the post and one loop in front.  On wood line posts, drive U-shaped staples diagonally across the wood grain so that both points do not enter between the same grain.  In depressions where wire uplift occurs, drive staples with points slightly upward.  On level ground and over knolls, slope the points slightly downward.  Drive the staples just short of actual contact with the wires to permit free longitudinal movement of those lines and to prevent damage to the protective coating.

At grade depressions, alignment angles, and other locations where stresses tending to pull posts from the ground or out of alignment are created, snub or guy the wire fence.  Attach the guy wire to each strand of barbed wire and to the top and bottom wires of woven wire in a manner to maintain the entire fence in its normal shape.  Attach the guy wire to a deadman anchor buried not less than 24 inches in the ground or to an approved anchor at a point that best serves to resist the pull of the wire fence. If necessary to guy the fence in solid rock, grout the guy wire in a hole 2 inches in diameter and 10 inches deep.  Deadman may also be fastened to posts.  Place the deadman anchors at locations as directed.

Where required, install vertical cinch stays as shown.  Twist the wire to permit weaving into the horizontal fence wires to provide rigid spacing.  Weave barbed wires and the top, middle, and bottom wire of the woven wire, as applicable, into the cinch stay.

Where existing fence intersects the new fence, cut the existing fence materials or, splice in kind, new material as necessary, and fasten each longitudinal wire of the woven wire and each strand of the barbed wire to a new end post in line with or immediately adjacent to the new fence line.

(5) Gate installation.

(a) Wire gates.  Construct wire gates of the same material as the fence and as shown.  Provide a taut and well-aligned closure of the opening, capable of being readily opened and closed by hand.

(b) Metal gates.  Install metal gates and fittings to gate posts previously set.  Firmly attach the fittings to the posts and gates.  Hinge each single gate to prevent removal of the gate without tools.  Set the gate in an approximately horizontal plane.  Set the gate so it swings freely inward and outward and fastens securely in its latch holder, or in the case of double gates, in its latch holder and gate stops.  Set double gates and their respective pintles to provide a common horizontal plane in which each single gate swings.  Set gates to swing open at least 90 degrees in each direction.

For double gates, provide a drop-bar locking device with a concrete footing 12 inches in diameter and 12 inches deep.  Crown the top of the footing and make a hole to receive the locking bar.  Make the diameter and depth of the hole in the footing as specified by the manufacturer of the locking device.

(c) Wood gates.  Install wood gates similar to metal gates and as shown.

619.04  Grounding Fences.  Where an electric line crosses the fence line, ground the fence.  Drive an 8-foot long, 1/2-inch minimum diameter galvanized or copper coated steel rod into the ground under the fence directly below the point of crossing.  Drive the rod vertically until the top is 6 inches below the ground surface.  Connect the grounding rod to each fence element with a 1/4-inch diameter solid copper conductor or equivalent.  Either braze the connections or fasten with noncorrosive clamps.

Where an electric line runs parallel or nearly parallel to and above the fence, ground the fence at each end or gate post or at intervals not exceeding 1,600 feet.

Where vertical penetration of the grounding rod cannot be accomplished, use an equivalent horizontal grounding system.

619.05  Remove and Reset Fence.  Remove existing fence and reset to approximately the same condition as the original fence.  Salvage material in the existing fence and incorporate the material into the reset fence.  When posts are set in concrete, remove concrete from old post and reset in concrete.  Replace fence material damaged beyond reuse.  Firmly reset posts on new alignment.  Space posts and attach the horizontal members or wires to posts the same as the original fence.  Furnish and use new material to fasten members or wires to posts.

619.06  Temporary Fence.  When necessary, construct temporary fence to keep livestock and traffic off the road being constructed.  Temporary fence is intended to remain in place only during the construction of the project or until the fence is directed to be removed.

Construct a temporary fence of a type that provides an adequate enclosure for the type of livestock to be confined.

619.07  Cattle Guards.

(a) Excavating and backfilling.  Perform the work described under Section 209.  Excavate foundation to depth with sufficient space for proper installation of formwork.

When the cattle guard is to be installed on new embankment, complete and compact the embankment according to Section 204 before excavating for footing.

(b) Concrete foundation.  Construct cast-in-place concrete foundations according to Section 601.  Concrete cattleguard units may be cast-in-place or precast.  Set precast units in the foundation concrete before it hardens..

Finish stringer bearings to allow full bearing under each stringer.  The cattle guard shall rest on the concrete without rocking.

(c) Cattle guard.  Fabricate cattle guard according to Section 555.  Assemble and place guards as shown on the plans.  Securely fasten the cattle guard to the foundation.  Fasten the metal wings to the cattle guard as shown on the plans.  Connect fences and gates according to the plans.  Weld according to ANSI/AASHTO/AWS D1.5.

Standard manufactured cattle guards may be used if approved.  Designs shall provide for AASHTO loading M-18.  Provide suitable cleanouts.  Prepare and submit drawings according to Subsection 104.03.  Acceptance of the drawings covers the requirements for strength and detail only.  No responsibility is assumed for errors in dimensions.

(d) Painting.  All metal parts shall receive one shop coat.  Two additional coats are required and may be applied in the shop or in the field.  Paint according to Section 563.

619.08  Bollards.  Drill holes for bollards.  Set posts plumb, backfill with approved material, and compact.

619.09  Acceptance.  Material for fences, gates, cattle guards, and bollards will be evaluated under Subsections 106.02 and 106.03.

Construction and erection of fences, gates, cattle guards, and bollards will be evaluated under Subsections 106.02 and 106.04.

Excavation and backfill for cattle guards will be evaluated under Section 209.

Structural steel work for cattle guards will be evaluated under Section 555.

Painting of cattle guards will be evaluated under Section 563.

Concrete work for cattle guards will be evaluated under Section 601.

Measurement

619.10  Measure the Section 619 items listed in the bid schedule according to Subsection 109.02.

Payment

619.11  The accepted quantities will be paid at the contract price per unit of measurement for the Section 619 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 620. — STONE MASONRY

Description

620.01  This work consists of constructing or rehabilitating stone masonry structures and the stone masonry portions of composite structures.

Masonry class is designated according to Subsection 705.03 and as follows:

(a) Dimensioned masonry.  Stones are cut in two or more dimensions and laid in a broken-course pattern in mortar.

(b) Class A masonry.  Stones are shaped, dressed to within 1/4 inch of true line, and laid in mortar.

(c) Class B masonry.  Stones are shaped, dressed to within 3/4 inch of true line, and laid in mortar.

(d) Rubble masonry.  Stones vary in size and shape, are roughly dressed, and laid in random courses in mortar.

Finish for exposed faces is designated according to Subsection 705.03(f).

Material

620.02  Conform to the following Section and Subsections:

Concrete	601

Grout	725.22(f)

Mortar	712.05(a)

Rock for masonry structures	705.03

Construction Requirements

620.03  General.  Furnish stone that matches the native stone on the project.  Submit stone samples representing the range of colors and sizes to be used on the project to the CO 14 days before beginning work.

Keep an adequate inventory of the stone on the site to provide an ample variety of stones for the masons.  When additional stone is added, mix the new stone with the existing stone in a uniform pattern and color.

Excavate and backfill according to Section 209.  Prepare the foundation bed normal to, or in steps normal to, the face of the masonry.  Where foundation masonry is used, clean the bearing surface thoroughly and wet immediately before spreading the mortar bed.

620.04  Placing Stone.  Place stone to provide a uniform pattern and color.  Do not place stone masonry when the ambient temperature is below 32 F.  Maintain completed masonry at a temperature above 40 F for 24 hours after construction.  Clean all stones thoroughly and moisten immediately before placing.  Clean and moisten the bed.

When removing and resetting stone masonry, use hand tools to clean the exposed faces of the stones of all mortar before resetting.

Spread the mortar.  The thicknesses of beds and joints for face stones are as shown in Table 620–1.  Ring stone joints on the faces and soffits are not less than 1/4 inch or more than 1½ inches thick.  However, make the bed of each course of uniform thickness throughout.

Construct joints in dimensioned masonry vertical.  In all other masonry, joints may be at angles with the vertical from 0 to 45 degrees.

Level the cross beds for vertical walls.  Beds for battered walls may vary from level to normal to the batter line of the face of the wall.

Lay the stones with the longest face horizontal and the exposed face parallel to the masonry face.  Flush the joints with mortar.

Do not jar or displace the stones already set.  If a stone is loosened after the mortar has taken initial set, remove it, clean off the mortar, and relay the stone with fresh mortar.

Table 620-1

Masonry Bed and Joint Thicknesses

| Class | Beds (inches) | Joints (inches) |
| --- | --- | --- |
| Rubble | 1/2 – 2½ | 1/2 – 2½ |
| Class B | 1/2 – 2 | 1/2 – 2 |
| Class A | 1/2 – 2 | 1/2 – 1½ |
| Dimensioned | 3/8 – 1 | 3/4 – 1 |

620.05  Pointing.  Conform to the following:

(a) Pointing new joints.  Crown the mortar in the joints on top surfaces slightly at the center of the masonry to provide drainage.

Where raked joints are required, squarely rake all mortar in exposed face joints and beds to the required depth.  Where weather joints are required, slightly rake the joints.  Do not leave the mortar flush with the stone faces.

Clean all face stone of mortar stains while the mortar is fresh.  After the mortar sets, clean again using wire brushes and acid.  Protect the masonry during hot or dry weather and keep it wet for at least 3 days after the work is completed.

(b) Repointing joints.  Remove loose mortar from joints using a small mason’s chisel, small pneumatically-power chisel, or other raking tool approved by the CO.  Do not use power saws or grinders.  Demonstrate proficiency if power equipment is used before removing mortar from the structure.  Remove mortar to a depth of 2 ½ times the width of the joint. Remove any dirt or vegetation with a wire brush or other tools approved by CO. Clean joint of all loose fragments and dust with pressurized air or water.

Before filling the joint dampen adjacent stone.  Do not place mortar to a depth greater than 2½ times the joint width. Place mortar in layers of approximately 1/4 inch for joints deeper than 1/8 inch.  Add successive layers, once mortar has reached thumb-print hardness.  Tool the final layer to match the approved joint appearance. Construct a 3-foot test section of joint along the structure to be approval by the CO before continuing with work.  Approved test section maybe incorporated into the work.

Clean excess mortar and stain from stone masonry using a bristle brush after the mortar has dried but before the initial set.  Do not use chemicals for cleaning unless approved by the CO.  Protect joints during hot or dry weather by keeping damp for 3 days after work has been completed.

620.06  Constructing Walls.  Construct an L–shaped sample section of wall not less than 5 feet high and 8 feet long, showing examples of face wall, top wall, method of turning corners, and method of forming joints.  Do not construct masonry other than the foundation masonry before the sample is approved.

Set face stones in random bond to produce the effect shown on the plans and to correspond with the approved sample section.  Do not extend beds in an unbroken line through more than 5 stones and joints through more than 2 stones.  Bond each face stone with all contiguous face stones at least 6 inches longitudinally and 2 inches vertically.  Do not construct so that the corners of four stones are adjacent to each other.

Do not bunch small stones or stones of the same size, color, or texture.  In general, the stones decrease in size from the bottom to the top of work.  Use large stones for the bottom courses and large, selected stones in the corners.

(a) Headers.  Where required, distribute headers uniformly throughout the walls of structures to form at least 20 percent of the faces.

(b) Backing.  Construct the backing out of large stones.  Bond the individual stones composing the backing and heart with the stones in the face wall and with each other.  Fill all openings and interstices in the backing completely with mortar or with spalls surrounded completely by mortar.

(c) Coping.  Construct copings as shown on the plans.  Where copings are not called for, finish the top of the wall with stones wide enough to cover the top of the wall from 1½ to 5 feet in length, and of random heights, with a minimum height of 6 inches.  Lay stones in a manner that the top course is an integral part of the wall.  Pitch the tops of the top courses of stone to line in both vertical and horizontal planes.

(d) Parapet walls.  Use selected stones, squared and pitched to line and with heads dressed in the ends of parapet walls and in all exposed angles and corners.  Interlock headers with as many headers as possible extending entirely through the wall.  Interlock both the headers and stretchers in the 2 faces of the wall.  The headers and stretchers shall comprise practically the whole volume of the wall.  Completely fill all interstices and spalls with mortar.

(e) Weep holes.  Provide weep holes for all walls and abutments.  Place weep holes at the lowest points where free outlets can be obtained and space them no more than 10 feet center to center.

620.07  Facing for Concrete.

(a) Stone placed before concrete.  Make the back of the masonry uneven to improve the bond to the concrete backing.

Use No. 4 reinforcing steel bent into an elongated letter S to anchor the stone.  Embed each anchor in a mortar bed to within 2 inches from the face of the stones.  Project the other end ±10 inches into the concrete backing.  Space the anchors 18 inches apart both horizontally and vertically.

After the mortar has attained sufficient strength, clean the back masonry surface of all dirt, loose material, and mortar drippings.  Wash surfaces just before placing the concrete using a high-pressure water jet.

When placing the concrete, carry a neat cement grout of the consistency of cream on top of the concrete and against the masonry at all times.  Coat all interstices in the back of the masonry with grout.

(b) Concrete placed before stone.  Allow a facing thickness as shown on the plans.  Set galvanized metal slots with anchors in the concrete face.  Set the anchors vertically at a horizontal spacing not exceeding 24 inches.  Place a temporary filling of felt or other material in the slots to prevent filling with concrete.

Where setting the stone facing, fit the metal anchors tightly in the slots at an average vertical spacing of 24 inches.  Bend at least 25 percent of the anchors at a short right angle to engage a recess cut in the stone.  Extend the anchors to within 3 inches of the exposed face of the stone work.

Where the shape of the concrete face is unsuitable for the use of metal slots, use 9 gage galvanized iron wire ties at a rate of 6 ties for each square yard of exposed surface.  Install ties after the concrete has cured using a gun.

Keep the concrete face continuously wet for 2 hours preceding the placing of the stone and fill spaces between the stones and concrete with mortar.

620.08  Constructing Arches.  Prepare and submit drawings for falsework according to Section 562.  Stratify arch ring stones parallel to the radial joint and stratify other stones parallel to the beds.

Lay out a full-size template of the arch ring near the quarry site showing face dimensions of each ring stone and thickness of joints.  Receive approval before the shaping of any ring stone is started and place no ring stone in the structure until all ring stones have been shaped and dressed.

Construct arch centering according to the approved drawings.  Provide suitable wedges for adjusting the elevation of the forms.

Set arch ring stones to the exact position and hold in place with hardwood wedges until the joints are packed with mortar.  When required, support centering with approved jacks to correct settlement after masonry placement begins.  Lower the centering gradually and symmetrically to avoid overstresses in the arch.  Make the arch self-supporting before the railing or coping is placed.

For filled spandrel arches, strike the centers before constructing the spandrel walls to avoid jamming of the expansion joints.  Place the backfill so the ring is uniformly and symmetrically loaded.

620.09  Guardwall.  Use rubble masonry.  Concrete corewalls for guardwall may be cast-in-place or precast units according to Section 601.  Concrete will have a minimum 28-day compressive strength of 3,500 pounds per square inch.

Construct an 25-foot sample section of guardwall.  Do not construct additional guardwall before the sample is approved.

Construct the guardwall true and uniform along its length with no stone projecting more than 1½ inches.  Make mortar beds and joints according to Table 620-1.  Rake the joints and beds to a depth of 2 inches on the front and top sides and to 1½ inches on the back.

Use a one-piece capstone for the full width of the guardwall for at least 25 percent of the total length.  Use a two-piece capstone with the joint within 4 inches of the guardwall center for the remaining length.

Place all stones, including the capstones, randomly to avoid a pattern.  Lay stones to reflect the width of the expansion joints.  Do not leave a gap or a mortar edge at the expansion joint.  Use various size stones to coin or key the corners of the guardwall.

620.10  Acceptance.  See Table 620-2 for sampling and testing requirements.

Material for mortar will be evaluated under Subsections 106.02 and 106.03.  Mortar will be evaluated under Subsections 106.02 and 106.04.

Rock for masonry structures will be evaluated under Subsections 106.02 and 106.04.

Construction or rehabilitation stone masonry structures will be evaluated under Subsections 106.02 and 106.04.

Excavation and backfill will be evaluated under Section 209.

Concrete will be evaluated under Section 601.

Measurement

620.11  Measure the Section 620 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure stone masonry by the cubic yard in the structure.

Do not measure sample wall sections not incorporated in the work.

Measure stone masonry guardwall including terminal sections.

Measure remove and reset stone masonry by the cubic yard in the structure after resetting.

Measure repoint stone masonry along the centerline of joint.

Payment

620.12  The accepted quantities will be paid at the contract price per unit of measurement for the Section 620 pay items listed in the bid schedule.  Payment will be full compensation for all work prescribed in this Section.  See Subsection 109.05.

| Table 620-2 Sampling and Testing and Requirements | Reporting Time | — |
| --- | --- | --- |
|  | Split Sample | — |
|  | Point of Sampling | Job site |
|  | Sampling Frequency | 1 per installation |
|  | Test Methods Specifications | AASHTO T 23 & T 22 |
|  | Category | — |
|  | Characteristic | Making test specimens Compressive strength |
|  | Type of Acceptance (Subsection) | Measured and tested for conformance (106.04) |
|  | Material or Product | Mortar (712.05) |

## Section 621. — MONUMENTS AND MARKERS

Description

621.01  This work consists of constructing right-of-way monuments, maintenance markers, and similar monuments or posts.

Material

621.02  Conform to the following Section and Subsections:

Concrete	601

Reinforcing steel	709.01

Treated structural timber and lumber	716.03

Untreated structural timber and lumber	716.01

Construction Requirements

621.03  Monuments and Markers.  Locate permanent points according to Section 152.  Excavate and backfill according to Section 209.  Set each monument and marker vertically at the required location and elevation.  Monuments may be cast-in-place or precast according to Section 601.  Backfill and compact around the monument or marker to ensure that it is held firmly in place.

621.04  Acceptance.  Material (except concrete and paint) for monuments and markers will be evaluated under Subsections 106.02 and 106.03.

Construction of monuments and markers will be evaluated under Subsections 106.02 and 106.04.

Location of permanent points will be evaluated under Section 152.

Structural excavation and backfill will be evaluated under Section 209.

Concrete will be evaluated under Section 601.

Paint will be evaluated under Section 563.

Measurement

621.05 Measure the Section 621 items listed in the bid schedule according to Subsection 109.02.

Payment

621.06  The accepted quantities will be paid at the contract price per unit of measurement for the Section 621 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 622. — RENTAL EQUIPMENT

Description

622.01  This work consists of furnishing and operating equipment for construction work ordered by the CO and not otherwise provided for under the contract.

Construction Requirements

622.02  Rental Equipment.  The CO will order in writing rental equipment for use on the project.  Submit the model number and serial number for each piece of equipment before use.  Make equipment available for inspection and approval before use.

Furnish and operate equipment with such auxiliary attachments, oilers, etc., as are usually needed for efficient operation of the equipment.  Keep the equipment in good repair and capable of operating 90 percent of the working time.

Obtain approval of the length of workday and workweek before beginning work.  Keep daily records of the number of unit-hours of operation.  Submit the records along with certified copies of the payroll.

622.03  Acceptance.  Rental equipment work will be evaluated under Subsection 106.02.

Measurement

622.04  Measure the Section 622 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Round portions of an hour up to the next half hour.  Measure time in excess of 40 hours per week at the same rate as the first 40 hours.

Measure time for moving equipment between project work sites.  Do not measure nonoperable equipment or equipment dependent upon another piece of nonoperable equipment.

Payment

622.05  The accepted quantities will be paid at the contract price per unit of measurement for the Section 622 pay item listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 623. — GENERAL LABOR

Description

623.01  This work consists of furnishing workers and hand tools for construction work ordered by the CO and not otherwise provided for under the contract.

Construction Requirements

623.02  Workers and Equipment.  Furnish competent workers and appropriate hand tools for the work.

Obtain approval of the length of workday and workweek before beginning work.  Keep daily records of the number of hours worked.  Submit the records along with certified copies of the payroll.

623.03  Acceptance.  General labor work will be evaluated under Subsection 106.02.

Measurement

623.04  Measure the Section 623 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Round portions of an hour up to the next half hour.  Measure time in excess of 40 hours per week at the same rate as the first 40 hours.

Do not measure time for workers' transportation.

Payment

623.05  The accepted quantities will be paid at the contract price per unit of measurement for the Section 623 pay item listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 624. —  TOPSOIL

Description

624.01  This work consists of furnishing and placing topsoil and placing conserved topsoil.

Material

624.02  Conform to the following Subsections:

Furnished topsoil	713.01(a)

Conserved topsoil	713.01(b)

Construction Requirements

624.03  Preparing Areas.  Shape all slopes and disturbed areas to be covered with topsoil.  Disk or scarify slopes 1V:3H or flatter to a depth of 4 inches.

624.04  Placing Topsoil.  Provide at least 7 days notice before the start of topsoil placement.  Do not place topsoil when the ground or topsoil is frozen, excessively wet, or otherwise in a condition detrimental to the work.  Use all conserved topsoil before furnishing topsoil.  Keep the roadway surfaces clean during hauling and spreading operations.

Spread topsoil to a depth that, after settlement, provides the required depth.  Break clods and lumps with harrows, disks, or other appropriate equipment to provide a uniform textured soil.  Remove and dispose of clods and stones larger than 2 inches, stumps, roots, and other litter according to Subsection 203.05.

Construct longitudinal depressions at least 2 inches deep perpendicular to the natural flow of water without overly compacting the topsoil surface.

624.05  Acceptance.  Material for furnished topsoil will be evaluated under Subsections 106.02 and 106.03.

Material for conserved topsoil will be evaluated under Subsection 106.02.

Placing furnished and conserved topsoil material will be evaluated under Subsections 106.02 and 106.04.

Measurement

624.06  Measure the Section 624 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure furnishing and placing topsoil by the cubic yard in the hauling vehicle or by the acre on the ground surface.

Measure placing conserved topsoil by the cubic yard in the hauling vehicle or by the acre on the ground surface.

Payment

624.07  The accepted quantities will be paid at the contract price per unit of measurement for the Section 624 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 625. — TURF ESTABLISHMENT

Description

625.01  This work consists of soil preparation, watering, fertilizing, seeding, and mulching.

Seeding and mulching methods are designated as dry or hydraulic.

Material

625.02  Conform to the following Subsections:

Agricultural limestone	713.02

Fertilizer	713.03

Mulch	713.05

Seed	713.04

Stabilizing emulsion tackifiers	713.12

Water	725.01

Construction Requirements

625.03  General.  Apply turf establishment to finished slopes and ditches within 14 days after completion of construction on a portion of the site.  Do not seed during windy weather or when the ground is excessively wet, frozen, snow covered, extremely dry, cloddy, hard pan, or not friable.

625.04  Preparing Seedbed.  Grade the seeding area to line and grade.  Remove all weeds, sticks, stones 2 inches in diameter and larger, and other debris detrimental to application, growth, or maintenance of the turf.

If required by the contract, apply limestone and grubproofing.

Cultivate the seeding area to a minimum depth of 4 inches and prepare a firm but friable seedbed before seeding.  Do not cultivate aggregate-topsoil courses that were previously dry seeded under Section 305.

625.05  Watering.  Moisten seeding areas before seeding and maintain the moisture until 10 days after germination.

625.06  Fertilizing.  Apply fertilizer by the following methods:

(a) Dry method.  Incorporate the fertilizer into the upper portion of the seedbed before seeding.

(b) Hydraulic method.  Add fertilizer to the slurry and mix before adding seed.  Apply the seed and fertilizer in one application.

625.07  Seeding.  Apply seed by the following methods:

(a) Dry method.  Apply the seed with approved power driven seeders, drills, or other mechanical equipment.  Hand-operated seeding methods are satisfactory on areas inaccessible to mechanical equipment.  Lightly compact the seedbed within 24 hours after seeding.

(b) Hydraulic method.  Use hydraulic-type equipment capable of providing a uniform application using water as the carrying agent.  Add a tracer material consisting of either wood or grass cellulose fiber mulch to the water.  Apply the tracer material at a rate of 400 pounds per acre to provide visible evidence of uniform application.  Add the seed to the water slurry no more than 30 minutes before application.  Seed by hand areas inaccessible to seeding equipment.

625.08  Mulching.  Apply mulch within 48 hours after seeding by the following methods:

(a) Dry method.  Spread all mulch material, except wood and grass cellulose fibers, by a mulch spreader utilizing forced air to blow the mulch material onto the seeded area.  Apply straw mulch at a rate of 3200 pounds per acre.  Anchor the mulch material with an approved stabilizing emulsion tackifier or approved mechanical method.  Do not mark or deface structures, pavements, utilities, or plant growth with tackifier.

(b) Hydraulic method.  Apply mulch in a separate application from the seed using hydraulic-type equipment according to Subsection 625.07(b).

Apply wood fiber or grass straw cellulose fiber mulch at a rate of 1500 pounds per acre.

Apply bonded fiber matrix hydraulic mulch at a minimum rate of 3000 pounds per acre.  Apply so no hole in the matrix is greater than 0.04 inches.  Apply so that no gaps exist between the matrix and the soil.

Mulch by hand areas inaccessible to mulching equipment.

625.09  Protecting and Caring for Seeded Areas.  Protect and care for seeded areas including watering when needed until final acceptance.  Repair all damage to seeded areas by reseeding, refertilizing, and remulching.  Apply supplemental applications of seed, mulch, fertilizer, lime, or ammonium nitrate.

625.10  Acceptance.  Seed will be evaluated under Subsections 106.02, 106.03, and 713.04.

Mulch, fertilizer, and other turf establishment material will be evaluated under Subsections 106.02 and 106.03.

Turf establishment work will be evaluated under Subsections 106.02 and 106.04.

Measurement

625.11  Measure the Section 625 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure seeding and mulching by the acre on the ground surface or by the slurry unit.  A slurry unit consists of approximately 1,000 gallons of water plus the specified turf establishment material.  Four slurry units contain the material to cover one acre.

Measure turf establishment and supplemental applications by the acre on the ground surface.

Measure water by the M-gallon in the hauling vehicle or by metering.

Payment

625.12  The accepted quantities will be paid at the contract price per unit of measurement for the Section 625 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 626. — PLANTS, TREES, SHRUBS, VINES, AND GROUNDCOVERS

Description

626.01  This work consists of furnishing and planting trees, shrubs, vines, groundcovers, and other plants.

Material

626.02  Conform to the following Subsections:

Fertilizer	713.03

Miscellaneous planting material	713.08

Mulch	713.05

Plant material	713.06

Topsoil	713.01

Water	725.01(b)

Construction Requirements

626.03  General.  Do not plant in frozen ground, when snow covers the ground, or when the soil is saturated, extremely dry, cloddy, hard pan, not friable, or is otherwise unsatisfactory for planting.

Furnish stock with a fibrous, cohesive root system.  Do not provide container-grown stock that is pot-bound, that has a top system out of proportion (larger) to the size of the container, or that has roots growing out of the container.

626.04  Inspecting and Delivering.  Notify the CO 30 days in advance of the delivery of material to permit the CO the opportunity to select material at the source.  Submit commercial certifications and complete written information concerning the source of supply for all plant material at least 15 days before delivery of plants to the project.

626.05  Protection and Temporary Storage.  Package plants to provide protection against climate and breakage during transit.  When shipment is made by open vehicle, tie and cover plant materials to prevent wind damage and dehydration.  Spray evergreen and deciduous trees in leaf with an anti-transpirant according to the manufacturer’s instructions.  When shipment is made by closed vehicle, carefully pack and adequately ventilate plants to prevent “sweating.”

Keep all plant material moist and exercise care to prevent damage to bark, branches, and root systems.  Replace all damaged plants including plants with cracked or crushed root balls.

Tag each plant delivered to the project with a weatherproof tag showing the plant name and date of delivery.

Protect plants delivered, but not scheduled for immediate planting, as follows:

(a) Open the bundles of bare root material, separate plants, and cover the roots in moist trenches.

(b) Cover the earth balls of balled and burlapped material with mulch or other suitable material and keep moist.

Install all plant material received on site within 30 days.

626.06  Excavation for Plant Pits and Beds.  At least 14 days before planting, submit planting locations and methods of planting to the CO for approval.  Mark planting locations with stakes or flagging.  Remove all sod, weeds, roots, and other unsuitable material from the planting site.  Excavate plant pits as follows:

(a) Width of excavation.

(1) For root spread or ball diameters up to 4 feet, dig the pits circular in outline to the root spread plus 2 feet.

(2) For root spreads or ball diameters over 4 feet, excavate 1.5 times the root spread.

(b) Depth of excavation.  Dig the pits to a depth that permits a minimum of 6 inches of backfill under the roots or balls or dig the pits to the following depths, whichever is deeper:

(1) Deciduous trees.

(a) Under 1½-inch caliper.  2 feet deep

(b) Over1½-inch caliper.  3 feet deep

(2) Deciduous and evergreen shrubs.

(a) Under 2 feet height.  1 foot deep

(b) Over 2 feet height.  2 feet deep

(3) Evergreen trees.

(a) Under 5 feet height.  8 inches plus ball height

(b) Over 5 feet height.  12 inches plus ball height

(4) Vines and groundcovers.  Double the size of the pot.

Loosen soil at the sidewalls and bottom of the plant pit to a depth of 6 inches before setting the plant.

Do not leave planting holes open overnight.

626.07  Setting Plants.  Do not plant material until inspected and approved by the CO.  Plants not meeting specifications, arriving on site in an unsatisfactory condition, or showing sign of improper handling will be rejected.  Immediately remove and dispose of all rejected plants off site and replace with approved nursery stock.

Prepare a backfill mixture of 4 parts topsoil, loam, or selected soil to one part peat moss.  Place backfill mixture in the bottom of the plant pit.  Set all plants approximately plumb and at the same level or slightly lower than the depth at which they were grown in the nursery or collected in the field.  Set plants as follows:

(a) Bare root stock.  Place bare rooted plants in the center of the plant pit with the roots properly spread in a natural position.  Cut broken or damaged roots back to sound root growth.  Work backfill mixture around and over the roots, tamp as hole is being filled, and water thoroughly.

(b) Balled and burlapped stock.  Handle and move plants by the ball.  Place balled and burlapped plants in the prepared pits on tamped backfill mixture.  Score the root ball to a depth of 1 inch along the entire side equally on 4 sides.  Backfill around the plant ball to half the depth of the ball.  Tamp and thoroughly water.  Cut the burlap and remove it from the upper half of the ball or loosen the burlap and fold it back.  If wire baskets are used cut the wire from the upper half of the basket.  Backfill the remainder of the plant with backfill mixture.

(c) Container-grown stock.  Remove the container just before planting.  Place plants in the prepared pits on tamped backfill mixture.  Backfill the remainder of the plant with backfill mixture and tamp.

626.08  Fertilizing.  Fertilize using either of the following methods:

(a) Mix the fertilizer with the backfill mixture when it is prepared.

(b) Spread the fertilizer uniformly around the pit area of individual plants or over shrub beds.  Cultivate the fertilizer into the top 2 inches of the backfill mixture.

626.09  Watering.  Construct 4-inch deep water basins around trees and 3-inch deep water basins around shrubs.  Make the diameter of the basin equal to that of the plant pit.

Water plants during and immediately after planting and throughout the plant establishment period.  Saturate the soil around each plant at each watering.

626.10  Guying and Staking.  When guying and staking is specified, guy deciduous trees just below the first lateral branch and guy evergreen trees half way up the height of the tree.  Do not leave the guys and stakes on a tree for more than one growing season.

626.11  Pruning.  Prune before or immediately after planting to preserve the natural character of each plant.  Use experienced personnel to perform the pruning.  Use accepted horticultural practice.  Paint cuts over 3/4 inch in diameter with tree wound dressing.

626.12  Mulching.  Place mulch within 24 hours after planting.  Place mulch material over all pit or water basin areas of individual trees and shrubs and over the entire shrub bed.  If wood fiber is used, apply nitrogen at the rate of 8 pounds per cubic yard to the mulch material.

626.13  Plant Establishment Period.  The plant establishment period is a one-year period beginning at the completion of the project.  Employ all necessary means to preserve the plants in a healthy growing condition during the plant establishment period.  Care during the establishment period includes watering, cultivating, pruning, repairing, adjusting guys and stakes, and controlling insects and disease.  At the end of the plant establishment period, remove all guys and stakes.

626.14  Acceptance.  Plant material (including plants, fertilizer, mulch, and topsoil) will be evaluated under Subsections 106.02 and 106.03.

Planting of trees, shrubs, vines, groundcovers and other plants will be evaluated under Subsections 106.02 and 106.04 and as follows:

An inspection of the plant material will be made about 15 days before the end of the plant establishment period to identify all dead, dying, or diseased plants for removal and replacement.  During the following planting season, remove and replace all identified plants according to this Section.  A final inspection of all plant material within 15 days after completion of all replacement planting will be the basis for final acceptance.

Measurement

626.15  Measure the Section 626 items listed in the bid schedule according to Subsection 109.02.

Payment

626.16  The accepted quantities will be paid at the contract price per unit of measurement for the Section 626 pay item listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

Progress payments for plants will be made as follows:

(a) 75 percent of the unit bid price will be paid following initial planting.

(b) The remaining 25 percent of the unit bid price will be paid after the final inspection.

## Section 627. — SOD

Description

627.01  This work consists of furnishing and placing living sod of perennial turf-forming grasses.

Sod placement is designated as solid, strip, or spot according to Subsection 627.06.

Material

627.02  Conform to the following Subsections:

Agricultural limestone	713.02

Fertilizer	713.03

Pegs for sod	713.11

Sod	713.10

Water	725.01

Construction Requirements

627.03  General.  Move and lay sod during dry weather and on dry, unfrozen ground.

627.04  Inspecting and Delivering.  Provide at least 3 days notice before cutting sod.  The CO will approve the sod in its original position before cutting.  Do not deliver sod until the soil is prepared.

627.05  Preparing the Soil.  Clear and grade the area to be sodded.  Cultivate, disk, harrow, or otherwise loosen the grade to a depth of not less than 4 inches.  Remove stones larger than 2 inches in any diameter, sticks, stumps, and other debris that might interfere with the proper placement or subsequent growth.

Topsoil according to Section 624.

Apply fertilizer and agricultural limestone uniformly over the sodding area.  Mechanical spreaders or blower equipment may be used.  Disk or till the fertilizer and limestone into the soil to a depth of 4 inches.

Moisten the prepared soil.

627.06  Placing Sod.  Place sod within 24 hours after cutting or within 5 days after cutting when the sod is stored in moist stacks, grass-to-grass and roots-to-roots.  Protect sod against drying and from freezing.

(a) Solid sod.  Place sod perpendicular to drainage flows.  Place sections of solid sod edge to edge with staggered joints.  Plug openings with sod or fill openings with acceptable loamy seeded topsoil.  Roll or tamp sod to eliminate air pockets and provide an even surface.  On slopes 1V:2H or steeper and in channels, peg sod on 2-foot centers after rolling or tamping.  Drive pegs flush with the sod bed surface.

(b) Strip sod.  Lay strip sod in shallow trenches in parallel rows.  Firmly roll or tamp until the surface of the sod is level with or below the adjacent soil.  Seed the soil between the strips of sod according to Section 625.  Rake or drag the seeded areas to cover the seed.

(c) Spot sod.  Place sod blocks.  Roll or tamp the blocks into the soil until the sod surfaces are slightly below the surrounding ground surface.

Blend final grades with existing adjacent areas.  Leave the entire area drainable and free from abrupt changes in slope.

627.07  Maintaining Sodded Areas.  Water sod when placing and keep moist.  Avoid erosion when watering.

Erect warning signs and barriers to protect newly sodded areas.  Do not allow wheeled vehicles on newly sodded areas.

Mow sodded areas and repair or replace sodded areas that are damaged or fail to show a uniform growth of grass.  Maintain sodded areas and replace all nonliving sod until final acceptance of the project.

627.08  Acceptance.  Material, including lime and fertilizer, for sodding will be evaluated under Subsections 106.02 and 106.03.

Sod placement will be evaluated under Subsections 106.02 and 106.04.

Topsoil will be evaluated under Section 624.

Seed will be evaluated under Section 625.

Measurement

627.09  Measure the Section 627 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Do not measure non-sodded areas adjacent to strip and spot sodding.

Measure topsoil under Section 624.

Measure water and seeding under Section 625.

Payment

627.10  The accepted quantities will be paid at the contract price per unit of measurement for the Section 627 pay item listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 628. — Reserved

## Section 629. — ROLLED EROSION CONTROL PRODUCTS AND CELLULAR CONFINEMENT SYSTEMS

Description

629.01  This work consists of constructing temporary and permanent installations to control erosion and enhance vegetation establishment and survivability on slopes and channels.  This work includes installing rolled erosion control products (RECP) and cellular confinement systems.

RECP are designated according to Subsections 713.17, 713.18, and the following:

(a) Mulch control netting.  A planar woven natural fiber or extruded geosynthetic mesh used as a temporary degradable RECP to anchor loose fiber mulches.

(b) Open weave textile.  A temporary degradable RECP composed of processed natural or polymer yarns woven into a matrix, used to provide erosion control and facilitate vegetation establishment.

(c) Erosion control blanket.  A temporary degradable RECP composed of processed natural or polymer fibers mechanically, structurally or chemically bound together to form a continuous matrix to provide erosion control and facilitate vegetation establishment.

(d) Turf reinforcement mat.  A long term non-degradable RECP composed of UV stabilized, non-degradable, synthetic fibers, filaments, nettings, or wire mesh processed into three dimensional reinforcement matrices designed for permanent and critical hydraulic applications where design discharges exert velocities and shear stresses that exceed the limits of mature, natural vegetation.  Turf reinforcement mats provide sufficient thickness, strength and void space to permit soil filling and retention and the development of vegetation within the matrix.

Cellular confinement system cell depths are designated according to Table 713-2.

Material

629.02  Conform to the following Sections and Subsections:

Cellular confinement systems	713.07

Permanent RECP	713.18

Temporary RECP	713.17

Topsoil	624

Turf establishment	625

Construction Requirements

629.03  General.  Make the soil surface stable, firm, and free of rocks and other obstructions.  Install RECP and cellular confinement systems according to the manufacturer’s recommendations and to the following minimum guidelines.  Apply turf establishment according to Section 625.

In areas to be mowed soon after installation, use ultra-short term temporary RECP consisting of rapidly degrading nettings with a service life of 3 months or less.

629.04  Mulch Control Netting (RECP, Types 1.A, 2.A, and 3.A).  Apply mulch according to Subsection 625.08(a).  Immediately after mulching, install mulch control netting according to Subsection 629.05.

629.05  Erosion Control Blanket, Open Weave Textile, and Turf Reinforcement Mat (RECP, Types 1.B, 1.C, 1.D, 2.B, 2.C, 2.D, 3.B, 4, 5.A, 5.B, and 5.C).  Unless soil in-filling is required, complete turf establishment work before installing RECP.

If soil in-filling is required, first install RECP.  Then apply seed and lightly brush or rake 1/4 to 3/4 inch of topsoil into the voids in the RECP filling the full product thickness.

Use staples that are at least 6 inches long to secure the RECP.  Longer staples may be necessary in sandy, loose, or wet soils.

Unroll the RECP parallel to the primary direction of flow and place it in direct contact with soil surface.  Do not stretch or allow RECP to bridge over surface inconsistencies.  Overlap edges of adjacent RECP by 2 to 4 inches.  Use a sufficient number of staples to prevent seam separation.  Overlap roll ends of joining RECP 2 to 6 inches in the direction of flow.

(a) Slope Installations.  At the top of slope, anchor the RECP by one of the following methods:

(1) Staples.  Install the RECP 36 inches over the shoulder of the slope onto flat final grade.  Secure with a single row of staples on 12-inch centers.

(2) Anchor trench.  Construct a 6-inch by 6-inch trench.  Extend the upslope terminal end of the RECP 36 inches past the trench.  Use staples on 12-inch centers to fasten the RECP into the trench.  Backfill the trench and compact the soil.  Secure the terminal end with a single row of staples on 12-inch centers and cover the end with soil.  Apply turf establishment.

(3) Check slot.  Install two rows of staples 4 inches apart on 4-inch centers across the top edge of the RECP.  Drive all staple heads flush with soil surface.

Securely fasten all RECP to the soil by installing staples at a minimum rate of 1.5 per square yard.

(b) Channel Installations.  At the beginning of the channel, construct a full width anchor trench according to paragraph (a)(2) above.  Construct additional anchor trenches or check slots at intervals along the channel reach and at the channel end according to paragraph (a)(2) or (a)(3) and the manufacturer’s installation guidelines.

Securely fasten all RECP to the soil by installing staples at a minimum rate of 2.0 per square yard.  Significantly higher anchor rates may be necessary in sandy, loose, or wet soils and in severe applications.

Repair all damaged areas immediately by restoring soil to finished grade, re-applying turf establishment, and replacing the RECP.

629.06  Cellular Confinement Systems.  Excavate to the depth of the cellular confinement system and smooth and compact the slope.  Install the top of the system flush or lower than the adjacent slope.  Expand the geocell down the slope.  Connect adjacent geocell sections with hog rings or staples in every other cell.

Anchor the system with wooden stakes across the top at every other cell.  Repeat the anchoring pattern in every tenth row and in the bottom row.  Drive stakes to a minimum embedment of 1 foot below the base of the cellular confinement layer.

Backfill the system with topsoil.  Hand-compact the topsoil within each cell and apply turf establishment.

629.07  Acceptance.  RECP and cellular confinement system material will be evaluated under Subsection 106.02 and 106.03.

Installation of RECP and cellular confinement systems will be evaluated under Subsections 106.02 and 106.04.

Topsoil will be evaluated under Section 624.

Turf establishment will be evaluated under Section 625.

Measurement

629.08  Measure the Section 629 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure topsoil under Section 624.

Measure turf establishment under Section 625.

Payment

629.09  The accepted quantities will be paid at the contract price per unit of measurement for the Section 629 pay items shown in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 630. — Reserved

## Section 631. — Reserved

## Section 632. — Reserved

## Section 633. — PERMANENT TRAFFIC CONTROL

Description

633.01  This work consists of constructing permanent traffic control signs, supports, delineators, and object markers, and removing and resetting permanent traffic control devices.

Sign panels are designated as plywood, aluminum, steel, plastic, or fiberglass reinforced plastic.

Sign retroreflective sheeting type is designated according to Subsection 718.01.

Posts are designated as wood, aluminum, galvanized steel, or corrosion resistant steel.

Material

633.02  Conform to the MUTCD and the following Section and Subsections:

Aluminum panels	718.05

Concrete	601

Delineator and object marker retroreflectors	718.12

Extruded aluminum panels	718.07

Fiberglass reinforced plastic panels	718.06(b)

Hardware	718.10

Letters, numerals, arrows, symbols, and borders	718.11

Object marker and delineator posts	718.09

Plastic panels	718.06(a)

Plywood panels	718.03

Retroreflective sheeting	718.01

Signposts	718.08

Steel panels	718.04

Construction Requirements

633.03  General.  Furnish traffic control devices according to the MUTCD and Standard Highway Signs published by FHWA.  Submit the sign list for approval before ordering.

633.04  Supports.  Sign locations may be changed to fit field conditions as approved by the CO.  Determine sign support lengths at time of staking.  Install supports plumb and according to the manufacturer's instructions.  Make all supports within the clear zone crashworthy.

Drive posts with a suitable driving head or set posts in drilled or punched holes.  Replace all damaged posts.

Construct concrete footings according to Section 601.  Excavate and backfill according to Section 209.

633.05  Panels.  Use type III, VII, VIII, or IX retroreflective sheeting.  For permanent sign panels, use type L-1 letters, numerals, arrows, symbols, and borders.  Cut panels to size and shape and drill or punch all holes.  Make panels flat and free of buckles, warp, dents, cockles, burrs, and other defects.

Clean and degrease the face of metal panels using methods recommended by the retroreflective sheeting manufacturer.  Abrade, clean, and degrease the face of the plywood panels using methods recommended by the retroreflective sheeting manufacturer.  Treat the edges of the plywood panel with an approved edge sealant.  Apply the retroreflective sheeting material to the panels.  Package sign panels in protective material and transport them in a vertical position.

Mount sign panels with the legend horizontal.  Where multiple panels adjoin, limit the gap between adjacent panels to 1/16 inch.  To reduce specular glare (mirror reflection), turn the sign panel 3 degrees away from the road in the direction of travel.

Use oversized bolt heads and neoprene or nylon washers for fastening plastic sign panels.

Do not field drill holes in any part of the panel.  Use antitheft fasteners where possible.  Paint all bolt heads, screw heads, and washers that are exposed on the sign face.  Match the color of the paint to the color of the background or message area at the point where the fitting is exposed.

If a sign message is not applicable, completely cover the face of the sign with an opaque material.  Maintain the covering in good condition until the message becomes applicable.  Do not use adhesive tape on the sign face.

Repair or replace damaged parts including sheeting.

633.06  Delineators and Object Markers.  Attach delineators and object markers to posts according to the manufacturer's recommendation.

633.07  Removing and Resetting Permanent Traffic Control Devices.  Remove and store the existing signs, delineators, and object markers.  Replace all devices, posts, and hardware damaged during removal, storage, and raising.

633.08  Acceptance.  Material (including signs panels, retroreflective sheeting, supports, delineators, object markers, and hardware) for traffic control devices will be evaluated under Subsections 106.02 and 106.03.

Installation of traffic control devices will be evaluated under Subsections 106.02 and 106.04.

Excavation and backfill will be evaluated under Section 209.

Concrete will be evaluated under Section 601.

Measurement

633.09  Measure the Section 633 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

Measure sign systems by the square foot of front face of sign panel as follows:

(a) When a sign system is measured by the each, measure each system as one sign regardless of the number of sign panels or posts.

(b) When a sign system is measured by the square foot, measure the nominal dimensions of all the sign panels.

(c) A sign system includes the supports.

Measure sign panel by the square foot of front face.

Measure each sign panel in a multiple configuration.

Measure removing and resetting permanent traffic control devices after they are reset.  Measure based on the number of devices reset in their final position as described in (a) above.

Payment

633.10  The accepted quantities will be paid at the contract price per unit of measurement for the Section 633 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 634. — PERMANENT PAVEMENT MARKINGS

Description

634.01  This work consists of applying permanent pavement markings and raised pavement markers on the completed pavement.

Pavement markings are designated as follows:

Type A	— 	Conventional traffic paint with type 1 glass beads

Type B	— 	Waterborne traffic paint with type 1 glass beads

Type C	— 	Waterborne traffic paint with type 3 glass beads

Type D	—	 Epoxy markings with type 1 glass beads

Type E	— 	Epoxy markings with type 1 and type 4 glass beads

Type F	— 	Polyester markings with type 1 glass beads

Type G	— 	Polyester markings with type 1 and type 4 glass beads

Type H	— 	Thermoplastic markings with type 1 glass beads

Type I	— 	Thermoplastic markings with type 1 and type 5 glass beads

Type J	— 	Preformed plastic markings

Type K	—	Nonreflectorized markings

Material

634.02  Conform to the MUTCD and the following Subsections:

Conventional traffic paint	718.13

Epoxy markings	718.15

Epoxy resin adhesives	718.23

Glass beads	718.19

Polyester markings	718.16

Preformed plastic markings	718.18

Raised pavement markers	718.20

Thermoplastic markings	718.17

Waterborne traffic paint	718.14

Construction Requirements

634.03  General.  Where existing and final pavement marking locations are identical, stake the limits of all existing pavement markings (no-passing zones, edge stripes, etc.) before any pavement work.  Upon completion of the final surface course, establish line limits for the new pavement for approval before marking.  Establish markings according to the MUTCD. In curve widening areas, apply the pavement edge markings at the edge of the traveled way and the centerline markings midway between the pavement lines.

Remove loose particles, dirt, tar, grease, and other deleterious material from the surface to be marked.  Where markings are placed on rigid pavement less than 1 year old, clean the pavement of all residue and curing compounds.  Remove temporary pavement markings the same day permanent pavement markings are applied.  Apply markings to a clean, dry surface according to the MUTCD.

At least 7 days before applying pavement markings, furnish a written copy of the marking manufacturer's recommendations for use.  A field demonstration may be required to verify the adequacy of recommendations.

Ship marking material in appropriate containers plainly marked with the following information, as appropriate, for the material being furnished:

(a) Manufacturer's name and address;

(b) Name of product;

(c) Lot/batch numbers;

(d) Color;

(e) Net mass and volume of contents;

(f) Date of manufacture;

(g) Date of expiration;

(h) Statement of contents (if mixing of components is required);

(i) Mixing proportions and instructions; and

(j) Safety information.

Apply pavement markings in the direction of traffic according to the manufacturer's recommendations.  Apply all markings to provide a clean-cut, uniform, and workmanlike appearance by day and night.

Make lines 4 inches wide.  Make broken lines 10 feet long with 30-foot gaps.  Make dotted lines 2 feet long with 4-foot gaps.  Separate double lines with a 4-inch space.

Protect marked areas from traffic until the markings are dried to no-tracking condition.  Remove all tracking marks, spilled marking material, markings in unauthorized areas, and defective markings.

Remove all conflicting pavement markings according to Subsection 635.13.

634.04  Conventional Traffic Paint (Type A).  Apply paint when the pavement and air temperatures are above 40 ºF.  Spray paint at 15 mil minimum wet film thickness before glass beads or at a rate of 107square feet per gallon.  Immediately apply type 1 glass beads on the paint at a minimum rate of 6 pounds per gallon of paint.

On new asphalt pavements or new asphalt surface treatments, apply two coats.  Apply the first coat at 360 square feet per gallon and the second coat at 150 square feet per gallon.

634.05  Waterborne Traffic Paint (Type B and C).  Apply paint when the pavement and air temperatures are above 50 ºF.  Spray paint at 15 mil minimum wet film thickness before glass beads or at a rate of  107 square feet per gallon.

(a) Type B.  Immediately apply type 1 glass beads on the paint at a minimum rate of 6 pounds per gallon of paint.

(b) Type C.  Immediately apply type 3 glass beads on the paint at a minimum rate of 12 pounds per gallon of paint.

On new asphalt pavements or new asphalt surface treatments, apply two coats.  Apply each coat at 210 square feet per gallon.

634.06  Epoxy Markings (Types D and E).  Heat components A and B separately at 110±30 ºF and mix.  Discard all material heated over 140 ºF.  Apply epoxy when the pavement and air temperatures are above 50 ºF.  Apply as a spray at 110±30 ºF (gun tip temperature) at a 15 mil minimum dry film thickness or 107 square feet per gallon.

(a) Type D.  Immediately apply type 1 glass beads on the epoxy at a minimum rate of 15 pounds per gallon of epoxy.

(b) Type E.  Use two bead dispensers.  Immediately apply type 4 glass beads on the epoxy at a minimum rate of 12 pounds per gallon of epoxy immediately followed by an application of type 1 glass beads at a minimum rate of 12 pounds per gallon.

634.07  Polyester Markings (Types F and G).  Apply polyester when the pavement and air temperatures are above 50 ºF.  Spray at 128±7 ºF (gun tip temperature) at a 15 mil minimum dry film thickness or 107 square feet per gallon.  Discard all material heated over 150 ºF.  Do not use fast dry polyester markings on asphalt pavements less than 1 year old.

(a) Type F.  Immediately apply type 1 glass beads on the polyester at a minimum rate of 15 pounds per gallon of polyester.

(b) Type G.  Use two bead dispensers.  Immediately apply type 4 glass beads on the polyester at a minimum rate of 12 pounds per gallon of polyester immediately followed by an application of type 1 glass beads at a minimum rate of 12 pounds per gallon.

634.08  Thermoplastic Markings (Type H and I).  On areas to be marked on rigid pavements and old asphalt pavements, apply an epoxy resin primer/sealer according to the thermoplastic manufacturer's recommendations.  Allow the primer/sealer to dry.

Apply thermoplastic when the pavement and air temperatures are above 50 ºF.  Spray or extrude the thermoplastic at 430±5 ºF.  For centerlines and lane lines, spray or extrude 90 mil minimum dry film thickness or at a rate of 17.8 square feet per gallon.  For edge lines, spray or extrude 60 mil minimum dry film thickness or at a rate of 26.7 square feet per gallon.

(a) Type H.  Immediately apply type 1 glass beads on the thermoplastic at a minimum rate of 12 pound per 100 square feet.

(b) Type I.  Use two bead dispensers.  Immediately apply type 5 glass beads on the thermoplastic at a minimum rate of 12 pounds per 100 square feet immediately followed by an application of type 1 glass beads at a minimum rate of 12 pounds per 100 square feet.

The minimum bond strength of the thermoplastic shall be 175 pounds per square inch on rigid pavements.

634.09  Preformed Plastic Markings (Type J).  Install to form a durable, weather resistant bond to the pavement.  Apply preformed plastic markings according to the manufacturer's recommendation.

Where applied during final compaction of asphalt pavement, apply preformed plastic when the pavement temperature is about 140 ºF.  Roll the marking into the surface with a steel wheel roller.   The finished pavement marking may extend approximately 10 mil above the final surface.

634.10  Nonreflectorized Markings (Type K).  Apply conventional traffic paint, waterborne traffic paint, epoxy markings, polyester markings, or thermoplastic markings as described above, but with no glass beads added.

634.11  Raised Pavement Markers.  Install raised pavement markers when the pavement and air temperatures are above 50 ºF.  Apply raised pavement markers with epoxy resin or asphalt adhesive.

Heat epoxy components A and B separately with indirect heat, mix, and apply at 70±10 ºF.  Discard all material heated over 120 ºF or stiffened by polymerization.

Heat and apply asphalt adhesives at 412±12 ºF.  Discard all material heated over 450 ºF.

Space and align the markers to within 1/2 inch of the required location.  Do not place raised pavement markers over pavement joints.

The minimum bond strength will be 1.75 pounds per square inch or a total tensile strength of 25 pounds.

634.12  Acceptance.  Material for permanent pavement markings will be evaluated under Subsections 106.02 and 106.03.

Placement of permanent pavement marking will be evaluated under Subsections 106.02 and 106.04.

Measurement

634.13  Measure the Section 634 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

When two coats of paint are required, measure each coat.

When pavement markings are measured by the linear foot or station, measure the length of line applied along the centerline of each 4-inch-wide line applied regardless of color.  Measure broken or dotted pavement lines from end to end of the line including gaps.  Measure solid pavement lines from end to end of each continuous line.  For line widths other than 4 inches, the measured length of line is adjusted in the ratio of the required width to 4 inches.

When pavement markings are measured by the square foot, measure the number of square feet of symbol or letter marking based on the marking area shown in the contract or, if not shown, the area of each marking measured in place to the nearest square foot.

Payment

634.14  The accepted quantities will be paid at the contract price per unit of measurement for the Section 634 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

## Section 635. — TEMPORARY TRAFFIC CONTROL

Description

635.01  This work consists of furnishing, maintaining, relocating, and removing temporary traffic control devices and services as ordered for the control and protection of public traffic through the project.

Advance warning arrow panel, barricade, and warning light types are designated as shown in the MUTCD.

Material

635.02 Conform to the MUTCD and the following Sections and Subsections:

Construction sign panels	633

Retroreflective sheeting	718.01

Temporary concrete barrier	618

Temporary plastic fence	710.11

Temporary guardrail	617

Temporary pavement markings	718.21

Temporary traffic control devices	718.22

Traffic markings	634

Construction Requirements

635.03  General.  Install and maintain temporary traffic control devices adjacent to and within the project as required by the traffic control plan, Section 156, and the MUTCD.  Install and maintain traffic control devices as follows:

(a) Furnish and install traffic control devices before the start of construction operations.

(b) Install only those traffic control devices needed for each stage or phase.

(c) Relocate temporary traffic control devices as necessary.

(d) Remove devices that no longer apply to the existing conditions.

(e) Immediately replace any device that is lost, stolen, destroyed, or inoperative.

(f) Keep temporary traffic control devices clean.

(g) Furnish and maintain traffic control devices that meet the "acceptable" standard described in Quality Standards for Work Zone Traffic Control Devices published by ATSSA.  Amend the ATSSA standards as follows:

(1) Repair or remove and replace "marginal" devices within 48 hours; and

(2) Repair or remove and replace "unacceptable" devices immediately.

(h) Remove all temporary traffic control devices upon contract completion or when approved.

(i) Furnish temporary traffic control devices that meet the NCHRP Report 350, Recommended Procedures for the Safety Performance Evaluation of Highway Features, for crashworthiness standards as applicable.

635.04  Advance Warning Arrow Panels.  Perform the work described under MUTCD Part 6.

635.05  Barricades.  Perform the work described under MUTCD Part 6.  Use type III, VII, VIII, or IX retroreflective sheeting.

635.06  Cones and Tubular Markers.  Perform the work described under MUTCD Part 6.  Use 28-inch cones or tubular markers.  Use type III, or VI retroreflective sheeting.

635.07  Construction Signs.  Use type III, VII, VIII, or IX retroreflective sheeting.  For roll-up signs, use type VI retroreflective sheeting.  Remove or completely cover all unnecessary signs with metal, plywood, or other acceptable material.

Use crashworthy posts within the traversable area adjacent to traffic.  Install posts according to Section 633.

635.08  Drums.  Perform work described in MUTCD Part 6.  Use plastic drums that are approximately 36 inches high and a minimum of 18 inches in diameter.  Use type III or VI retroreflective sheeting.

635.09  Flaggers.  Use flaggers certified by the American Traffic Safety Services Association, the National Safety Council, the International Municipal Signal Association, a state agency, or other acceptable organization.  Perform the work described under MUTCD Part 6.  Use type III, VII, VIII, or IX retroreflective sheeting on flagger paddles.  Do not use flags.

635.10  Pilot Cars.  Perform the work described under MUTCD Part 6.  Use pilot car operators meeting the minimum qualifications of a flagger according to Subsection 635.09.  Mount a rotating amber beacon on the roof of each pilot car.  Do not use strobe light beacons.

635.11  Temporary Barriers.  Perform the work described under MUTCD Part 6.  Use temporary barriers that meet NCHRP Report 350 and are new or used provided they are not badly damaged.  Lifting holes no larger than 4 inches or lifting loops are permitted.  Individual sections may vary in length.

Mount 3-inch minimum dimension white or yellow retroreflectors, as applicable, to the top or side of the barrier on 25-foot centers.  Mount the retroreflectors at a uniform height at least 2 feet above the pavement surface.

635.12  Temporary Guardrail.  Construct temporary guardrail according to Section 617.

Mount 3-inch minimum dimension white or yellow retroreflectors, as applicable, to the top or side of the guardrail on 25-foot centers.  Mount the retroreflectors at a uniform height at least 2 feet above the pavement surface.

635.13  Temporary Pavement Markings and Delineation.  Before opening a pavement surface to traffic, remove all conflicting pavement markings by sandblasting or other methods that do not damage the surface or texture of the pavement.  Make the removal pattern uneven so it does not perpetuate the outline of the removed pavement markings.  Lightly coat sandblasted or removal areas on asphalt surfaces with emulsified asphalt.

Place and maintain temporary pavement markings that are neat, crack free, true, straight, and unbroken.  For temporary pavement markings, use preformed retroreflective tape, traffic paint, or temporary raised pavement markers as follows:

(a) Preformed retroreflective tape.  Apply according to the manufacturer's instructions.  Remove all loose temporary preformed retroreflective tape before placing additional pavement layers.

(b) Traffic paint.  Do not apply temporary traffic paint to the final surface.  Apply traffic paint as the temporary pavement marking if no work will be performed on the project for at least 30 consecutive days.  Apply temporary traffic paint at a 15 mil minimum wet film thickness (0.9 gallons per 100 square feet).  Immediately apply type 1 glass beads on the paint at a minimum rate of 6 pounds per gallon of paint.

(c) Raised pavement markers.  Do not use raised pavement markers during seasonal suspensions.  When chip seals, slurry seals, or tack coats are used after marker placement, protect the markers with an approved protective cover, which is removed after the asphalt material is sprayed.  Temporary raised pavement markers may be used as temporary pavement markings as follows:

(1) 10-foot broken line.  Four pavement markers spaced 3.33 feet apart followed by a 30-foot gap.

(2) 2-foot broken line.  Two pavement markers spaced 2 feet apart followed by an 18-foot gap.

(3) Solid line.  Pavement markers on 5-foot centers.

Remove all temporary raised pavement markers before placing additional pavement layers.

Remove all temporary pavement markings from the surface course before placing permanent pavement markings.

635.14  Vertical Panels.  Perform the work described under MUTCD Part 6.  Use type III, VII, VIII, or IX retroreflective sheeting.

635.15  Warning Lights.  Perform the work described under MUTCD Part 6.  When type C, steady-burn, warning lights are installed on barricades or drums and used in a series for delineation, use type A, flashing, warning lights on the first 2 barricades or drums in the series.  Mount batteries for type B warning lights a maximum of 12 inches from ground or roadway surface as measured to top of the battery casing.

635.16  Shadow Vehicle.  Use a shadow vehicle (15,000 pound gross vehicle mass minimum) equipped with a truck-mounted attenuator (crash cushion) attached to the rear of the vehicle, exterior flashing yellow dome light, and an advance warning arrow panel.  Use advance warning arrow panel according to Subsection 635.04.

Use the shadow vehicle to provide physical protection to workers from traffic approaching from the rear during moving operations (i.e., pavement markings, traffic control set up and removal, etc.).  Use the following procedures to close a lane of traffic.  Alternate procedures may be used if approved by the CO.

(a) Move the shadow vehicle to a point approximately 200 feet from the first advance warning sign for the lane closure and stop on the shoulder.

(b) Activate the flashing lights and flashing arrow panel.  Begin the arrow panel in the caution mode and after approximately 2 minutes display the correct flashing pass arrow.

(c) Move the shadow vehicle (now acting as a protection vehicle) along the shoulder to the first sign location, stopping approximately 100 feet before the sign location in a blocking position.

(d) Place the first sign then proceed to the next advance sign location.  Repeat step (c) for the second sign and install that sign.  Repeat this procedure until all advance warning signs are installed.

(e) After installing all of the advanced warning signs for the lane closure, move the shadow vehicle into the lane that is to be closed to a position 100 feet in advance of the closing taper location.  Install the channelizing devices for the taper in the shielded lane.

(f) Move the shadow vehicle off the roadway and past the taper on the shoulder and remain in position until the flashing arrow panel for the closure (if one is to be provided) is placed and operating.  Move the shadow vehicle with the workers as they proceed to set up the remaining devices as additional protection.

635.17  Pavement Patch.  Use an asphalt mix according to Section 404 or 417 to repair potholes and rough spots in the traveled way before reopening travel lanes to traffic.

635.18  Portable Changeable Message Sign.  Conform to the MUTCD Part 6.

635.19  Temporary Crash Cushions.  Install an FHWA-approved temporary crash cushion conforming to the appropriate level of crashworthiness per NCHRP Report 350.  FHWA-approved crash cushions are available on the FHWA Safety website.  Install according to manufacturer’s recommendations.

635.20  Temporary Signal System.  Use a temporary signal system according to Section 636 and MUTCD Parts 4 and 6.

Use signal heads with three lenses, minimum 8 inches diameter, indicating red, yellow, and green phases.  Use a signal controller capable of operating in either the solid red, solid green, or a red/yellow/green mode for each signal.

635.21  Temporary Fence.  Use temporary fence according to Section 619.

635.22  Portable Rumble Strip.  Use a strip 10 feet long, 18 inches wide, and 1¼ inches high to alert drivers of an approaching flagger station or work area.

635.23  Opposing Traffic Lane Divider.  Use type III, VII, VIII, or IX retroreflective sheeting.

635.24  Steel Plates.  Use 1-inch or thicker steel plates capable of safely carrying traffic.  Secure the plates to the pavement to prevent any movement.

635.25  Acceptance.  Material (including signs, drums, barricades, cones, tubular markers, crash cushions, concrete barriers, dividers, fence, guardrail, pavement markings, rumble strips, traffic signals, lights, and vertical panels) for temporary traffic control devices will be evaluated under Subsections 106.02 and 106.03.  Vehicles for pilot cars and shadow vehicles will be evaluated under Subsection 106.02.

Placement of temporary traffic control devices will be evaluated under Subsections 106.02 and 106.04.

Temporary traffic control services will be evaluated under Subsection 106.02.

Measurement

635.26  Measure the Section 635 items listed in the bid schedule according to Subsection 109.02 and the following as applicable when ordered by the CO and installed.

Measure temporary traffic control items only one time even if relocated or replaced, except for items paid by the hour.

Measure advance warning arrow panels by the hour or by the each.  When measurement is by the hour, round portions of an hour up to the half hour.

Measure barricades by the linear foot of width.

Measure construction signs by the square foot of front face sign panel.  Do not measure posts and temporary supports.

Measure flaggers, for each hour a person is actually performing the work.  Round portions of an hour up to the half hour.  Measure time in excess of 40 hours per week at the same rate as the first 40 hours.

Measure pilot cars (including operators) for each hour the car is actually performing the work.  Round portions of an hour up to the half hour.  Measure time measured in excess of 40 hours per week at the same rate as the first 40 hours.

When there is a pay item for moving temporary barriers, do not measure movement of temporary barriers for work access or the convenience of the Contractor.

Measure temporary guardrail from center-to-center of end posts.

Measure temporary pavement markings for only one application of pavement markings per lift. When temporary pavement markings are measured by the linear foot or mile, measure the number of linear feet or miles of lines applied along the centerline of each 4-inch wide line applied regardless of color.  Measure solid lines from end to end of each continuous line.  Measure broken lines from end to end including gaps.  For line widths greater than 4 inches, adjust the measured length of line in the ratio of the required width to 4 inches. When temporary pavement markings are measured by the square foot, measure the number of square feet of symbols or letter markings based on the marking area shown in the contract or, if not shown, the area of each marking measured in place to the nearest square foot.

Measure temporary raised pavement markers one time for each lift of pavement even if replaced.  Measure temporary raised pavement markers used at the option of the Contractor in lieu of temporary pavement markings as equivalent temporary pavement markings and not as temporary raised pavement markers.

Measure pavement marking removal of actual line removed.  Do not measure gaps.

Measure temporary crash cushions for each entire crash configuration.

When there is a pay item for moving temporary crash cushion, do not measure movement of temporary crash cushion for work access or the convenience of the Contractor.

Measure replacement barrels or cartridges for crash cushions for the barrels or cartridges damaged by public traffic.

Payment

635.27  The accepted quantities will be paid at the contract price per unit of measurement for the Section 635 pay items in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

Progress payments for temporary traffic control devices will be made as follows:

(a) 50 percent of the unit bid price will be paid upon installation.

(b) An additional 25 percent of the unit bid price will be paid following completion of 50 percent of the contract amount.

(c) Payment of the remaining portion of the unit bid price will be paid when the temporary traffic control devices are removed from the project.

Progress payments for items paid for by the hour will be paid at 100 percent of the unit bid price when ordered by the CO and furnished.

## Section 636. — SIGNAL, LIGHTING, AND ELECTRICAL SYSTEMS

Description

636.01  This work consists of installing, modifying, or removing traffic signals, flashing beacons, highway lighting, sign illumination, communication conduits, and electrical systems or provisions for future systems.

Material

636.02  Conform to the following Subsections:

Backer rod	712.01(g)

Electrical material	721.01

Lighting material	721.02

Precast concrete units	725.11(d)

Sealant	712.01(a)

Construction Requirements

636.03  Regulations and Codes.  Furnish material and workmanship conforming to the standards of the National Electrical Code, local safety code, UL, and the National Electrical Manufacturers Association.

Obtain permits, arrange for inspections, and pay all fees necessary to obtain electrical service.

Furnish luminaries with crashworthy supports.

Notify the CO, local traffic enforcement agency, local utility company, or railroad company 7 days before any operational shutdown to coordinate connections or disconnections to an existing utility or system.

636.04  General.  At the preconstruction conference, submit a certified cost breakdown of items involved in the lump sum for use in making progress payments and price adjustments.

Fifteen days before installation, submit a list of proposed equipment and material.  Include the manufacturer's name, size, and identification number of each item.  Supplement the list with scale drawings, catalog cuts, and wiring diagrams showing locations and details of equipment and wiring.

The CO will establish the exact locations of the systems.

Remove structures and obstructions according to Section 203.  Salvage all material acceptable for reuse in the work.  Excavate and backfill according to Section 209.  Construct concrete according to Section 601.

Where roadways are to remain open to traffic and existing systems will be modified, maintain the existing systems in operation until final connection to the modified circuit to minimize traffic disruptions.

636.05  Conduit.  Cut conduit so the ends are smooth.  Connect conduit sections with couplings to butt the ends of both conduits squarely against each other inside the couplings.  Provide a metal expansion and deflection fitting where conduit crosses a structural expansion joint.

Install conduits continuous between outlets with a minimum of couplings to permit pulling conductors.  Terminate conduit with bell fittings or bushings.  Furnish pull wires for conduits designated for future cable installation.

Remove and replace crushed, deformed, or damaged conduit.  Maintain conduits clean and dry and protect ends of conduit with plugs, caps, or fittings.

Size pull boxes to provide for termination of the conduit and connection of the conductors.

636.06  Installation of Signal and Lighting Systems.  Design the control unit to energize the lighting circuit upon failure of any component of its circuit.  Furnish a control with an "on" level adjustable between 1 and 5 foot candles.  Operate luminaires with a series circuit distribution system at a potential not exceeding 2400 volts.

Control lights and luminaires by photocell controls.  For current less than or equal to 10 amperes, furnish a photocell switch.  For current greater than 10 amperes, furnish a photocell switch operating a magnetic relay for switching the lighting circuit.

636.07  Loop Installation.  Do not install loops when the pavement is wet.  Saw cut, wire, and seal for loop wires on the same day.  Do not allow vehicular traffic to pass over an open saw cut unless covered by a protective panel.

Saw clean, smooth, well-defined, 5/16-inch wide, and 1¾-inch deep cuts without damaging the adjacent pavement.  Overlap saw cuts to provide full depth at all corners.  Saw cut the lead-in to the pull box as close as possible to the edge of pavement.  Clean and dry saw cuts according to Subsection 502.06(a).

Install the loop wire in one continuous length at the bottom of the cut.  Install without kinks, curls, or other damage to the wire or its insulation.  Replace any damaged wires.  Hold the loop wire in place with 2-foot long backer rods.

Where the loop wire crosses a crack or joint, use a plastic sleeve that extends 4 inches on each side of the crack or joint.  Provide extra loop wire in the sleeve for joint expansion and contraction.

Twist the loop lead-in wires 1 turn per foot from the loop to the pull box.  Color code the wires of each loop for identification of separate loops.  Coil 3 feet of lead-in pair slack in the pull box for each loop.

Before applying sealant, test the loop and lead-in for continuity and resistance by applying a 1000-volt megger between each end of the loop lead-in and the nearest reliable electrical ground.  If no available ground exists, establish a ground for the measurement.  Record the location and megger readings and submit readings and test equipment data.  Replace the loop if the megger reading is less than 10 megaohms or the inductance is less than 60 microhenries or more than 100 microhenries.

Apply sealant to the saw cuts with the backer rods in place.  Apply the sealant in a manner that does not produce air bubbles.  Remove excess sealant and finish level with the pavement.  Follow the manufacturer's instructions for sufficient time for the sealant to harden before allowing traffic to cross the loops.

Repeat the resistance and continuity test after sealant is applied.  Report the second test for comparison with the first report.

636.08  Testing and Demonstration Period.  Before energizing any portion of the system, demonstrate that the conductor system is clear and free of all short circuits, open circuits, and unintentional grounds.  Repair or replace faulty circuits.

After energizing the system, demonstrate that all electrical components work properly.  Repair or replace faulty electrical components.

After completing electrical component tests, conduct a demonstration test for 30 continuous days.  Adjust and correct any deficiencies in the system during the 30-day demonstration period.  If any part of the system is replaced or repaired, retest that part of the system for an additional 30 days.

636.09  Warranties, Guarantees, and Instruction Sheets.  When installations are permanent, deliver manufacturers' warranties, guarantees, instruction sheets, and parts lists at the final inspection.

Upon completion of the work, also submit as-built drawings showing all detail changes from the original plans.

636.10  Relocations.  Use material equivalent to existing material, unless present codes require different or improved material.  Existing material may be salvaged and reused, provided all material and installation methods used meet the requirements of applicable codes and ordinances.

636.11 Acceptance.  Material for signal systems, lighting systems, and electrical systems will be evaluated under Subsections 106.02 and 106.03.

Installation of signal systems, lighting systems, and electrical systems will be evaluated under Subsections 106.02 and 106.04.

Structural excavation and backfill will be evaluated under Section 209.

Concrete will be evaluated under Section 601.

Measurement

636.12  Measure the Section 636 items listed in the bid schedule according to Subsection 109.02 and the following as applicable.

For relocations, do not measure additional line or connections necessary to place the fixture at the new location.

Payment

636.13  The accepted quantities will be paid at the contract price per unit of measurement for the Section 636 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

Payment for lump sum items will be prorated based on the total work completed.

## Section 637. — FACILITIES AND SERVICES

Description

637.01  This work consists of furnishing, installing, maintaining, and removing facilities (including services) such as field offices and residential housing for the exclusive use of Government personnel.

Construction Requirements

637.02  General.  Provide the facilities and services beginning 14 days before project work begins and ending 21 days after final acceptance.  Facilities remain the property of the Contractor upon completion of the contract.

Perform all site work to set up and remove facilities.  Provide weatherproof buildings or trailers in good condition.  Facilities and their location are subject to approval.  Suitable commercial or private facilities located near the project may be provided.

637.03  Facilities.  Furnish facilities that are ample, safe, sanitary, and include the appropriate electrical service, potable water supply, toilet accommodations and waste disposal services.  Pay utility bills (electricity and water) promptly for all facilities.  When specified in the contract, provide local and long distance telephone services.  The Government will pay the cost of all telephone calls.  Conform to all applicable ordinances, safety codes, and regulations.

(a) Field office.  Furnish and maintain a field office according to Tables 637-1 and 637-2.

(b) Residential housing.  Furnish and maintain residential housing according to Tables 637-1 and 637-2.  When the unit is part of a larger building, separate units with partitions and furnish separate outside doors with locks.

Table  637-1

Minimum Requirements for Field Facilities

| Property | Field Office | Residential Housing |
| --- | --- | --- |
| Floor space — square feet | 400 | 500 |
| Locking outside door — deadbolt with keys | 1 | 1 |
| Steps with slipproof tread and handrails | (1) | (1) |
| Windows with locks | 2 | 3 |
| Total window area — square feet | 30 | 60 |
| Ceiling height, 7 feet | √ | √ |
| Rooms including toilet room | 4 | 5(2) |
| Room size except toilet room — square feet | 100 | 100 |
| Closet — 45-cubic foot |  | 2 |
| Shelves, 12-inch depth — square feet | 12 | 12 |
| Electrical lighting | √ | √ |
| Heat and air conditioning, maintain temperature of 72±7 ºF | √ | √ |
| Adequate electrical outlets | √ | √ |
| Surge protectors | √ | √ |
| Adequate electricity (120 and 240 V, 60 cycle as applicable) | √ | √ |
| Adequate potable water supply | √ | √ |
| Drinking water cooler with water supply | √ |  |
| Sink with faucets for both hot and cold water |  | √ |
| Adequate hot and cold water supply |  | √ |
| Shower/bath facilities |  | √ |
| Parking for 3 vehicles on gravel surface | √ | √ |
| 6-foot high chain link fence with gate around building and parking area | √ | √ |

(1) As required.

(2) Includes 2 bedrooms.

Table  637-2

Minimum Facility Furnishings and Services

| Property | Field Office | Residential Housing |
| --- | --- | --- |
| Table — 30-inch wide x 8-foot long x 30-inch high | 1 |  |
| File cabinet, 2-drawer, fire resistant, metal, with lock | 1 |  |
| File cabinet, 4-drawer, metal | 1 |  |
| Desk — 12-square foot | 2 |  |
| Desk lamp | 2 |  |
| Office chair | 5 |  |
| Storage cabinet, 6-inch wide x 36-inch wide x 18-inch high | 1 |  |
| Fire extinguisher | 1 | 2 |
| Refrigerator, 10-cubic foot |  | 1 |
| Range and oven, standard 36-inch |  | 1 |
| Kitchen table with 2 chairs |  | 1 set |
| Sofa, 6-foot |  | 1 |
| Coffee table |  | 1 |
| Easy chair |  | 1 |
| End table |  | 1 |
| Table lamp |  | 1 |
| Double bed |  | 2 |
| Night stand |  | 2 |
| Night stand lamp |  | 2 |
| Dresser, 4-drawer, 36-inch |  | 2 |

637.04  Acceptance.  Facilities and services will be evaluated under Subsections 106.02 and 106.04.

Measurement

637.05  Measure the Section 637 items listed in the bid schedule according to Subsection 109.02.

Payment

637.06  The accepted quantity, will be paid at the contract price per unit of measurement for the Section 637 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

Progress payments for each facility will be paid as follows:

(a) 60 percent of the item amount will be paid after the facility is accepted for occupancy.

(b) Payment of the remaining 40 percent of the item amount will be paid after final acceptance or when CO determines the facility is no longer needed.