National Aeronautics and Space Administration

Airborne Science Program

Payload Information Form

25 March 2009

NASA Airborne Science Program (ASP)

Payload Information Form (PIF)

Purpose and General Instructions

- The purpose of the PIF is to allow instrument Principal Investigators (PIs) a simple and efficient method to provide NASA aircraft engineering (AE) with instrument or sensor information that is sufficient to start the instrument integration process.

- One PIF form is to be used for each instrument.  Maintenance and updates of the PIF (e.g., as design maturity reduces unknowns or personnel changes) are the responsibility of the PI.

- The PIF is a standard ASP form and will be accepted by most NASA ASP aircraft organizations.

- Guidelines:

  - Good information flows between the PI and AE is critical at all times in the integration process.  Do not delay responding to queries or requests for additional information.

  - If exact values are not known, provide estimates and so note.  If no estimate can be given, annotate with TBD.  Indicate N/A or NONE for items that don’t apply to your instrument.

  - Include additional comments, notes, and references at the end of each section if necessary.

  - While not specifically requested in the PIF, photographs of instruments, related hardware, or previous aircraft installations is encouraged.

- Submit the PIF to the appropriate aircraft platform POC.

NASA Airborne Science Program (ASP)

Payload Information Form (PIF)

- General Information

1.  Principal Investigator & Team Members (if citizenship is not US, please note if they have a green card):

| Name | Organization | Citizenship | Role | Phone Number | Fax Number | Email Address |
| --- | --- | --- | --- | --- | --- | --- |

2. Payload Information

| Instrument name and acronym |  |
| --- | --- |
| Instrument and/or PI website |  |
| What does the instrument measure? |  |
| Aircraft type |  |
| Mission/Program name |  |
| Desired location on aircraft, if known |  |
| Dimensions of major components (inches) |  |
| Total weight (pounds) |  |
| Control method (aircrew switches, onboard researcher, fully autonomous, uplink/downlink) |  |
| Do you require real time aircraft state parameters (time, nav data, etc.)? |  |
| Telemetry/satcom requirements |  |
| Previously flown on this or other aircraft? List last several missions flown and on which aircraft. |  |
| If so, have there been any changes since last flown? |  |

3. Aircraft Power Requirements

|  | Power (watts) | Load name | Peak current | Run current | Comments |
| --- | --- | --- | --- | --- | --- |
| 115V, 60 hz single phase |  |  |  |  |  |
| 115V, 400 hz single phase |  |  |  |  |  |
| 115V, 400 hz three phase |  |  |  |  |  |
| 28V DC |  |  |  |  |  |
| Other (208, etc.) |  |  |  |  |  |

- Hazardous Materials/Equipment

All gases, cryogens, and chemicals are user supplied unless otherwise arranged.  MSDS will be required prior to arrival.

- Lasers

| Laser type | Laser class | Laser wavelength | CW Output power/energy | Pulsed Output (pulse width, repetition rate) | Airborne or ground use | Transmitting external to A/C? NOHD, if known. |
| --- | --- | --- | --- | --- | --- | --- |

- Radioactive Materials

| Source | Half-life | Quantity |
| --- | --- | --- |

- Radio Frequency Emitters

| Description | RF power | Frequency range | Operational constraints | Installation constraints |
| --- | --- | --- | --- | --- |

- Radio Frequency Susceptibility

| Description | RF power | Frequency range | Operational constraints | Installation constraints |
| --- | --- | --- | --- | --- |

- Pressure Vessels

| Description (purpose, contents) | Internal volume | Vessel pressure (psi) | Installation constraints |
| --- | --- | --- | --- |

- Compressed Gases

| Gas description with mixture/concentration | Cylinder internal volume | Cylinder pressure | Number of cylinders (on A/C) | How often serviced? | Airborne or ground use | Specific hazard? (Toxic, flammable, corrosive, etc.) |
| --- | --- | --- | --- | --- | --- | --- |

- Chemicals (solids and liquids)

| Description (name, concentration) | Quantity on ground | Quantity on aircraft | Container description | In-flight handling required? | Specific hazard? (Toxic, flammable, corrosive, etc.) |
| --- | --- | --- | --- | --- | --- |

- Cryogens

| Material description | Container description | Quantity on aircraft | Daily Usage Rate | In-flight handling required? | Installation constraints |
| --- | --- | --- | --- | --- | --- |

- Motors/Pumps

| Description | Manufacturer name / model number | Motor type (capacitor start, brush-less, explosion proof) |
| --- | --- | --- |

- Heaters

| Description (system components, location) | Manufacturer name/model number | Maximum control temperatures | Maximum exposed temperatures | Control Method |
| --- | --- | --- | --- | --- |

- Chillers

| Description (system components, location, fluid medium, capacity) | Manufacturer name/model number | Control Method |
| --- | --- | --- |

- Batteries & Uninterruptible Power Supplies

| Description (type, location) | Capacity (Voltage & Power) |
| --- | --- |

- Aircraft Power Distribution, Converters, and Strips

| Manufacturer and Model Number | Description of Use |
| --- | --- |

- Aircraft Installation Requirements

- Aircraft Modifications

| Modification Required | NASA design support required? | NASA fabrication support required? | Non-NASA Design/Fab Provider |
| --- | --- | --- | --- |

- Probes/Inlets

| Description | Current location and ownership of inlet/probe | Preferred location on A/C | Alignment (with aircraft, with free stream, etc.) | Special installation constraints |
| --- | --- | --- | --- | --- |

- Exhaust Ports

| Description | Current location and ownership of exhaust port | Preferred location on A/C | Content/Quantity of exhaust | Special installation constraints |
| --- | --- | --- | --- | --- |

- Optical Windows and Viewports

| Optical window or viewport size | Certification or NASA serial number (if any) | Current location and ownership of window | Preferred location on a/c | Optical bandpass | Preferred material and coating | Window cleaning requirements | Special installation constraints |
| --- | --- | --- | --- | --- | --- | --- | --- |

- Antennas

| Description (Manufacturer & Model) | Antenna size | Preferred location on A/C | Antenna orientation | RF power | RF frequency | Special installation constraints |
| --- | --- | --- | --- | --- | --- | --- |

- Equipment/Inlet Coverings or Shields

| Description | Operational requirements | Special installation constraints |
| --- | --- | --- |

- Operator Station Requirements, if applicable

| Number of seats | Operator console requirements at seat location | Access to instrument | Frequency of access | Other |
| --- | --- | --- | --- | --- |

- Government Furnished Equipment (pods, racks, pallets, etc.)

| Type (pod, rack, pallet) | Description (low rack, superpod forebody, 3’ unpressurized pallet, etc.) | Delivery to PI needed? If so, when? |
| --- | --- | --- |

- Special Equipment (List any other equipment required)

- Operations

1. Aircraft Access

| Pre-flight payload time required at aircraft |  |
| --- | --- |
| Post-flight power/instrument removal time required |  |
| Special aircraft access, power, or environmental conditioning requirements |  |

2. Aircraft Maneuvers

| Describe in-flight calibration maneuvers |  |
| --- | --- |
| Describe flight altitudes and ascent/descent rates |  |
| Pitch, roll, and yaw limits |  |
| Describe airspeed/mach regime and limitations |  |
| Prohibited flight conditions |  |

3. Ground Work Space Requirements

Assume all gases, cryogens, and chemicals are user supplied unless otherwise arranged.  MSDS will be required.

| Space requirements (square feet) |  |
| --- | --- |
| Tables |  |
| Chairs |  |
| Power (type and amount) |  |
| Network connections |  |
| Gases & cryogens (cylinders needing storage space, special requirements) |  |
| Chemical storage needs (haz mat locker, refrigerator, etc.) |  |
| Exhaust/fume hood requirements |  |
| Special needs (i.e., location relative to other experimenters, wet lab requirements, etc.) |  |
| Items that require storage (i.e., empty boxes, electrical equip, chemicals) |  |
| Amount of storage space required (sq ft of floor space) |  |

- PI Revision Control

| Date | Author | Sections Modified | A/C Issued to | Reason for Modification |
| --- | --- | --- | --- | --- |

- Comments