CONSTRUCTION STANDARD SPECIFICATION

SECTION 15994

MECHANICAL SYSTEMS DEMONSTRATIONS

Page

PART 1 - GENERAL

1.01 Work Included

1.02 Submittals	2

PART 2 - PRODUCTS (NOT USED)

PART 3 - EXECUTION

3.01 Field Training Session

construction STANDARD SPECIFICATION

SECTION 15994

MECHANICAL SYSTEMS DEMONSTRATIONS

# PART 1 - GENERAL

## 1.01	SUMMARY

This specification covers the training requirements by the Contractor for work done in other sections of the Mechanical and Control specifications.

## 1.02	SUBMITTALS

Operation and Maintenance manuals shall be submitted per Section 01330, “Submittal Procedures”.

A.	The four complete sets of BOUND Operation andMaintenance manuals shall be submitted and approved, prior to the Field Training Session.

B.	One additional bound set of the approved O&M manuals, shall be delivered to the Sandia Delegated Representative at the Field Training session (see part 3.01).

# PART 2 - PRODUCTS (Not used)

# PART 3 - EXECUTION

## 3.01	FIELD TRAINING SESSION

A.	The Sandia Delegated Representative will request the field training session and inform all involved parties by letter.

1. 	The letter will establish the following:

a.	The Contractor (including all necessary Subcontractors) and Sandia personnel required to attend the session.

b.	Date, time, and location of the field training.

B.	The purpose of the field training session is to show Sandia personnel the location of all components, the correct operation, and the preventative maintenance requirements of all equipment.

1.	The field training session will be coordinated by the SDR, who will require the Contractor and all necessary Subcontractors, including the Controls Subcontractor, to perform specific training.

2.	When requested, the Contractor shall cause the equipment to cycle through each sequence the system will normally see in its lifetime.

C.	On occasion where a factory representative must beon hand for the initial startup of a piece of equipment, in advance of the formal training session, he shall perform the training session for that piece of equipment at that time, after making appropriate arrangements with the SDR.

END OF SECTION