## Part 139 Checklist
Department of Defense Fire and Emergency Services Civil Airport ARFF Operations Checklist
§ 139 Reference | Inspection Requirements | Met
319(a) | ARFF CAPABILITY MEETING INDEX PROVIDED DURING ACR OPNS | YES |  |  | No
The DoD F&ES organizations provides the ARFF Vehicle Report which identifies the DoD vehicles assigned above the normal Airport Index requirement. The certificate holder uses this information to determine the Index the F&ES organization can meet. |  |  | 1 | 0
319(b) | ARFF REQUIREMENTS MET FOR INCREASE IN INDEX | YES |  |  | No
The DoD F&ES fire chief provides the ARFF Vehicle Report which identifies the DoD vehicles that will respond to civil aircraft emergencies and their capability. The certificate holder uses this information to determine the Index the DoD F&ES organization can support.
319(c) & (d) | REDUCTION IN ARFF INDEX MEETS CONDITIONS | YES |  |  | No
The DoD F&ES fire chief notifies the certificate holder when any changes occur to the vehicles in the ARFF Vehicle Report. The certificate holder takes any action required when ARFF capability drop below the requirements required to meet the Airport Index. |  |  | 1 | 0
319(e) | VEHICLE COMMUNICATION IN REQUIRED VEHICLES | YES |  |  | No
The DoD F&ES organizations provides all emergency communication and equipment to comply with NFPA 1221, Standard for the Installation, Maintenance, and Use of Emergency Services Communications Systems, to include the use of two-way communication between ARFF vehicles and other required Airfield Operations. |  |  | 0 | 1
319(f) | VEHICHLE MARKING AND LIGHTING | N/A |  |  | No
NON APPLICABLE. DOD VEHICLES ARE NOT PURCHASED WITH AIP FUNDS
319(g) | VEHICHLE READINESS | YES |  |  | No
Each vehicle required under Airport Index must be maintained and be operational during all air carrier operations. The vehicle status' are provided in the ARFF Vehicle Report (Attachment 2) |  |  | 1 | 0
319(h) | RESPONSE DRILL | YES |  |  | No
NO RESPONSE EXERCISE WILL BE CONDUCTED. The FAA has accepted the Response Time criteria in DODI 6055.06 as being equivalent to Part 139 requirements. DoD F&ES will demonstrate compliance with DoD response time standards by providing a response time report annually (Jan) and prior to each FAA inspection, containing the ARFF response time for the previous 90-days. An example of this report is at Attachment 4). |  |  | 1 | 0
319(i)1 | PERSONNEL PROPERLY EQUIPPED | YES |  |  | No
DoD requires that all rescue and firefighting personnel are equipped in a manner authorized by the DoD with protective clothing and equipment needed to perform their duties. These requirements are based on National Fire Protection Association standards. |  |  | 1 | 0
319(i)2 | PERSONNEL PROPERLY TRAINED | YES |  |  | No
All rescue and firefighting personnel required by Aiport Index are properly trained to perform their duties. DoD F&ES will provide a DOD ARFF Training Summary (example at Attachment 3) with the last date of training for each subject. This report is limited to only those personnel required for the Index, which is usually significantly fewer than the total DoD firefighters assigned. |  |  | 0 | 1
319(i)3 | LIVE-FIRE DRILL EVERY 12 CONSECUTIVE CALENDAR MONTHS (CCM) FOR ALL PERSONNEL | YES |  |  | No
Verified by ensuring the training in the DOD ARFF Training Summary (Attachment 3) for firefighters was provided within the previous 12 CCM. FAA inspections will not ask for additional training data when the training dates on the DoD ARFF Training Summary are within 12 CCM.
319(i)4 | PERSONNEL TRAINED AND CURRENT IN BASIC EMERGENCY MEDICAL CARE PROVIDED FOR ACR OPNS | YES |  |  | No
Verified by information in the DOD ARFF Training Summary (Attachment 3) for firefighters required by Airport Index.
319(i)5 | RECORD OF TRAINING FOR 24 CCM | YES |  |  | No
Verified by ensuring the training in the DOD ARFF Training Summary (Attachment 3) for firefighters was provided within the previous 12 CCM. If descrepancies exist, the FAA inspector may request additional information.
319(i)6 | SUFFICIENT PERSONNEL TO MEET REQUIREMENTS | YES |  |  | No
Sufficient rescue and firefighting personnel are available during all air carrier operations to operate the vehicles, meet the response times, and meet the minimum agent discharge rates required by § 139.317 (Airport Index). These requirements are normally satisfied when one trained firefighter for each required ARFF vehicle is available. |  |  | 1 | 0
319(i)7 | ALERTING PROCEDURES/EQUIPMENT REQUIREMENTS | YES |  |  | No
Procedures and equipment are established and maintained for alerting rescue and firefighting personnel by siren, alarm, or other means authorized by the DoD to any existing or impending emergency requiring their assistance. |  |  | 1 | 0
319(j) | HAZARDOUS MATERIALS GUIDANCE AVAILABLE | YES |  |  | No
Each aircraft rescue and firefighting vehicle responding to an emergency on the airport must be equipped with, or have available through a direct communications link, the "North American Emergency Response Guidebook" published by the U.S. Department of Transportation.
319(k) | EMERGENCY ACCESS ROADS MAINTAINED | N/A |  |  | No
NON APPLICABLE IF PAVEMENT IS OWNED BY DOD. TO BE ADDRESSED IN FUTURE DOD/FAA AGREEMENTS.