## Table_B_1
Table B.1 Major Disturbances and Unusual Occurrences, Year-to-Date 2012
Year | Month | Event Date and Time | Restoration Date and Time | Duration | Utility/Power Pool | NERC Region | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected
2012 | 1 | 01/09/2012 1:36 PM | 01/11/2012 1:05 AM | 35 Hours, 29 Minutes | The Dow Chemical Company | SERC | Louisiana | Load Shed | 150 | 1
2012 | 1 | 01/10/2012 9:30 PM | 01/10/2012 9:30 PM | 0 Hours, 0 Minutes | Luminant Energy Company LLC | TRE | Rusk County, Texas | Load Shed | N/A | N/A
2012 | 1 | 01/19/2012 7:00 AM | 01/20/2012 3:00 PM | 32 Hours, 0 Minutes | Puget Sound Energy | WECC | King, Pierce and Thurston Counties, Washington | Severe Weather - Winter Storm | 1600 | 426000
2012 | 2 | 02/19/2012 5:00 PM | 02/21/2012 7:33 AM | 38 Hours, 33 Minutes | American Electric Power | SERC | Kentucky, Virginia, West Virginia | Severe Weather - Winter Storm | UNK | 90000
2012 | 2 | 02/28/2012 2:59 AM | 02/28/2012 6:12 AM | 3 Hours, 13 Minutes | Pacific Gas and Electric | WECC | Sacramento, California | Electrical System Separation (Islanding) | 1 | 1
2012 | 3 | 03/02/2012 12:37 PM | 03/05/2012 12:01 PM | 71 Hours, 24 Minutes | Tennessee Valley Authority (TVA) | SERC | Northern Alabama; Southeast Tennessee | Severe Weather - Tornadoes | 500 | UNK
2012 | 3 | 03/02/2012 1:45 PM | 03/02/2012 3:30 PM | 1 Hours, 45 Minutes | City of Piggott, Arkansas | SERC | Piggott, Arkansas | Operational Failure/Equipment Malfunction | N/A | N/A
2012 | 3 | 03/02/2012 9:00 PM | 03/04/2012 5:30 PM | 44 Hours, 30 Minutes | Consumers Energy | RFC | Lower Peninsula, Michigan | Severe Weather - Winter Storm | 50 | 140000
2012 | 3 | 03/02/2012 9:00 PM | 03/05/2012 4:30 PM | 67 Hours, 30 Minutes | Detroit Edison, Subsidiary of DTE Energy | RFC | Southeastern, Michigan | Severe Weather - Winter Storm | 371 | 130000
2012 | 3 | 03/20/2012 8:00 AM | 03/20/2012 1:00 PM | 5 Hours, 0 Minutes | CenterPoint Energy | TRE | Houston, Texas | Severe Weather - Thunderstorms | N/A | 96000
2012 | 3 | 03/29/2012 12:01 PM | 03/29/2012 12:02 PM | 0 Hours, 1 Minutes | Lansing Board of Water & Light | RFC | Lansing, Michigan | Electrical System Separation (Islanding) | UNK | 0
2012 | 4 | 04/16/2012 3:46 PM | 04/19/2012 2:00 AM | 58 Hours, 14 Minutes | Detroit Edison, Subsidiary of DTE Energy | RFC | Southeast, Michigan | Severe Weather - High Winds | 218 | 111393
2012 | 4 | 04/20/2012 2:27 PM | 04/21/2012 4:27 AM | 14 Hours, 0 Minutes | CenterPoint Energy | TRE | Metropolitan Houston, Texas | Severe Weather - Thunderstorms | N/A | 120377
2012 | 5 | 05/07/2012 5:45 PM | 05/07/2012 6:06 PM | 0 Hours, 21 Minutes | American Electric Power (AEP) | RFC | Eastern Ohio | Load Shed/Severe Weather - Lightning Storm | 420 | 1
2012 | 5 | 05/29/2012 8:35 PM | 05/31/2012 10:00 AM | 37 Hours, 25 Minutes | Oklahoma Gas & Electric | SPP | Oklahoma City Metro Area, Oklahoma | Severe Weather - Thunderstorms | UNK | 112000
2012 | 6 | 06/08/2012 5:20 PM | 06/08/2012 5:25 PM | 0 Hours, 5 Minutes | Public Service Company of Colorado | WECC | Denver Metro Area, Colorado | Load Shed | 120 | 30379
2012 | 6 | 06/11/2012 7:50 PM | 06/12/2012 3:00 PM | 19 Hours, 10 Minutes | Southern Company | SERC | North/Central Alabama; North/Central Georgia | Severe Weather - Thunderstorms | 368 | 110591
2012 | 6 | 06/12/2012 3:57 PM | 06/14/2012 4:57 AM | 37 Hours, 0 Minutes | CenterPoint Energy | TRE | Houston, Texas | Severe Weather - Thunderstorms | 920 | 175000
2012 | 6 | 06/19/2012 4:30 AM | 06/20/2012 11:00 PM | 42 Hours, 30 Minutes | Xcel Energy | MRO | Minneapolis/St. Paul, Minnesota | Severe Weather - Thunderstorms | UNK | 68200
2012 | 6 | 06/19/2012 5:30 AM | 06/21/2012 5:30 AM | 48 Hours, 0 Minutes | California Department of Water Resources | WECC | CAISO Territory California | Fuel Supply Deficiency (Water) | UNK | UNK
2012 | 6 | 06/23/2012 6:57 PM | 06/23/2012 7:28 PM | 0 Hours, 31 Minutes | ISO New England | NPCC | North Shore, Massachusetts | Load Shed | 51 | 29250
2012 | 6 | 06/25/2012 4:04 PM | 06/26/2012 1:45 PM | 21 Hours, 41 Minutes | Dominion | SERC | Central Virginia | Severe Weather - Wind & Rain | 600 | 190000
2012 | 6 | 06/29/2012 12:10 PM | 06/29/2012 5:02 PM | 4 Hours, 52 Minutes | Puerto Rico Electric Power Authority (PREPA) | N/A | Puerto Rico | Equipment Trip & Failure | 1800 | 900000
2012 | 6 | 06/29/2012 2:10 PM | 07/04/2012 6:00 PM | 123 Hours, 50 Minutes | Dayton Power & Light | RFC | Dayton, Ohio | Severe Weather - Thunderstorms | 500 | 175000
2012 | 6 | 06/29/2012 4:00 PM | 06/29/2012 9:00 PM | 5 Hours, 0 Minutes | Entergy | SERC | Eastern, Arkansas | Public Appeal to Reduce Electricity Usage | 45 | 7935
2012 | 6 | 06/29/2012 4:00 PM | 07/02/2012 4:00 PM | 72 Hours, 0 Minutes | American Electric Power (AEP) | RFC | Indiana; Michigan; Ohio; West Virginia | Severe Weather - Thunderstorms | UNK | 1355919
2012 | 6 | 06/29/2012 5:15 PM | 07/02/2012 11:59 PM | 78 Hours, 44 Minutes | Duke Energy Midwest | RFC | Eastern Indiana; Northern Kentucky; Greater Cincinnati area Ohio | Severe Weather - Thunderstorms | 2946 | 4645572
2012 | 6 | 06/29/2012 6:24 PM | 07/06/2012 10:00 AM | 159 Hours, 36 Minutes | FirstEnergy (Mon Power) | RFC | West Virginia | Severe Weather - Thunderstorms | 700 | 265000
2012 | 6 | 06/29/2012 7:00 PM | 07/07/2012 7:43 PM | 192 Hours, 43 Minutes | FirstEnergy (Potomac Edison) | RFC | Maryland; West Virginia | Severe Weather - Thunderstorms | UNK | 145000
2012 | 6 | 06/29/2012 10:15 PM | 07/02/2012 1:10 PM | 62 Hours, 55 Minutes | Pepco | RFC | Montgomery and Prince Georges Counties, Maryland; District of Columbia | Severe Weather - Thunderstorms | 3000 | 425000
2012 | 6 | 06/29/2012 10:29 PM | 07/04/2012 3:36 PM | 113 Hours, 7 Minutes | Dominion | SERC | Virginia | Severe Weather - Thunderstorms | 5000 | 880000
2012 | 6 | 06/29/2012 10:43 PM | 07/02/2012 10:01 PM | 71 Hours, 18 Minutes | Baltimore Gas & Electric Company (BGE) | RFC | Greater Baltimore area, Maryland | Severe Weather - Thunderstorms | 1465 | 600000
2012 | 6 | 06/29/2012 11:30 PM | 06/30/2012 2:00 AM | 2 Hours, 30 Minutes | Exelon Corporation/ComEd | RFC | Northeast Illinois | Severe Weather - Thunderstorms | UNK | 109000
2012 | 6 | 06/30/2012 1:00 AM | 07/03/2012 1:00 AM | 72 Hours, 0 Minutes | Delmarva Power & Light Company | RFC | Delaware; Maryland | Severe Weather - Thunderstorms | 0 | 86390
2012 | 6 | 06/30/2012 1:15 AM | 07/07/2012 5:33 PM | 184 Hours, 18 Minutes | Atlantic City Electric | RFC | Atlantic City Electric Service Territory New Jersey | Severe Weather - Thunderstorms | UNK | 205000
2012 | 6 | 06/30/2012 3:00 PM | 07/02/2012 12:00 PM | 45 Hours, 0 Minutes | Tennessee Valley Authority (TVA) | SERC | Northeast Tennessee | Public Appeal to Reduce Electricity Usage | UNK | UNK
2012 | 6 | 06/30/2012 10:30 PM | 07/02/2012 8:11 AM | 33 Hours, 41 Minutes | Southern Maryland Electric Cooperative, Inc. | RFC | Calvert, Charles, St. Mary's, Prince Georges Counties Maryland | Severe Weather - Thunderstorms | 354 | 60000
2012 | 7 | 07/05/2012 4:30 AM | 01/12/2125 5:00 PM | 986,364 Hours, 30 Minutes | Consumers Energy | RFC | Lower Peninsula Michigan | Severe Weather - Thunderstorms | 111000 | Unknown
2012 | 7 | 01/02/2125 2:00 AM | 01/06/2125 6:00 AM | 100 Hours, 0 Minutes | Exelon Corporation/ComEd | RFC | Illinois | Severe Weather - Thunderstorms | 320000 | Unknown
2012 | 7 | 01/02/2125 9:34 AM | 01/02/2125 10:00 PM | 12 Hours, 26 Minutes | North Carolina Municipal Power Agency #1 | SERC | Tarboro, North Carolina | Operational Failure; Storm Damage | 6100 | 48
2012 | 7 | 01/02/2125 11:30 AM | 01/02/2125 8:30 PM | 9 Hours, 0 Minutes | Progress Energy, Carolinas | SERC | Northern, Central and Eastern North Carolina | Severe Weather | 69106 | Unknown
2012 | 7 | 01/10/2125 2:00 PM | 01/12/2125 8:00 AM | 42 Hours, 0 Minutes | Tennessee Valley Authority (TVA) | SERC | Northeast Tennessee | Severe Weather - Wind & Storms | 50001 | N/A
2012 | 7 | 01/13/2125 8:00 AM | 01/19/2125 8:00 AM | 144 Hours, 0 Minutes | California Department of Water Resources | WECC | CAISO California | Fuel Supply Deficiency (Water) | 0 | Unknown
2012 | 7 | 01/13/2125 12:12 PM | 01/18/2125 10:00 PM | 129 Hours, 48 Minutes | PPL Electric Utilities Corp | RFC | Lower Valley, Central, Susquehanna Regions Pennsylvania | Severe Weather - Thunderstorms | 64500 | N/A
2012 | 7 | 01/14/2125 12:00 PM | 01/18/2125 2:02 PM | 98 Hours, 2 Minutes | FirstEnergy Corp. Jersey Central Power & Light | RFC | Central and Northern New Jersey | Severe Weather - Thunderstorms | 95400 | N/A
2012 | 7 | 01/18/2125 12:30 AM | 01/18/2125 8:28 AM | 7 Hours, 58 Minutes | WECC RC Vancouver | WECC | Alberta, Canada | Energy Deficiency Alert | Unknown | 9896
2012 | 7 | 01/31/2125 10:54 PM | 02/01/2125 12:58 AM | 2 Hours, 4 Minutes | North Little Rock Electric Department | SPP | Little Rock, Arkansas | Public Appeal to Reduce Energy Usage | N/A | N/A
2012 | 7 | 02/05/2125 4:32 AM | 02/07/2125 11:56 PM | 67 Hours, 24 Minutes | Duke Energy Midwest | RFC | Southeast Ohio, Northern Kentucky, Southern Indiana | Severe Weather - Thunderstorms | 103000 | 480
2012 | 7 | 02/05/2125 8:40 AM | 02/05/2125 2:10 PM | 5 Hours, 30 Minutes | American Electric Power (AEP) | RFC | Eastern Ohio | Severe Weather - Thunderstorms | 67000 | Unknown
2012 | 7 | 02/05/2125 10:00 PM | 02/06/2125 12:00 PM | 14 Hours, 0 Minutes | Exelon Corporation/ComEd | RFC | Northern Illinois | Severe Weather - Thunderstorms | 181000 | Unknown
2012 | 7 | 02/06/2125 9:00 PM | 03/02/2125 10:00 PM | 577 Hours, 0 Minutes | Somerset Operating Company | NPCC | Niagara County, New York | Fuel Supply Deficiency (Coal) | Unknown | 675
2012 | 7 | 02/10/2125 4:38 AM | 02/10/2125 10:40 AM | 6 Hours, 2 Minutes | Lubbock Power and Light | TRE | City of Lubbock, Texas | Severe Weather; Equipment Failure | 70000 | 220
2012 | 7 | 02/16/2125 2:02 PM | 02/17/2125 9:00 AM | 18 Hours, 58 Minutes | Northern Indiana Public Service Company | RFC | Northern Indiana | Severe Weather - Thunderstorms | 82621 | N/A
2012 | 7 | 02/16/2125 3:00 PM | 02/17/2125 8:00 PM | 29 Hours, 0 Minutes | Exelon Corporation/ComEd | RFC | Northern Illinois | Severe Weather - Thunderstorms | 330000 | Unknown
2012 | 7 | 02/21/2125 12:28 PM | 02/23/2125 12:28 PM | 48 Hours, 0 Minutes | FirstEnergy Corp.: Pennsylvania Electric Company | RFC | Western Pennsylvania | Severe Weather - Thunderstorms | 65112 | N/A
2012 | 7 | 02/21/2125 12:42 PM | 02/25/2125 11:00 PM | 106 Hours, 18 Minutes | PPL Electric Utilities Corp | RFC | North/Central Pennsylvania | Severe Weather - Thunderstorms | 65000 | N/A
2012 | 7 | 02/21/2125 1:00 PM | 02/23/2125 10:44 AM | 45 Hours, 44 Minutes | American Electric Power (AEP) | RFC | Eastern Ohio | Severe Weather - Thunderstorms | 57054 | Unknown
2012 | 7 | 02/23/2125 10:38 AM | 02/25/2125 10:38 AM | 48 Hours, 0 Minutes | Duke Energy Midwest | RFC | Central Indiana | Severe Weather - Thunderstorms | 52702 | Unknown
Note: Customers affected are estimates and are preliminary.
Source: Form OE-417, 'Electric Emergency Incident and Disturbance Report.'