Acquisition Management System Guidance

Overview of Federal Energy Management Policy and Mandates

April 2012

Overview of Federal Energy Management Policy and Mandates

Energy Intensity Reduction Goal

The National Energy Conservation Policy Act (NECPA), as amended, requires Federal agencies to improve energy management in their facilities and operations (42 U.S.C. 8253); and set energy reduction requirements. Section 102 of the Energy Policy Act (EPAct) of 2005 re-established the statutory energy reduction requirement for Federal buildings. (42 U.S.C. 8253(a)(1)) The requirement, as established under EPAct 2005, uses a base year of FY 2003 and requires reductions of 2 percent per year in energy use per square foot, leading to a 20 percent reduction in the FY 2015. The requirement includes industrial, laboratory, and other energy intensive facilities.

Section 102 of EPAct 2005 also amended NECPA to update the criteria for exclusion of buildings from the energy efficiency goals requirement based on findings by the head of the agency relating to implementation of all life-cycle cost-effective projects, energy intensiveness, and national security functions. (42 U.S.C. 8253(c)(1))

On January 27, 2006, DOE issued the Guidelines Establishing Criteria for Excluding Buildings from the Energy Performance Requirements of Section 543 of the National Energy Conservation Policy Act as Amended by the Energy Policy Act of 2005. These guidelines were developed through an interagency working group process under the auspices of the Federal Interagency Energy Management Task Force. See www.eere.energy.gov/femp/ pdfs/exclusion_criteria.pdf.

On January 24, 2007, the President signed Executive Order 13423, Strengthening Federal Environmental, Energy, and Transportation Management. Section 2 of the Order set more challenging goals than the EPACT 2005 amendments, requiring a 3 percent reduction in energy intensity per year (beginning in FY 2006) and leading to a 30 percent reduction in 2015 compared to the FY 2003 base year.

On December 19, 2007, the President signed into law the Energy Security and Independence Act of 2007 (EISA). EISA adopts the energy intensity reduction goals of Executive Order 13423 beginning in FY 2008 with a 9 percent reduction from the FY 2003 base year, and increasing to a 30 percent reduction in FY 2015.

Energy Reporting

Section 527 of EISA requires that each Federal agency issue an annual report that describes the status of initiatives to improve energy efficiency, reduce energy costs, and reduce greenhouse gas (GHG) emissions.

Section 2(c) of Executive Order 13514, Federal Leadership in Environmental, Energy, and Economic Performance (signed October 5, 2009), states that each Federal agency must report an annual comprehensive GHG emission inventory by the end of January each year.

Metering

Section 103 of EPACT 2005 directs that all Federal buildings be metered “…for the purposes of efficient energy use and reduction in the cost of electricity used in such buildings…” by October 1, 2012. (42 U.S.C. 8253(e)) The direction is specific to the measurement of electricity in that advanced meters or metering devices that provide data at least daily and measure the consumption of electricity at least hourly will be used to the maximum extent practicable. The law directed that the Secretary of Energy to develop guidelines for implementation. The Guidance for Electric Metering in Federal Buildings was published on February 3, 2006 and can be found at www1.eere.energy.gov/femp/pdfs/ adv_metering.pdf. Agencies were required to submit to DOE an implementation plan identifying personnel responsible for achieving the requirements, and any determination by the agency that advanced meters or metering systems are not practicable in their specific situation.

Section 434 of EISA directs for each agency to provide for equivalent metering of natural gas and steam by October 16, 2016.

Section 432 of EISA directs that all Federal agencies identify “covered facilities” constituting at least 75 percent of the agency’s facility energy use. Each covered facility must have an energy manager designated and meet additional requirements. Energy and water evaluations must be completed every 4 years for each facility. Facility energy managers are also responsible for commissioning equipment and establishing O&M plans for measuring, verifying, and reporting energy and water savings.

Energy Efficient Procurement

Section 104 of EPACT 2005 is a requirement that each agency “… incorporate into the specifications for all procurements involving energy consuming products and systems, including guides specifications, project specifications, and construction, renovation, and services contracts that include provision of energy consuming products and systems, and into the factors for the evaluation of offers received for the procurement, criteria for energy efficiency that are consistent with … Energy Star products and for rating FEMP designated products.” (42 U.S.C. 8259b)

Section 525 of EISA requires procurement to focus on ENERGY STAR and FEMP designated products. Section 524 of EISA encourages agencies to minimize standby energy use in purchases of energy using equipment.

Section 2(h) of Executive Order 13514 states that Federal agencies are to ensure 95 percent of new contract actions for products and services are:

- Energy efficient;

- Water efficient;

- Biobased-content

- Environmentally preferable;

- Non-ozone depleting;

- Recycled-content; and

- Non-toxic or less-toxic than alternatives.

Energy Savings Performance Contracts

Section 105 of EPACT 2005extended the authority for Federal agencies to energy into the performance contracts for energy and water conservation to 2016.

Federal Building Performance Standards

To assure that all new Federal buildings incorporate the best energy efficiency techniques available, Section 109 of EPACT amended NECPA to require Federal buildings to achieve energy performance 30 percent beyond ASHRAE 90.1-2004.

Section 433 of EISA requires that new Federal buildings and Federal buildings undergoing major renovations shall reduce their fossil fuel-generated energy consumption (baseline 2003) by 55 percent (2010), 65 percent (2015), 80 percent (2020), 90 percent (2025), and 100 percent (2030). It also requires sustainable design principles be applied to the siting, design, and construction of buildings subject to the standards.

Section 434 of EISA requires that Federal agencies ensure major replacements of installed equipment, renovation, or expansion of existing space employ the most energy efficient designs, systems, equipment, and controls life-cycle cost effective.

Section 435 of EISA states that as of December 19, 2010, Federal agencies are prohibited from leasing buildings that have not earned the ENERGY STAR® label (some exemptions apply).

Section 2 (g) Executive Order 13514 states that Federal agencies are to achieve by 2030 zero-net-energy in buildings entering the planning process after 2020. It further states that all new construction, major renovation, or repair and alteration must comply with the Guiding Principles; and 15 percent of existing facilities and building leases (above 5,000 gross square feet) meet the Guiding Principles by FY 2015. Further, agencies are to make annual progress towards 100 percent conformance with the Guiding Principles. Agencies are also to minimize consumption of energy, water, and materials through cost-effective, innovative strategies, such as highly reflective and vegetated roofs; manage existing building systems to reduce consumption of energy, water, and materials; identify alternatives to renovation that reduce existing asset deferred maintenance costs; and identify opportunities to consolidate and dispose of existing assets, optimize real property portfolio performance, and reduce environmental impacts.

Renewable Energy Goal

Section 203 of EPACT 2005 (42 U.S.C. 15852 (a)) requires the Secretary of Energy to seek to ensure that, to the extent economically feasible and technically practicable, of the total amount of electric energy the Federal Government consumes, the following amounts are renewable energy as defined in section 203 of the Act:

- Not less than 3 percent in fiscal years 2007 through 2009;

- Not less than 5 percent in fiscal years 2010 through 2012; and

- Not less than 7.5 percent in fiscal year 2013 and each fiscal year thereafter (42 U.S.C. 15852).

However, the U.S. Department of Transportation requires its operating administrations to achieve the following:

- Not less than 5 percent in fiscal year 2011;

- Not less than 7.5 percent in fiscal year 2012; and

- Not less than 10 percent in fiscal year 2013 and each fiscal year thereafter.

Section 203 of EPACT 2005 also provides a bonus to Federal agencies by allowing them to double count renewable energy if it is produced on-site and used at a Federal facility, produced on Federal lands and used at a Federal facility, or produced on Indian land and used at a Federal facility (42 U.S.C. 15852(c)).

Section 203 of EPACT 2005 states that the term ‘‘renewable energy’’ means electric energy generated from solar, wind, biomass, landfill gas, ocean (including tidal, wave, current, and thermal), geothermal, municipal solid waste, or new hydroelectric generation capacity achieved from increased efficiency or additions of new capacity at an existing hydroelectric project.

Section 2(a) of Executive Order 13423 adds the following provisions to the EPACT amendments goal; that

- at least half of the statutorily required renewable energy consumed by the agency in a fiscal year comes from new renewable sources; and

- to the extent feasible, the agency implements renewable energy generation projects on agency property for agency use.

In January 2008, DOE published Renewable Energy Requirement Guidance for EPACT 2005 and Executive Order 13423 (www1.eere.energy. gov/femp/pdfs/epact05_fedrenewenergyguid.pdf). This guidance specifies the conditions for agencies to meet the statutory and Executive Order requirements.

Section 523 of EISA requires that 30 percent of hot water demand in new Federal buildings and major renovations must be met with solar hot water if life-cycle cost effective.

Water Intensity Reduction Goal

Section 2 (d) of Executive Order 13514 establishes a water reduction goal to reduce 2 percent annually potable water consumption intensity through FY 2020 or 26 percent by the end of FY2020, relative to a FY 2007 baseline.  It also establishes a goal to reduce industrial, landscaping, and agricultural water consumption by 2 percent annually or 20 percent by the end of FY 2020, relative to a FY 2010 baseline. It also states that Federal agencies are to achieve EPA’s stormwater management objectives.

Section 438 of EISA requires Federal agencies to maintain or restore, for Federal properties over 5,000 square feet, the property’s pre-development hydrology as to temperature, rate, volume, and duration of flow.