DATA ITEM DESCRIPTION

Title:  Site Installation and Integration Plan

Number: FAA-SI-007  			Approval Date:

AMSC Number: 				Limitation:  N/A

DTIC Applicable:				GIDEP Applicable:  N/A

Office of Primary Responsibility:

Applicable Forms: N/A

Use/relationship:

This plan shall detail the Contractor's efforts from delivery through the completion of Government acceptance testing at the site.

Requirements:

Format. The format shall be provided by the Government.

Contents. The plan shall show how the Contractor's schedule of efforts will ensure acceptable completion of contract schedule requirements.

The plan shall detail all installation requirements, characteristics, or efforts unique to the site as determined by the site survey.  Required elements include system power requirements, heat dissipation, air conditioning capacity required, facility modification requirements, office and storage requirements, others as required to complete the project.  The plan shall identify all FAA-required site-preparation activities.

Single-line power distribution, signal path, cabling, and functional drawings necessary to accomplish the site installation shall be included.

The plan shall show all Contractor activities to ensure that the system interfaces appropriately with Government furnished equipment (GFE) and facilities.  The plan shall address elements such as environment, hardware configuration, cable configuration, power interfaces and distribution, and system interfaces.

The floor plan, showing hardware configuration, shall be included for all facilities affected.

This plan shall show the methodology and basic procedures the Contractor intends to follow in performing site integration and acceptance testing.  The procedures shall identify any adverse impact to air traffic operations expected.

The plan shall include an integrated schedule of all activities for installation and integration commencing with approval of the plan and extending through establishment of the Initial Operational Capability (IOC) and completion of the Contract Acceptance Inspection (CAI).

End of FAA-SI-007