ENERGY STAR Portfolio Manager Data Collection Worksheet

This worksheet was designed to help building owners and managers collect data to benchmark buildings using EPA ENERGY STAR’s Portfolio Manager. The information in this worksheet will be used to establish your building’s profile in Portfolio Manager, which is critical to calculate benchmarks of key metrics such as energy intensity and costs, water use, and carbon emissions. All building types can be entered into Portfolio Manager and receive energy and water benchmarks, as well as a comparison of performance against a national average for buildings of a similar type.

Some buildings will also receive an ENERGY STAR rating.  The ENERGY STAR rating is a benchmark that indicates how efficiently buildings use energy on a 1-100 scale. A rating of 50 indicates that energy performance is average compared to similar buildings, while a rating of 75 or better indicates top performance, and means your building may be eligible to earn the ENERGY STAR label. To receive an ENERGY STAR rating, the gross floor area of the building must be comprised of 50% or more of one of the following space types:

- Bank/Financial Institution

- Courthouse

- Hospital (acute care and children’s)

- Hotel

- K-12 School

- Medical Office

- Multifamily Housing

- Office

- Residence Hall/Dormitory

- Retail Store

- Supermarket

- Warehouse (refrigerated and non-refrigerated)

- Wastewater Treatment Plant

Click on the space type to view a definition and a summary of the information needed to receive an ENERGY STAR rating.  If you have a building with space types not listed above, enter this space into Portfolio Manager using the “Other” space type.

- Required Data for ENERGY STAR Benchmarking

- Portfolio Manager username and password.

- The building street address, year built, and contact information.

- The building gross floor area and key operating characteristics for each major space type. Use this worksheet to collect this information before logging in to Portfolio Manager.

- 12 consecutive months of utility bills for all fuel types used in the building.  If you don’t have this information readily available, contact your utility provider(s) as most will be able to easily supply this historical information.

General Building Information

Facility name _______________________________________________________________ Year built______________

- Building address ___________________________________________________________________________________

- City ____________________________________________________ State ____________ZIP ____________________

- Space Use Attributes

Before compiling the information noted in the boxes below, review the following important information:

- Specific definitions and instructions for each of the data fields listed in the boxes below can be viewed by navigating to the Portfolio Manager Help, selecting “Space Type Definitions,” choosing the appropriate building type, and selecting “Space Use Information.”

- Some buildings may contain multiple space types within a single building (e.g. office, computer data center, and parking OR K-12 school and swimming pool). Complete the fields below for each applicable major space types within the building.

- For buildings with multiple tenants with the same space type, these spaces should be entered separately only when the number of weekly operating hours among tenants differs by more than 10 hours. For example, in a 100,000 square foot (SF) office building where 75,000 SF operates 60 hours a week and 25,000 SF operates 80 hours a week, please list as two separate spaces – one 75,000 SF space and one 25,000 SF space. As this is most common in office buildings, multiple office space fields are provided below to capture data for multiple tenants if necessary.

- Default values supplied by Portfolio Manager can be used for all space use characteristics with the exception of gross floor area. Using default values will result in an approximate energy performance rating which can be a beneficial metric for estimating energy performance. If defaults are used for an initial rating, it is recommended that actual data be added later to more accurately measure a facility’s energy performance. Facilities using default values are not eligible to apply for the ENERGY STAR label.  Leave any of the requested information below blank (except gross floor area) to use a default value for the field.

| - General office 1: _______ gross floor area (SF) _______ weekly operating hours _______ # of workers on main shift _______ # of personal computers _______ Percent of floor area that is air conditioned (>50%, <50%, or none) _______ Percent of floor area that is heated (>50%, <50%, or none) | - Medical office space: _______ gross floor area (SF) _______ # of workers on main shift _______ weekly operating hours |
| --- | --- |
| - General office 2: _______ gross floor area (SF) _______ weekly operating hours _______ # of workers on main shift _______ # of personal computers _______ Percent of floor area that is air conditioned (>50%, <50%, or none) _______ Percent of floor area that is heated (>50%, <50%, or none) | Hospital (Acute Care and Children’s) _______ gross floor area (>20,000 SF) _______ # of licensed beds _______ # of floors _______ tertiary care facility – yes or no |
| - General office 3: _______ gross floor area (SF) _______ weekly operating hours _______ # of workers on main shift _______ # of personal computers _______ Percent of floor area that is air conditioned (>50%, <50%, or none) _______ Percent of floor area that is heated (>50%, <50%, or none) | - K-12 school: _______ gross floor area (SF) _______ # of personal computers _______ # of walk-in refrigeration/freezer units _______ high school - yes or no _______ open weekends – yes or no _______ on-site cooking – yes or no _______ Percent of floor area that is cooled in 10% increments (10%, 20%, 30%, etc.) _______ Percent of floor area that is heated in 10% increments (10%, 20%, 30%, etc.) |
| Bank/Financial Institution: _______ gross floor area (SF) _______ weekly operating hours _______ # of workers on main shift _______ # of personal computers _______ Percent of floor area that is air conditioned (>50%, <50%, or none) _______ Percent of floor area that is heated (>50%, <50%, or none) | - Hotel: _______ gross floor area (SF) _______ # of rooms _______ # of workers on main shift _______ # of commercial refrigeration/freezer units (walk-in, open, and closed cases) _______ on-site cooking – yes or no _______ Percent of floor area that is cooled in 10% increments (10%, 20%, 30%, etc.) _______ Percent of floor area that is heated in 10% increments (10%, 20%, 30%, etc.) |
| - Courthouse: _______ gross floor area (SF) _______ weekly operating hours _______ # of workers on main shift _______ # of personal computers _______ Percent of floor area that is air conditioned (>50%, <50%, or none) _______ Percent of floor area that is heated (>50%, <50%, or none) | - Retail Store: _______ gross floor area (SF) _______ weekly operating hours _______ # of workers on main shift _______ # of personal computers _______ # of cash registers _______ # of walk-in refrigeration/freezer units _______ # of open & closed refrigeration/freezer cases _______ Percent of floor area that is cooled in 10% increments (10%, 20%, 30%, etc.) _______ Percent of floor area that is heated in 10% increments (10%, 20%, 30%, etc.) |
| Grocery/Supermarket stores: _______ gross floor area (SF) _______ weekly operating hours _______ workers on main shift _______ on-site cooking – yes or no _______ # of walk-in refrigeration/freezer units _______ Percent of floor area that is cooled in 10% increments (10%, 20%, 30%, etc.) _______ Percent of floor area that is heated in 10% increments (10%, 20%, 30%, etc.) | - Computer Data Center: _______ gross floor area (SF) (must be less than 10% of gross building floor area in order for the building to be eligible for a rating) _______ weekly operating hours |
| - Dormitory/Residence hall: _______ gross floor area (SF) _______ # of rooms | Parking: _______ gross floor area that is enclosed (SF) _______ gross floor area that is unenclosed with a roof (SF) _______ gross floor area that is open (SF) _______ weekly hours of access |
| - Warehouse (Refrigerated or Unrefrigerated): _______ gross floor area (SF) _______ refrigerated or unrefrigerated _______ weekly operating hours _______ # of workers on main shift _______ # of walk-in coolers and refrigerators _______ Percent of floor area that is cooled in 10% increments (10%, 20%, 30%, etc.) _______ Percent of floor area that is heated in 10% increments (10%, 20%, 30%, etc.) _______ High-intensity discharge (HID) or halogen lighting systems that primarily light the facility – yes or no | - Swimming Pool: __________ swimming pool size, choose from: Olympic 1 (50 meters x 25 meters) Olympic 2 (50 meters x 25 yards) Recreational (20 yards x 15 yards) Short Course (25 yards x 20 yards) __________ indoor or outdoor |
| - Wastewater Treatment Plant: _______ average influent flow (mgd) _______ average influent biological oxygen demand (BOD5) _______ average effluent biological oxygen demand (BOD5) _______ plant design flow rate (mgd) _______ presence of fixed film trickle filtration process – yes or no _______ presence of nutrient removal process – yes or no | - Multifamily Housing: - Note: Only gross floor area is required but it is recommended that all information be entered into Portfolio Manager to allow for the development of comparative metrics for the industry. _______ gross floor area (SF) (Required) _______ number of units _______ number of bedrooms _______ number of floors _______ percent of square footage devoted to individual units _______ number of laundry hookups in each unit _______ number of laundry hookups in common area _______ number of dishwashers in each unit _______ Percent of floor area that is cooled in 10% increments (10%, 20%, 30%, etc.) _______ Percent of floor area that is heated in 10% increments (10%, 20%, 30%, etc.) _______ affordable or market rate |
| - Other: _______ gross floor area (SF) (must be less than 10% of gross building floor area in order for the building to be eligible for a rating) |  |