## All Summary Data
Region | Resource Assessment Site ID | Site Name/Facility | Design Head (feet) | Design Flow (cfs) | Installed Capacity (kW) | Annual Production (MWh) | Plant Factor | Total Construction Cost (1,000 $) | Annual O&M Cost (1,000 $) | Cost per Installed Capacity ($/kW) | Benefit Cost Ratio with Green Incentives | IRR with Green Incentives | Benefit Cost Ratio without Green Incentives | IRR without Green Incentives
GP | GP-4 | Anchor Dam | 60 | 17 | 62 | 126 | 0.23 | 5656.5 | 130 | 90738 | 0.02 | < 0 | 0.02 | < 0
GP | GP-5 | Angostura Dam | 119 | 110 | 947 | 3218 | 0.4 | 3179.2 | 121.4 | 3358 | 0.9 | 3.3% | 0.84 | 2.8%
GP | GP-8 | Barretts Diversion Dam | 15 | 106 | 102 | 546 | 0.62 | 1391.4 | 49.9 | 13596 | 0.35 | < 0 | 0.33 | < 0
GP | GP-10 | Belle Fourche Dam | 50 | 160 | 497 | 1319 | 0.31 | 2376.3 | 90.5 | 4786 | 0.49 | < 0 | 0.46 | < 0
GP | GP-12 | Bonny Dam | 70 | 8 | 36 | 238 | 0.77 | 1476.8 | 50.7 | 40837 | 0.15 | < 0 | 0.14 | < 0
GP | GP-14 | Bretch Diversion Canal | 8 | 51 | 24 | 111 | 0.54 | 712.3 | 35.7 | 29778 | 0.12 | < 0 | 0.11 | < 0
GP | GP-15 | Bull Lake Dam | 50 | 299 | 933 | 2302 | 0.29 | 5327.8 | 160.6 | 5709 | 0.41 | < 0 | 0.39 | < 0
GP | GP-18 | Carter Lake Dam No. 1 | 142 | 82 | 842 | 2266 | 0.31 | 3642.7 | 126.2 | 4328 | 0.56 | < 0 | 0.53 | < 0
GP | GP-22 | Choke Canyon Dam | 71 | 38 | 194 | 1199 | 0.72 | 1506 | 60.3 | 7755 | 0.69 | 0.7% | 0.65 | 0.3%
GP | GP-23 | Clark Canyon Dam | 88 | 484 | 3078 | 13689 | 0.52 | 7923.7 | 261.2 | 2575 | 1.52 | 8.6% | 1.42 | 7.6%
GP | GP-24 | Corbett Diversion Dam | 12 | 850 | 638 | 2846 | 0.52 | 4782.3 | 122.8 | 7500 | 0.59 | 0.1% | 0.56 | < 0
GP | GP-28 | Deerfield Dam | 107 | 18 | 138 | 694 | 0.59 | 1392.4 | 55.3 | 10109 | 0.43 | < 0 | 0.4 | < 0
GP | GP-29 | Dickinson Dam | 27 | 4 | 7 | 31 | 0.51 | 229.3 | 25.2 | 32329 | 0.07 | < 0 | 0.06 | < 0
GP | GP-31 | Dodson Diversion Dam | 26 | 86 | 140 | 566 | 0.47 | 1106.9 | 49.7 | 7895 | 0.4 | < 0 | 0.37 | < 0
GP | GP-34 | East Portal Diversion Dam | 10 | 452 | 283 | 1799 | 0.74 | 1553.3 | 65.9 | 5495 | 0.96 | 3.9% | 0.9 | 3.3%
GP | GP-35 | Enders Dam | 62 | 60 | 267 | 762 | 0.33 | 3492.3 | 100.7 | 13082 | 0.22 | < 0 | 0.2 | < 0
GP | GP-37 | Fort Shaw Diversion Dam | 9 | 325 | 183 | 1111 | 0.71 | 4029.4 | 107.6 | 22014 | 0.26 | < 0 | 0.25 | < 0
GP | GP-38 | Foss Dam | 35 | 23 | 49 | 242 | 0.58 | 1646.7 | 54.8 | 33582 | 0.14 | < 0 | 0.13 | < 0
GP | GP-39 | Fresno Dam | 47 | 560 | 1661 | 6268 | 0.44 | 6013.9 | 201.1 | 3620 | 0.88 | 3.2% | 0.82 | 2.7%
GP | GP-41 | Gibson Dam | 140 | 845 | 8521 | 30774 | 0.42 | 19928 | 636.5 | 2339 | 1.32 | 7.1% | 1.23 | 6.2%
GP | GP-42 | Glen Elder Dam | 69 | 201 | 1008 | 3713 | 0.43 | 4260.6 | 144.2 | 4229 | 0.81 | 2.4% | 0.76 | 2%
GP | GP-43 | Granby Dam | 202 | 33 | 484 | 2854 | 0.69 | 2144.1 | 80.6 | 4426 | 1.16 | 5.9% | 1.09 | 5.2%
GP | GP-46 | Gray Reef Dam | 22 | 1504 | 2067 | 13059 | 0.74 | 8159.3 | 218 | 3947 | 1.58 | 8.7% | 1.49 | 7.8%
GP | GP-47 | Greenfield Project, Greenfield Main Canal Drop | 38 | 100 | 238 | 830 | 0.41 | 1848.6 | 69.1 | 7779 | 0.37 | < 0 | 0.34 | < 0
GP | GP-50 | Heart Butte Dam | 58 | 70 | 294 | 1178 | 0.47 | 1562.5 | 66 | 5315 | 0.64 | < 0 | 0.6 | < 0
GP | GP-51 | Helena Valley Dam | 10 | 197 | 126 | 152 | 0.14 | 1069.4 | 48.8 | 8485 | 0.1 | < 0 | 0.09 | < 0
GP | GP-52 | Helena Valley Pumping Plant | 140 | 260 | 2626 | 9608 | 0.43 | 5568.1 | 217.9 | 2120 | 1.38 | 7.8% | 1.29 | 6.8%
GP | GP-54 | Horsetooth Dam | 119 | 41 | 350 | 847 | 0.28 | 2202.8 | 80 | 6288 | 0.34 | < 0 | 0.32 | < 0
GP | GP-56 | Huntley Diversion Dam | 8 | 4850 | 2426 | 17430 | 0.84 | 8361 | 269.1 | 3446 | 1.86 | 10.9% | 1.74 | 9.7%
GP | GP-58 | James Diversion Dam | 5 | 583 | 193 | 825 | 0.5 | 3357.8 | 95.7 | 17377 | 0.24 | < 0 | 0.23 | < 0
GP | GP-59 | Jamestown Dam | 31 | 50 | 113 | 338 | 0.35 | 1166.5 | 49.2 | 10338 | 0.25 | < 0 | 0.23 | < 0
GP | GP-60 | Johnson Project, Greenfield Main Canal Drop | 46 | 61 | 203 | 525 | 0.3 | 2038.9 | 70.7 | 10052 | 0.21 | < 0 | 0.2 | < 0
GP | GP-63 | Kirwin Dam | 69 | 36 | 179 | 466 | 0.3 | 3578.9 | 98.1 | 20036 | 0.13 | < 0 | 0.12 | < 0
GP | GP-67 | Lake Alice No. 2 Dam | 3 | 101 | 18 | 50 | 0.32 | 1254.1 | 45.3 | 69333 | 0.04 | < 0 | 0.03 | < 0
GP | GP-68 | Lake Sherburne Dam | 45 | 317 | 898 | 1502 | 0.19 | 5934.4 | 163.2 | 6605 | 0.24 | < 0 | 0.22 | < 0
GP | GP-75 | Medicine Creek Dam | 66 | 58 | 276 | 1001 | 0.42 | 2103.6 | 75.2 | 7631 | 0.43 | < 0 | 0.41 | < 0
GP | GP-76 | Merritt Dam | 113 | 200 | 1631 | 8438 | 0.6 | 12641.1 | 321.2 | 7752 | 0.68 | 1.2% | 0.64 | 0.9%
GP | GP-85 | Nelson Dikes DA | 17 | 46 | 48 | 116 | 0.28 | 1479.3 | 51.8 | 30895 | 0.07 | < 0 | 0.06 | < 0
GP | GP-91 | Norton Dam | 49 | 2 | 6 | 24 | 0.47 | 232 | 25.1 | 39495 | 0.05 | < 0 | 0.05 | < 0
GP | GP-92 | Olympus Dam | 42 | 107 | 284 | 1549 | 0.64 | 1552.4 | 65.8 | 5472 | 0.82 | 2.3% | 0.77 | 1.9%
GP | GP-93 | Pactola Dam | 154 | 53 | 596 | 2725 | 0.53 | 2207.5 | 87.2 | 3706 | 1.07 | 5.1% | 1.01 | 4.5%
GP | GP-95 | Pathfinder Dam | 135 | 76 | 743 | 5508 | 0.86 | 4476.4 | 114.4 | 6022 | 1.23 | 6.2% | 1.16 | 5.6%
GP | GP-98 | Pishkun Dike - No. 4 | 22 | 447 | 610 | 1399 | 0.27 | 5574 | 155.2 | 9141 | 0.23 | < 0 | 0.22 | < 0
GP | GP-99 | Pueblo Dam | 183 | 987 | 13027 | 55620 | 0.5 | 22193.9 | 690.6 | 1704 | 2.34 | 14% | 2.2 | 12.5%
GP | GP-102 | Red Willow Dam | 68 | 5 | 21 | 148 | 0.83 | 780.7 | 52.1 | 37427 | 0.12 | < 0 | 0.12 | < 0
GP | GP-103 | Saint Mary Diversion Dam | 5 | 534 | 177 | 720 | 0.47 | 1833.7 | 65.2 | 10340 | 0.33 | < 0 | 0.3 | < 0
GP | GP-107 | Shadehill Dam | 64 | 70 | 322 | 1536 | 0.55 | 4128.1 | 115.8 | 12806 | 0.37 | < 0 | 0.35 | < 0
GP | GP-108 | Shadow Mountain Dam | 37 | 45 | 119 | 777 | 0.76 | 1471.5 | 55.9 | 12316 | 0.46 | < 0 | 0.43 | < 0
GP | GP-114 | St. Mary Canal - Drop 1 | 36 | 537 | 1212 | 4838 | 0.46 | 7901.8 | 218.3 | 6518 | 0.56 | < 0 | 0.52 | < 0
GP | GP-115 | St. Mary Canal - Drop 2 | 29 | 537 | 974 | 3887 | 0.46 | 7141 | 196 | 7333 | 0.5 | < 0 | 0.47 | < 0
GP | GP-116 | St. Mary Canal - Drop 3 | 26 | 537 | 887 | 3538 | 0.46 | 6832.5 | 187.2 | 7707 | 0.47 | < 0 | 0.44 | < 0
GP | GP-117 | St. Mary Canal - Drop 4 | 66 | 537 | 2569 | 8919 | 0.4 | 9599.7 | 289.6 | 3736 | 0.82 | 2.6% | 0.77 | 2.2%
GP | GP-118 | St. Mary Canal - Drop 5 | 57 | 537 | 1901 | 7586 | 0.46 | 9154.5 | 264 | 4817 | 0.75 | 1.8% | 0.7 | 1.4%
GP | GP-120 | Sun River Diversion Dam | 45 | 716 | 2015 | 8645 | 0.5 | 12611.4 | 318.5 | 6259 | 0.65 | 0.8% | 0.6 | 0.4%
GP | GP-122 | Trenton Dam | 55 | 52 | 208 | 570 | 0.32 | 2180.7 | 73.8 | 10461 | 0.24 | < 0 | 0.23 | < 0
GP | GP-125 | Twin Buttes Dam | 100 | 3199 | 23124 | 97457 | 0.49 | 33654.2 | 1206.2 | 1455 | 2.61 | 16% | 2.46 | 14.2%
GP | GP-126 | Twin Lakes Dam (USBR) | 46 | 344 | 981 | 5648 | 0.67 | 4192.7 | 136.2 | 4274 | 1.24 | 6.5% | 1.17 | 5.8%
GP | GP-128 | Vandalia Diversion Dam | 32 | 161 | 326 | 1907 | 0.68 | 1779.4 | 72 | 5461 | 0.87 | 3% | 0.82 | 2.5%
GP | GP-129 | Virginia Smith Dam | 72 | 310 | 1607 | 9799 | 0.71 | 11467.6 | 299.2 | 7137 | 0.88 | 3.3% | 0.82 | 2.8%
GP | GP-130 | Webster Dam | 72 | 15 | 66 | 164 | 0.29 | 2694.5 | 75.4 | 40704 | 0.06 | < 0 | 0.06 | < 0
GP | GP-131 | Whalen Diversion Dam | 11 | 23 | 15 | 53 | 0.4 | 549.3 | 32 | 35641 | 0.07 | < 0 | 0.06 | < 0
GP | GP-132 | Willow Creek Dam | 90 | 42 | 272 | 863 | 0.37 | 1239.9 | 49.4 | 14980 | 0.29 | < 0 | 0.27 | < 0
GP | GP-135 | Willwood Canal | 37 | 297 | 687 | 3134 | 0.53 | 4452.3 | 117.5 | 6481 | 0.7 | 1.4% | 0.66 | 1%
GP | GP-136 | Willwood Diversion Dam | 41 | 414 | 1062 | 6337 | 0.69 | 5741.7 | 150.4 | 5407 | 1.1 | 5.2% | 1.03 | 4.6%
GP | GP-137 | Wind River Diversion Dam | 19 | 335 | 398 | 1595 | 0.47 | 2921.2 | 93.5 | 7344 | 0.51 | < 0 | 0.48 | < 0
GP | GP-138 | Woods Project, Greenfield Main Canal Drop | 53 | 225 | 746 | 2680 | 0.42 | 4131.6 | 133.2 | 5540 | 0.56 | < 0 | 0.53 | < 0
GP | GP-140 | Wyoming Canal - Station 1016 | 13 | 270 | 220 | 939 | 0.5 | 2036 | 72 | 9275 | 0.41 | < 0 | 0.39 | < 0
GP | GP-141 | Wyoming Canal - Station 1490 | 40 | 215 | 538 | 2305 | 0.5 | 3249.5 | 108.8 | 6042 | 0.64 | 0.3% | 0.61 | < 0
GP | GP-142 | Wyoming Canal - Station 1520 | 13 | 215 | 175 | 749 | 0.5 | 2002.2 | 68.4 | 11454 | 0.34 | < 0 | 0.32 | < 0
GP | GP-143 | Wyoming Canal - Station 1626 | 4 | 215 | 52 | 195 | 0.43 | 1337.4 | 49.6 | 25531 | 0.13 | < 0 | 0.12 | < 0
GP | GP-144 | Wyoming Canal - Station 1972 | 24 | 190 | 285 | 1218 | 0.5 | 4237.5 | 116.7 | 14860 | 0.28 | < 0 | 0.26 | < 0
GP | GP-145 | Wyoming Canal - Station 997 | 17 | 270 | 287 | 1228 | 0.5 | 2224.9 | 78.7 | 7751 | 0.49 | < 0 | 0.46 | < 0
GP | GP-146 | Yellowtail Afterbay Dam | 49 | 2979 | 9203 | 68261 | 0.86 | 19852.4 | 667.1 | 2157 | 3.05 | 18.2% | 2.86 | 16.1%
LC | LC-6 | Bartlett Dam | 251 | 415 | 7529 | 36880 | 0.57 | 15120 | 435.2 | 2008 | 3.5 | 23% | 2.25 | 12%
LC | LC-15 | Gila Gravity Main Canal Headworks | 3 | 1410 | 223 | 1548 | 0.81 | 1702.6 | 66 | 7632 | 1.17 | 6% | 0.75 | 2%
LC | LC-20 | Horseshoe Dam | 142 | 1350 | 13857 | 59854 | 0.5 | 30123 | 792.5 | 2174 | 2.98 | 19% | 1.93 | 11%
LC | LC-21 | Imperial Dam | 12 | 1500 | 1079 | 5325 | 0.57 | 4617.5 | 147.3 | 4280 | 1.61 | 10% | 1.05 | 5%
LC | LC-24 | Laguna Dam | 10 | 200 | 125 | 566 | 0.53 | 1100 | 48.9 | 8794 | 0.63 | < 0 | 0.41 | < 0
MP | MP-1 | Anderson-Rose Dam | 12 | 40 | 29 | 126 | 0.5 | 377.7 | 29.8 | 12916 | 0.21 | < 0 | 0.2 | < 0
MP | MP-2 | Boca Dam | 92 | 179 | 1184 | 4370 | 0.43 | 4393 | 144.4 | 3711 | 1.68 | 11.3% | 0.89 | 3.4%
MP | MP-3 | Bradbury Dam | 190 | 10 | 142 | 521 | 0.43 | 3093.8 | 87 | 21749 | 0.3 | < 0 | 0.16 | < 0
MP | MP-8 | Casitas Dam | 96 | 151 | 1042 | 3280 | 0.37 | 3298.9 | 127.3 | 3165 | 1.57 | 10.7% | 0.84 | 2.8%
MP | MP-15 | Gerber Dam | 35 | 112 | 248 | 760 | 0.36 | 5358 | 135.7 | 21621 | 0.14 | < 0 | 0.13 | < 0
MP | MP-17 | John Franchi Dam | 15 | 500 | 469 | 1863 | 0.46 | 3624.5 | 109.8 | 7728 | 0.9 | 3% | 0.48 | < 0
MP | MP-18 | Lake Tahoe Dam | 6 | 729 | 287 | 893 | 0.36 | 2494.8 | 68 | 8686 | 0.65 | < 0 | 0.34 | < 0
MP | MP-23 | Malone Diversion Dam | 8 | 95 | 44 | 147 | 0.39 | 1835.6 | 57.9 | 41464 | 0.07 | < 0 | 0.07 | < 0
MP | MP-24 | Marble Bluff Dam | 38 | 479 | 1153 | 5624 | 0.57 | 6854.2 | 193.9 | 5943 | 0.83 | 2.8% | 0.78 | 2.4%
MP | MP-30 | Prosser Creek Dam | 127 | 95 | 872 | 3819 | 0.51 | 3119 | 113.5 | 3576 | 1.98 | 14.2% | 1.06 | 4.9%
MP | MP-31 | Putah Creek Dam | 11 | 43 | 28 | 166 | 0.7 | 1047.7 | 42.5 | 38062 | 0.25 | < 0 | 0.13 | < 0
MP | MP-32 | Putah Diversion Dam | 11 | 553 | 363 | 1924 | 0.62 | 2815.3 | 90.6 | 7745 | 1.16 | 6.3% | 0.62 | 0.2%
MP | MP-33 | Rainbow Dam | 29 | 105 | 190 | 998 | 0.63 | 5915.9 | 142.1 | 31116 | 0.32 | < 0 | 0.17 | < 0
MP | MP-44 | Upper Slaven Dam | 8 | 316 | 158 | 720 | 0.53 | 3474 | 95.6 | 21974 | 0.21 | < 0 | 0.2 | < 0
PN | PN-1 | Agate Dam | 63 | 23 | 89 | 264 | 0.35 | 821.5 | 41.8 | 9267 | 0.24 | < 0 | 0.22 | < 0
PN | PN-2 | Agency Valley | 67 | 244 | 1179 | 3941 | 0.39 | 11353.3 | 283.6 | 9626 | 0.33 | < 0 | 0.31 | < 0
PN | PN-6 | Arthur R. Bowman Dam | 173 | 264 | 3293 | 18282 | 0.65 | 8994.9 | 285.6 | 2732 | 1.9 | 11.2% | 1.79 | 10%
PN | PN-9 | Bully Creek | 85 | 51 | 313 | 1065 | 0.4 | 8062.9 | 189.1 | 25773 | 0.13 | < 0 | 0.12 | < 0
PN | PN-10 | Bumping Lake | 30 | 279 | 521 | 2200 | 0.49 | 11275.7 | 253.9 | 21650 | 0.2 | < 0 | 0.19 | < 0
PN | PN-12 | Cle Elum Dam | 101 | 994 | 7249 | 14911 | 0.24 | 13692.3 | 491.1 | 1889 | 0.94 | 3.8% | 0.89 | 3.3%
PN | PN-15 | Cold Springs Dam | 38 | 28 | 66 | 131 | 0.23 | 1308.8 | 48.9 | 19942 | 0.09 | < 0 | 0.08 | < 0
PN | PN-20 | Crane Prairie | 18 | 270 | 306 | 1845 | 0.7 | 7751.3 | 183.6 | 25317 | 0.25 | < 0 | 0.23 | < 0
PN | PN-24 | Deadwood Dam | 110 | 110 | 871 | 3563 | 0.48 | 19510.1 | 428.5 | 22402 | 0.2 | < 0 | 0.19 | < 0
PN | PN-31 | Easton Diversion Dam | 46 | 366 | 1057 | 7400 | 0.82 | 4006.9 | 143 | 3792 | 1.68 | 9.9% | 1.58 | 8.8%
PN | PN-34 | Emigrant Dam | 185 | 55 | 733 | 2619 | 0.42 | 2209.7 | 95 | 3013 | 0.99 | 4.3% | 0.93 | 3.7%
PN | PN-37 | Fish Lake | 39 | 36 | 102 | 235 | 0.27 | 1176 | 48.3 | 11555 | 0.18 | < 0 | 0.17 | < 0
PN | PN-41 | Golden Gate Canal | 43 | 191 | 514 | 2293 | 0.52 | 3991.6 | 121.5 | 7771 | 0.56 | < 0 | 0.53 | < 0
PN | PN-43 | Harper Dam | 80 | 75 | 434 | 1874 | 0.5 | 5901.2 | 152.4 | 13606 | 0.31 | < 0 | 0.29 | < 0
PN | PN-44 | Haystack | 57 | 225 | 805 | 3738 | 0.54 | 3916.4 | 131.4 | 4866 | 0.85 | 2.9% | 0.8 | 2.4%
PN | PN-48 | Kachess Dam | 55 | 358 | 1227 | 3877 | 0.37 | 4335.9 | 154.6 | 3535 | 0.77 | 1.9% | 0.72 | 1.5%
PN | PN-49 | Keechelus Dam | 75 | 444 | 2394 | 6746 | 0.33 | 6774.2 | 224 | 2830 | 0.87 | 3% | 0.81 | 2.5%
PN | PN-52 | Little Wood River Dam | 103 | 200 | 1493 | 4951 | 0.39 | 17931.2 | 419.3 | 12013 | 0.29 | < 0 | 0.27 | < 0
PN | PN-53 | Lytle Creek | 3 | 264 | 50 | 329 | 0.77 | 1603.2 | 54.4 | 32368 | 0.19 | < 0 | 0.18 | < 0
PN | PN-56 | Mann Creek | 113 | 61 | 495 | 2097 | 0.5 | 3554.4 | 112 | 7174 | 0.56 | < 0 | 0.52 | < 0
PN | PN-57 | Mason Dam | 139 | 164 | 1649 | 5773 | 0.41 | 7276.4 | 220.2 | 4414 | 0.72 | 1.5% | 0.68 | 1.1%
PN | PN-58 | Maxwell Dam | 4 | 467 | 117 | 644 | 0.64 | 2075.4 | 66.9 | 17766 | 0.3 | < 0 | 0.28 | < 0
PN | PN-59 | McKay Dam | 122 | 154 | 1362 | 4344 | 0.37 | 4274 | 155.7 | 3138 | 0.88 | 3.2% | 0.83 | 2.7%
PN | PN-65 | Ochoco Dam | 60 | 19 | 69 | 232 | 0.39 | 1286.3 | 49.5 | 18532 | 0.16 | < 0 | 0.15 | < 0
PN | PN-78 | Reservoir "A" | 60 | 12 | 45 | 169 | 0.44 | 1262.2 | 47.4 | 27968 | 0.12 | < 0 | 0.11 | < 0
PN | PN-80 | Ririe Dam | 132 | 104 | 993 | 3778 | 0.44 | 3636.9 | 131.5 | 3661 | 0.94 | 3.8% | 0.89 | 3.3%
PN | PN-87 | Scoggins Dam | 96 | 138 | 955 | 3683 | 0.45 | 3665.4 | 130.6 | 3838 | 0.92 | 3.6% | 0.86 | 3.1%
PN | PN-88 | Scootney Wasteway | 13 | 2800 | 2276 | 11238 | 0.57 | 8014.4 | 258.3 | 3521 | 1.26 | 6.6% | 1.18 | 5.9%
PN | PN-95 | Sunnyside Dam | 6 | 3630 | 1362 | 10182 | 0.87 | 6912 | 205.4 | 5075 | 1.43 | 7.8% | 1.35 | 7%
PN | PN-97 | Thief Valley Dam | 39 | 150 | 369 | 1833 | 0.58 | 2601 | 87.2 | 7050 | 0.64 | 0.1% | 0.6 | < 0
PN | PN-100 | Unity Dam | 46 | 106 | 307 | 1329 | 0.5 | 9462 | 213.5 | 30808 | 0.14 | < 0 | 0.13 | < 0
PN | PN-101 | Warm Springs Dam | 57 | 346 | 1234 | 3256 | 0.31 | 4326.6 | 154.2 | 3507 | 0.66 | 0.4% | 0.62 | 0.1%
PN | PN-104 | Wickiup Dam | 55 | 1157 | 3950 | 15650 | 0.46 | 15178.6 | 422.3 | 3843 | 0.98 | 4.2% | 0.92 | 3.7%
PN | PN-105 | Wild Horse - BIA | 70 | 53 | 267 | 791 | 0.35 | 2873 | 89.7 | 10764 | 0.27 | < 0 | 0.26 | < 0
UC | UC-4 | Angostura Diversion | 3 | 190 | 33 | 91 | 0.32 | 564.2 | 33.4 | 17183 | 0.12 | < 0 | 0.11 | < 0
UC | UC-5 | Arthur V. Watkins Dam | 25 | 20 | 31 | 122 | 0.46 | 966.1 | 40.9 | 31426 | 0.11 | < 0 | 0.1 | < 0
UC | UC-6 | Avalon Dam | 17 | 216 | 230 | 1031 | 0.52 | 2260.8 | 76.5 | 9818 | 0.42 | < 0 | 0.4 | < 0
UC | UC-7 | Azeotea Creek and Willow Creek Conveyance Channel Station 1565+00 | 18 | 65 | 72 | 240 | 0.39 | 2215.3 | 66.6 | 30674 | 0.1 | < 0 | 0.1 | < 0
UC | UC-8 | Azeotea Creek and Willow Creek Conveyance Channel Station 1702+75 | 17 | 65 | 68 | 223 | 0.38 | 2193 | 65.9 | 32238 | 0.1 | < 0 | 0.09 | < 0
UC | UC-9 | Azeotea Creek and Willow Creek Conveyance Channel Station 1831+17 | 15 | 65 | 60 | 199 | 0.38 | 2149.4 | 64.7 | 35760 | 0.09 | < 0 | 0.08 | < 0
UC | UC-11 | Azotea Tunnel | 22 | 65 | 86 | 222 | 0.3 | 2284.4 | 68.6 | 26649 | 0.09 | < 0 | 0.09 | < 0
UC | UC-13 | Big Sandy Dam | 51 | 89 | 286 | 884 | 0.36 | 9260.7 | 211.6 | 32416 | 0.1 | < 0 | 0.09 | < 0
UC | UC-14 | Blanco Diversion Dam | 22 | 35 | 47 | 146 | 0.36 | 4656.2 | 110.7 | 98200 | 0.03 | < 0 | 0.03 | < 0
UC | UC-15 | Blanco Tunnel | 109 | 35 | 276 | 849 | 0.36 | 5526.7 | 137.5 | 20041 | 0.16 | < 0 | 0.15 | < 0
UC | UC-16 | Brantley Dam | 15 | 219 | 210 | 697 | 0.39 | 1991.3 | 70.5 | 9481 | 0.32 | < 0 | 0.3 | < 0
UC | UC-19 | Caballo Dam | 43 | 1213 | 3260 | 15095 | 0.52 | 10197.9 | 305 | 3128 | 1.45 | 7.9% | 1.36 | 7.1%
UC | UC-22 | Crawford Dam | 135 | 31 | 303 | 1217 | 0.47 | 1592.4 | 66.7 | 5264 | 0.64 | < 0 | 0.6 | < 0
UC | UC-23 | Currant Creek Dam | 118 | 17 | 146 | 1003 | 0.8 | 4611.2 | 114.8 | 31659 | 0.22 | < 0 | 0.21 | < 0
UC | UC-28 | Dolores Tunnel | 84 | 17 | 103 | 515 | 0.58 | 2277.1 | 69.2 | 22077 | 0.21 | < 0 | 0.2 | < 0
UC | UC-36 | East Canyon Dam | 170 | 76 | 929 | 3549 | 0.44 | 8271.6 | 216.9 | 8907 | 0.44 | < 0 | 0.41 | < 0
UC | UC-44 | Fort Sumner Diversion Dam | 14 | 90 | 75 | 378 | 0.59 | 2213.6 | 67.1 | 29472 | 0.17 | < 0 | 0.16 | < 0
UC | UC-46 | Fruitgrowers Dam | 28 | 17 | 29 | 124 | 0.5 | 2116.5 | 62.2 | 72409 | 0.06 | < 0 | 0.05 | < 0
UC | UC-49 | Grand Valley Diversion Dam | 14 | 2260 | 1979 | 14246 | 0.84 | 9070 | 241.3 | 4584 | 1.55 | 8.6% | 1.45 | 7.7%
UC | UC-51 | Gunnison Diversion Dam | 17 | 1350 | 1435 | 9220 | 0.75 | 6934.9 | 200.4 | 4832 | 1.28 | 6.7% | 1.2 | 6%
UC | UC-52 | Gunnison Tunnel | 70 | 875 | 3830 | 19057 | 0.58 | 11385.5 | 366.6 | 2972 | 1.55 | 8.8% | 1.45 | 7.9%
UC | UC-56 | Hammond Diversion Dam | 8 | 71 | 35 | 148 | 0.49 | 1983.3 | 60.2 | 57350 | 0.07 | < 0 | 0.07 | < 0
UC | UC-57 | Heron Dam | 249 | 150 | 2701 | 8874 | 0.38 | 8020.4 | 246.6 | 2970 | 1.06 | 4.9% | 1 | 4.4%
UC | UC-59 | Huntington North Dam | 55 | 6 | 20 | 51 | 0.3 | 514.4 | 31.7 | 25611 | 0.07 | < 0 | 0.07 | < 0
UC | UC-62 | Hyrum Dam | 75 | 90 | 491 | 2052 | 0.49 | 5081.3 | 140.9 | 10346 | 0.4 | < 0 | 0.37 | < 0
UC | UC-67 | Inlet Canal | 159 | 22 | 252 | 966 | 0.45 | 2596.6 | 82.7 | 10320 | 0.34 | < 0 | 0.32 | < 0
UC | UC-72 | Joes Valley Dam | 159 | 141 | 1624 | 6596 | 0.47 | 7764.3 | 210.5 | 4780 | 0.85 | 3% | 0.8 | 2.6%
UC | UC-84 | Lost Creek Dam | 164 | 34 | 410 | 1295 | 0.37 | 6599.2 | 164.2 | 16082 | 0.2 | < 0 | 0.19 | < 0
UC | UC-89 | M&D Canal-Shavano Falls | 165 | 240 | 2862 | 15419 | 0.62 | 7260.4 | 256.6 | 2536 | 1.88 | 11.4% | 1.77 | 10.1%
UC | UC-93 | Meeks Cabin Dam | 130 | 169 | 1586 | 4709 | 0.35 | 11641.2 | 302.3 | 7341 | 0.4 | < 0 | 0.38 | < 0
UC | UC-98 | Montrose and Delta Canal | 3 | 511 | 96 | 478 | 0.58 | 2343.8 | 70.8 | 24452 | 0.19 | < 0 | 0.18 | < 0
UC | UC-100 | Moon Lake Dam | 66 | 134 | 634 | 1563 | 0.29 | 7328.5 | 185.8 | 11564 | 0.22 | < 0 | 0.2 | < 0
UC | UC-102 | Nambe Falls Dam | 120 | 17 | 147 | 593 | 0.47 | 2373.7 | 73.7 | 16097 | 0.24 | < 0 | 0.23 | < 0
UC | UC-116 | Outlet Canal | 252 | 32 | 586 | 1839 | 0.37 | 3264.8 | 108.6 | 5570 | 0.52 | < 0 | 0.49 | < 0
UC | UC-117 | Paonia Dam | 149 | 147 | 1582 | 5821 | 0.43 | 7092.5 | 203.7 | 4482 | 0.79 | 2.3% | 0.74 | 1.9%
UC | UC-124 | Platoro Dam | 131 | 89 | 845 | 3747 | 0.52 | 10106.2 | 246.5 | 11964 | 0.38 | < 0 | 0.36 | < 0
UC | UC-126 | Red Fleet Dam | 115 | 55 | 455 | 1904 | 0.49 | 3031.9 | 100.1 | 6666 | 0.59 | < 0 | 0.55 | < 0
UC | UC-131 | Ridgway Dam | 181 | 257 | 3366 | 14040 | 0.49 | 9885.1 | 296.2 | 2937 | 1.35 | 7.3% | 1.27 | 6.5%
UC | UC-132 | Rifle Gap Dam | 101 | 46 | 341 | 1740 | 0.59 | 1574.9 | 65.5 | 4621 | 0.92 | 3.5% | 0.86 | 2.9%
UC | UC-135 | San Acacia Diversion Dam | 8 | 44 | 20 | 86 | 0.5 | 1895 | 57.2 | 94272 | 0.04 | < 0 | 0.04 | < 0
UC | UC-136 | Scofield Dam | 39 | 110 | 266 | 906 | 0.4 | 1780.5 | 69.3 | 6700 | 0.45 | < 0 | 0.42 | < 0
UC | UC-137 | Selig Canal | 2 | 186 | 23 | 98 | 0.5 | 1868.6 | 57.1 | 82287 | 0.05 | < 0 | 0.05 | < 0
UC | UC-140 | Silver Jack Dam | 103 | 101 | 748 | 2913 | 0.46 | 4863.9 | 145.6 | 6504 | 0.57 | < 0 | 0.54 | < 0
UC | UC-141 | Sixth Water Flow Control | 1149 | 309 | 25800 | 114420 | 0.52 | 38227.9 | 1031.9 | 1482 | 3.02 | 17.1% | 2.84 | 15.3%
UC | UC-144 | Soldier Creek Dam | 233 | 26 | 444 | 2909 | 0.76 | 1790.2 | 72.6 | 4033 | 1.39 | 7.9% | 1.31 | 7%
UC | UC-145 | South Canal Tunnels | 18 | 785 | 884 | 4497 | 0.59 | 5005.8 | 154.9 | 5665 | 0.84 | 2.8% | 0.79 | 2.4%
UC | UC-146 | South Canal, Sta 19+ 10 Site "#1" | 51 | 773 | 2465 | 12576 | 0.59 | 8883.4 | 280.5 | 3603 | 1.32 | 7.1% | 1.24 | 6.3%
UC | UC-147 | South Canal, Sta. 181+10, Site "#4" | 63 | 773 | 3046 | 15536 | 0.59 | 9975.1 | 318 | 3275 | 1.44 | 8% | 1.35 | 7.2%
UC | UC-148 | South Canal, Sta. 472+00, Site "#5" | 28 | 773 | 1354 | 6905 | 0.59 | 6155.4 | 193.1 | 4548 | 1.05 | 4.8% | 0.98 | 4.2%
UC | UC-150 | South Canal, Sta.106+65, Site "#3" | 46 | 773 | 2224 | 11343 | 0.59 | 8399.7 | 264 | 3777 | 1.26 | 6.6% | 1.18 | 5.9%
UC | UC-154 | Southside Canal, Sta 171+ 90 thru 200+ 67 (2 canal drops) | 346 | 81 | 2026 | 6557 | 0.38 | 5595.9 | 199.5 | 2762 | 1.05 | 4.8% | 0.99 | 4.2%
UC | UC-155 | Southside Canal, Sta 349+ 05 thru 375+ 42 (3 canal drops) | 282 | 81 | 1651 | 5344 | 0.38 | 5169.8 | 180.4 | 3131 | 0.93 | 3.7% | 0.88 | 3.2%
UC | UC-159 | Spanish Fork Flow Control Structure | 900 | 124 | 8114 | 22920 | 0.33 | 13147.5 | 435.9 | 1620 | 1.66 | 9.6% | 1.57 | 8.6%
UC | UC-162 | Starvation Dam | 144 | 292 | 3043 | 13168 | 0.5 | 10530.6 | 302.6 | 3461 | 1.23 | 6.2% | 1.15 | 5.6%
UC | UC-164 | Stateline Dam | 89 | 44 | 282 | 720 | 0.3 | 8492.4 | 195.1 | 30145 | 0.09 | < 0 | 0.08 | < 0
UC | UC-166 | Steinaker Dam | 120 | 70 | 603 | 1965 | 0.38 | 2388.4 | 93.9 | 3959 | 0.71 | 1% | 0.67 | 0.7%
UC | UC-169 | Stillwater Tunnel | 65 | 88 | 413 | 1334 | 0.38 | 6342.4 | 159.5 | 15340 | 0.21 | < 0 | 0.2 | < 0
UC | UC-174 | Sumner Dam | 114 | 100 | 822 | 4300 | 0.61 | 4193.5 | 130 | 5103 | 0.98 | 4.2% | 0.92 | 3.7%
UC | UC-177 | Syar Tunnel | 125 | 195 | 1762 | 7982 | 0.53 | 8246.1 | 222.7 | 4680 | 0.99 | 4.3% | 0.93 | 3.8%
UC | UC-179 | Taylor Park Dam | 141 | 250 | 2543 | 12488 | 0.57 | 10991.2 | 299.3 | 4323 | 1.12 | 5.4% | 1.05 | 4.8%
UC | UC-185 | Upper Diamond Fork Flow Control Structure | 547 | 309 | 12214 | 52161 | 0.5 | 22058.5 | 613.6 | 1806 | 2.36 | 13.6% | 2.22 | 12.2%
UC | UC-187 | Upper Stillwater Dam | 161 | 50 | 581 | 1904 | 0.38 | 6064.5 | 158.5 | 10431 | 0.32 | < 0 | 0.31 | < 0
UC | UC-190 | Vega Dam | 90 | 84 | 548 | 1702 | 0.36 | 3012.5 | 103.7 | 5499 | 0.51 | < 0 | 0.48 | < 0
UC | UC-196 | Weber-Provo Canal | 184 | 32 | 424 | 1844 | 0.51 | 14266.2 | 311.3 | 33648 | 0.14 | < 0 | 0.13 | < 0
UC | UC-197 | Weber-Provo Diversion Canal | 100 | 24 | 173 | 517 | 0.35 | 13771.4 | 291.4 | 79382 | 0.04 | < 0 | 0.04 | < 0